| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.810 (ex H.IDGPHS) |  |  |  |
| Title: | A.5 justification information for draft new H.810 (ex H.IDGPHS) "Interoperability design guidelines for personal health systems" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new H.810 (ex H.IDGPHS) "Interoperability design guidelines for personal health systems" including the following normative references: ANSI/HL7 CDA Rel.2 (2005), Bluetooth BPP (2011), Bluetooth BPS (2011), Bluetooth CS2.1 (2007), Bluetooth CS4.0 (2010), Bluetooth DIS (2011), Bluetooth GP (2012), Bluetooth GS (2012), Bluetooth HDPv1.1 (2008), Bluetooth HTP (2011), Bluetooth HTS (2012), Bluetooth MCAP (2008), Bluetooth PHDT (2013), Bluetooth WSP 1.0 (2014), Bluetooth WSS 1.0 (2014), FIPS PUB 180-4 (2012), HL7 CDA IG (2011), HL7 CDA-CCD (2007), HL7 CDA-PHMR (2010), HL7 CDAR2 QA (2009), HL7 MS2.6 (2007), IEEE 11073-10406-2011, IEEE 11073-10417-2011, IEEE 11073-10418-2011, IEEE 11073-10420-2010, IEEE 11073-20601a-2010, IETF RFC 1305 (1992), IETF RFC 2030 (1996), IETF RFC 2246 (1999), IETF RFC 2988 (2000), IETF RFC 3195 (2001), IETF RFC 3211 (2001), IETF RFC 3268 (2002), IETF RFC 3881 (2001), IETF RFC 4330 (2006), IETF RFC 4614 (2006), IHE ITI TF-1 PIX (2010), IHE ITI TF-1 XDM (2009), IHE ITI TF-1 XUA (2009), IHE ITI TFS XDR (2009), IHE ITI-TF-1 (2009), IHE ITI-TF-2 (2009), IHE PCD TF 2012 1 (2012), IHE PCD TF 2012 2 (2012), IHE PCD TF 2012 3 (2012), IHE PCD-TF-1 (2006), IHE PCD-TF-2 (2011), IHE TFS DSG (2009), IHE TFS XUA++ (2010), NFC Forum TS PHDC 1.0 (2013), OASIS SAMLTokenProfile (2006), OASIS WS-MakeConnection v1.1 (2009), OASIS/WS-I BP (2006), OASIS/WS-I BSP (2007), OASIS/WS-ReliableMessaging 1.2 (2009), USB-IF PDH Rel.1 (2007), W3C XMLENC (2002), ZigBee HCP (2010). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new H.810 (ex H.IDGPHS) "Interoperability design guidelines for personal health systems".

- 2	Referred documents and respective justifications

| - ANSI/HL7 CDA Rel.2 (2005): HL7 Clinical Document Architecture, Release 2.0 |  |
| --- | --- |
| - | Normative HL7 document approved 2005-04-21. |
| - | The HL7 CDA is a document markup standard that specifies the structure and semantics of "clinical documents" for the purpose of exchange between healthcare providers and patients. This document describes Release 2 of the HL7 Clinical Document Architecture (CDA) which is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - Bluetooth BPP (2011): Blood Pressure Profile |  |
| --- | --- |
| - | Specification approved 2011-10-05. |
| - | The Bluetooth Blood Pressure Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for blood pressure sensors. |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - Bluetooth BPS (2011): Blood Pressure Service |  |
| --- | --- |
| - | Specification approved 2011-10-05. |
| - | The Bluetooth Blood Pressure Service, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for blood pressure sensors. |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - Bluetooth CS2.1 (2007): Bluetooth Core Specification Version 2.1 |  |
| --- | --- |
| - | Specification approved 2007-07-26. Errata exist, incorporated in published document. |
| - | The Bluetooth Core Specification Versions 2.1 and 4.0 are needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines version 2.1. Bluetooth wireless specifications define a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices. |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - Bluetooth CS4.0 (2010): Bluetooth Core Specification Version 2.1 |  |
| --- | --- |
| - | Specification published 30 June 2010. |
| - | The Bluetooth Core Specification Versions 2.1 and 4.0 are needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines version 4.0. Bluetooth wireless specifications define a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices. |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - Bluetooth DIS (2011): Device Information Service |  |
| --- | --- |
| - | Specification approved 2011-11-29. |
| - | The Bluetooth Device Information Service, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification exposes manufacturer and/or vendor information about a device, information that is needed to validate the authenticity and security of patient data. |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - Bluetooth GP (2012): Glucose Profile |  |
| --- | --- |
| - | Specification approved 2012-04-03. |
| - | The Bluetooth Glucose Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for glucose sensors. |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - Bluetooth GS (2012): Glucose Service |  |
| --- | --- |
| - | Specification approved 2012-04-03. |
| - | The Bluetooth Glucose Service, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for glucose sensors. |
| - | Complete A.5 justification information can be found in Annex 8 . |

| - Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1 |  |
| --- | --- |
| - | Specification approved 2012-07-24. |
| - | The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors. |
| - | Complete A.5 justification information can be found in Annex 9 . |

| - Bluetooth HTP (2011): Health Thermometer Profile |  |
| --- | --- |
| - | Specification approved 2011-05-24. |
| - | The Bluetooth Health Thermometer Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health thermometer sensors. |
| - | Complete A.5 justification information can be found in Annex 10 . |

| - Bluetooth HTS (2012): Health Thermometer Service |  |
| --- | --- |
| - | Specification approved 2012-05-24. |
| - | Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health thermometer sensors. |
| - | Complete A.5 justification information can be found in Annex 11 . |

| - Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol |  |
| --- | --- |
| - | Specification approved 2008-06-26. |
| - | MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models. This protocol enables the following capabilities: Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile. Permits multiple simultaneous data channels. Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions. Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints. Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks. Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP. Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility. Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements. |
| - | Complete A.5 justification information can be found in Annex 12 . |

| - Bluetooth PHDT (2013): Personal health devices transcoding |  |
| --- | --- |
| - | White paper specification approved 2013-04-30. |
| - | The Bluetooth Personal Health Devices Transcoding White Paper, v1.4, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for Bluetooth low energy sensors. |
| - | Complete A.5 justification information can be found in Annex 13 . |

| - Bluetooth WSP 1.0 (2014): Weight Scale Profile |  |
| --- | --- |
| - | Specification approved on 21 October 2014. |
| - | The LP wireless PAN weight scale client components shall implement the weight scale profile from the Bluetooth Weight Scale Profile specification. NOTE - Entry added after Consent. |
| - | Complete A.5 justification information can be found in Annex 14 . |

| - Bluetooth WSS 1.0 (2014): Weight Scale Service |  |
| --- | --- |
| - | Specification approved on 21 October 2014. |
| - | The LP wireless PAN weight scale meter service components shall implement the weight scale service from the Bluetooth Weight Scale Service specification. NOTE - Entry added after Consent. |
| - | Complete A.5 justification information can be found in Annex 15 . |

| - FIPS PUB 180-4 (2012): Secure Hash Standard (SHS) |  |
| --- | --- |
| - | Federal Information Processing Standard (FIPS) approved 2012-03. |
| - | Secure Hash technology is used for security of communications within the ITU-T H.810 Architecture. It is an update of FIPS PUB 180-2 referenced in earlier editions of the COtinua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 16 . |

| - HL7 CDA IG (2011): HL7 Implementation Guide for Clinical Document Architecture, Release 2: Consent Directives, Release 1 |  |
| --- | --- |
| - | HL7 Draft Standard for Trial Use approved on 2011-01. |
| - | This document describes constraints on the Clinical Document Architecture Release 2 (CDA R2) header and body elements used to express Privacy Consent Directive documents, which are used by the Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 17 . |

| - HL7 CDA-CCD (2007): HL7 Implementation Guide: CDA Release 2 – Continuity of Care Document (CCD) |  |
| --- | --- |
| - | HL7 Standard approved on 2007-04-01. Same as ASTM E2369-05. |
| - | The Continua Design Guidelines uses/generates Continuity of Care records for use within the HL7 CDA. This specification describes constraints on the HL7 Clinical Document Architecture, Release 2 (CDA) specification in accordance with requirements set forward in ASTM E2369-05 Standard Specification for Continuity of Care Record (CCR). |
| - | Complete A.5 justification information can be found in Annex 18 . |

| - HL7 CDA-PHMR (2010): HL7 Implementation Guide for CDA Release 2.0: Personal Healthcare Monitoring Report (PHMR), International Realm. Release 1.1. |  |
| --- | --- |
| - | HL7 Draft Standard for Trial Use (DSTU) approved on 2010-10. |
| - | The Continua Design Guidelines architecture uses HL7 Healthcare Monitoring Reports (PHMR). The purpose of HL7 CDA-PHMR is to describe constraints on the HL7 Clinical Document Architecture (CDA) Header and Body elements for Personal Healthcare Monitoring Report (PHMR) documents mostly containing analysed and raw information of data generated by personal healthcare monitoring devices such as glucometers, BP cuffs, thermometers, weight scales, etc. |
| - | Complete A.5 justification information can be found in Annex 19 . |

| - HL7 CDAR2 QA (2009): HL7 Implementation Guide for CDA Release 2: CDA Framework for Questionnaire Assessments (Universal Realm) and CDA Representation of the Minimum Data Set Questionnaire (U.S. Realm) |  |
| --- | --- |
| - | HL7 Draft Standard for Trial Use (DSTU) Release 1.0 April 2009 |
| - | The Continua Design Guidelines use the HL7 Clinical Document Architecture (CDA) Framework for Questionnaire Assessments, which are defined in this specification. |
| - | Complete A.5 justification information can be found in Annex 20 . |

| - HL7 MS2.6 (2007): HL7 Messaging Standard Version 2.6 |  |
| --- | --- |
| - | "Final Standard" approved October 2007. |
| - | The HL7 Messaging Standard Version 2.6 is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications. |
| - | Complete A.5 justification information can be found in Annex 21 . |

| - IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG) |  |
| --- | --- |
| - | Specification approved 2011-11-30. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 22 . |

| - IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter |  |
| --- | --- |
| - | Specification approved 2012-01-27. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 23 . |

| - IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor |  |
| --- | --- |
| - | Specification approved 2011-11-09. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 24 . |

| - IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer |  |
| --- | --- |
| - | Specification approved 2010-06-17. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 25 . |

| - IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1 |  |
| --- | --- |
| - | Specification approved 2010-09-30. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 26 . |

| - IETF RFC 1305 (1992): Network Time Protocol (Version 3) Specification, Implementation and Analysis (1992-03) |  |
| --- | --- |
| - | Approved standards track document |
| - | Even though this RFC is superseded by NTP V4 (RFC 5905), this Recommendation requires the use of Network Time Protocol (Version 3) specified in RFC 1305 as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document is required as it constitutes a formal specification of the Network Time Protocol (NTP) Version 3, which is used to synchronize timekeeping among a set of distributed time servers and clients within the H.810 architecture. It defines the architectures, algorithms, entities and protocols used by NTP and is intended primarily for implementors. |
| - | Complete A.5 justification information can be found in Annex 27 . |

| - IETF RFC 2030 (1996): Simple Network Time Protocol (SNTP) Version 4 for IPv4, IPv6 and OSI |  |
| --- | --- |
| - | Informational RFC approved October 1996. Obsoleted by RFC 4330. |
| - | Although Informational and obsoleted by RFC 5905 (2010), ITU-T H.810 uses the specs in this RFC as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document describes the Simple Network Time Protocol (SNTP) Version 4, which is an adaptation of the Network Time Protocol (NTP) also utilized by H.810 to synchronize computer clocks in the Internet. SNTP can be used when the ultimate performance of the full NTP implementation described in RFC 1305 is not needed or justified. ITU-T H.810 allows SNTP as a secondary means for synchronizing computer clocks used within the Continua architecture. |
| - | Complete A.5 justification information can be found in Annex 28 . |

| - IETF RFC 2246 (1999): The TLS Protocol Version 1.0 |  |
| --- | --- |
| - | Standards track - Proposed Standard (1999-01) - Obsolete |
| - | H.810 requires the use of TLS v1.0 for the operation of medical, health and fitness devices using the WAN interface specifically for its privacy cryptography for data encryption and its connection reliability and integrity using secure hash functions. The TLS v1.0 protocol provides sufficient communication privacy over the Internet allowing client/server applications to communicate in a way that is designed to prevent eavesdropping, tampering, or message forgery. There is also dependency on the use of this spec across other IHE and HL7 that also use this version of the TLS protocol. |
| - | Complete A.5 justification information can be found in Annex 29 . |

| - IETF RFC 2988 (2000): Computing TCP's Retransmission Timer |  |
| --- | --- |
| - | Standards track RFC approved November 2000. Obsoleted by RFC 6298. |
| - | H.810 requires the use of this RFC, Computing TCP's Retransmission Timer, for the codification of the algorithm used for setting the Retransmission Timeout (RTO) over the WAN Interface. The RTO ensures data delivery in the absence of any feedback from the remote data WAN receiver utilized within Continua's architecture. There is also dependency on the use of this spec across other IHE and HL7 that also use this specification. Additionally, many H.810 certified devices exist that use this version of the RFC. |
| - | Complete A.5 justification information can be found in Annex 30 . |

| - IETF RFC 3195 (2001): Reliable Delivery for syslog |  |
| --- | --- |
| - | Standards track RFC approved November 2001. |
| - | Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over teh WAN Interface. The BSD Syslog Protocol describes a number of service options related to propagating event messages. For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages. One is a trivial mapping maximizing backward compatibility and the second provides a more complete mapping. Both provide the degree of robustness and security required by Continua in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 31 . |

| - IETF RFC 3211 (2001): Password-based Encryption for CMS |  |
| --- | --- |
| - | Specification approved December 2001. Obsoleted by RFC 3369, RFC 3370. |
| - | Password-based Encryption for CMS in this obsolete RFC is used by ITU-T H.810 for the encryption of data using user-supplied passords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key. The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and therefore ITU-TT H.810 requires this within the Continua architecture. Utilized within many ITU-T H.810-compliant devices certified by Continua Health Alliance. There is also dependency on the use of this spec across other IHE and HL7 that also use this version of the protocol. |
| - | Complete A.5 justification information can be found in Annex 32 . |

| - IETF RFC 3268 (2002): Advanced Encryption Standard (AES) Ciphersuites for Transport Layer Security (TLS) |  |
| --- | --- |
| - | All are approved IETF documents. Obsoleted by RFC 5246. |
| - | ITU-T H.810 requires the use of this RFC, Advanced Encryption Standard (AES) Ciphersuites for Transport Layer Security (based on TLS v1.0), for the certificate handling operation of medical, health and fitness devices using the WAN interface. Continua specifies cipher usage with TLS in accordance with this RFC only. Future editions of ITU-T H.810 may include reference to more recent RFCs that obsolete this RFC; however, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the TLS protocol, and there are many H.810-compliant devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 33 . |

| - IETF RFC 3881 (2001): Password-based Encryption for CMS |  |
| --- | --- |
| - | Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370. |
| - | ITU-T H.810 requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key. The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and H.810 requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many H.810-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 34 . |

| - IETF RFC 4330 (2006): Simple Network Time Protocol version 4 for IPv6, IPv4, and OSI |  |
| --- | --- |
| - | Informational RFC approved January 2006. Obsoleted by RFC 4330. |
| - | Although Informational and obsoleted by RFC 5905 (2010), ITU-T H.810 uses the specs in this RFC as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document describes the Simple Network Time Protocol (SNTP) Version 4, which is an adaptation of the Network Time Protocol (NTP) also utilized by Continua to synchronize computer clocks in the Internet. SNTP can be used when the ultimate performance of the full NTP implementation described in RFC 1305 is not needed or justified. ITU-T H.810 allows SNTP as a secondary means for synchronizing computer clocks used within the Continua architecture. |
| - | Complete A.5 justification information can be found in Annex 35 . |

| - IETF RFC 4614 (2006): A Roadmap for Transmission Control Protocol (TCP) Specification Documents |  |
| --- | --- |
| - | Informal RFC approved September 2006. |
| - | ITU-T H.810 requires the use of this informational RFC, A Roadmap for Transmission Control Protocol (TCP) Specification Documents, as a library of documents required for implementing TCP for use over the Continua WAN Interface defined in H.810. It serves as a quick reference for both TCP implementers and other parties who desire information contained in the TCP-related RFCs. The correct and efficient implementation of the Transmission Control Protocol (TCP) for certification of H.810 devices is a critical part of the software of most Internet hosts. As TCP has evolved over the years, many distinct documents have become part of the accepted standard for TCP. At the same time, a large number of more experimental modifications to TCP have also been published in the RFC series, along with informational notes, case studies, and other advice. This document is used as a brief summary of the RFC documents that define TCP and provides guidance to implementers on the relevance and signifcance of RFC extensions, informational notes, and best current practices tat relate to TCP.This specification has been very helpful in both helping Continua create its source code and its automated test program. The same guidance has been utilized by implementers who have certified WAN devices at Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 36 . |

| - IHE ITI TF-1 PIX (2010): IHE IT Infrastructure 10 Technical Framework Supplement Patient Identifier Cross-Reference HL7 V3 (PIXV3) and Patient Demographic Query HL7 V3 (PDQV3) 15 Trial Implementation |  |
| --- | --- |
| - | Approved for trial implementation. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This document defines two new Integration Profiles and provides alternative IHE transactions for the Patient Identity Feed, the Patient Identity Query, the Patient Update 195 Notification, and the Patient Demographic Query. |
| - | Complete A.5 justification information can be found in Annex 37 . |

| - IHE ITI TF-1 XDM (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0, IHE Cross-Enterprise Document Media Interchange (XDM) profile |  |
| --- | --- |
| - | Specification approved 2009-08-10 |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata. |
| - | Complete A.5 justification information can be found in Annex 38 . |

| - IHE ITI TF-1 XUA (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles: Cross Enterprise User Assertion (XUA) Integration Profile |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This Profile specification provides a means to communicate claims about an authenticated principal (user, application, system...) in transactions that cross enterprise boundaries. To provide accountability in these cross-enterprise transactions there is a need to identify the requesting user in a way that enables the receiver to make access decisions and proper audit entries. The XUA Profile supports many solutions including enterprises that have chosen to have their own user directory with their own unique method of authenticating the users, and others that have chosen to use a third party to perform the authentication. |
| - | Complete A.5 justification information can be found in Annex 39 . |

| - IHE ITI TFS XDR (2009): IHE IT Infrastructure (ITI) Technical Framework Supplement 2009-2010 Cross-Enterprise Document Reliable Interchange (XDR) Trial Implementation Supplement Version, Release 4.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata. |
| - | Complete A.5 justification information can be found in Annex 40 . |

| - IHE ITI-TF-1 (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. It defines a technical framework for the implementation of established messaging standards to achieve specific remote patient monitoring goals. |
| - | Complete A.5 justification information can be found in Annex 41 . |

| - IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging). “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 42 . |

| - IHE PCD TF 2012 1 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 1: Integration Profiles |  |
| --- | --- |
| - | Specification approved 2012-08-16. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) Integration Profiles, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 43 . |

| - IHE PCD TF 2012 2 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 2: Transactions |  |
| --- | --- |
| - | Specification approved 2012-08-16. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) for transactions, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 44 . |

| - IHE PCD TF 2012 3 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 3: Semantic Content |  |
| --- | --- |
| - | Specification approved 2012-08-16. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) Semantic Content, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 45 . |

| - IHE PCD-TF-1 (2006): Patient Care Device Technical Framework Year 1: 2006-2007 Volume 1 Integration Profiles Revision 1.1 (Trial Implementation Version) |  |
| --- | --- |
| - | Approved for trial implementation 2006-08-15. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 46 . |

| - IHE PCD-TF-2 (2011): IHE Patient Care Device (PCD) Technical Framework, Volume 2 (PCD TF-2): Transactions, Revision 1.0 |  |
| --- | --- |
| - | Final text specification approved 2011-08-12. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 47 . |

| - IHE TFS DSG (2009): IHE IT Infrastructure (ITI), Technical Framework Supplement: Document Digital Signature 2009-2010.Trial Implementation Supplement. |  |
| --- | --- |
| - | Approved for trial implementation August 10th, 2009. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 48 . |

| - IHE TFS XUA++ (2010): IHE IT Infrastructure (ITI), Technical Framework Supplement: Cross-Enterprise User Assertion - Attribute Extension (XUA++). Trial Implementation. |  |
| --- | --- |
| - | Approved for trial implementation August 10th, 2010. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 49 . |

| - NFC Forum TS PHDC 1.0 (2013): Personal Health Device Communication 1.0 |  |
| --- | --- |
| - | Technical Specification approved 2013-02-27. |
| - | The NFC Personal Health Device Communication specification is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a framework for personal health devices that are compliant with the IEEE 11073 standards family and use IEEE 11073-20601 Optimized Exchange Protocol to report measurements using NFC Forum communication technology. |
| - | Complete A.5 justification information can be found in Annex 50 . |

| - OASIS SAMLTokenProfile (2006): Web Services Security: SAML Token Profile 1.1 |  |
| --- | --- |
| - | Approved OASIS Standard, 1 February 2006 |
| - | SAML Token Profile 1.1 is needed for web services security in applications defined in Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 51 . |

| - OASIS WS-MakeConnection v1.1 (2009): Web Services Make Connection (WS-MakeConnection) Version 1.1 |  |
| --- | --- |
| - | Approved OASIS standard |
| - | ITU-T H.810 makes use of OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2. WS-MakeConnection is used by WS-ReliableMessaging and describes a protocol that allows messages to be transferred between nodes implementing this protocol by using a transport-specific back-channel. The protocol is described in this specification in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within this specification. |
| - | Complete A.5 justification information can be found in Annex 52 . |

| - OASIS/WS-I BP (2006): Basic Profile Version 1.1 |  |
| --- | --- |
| - | "Final Material" specification approved on 2006-04-10. |
| - | The OASIS/WS-I Basic Profile Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 53 . |

| - OASIS/WS-I BSP (2007): OASIS/WS-I Basic Security Profile Version 1.0 |  |
| --- | --- |
| - | "Final Material" specification approved on 2007-03-30. |
| - | The OASIS/WS-I Basic Security Profile Version 1.0 is needed for web services security in applications defined in Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 54 . |

| - OASIS/WS-ReliableMessaging 1.2 (2009): OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2 |  |
| --- | --- |
| - | OASIS Standard approved 2 February 2009. |
| - | The OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2 is needed for web services security in applications defined in Continua Design Guidelines. WS-ReliableMessaging describes a protocol that allows messages to be transferred reliably between nodes implementing this protocol in the presence of software component, system, or network failures. The protocol is described in WS-ReliableMessaging in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within WS-ReliableMessaging. |
| - | Complete A.5 justification information can be found in Annex 55 . |

| - USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0 |  |
| --- | --- |
| - | Approved specification. |
| - | The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. |
| - | Complete A.5 justification information can be found in Annex 56 . |

| - W3C XMLENC (2002): XML Encryption Syntax and Processing |  |
| --- | --- |
| - | W3C Recommendation of 10 December 2002 |
| - | The XML Encryption Syntax and Processing is used for secure encryption of XML data within the Continua Design Guideline architecture. W3C XMLENC specifies a process for encrypting data and representing the result in XML. The data may be arbitrary data (including an XML document), an XML element, or XML element content. The result of encrypting data is an XML Encryption element which contains or references the cipher data. |
| - | Complete A.5 justification information can be found in Annex 57 . |

| - ZigBee HCP (2010): ZigBee Health Care Profile Specification, version 1.0, revision 15 |  |
| --- | --- |
| - | ZigBee Standard approved March 2010. |
| - | The ZigBee Health Care Profile Specification Standard is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. The application domains covered are Disease Monitoring, Personal Wellness Monitoring and Personal Fitness monitoring. The environments addressed are residential environments, retirement communities, medical care facilities (low acuity aspects only) and fitness centers. |
| - | Complete A.5 justification information can be found in Annex 58 . |

Annex 1A.5 justification information for the reference to ANSI/HL7 CDA Rel.2 (2005)

  - 1 	 Clear description of the referenced document:

ANSI/HL7 CDA Rel.2 (2005): HL7 Clinical Document Architecture, Release 2.0

  - 2 	 Status of approval:

Normative HL7 document approved 2005-04-21.

  - 3 	 Justification for the specific reference:

The HL7 CDA is a document markup standard that specifies the structure and semantics of "clinical documents" for the purpose of exchange between healthcare providers and patients. This document describes Release 2 of the HL7 Clinical Document Architecture (CDA) which is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Document approved 2005-04-21 and widely adopted in the health informatics sector.

  - 6 	 The degree of stability or maturity of the document:

Document approved 2005-04-21, in force.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

RFC 2557 "MIME Encapsulation of Aggregate Documents, such as HTML (MHTML)"

RFC 3066 "Tags for the Identification of Languages"

W3C Extensible Markup Language (XML) 1.0 (Third Edition)

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth BPP (2011): Blood Pressure Profile

  - 2 	 Status of approval:

Specification approved 2011-10-05.

  - 3 	 Justification for the specific reference:

The Bluetooth Blood Pressure Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for blood pressure sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-10-05 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-10-05 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [7]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Blood Pressure Service

[2] Bluetooth Core Specification v4.0

[3] Device Information Service v1.0

[4] Health Device Profile v1.0

[5] Characteristic and Descriptor descriptions accessible via the Bluetooth SIG Assigned Numbers

[6] Personal Health Devices Transcoding White Paper v1.2 and later

[7] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later. This also includes ISO/IEEE Std 11073-20601a™- 2010 – Amendment 1.

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth BPS (2011): Blood Pressure Service

  - 2 	 Status of approval:

Specification approved 2011-10-05.

  - 3 	 Justification for the specific reference:

The Bluetooth Blood Pressure Service, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for blood pressure sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-10-05 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-10-05 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [4]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [4].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Bluetooth Core Specification v4.0

[2] Health Device Profile v1.0

[3] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers

[4] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later. This also includes ISO/IEEE Std 11073-20601a™- 2010 – Amendment 1.

[5] Current Time Service Specification v1.0

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth CS2.1 (2007): Bluetooth Core Specification Version 2.1

  - 2 	 Status of approval:

Specification approved 2007-07-26. Errata exist, incorporated in published document.

  - 3 	 Justification for the specific reference:

The Bluetooth Core Specification Versions 2.1 and 4.0 are needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines version 2.1. Bluetooth wireless specifications define a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2007-07-26, which is widely used globally. Errata exist, incorporated in published document.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2007-07-26, versions 3 and 4 exist but do not obsolete version 2.1. Version 2.0 is deprecated.

  - 7 	 Relationship with other existing or emerging documents:

See 5. and 6. above.

  - 8 	 Any explicit references within that referenced document should also be listed:

Vol.4

C.1) Simplified Version of: SD Memory Card Specification: Part 1 Physical Layer Specification http://www.sdcard.org/sdphysical_simplifyed_Ver101.pdf

C.2) Simplified Version of: SDIO Card Specification http://www.sdcard.org/SDIO-SimpleSpec-1.00_A.pdf

C.3) Simplified Version of: SDIO Card Type-A Specification for Bluetooth http://www.sdcard.org/Simple_of_SDIO_Card_TypeA_Spec_v1.0_Draft_C_20020524.pdf

13 References

[1] [IETF RFC 1055: Nonstandard for transmission of IP datagrams over serial lines: SLIP – http://www.ietf.org/rfc/rfc1055.txt

[2] ITU Recommendation V.24: List of definitions for interchange circuits between data terminal equipment (DTE) and data circuit-terminating equipment (DCE) – http://www.itu.int/rec/recommendation.asp

[3] ITU Recommendation V.28: Electrical characteristics for unbalanced double-current interchange circuits – http://www.itu.int/rec/recommendation.asp

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

Bluetooth CS4.0 (2010): Bluetooth Core Specification Version 2.1

  - 2 	 Status of approval:

Specification published 30 June 2010.

  - 3 	 Justification for the specific reference:

The Bluetooth Core Specification Versions 2.1 and 4.0 are needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines version 4.0. Bluetooth wireless specifications define a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification published 30 June 2010, widely used on a global basis.

  - 6 	 The degree of stability or maturity of the document:

Specification published 30 June 2010, version does not obsolete earlier versions. Vol.1, Part C lists relationship to earlier versions and deprecated features across the various system versions.

  - 7 	 Relationship with other existing or emerging documents:

See 5. and 6. above.

  - 8 	 Any explicit references within that referenced document should also be listed:

Vol.3 Part C:

19) REFERENCES

[1] Baseband Specification

[2] Link Manager Protocol

[3] RFCOMM

[4] Telephony Control Specification

[5] Service Discovery Protocol

[6] Security Architecture (white paper)

[7] Bluetooth Assigned Numbers

Vol.3 Part G:

10) REFERENCES

[1] Assigned Numbers Specification: https://www.bluetooth.org/Technical/AssignedNumbers/home.htm

Vol.3 Part H:

4 REFERENCES

[1] NIST Publication FIPS-197 (http://csrc.nist.gov/publications/fips/fips197/fips-197.pdf)

Vol.4 Part B:

7) REFERENCES

[1] USB 2.0, http://www.usb.org/developers/docs/docs, including:

1. Interface Association Descriptors ECN

2. Inter-Chip USB Supplement 1.0

3. High Speed Inter-Chip USB Supplement 1.0

4. Link Power Management 1.0

[2] USB Device Firmware Upgrade 1.1

Vol.4, Part C:

C.1) Simplified Version of: SD Memory Card Specification: Part 1 Physical Layer Specification http://www.sdcard.org/sdphysical_simplifyed_Ver101.pdf

C.2) Simplified Version of: SDIO Card Specification http://www.sdcard.org/SDIO-SimpleSpec-1.00_A.pdf

C.3) Simplified Version of: SDIO Card Type-A Specification for Bluetooth http://www.sdcard.org/Simple_of_SDIO_Card_TypeA_Spec_v1.0_Draft_C_20020524.pdf

Vol.4, Part D:

13) References

[1] [IETF RFC 1055: Nonstandard for transmission of IP datagrams over serial lines: SLIP – http://www.ietf.org/rfc/rfc1055.txt

[2] ITU Recommendation V.24: List of definitions for interchange circuits between data terminal equipment (DTE) and data circuit-terminating equipment (DCE) – http://www.itu.int/rec/recommendation.asp

[3] ITU Recommendation V.28: Electrical characteristics for unbalanced double-current interchange circuits – http://www.itu.int/rec/recommendation.asp

Volume 5, Part A:

9 REFERENCES

[1] IEEE 802.11-2007 Standard and Amendment 1 (Radio Resource Measurement)

[2] ISO/IEC 3166-2

[3] IEEE 802.15.2 Recommended Practice: Coexistence of WPAN with other wireless devices operating in unlicensed frequency bands

[4] Bluetooth SIG Company Identifiers https://www.bluetooth.org/Technical/AssignedNumbers/identifiers.htm

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth DIS (2011): Device Information Service

  - 2 	 Status of approval:

Specification approved 2011-11-29.

  - 3 	 Justification for the specific reference:

The Bluetooth Device Information Service, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification exposes manufacturer and/or vendor information about a device, information that is needed to validate the authenticity and security of patient data.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-29 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-29 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [3]. This specification utilized the modeling of a health, medical and fitness devices medical system based on the domain information model defined within reference [3].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Bluetooth Core Specification v4.0

[2] Characteristic descriptions are accessible via the Bluetooth SIG Assigned Numbers.

[3] IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth GP (2012): Glucose Profile

  - 2 	 Status of approval:

Specification approved 2012-04-03.

  - 3 	 Justification for the specific reference:

The Bluetooth Glucose Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for glucose sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-04-03 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-04-03 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [7]. This specification utilized the modeling of a glucose devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Glucose Service

[2] Bluetooth Core Specification v4.0 or later

[3] Device Information Service v1.1 or later

[4] Health Device Profile v1.0 or later.

[5] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers

[6] Personal Health Devices Transcoding White Paper v1.2 or later

[7] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later. This also includes ISO/IEEE Std 11073-20601a™- 2010 – Amendment 1.

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

Bluetooth GS (2012): Glucose Service

  - 2 	 Status of approval:

Specification approved 2012-04-03.

  - 3 	 Justification for the specific reference:

The Bluetooth Glucose Service, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for glucose sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-04-03 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-04-03 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [4]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [4].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Bluetooth Core Specification v4.0 or later

[2] Health Device Profile v1.0

[3] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers

[4] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Part 20601: Application Profile - Optimized Exchange Protocol - version 1.0 or later. This also includes ISO/IEEE 11073-20601:2010 (E).

[5] Current Time Service specification v1.0

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1

  - 2 	 Status of approval:

Specification approved 2012-07-24.

  - 3 	 Justification for the specific reference:

The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below.  There are several but specifically reference [7]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1] Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

[2] Multi-Channel Adaptation Protocol (MCAP)

[3] Bluetooth SIG member web side, Bluetooth Assigned Numbers, http://www.bluetooth.org

[4] Bluetooth Advanced Audio Distribution Profile (A2DP) (Informative)

[5] Bluetooth Basic Imaging Profile (BIP) (Informative)

[6] IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[7] IEEE Std 11073-20601 ™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

[8] Bluetooth Qualification Reference Document (PRD), version 2.0 or later (Informative)

[9] Bluetooth User Interface Flow Diagrams for Bluetooth Secure Simple Pairing Devices (Informative)

[10] 2.1 + EDR, Volume 0, Part B, Compliance Requirements (Informative)

[11] Bluetooth Device Identification Specification, version 1.3 or later

[12] HDP Implementation Guidance Whitepaper (Informative)

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth HTP (2011): Health Thermometer Profile

  - 2 	 Status of approval:

Specification approved 2011-05-24.

  - 3 	 Justification for the specific reference:

The Bluetooth Health Thermometer Profile, Version 1.0, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health thermometer sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-05-24 and many qualified devices implementing this version of the specification exist

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-05-24 and many qualified devices implementing this version of the specification exist

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [7]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

[2] Health Thermometer Service

[3] Bluetooth Core specification v4.0

[4] Device Information Service

[5] Health Device Profile v1.0

[6] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers.

[7] IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

[8] Personal Health Devices Transcoding Whitepaper

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

Bluetooth HTS (2012): Health Thermometer Service

  - 2 	 Status of approval:

Specification approved 2012-05-24.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health thermometer sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-05-24 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-05-24 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [4]. This specification utilized the modeling of a thermometer device's medical system based on the domain information model defined within reference [4].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Bluetooth Core Specification v4.0

[2] Health Device Profile v1.0

[3] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers.

[4] IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol

  - 2 	 Status of approval:

Specification approved 2008-06-26.

  - 3 	 Justification for the specific reference:

MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models.

This protocol enables the following capabilities:

Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile.

Permits multiple simultaneous data channels.

Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions.

Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints.

Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks.

Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP.

Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility.

Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [5]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [5].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1]

Bluetooth Core Specification version 2.0 + EDR or later versions of the Bluetooth Core Specification

[2]

Bluetooth SIG member web site, Bluetooth Assigned Numbers, http://www.bluetooth.org

[3]

IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[4]

1003.1-2001/COR 1-2002 IEEE Standard for Information Technology - Portable Operating System Interface (POSIX) (Informative)

[5]

Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth PHDT (2013): Personal health devices transcoding

  - 2 	 Status of approval:

White paper specification approved 2013-04-30.

  - 3 	 Justification for the specific reference:

The Bluetooth Personal Health Devices Transcoding White Paper, v1.4, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for Bluetooth low energy sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2013-04-30 and many qualified devices implementing this version of the specification exist. Even though this s titled a "white paper" it defines specific configuration and parameteres necessary for interoperable operation of devices.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2013-04-30 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [1] and [17]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [1] and [17].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0.This also includes ISO/IEEE Std 11073-20601a™-2010 – Amendment 1

[2] Device Information Service V10r00

[3] Characteristic descriptions are accessible via the Bluetooth SIG Assigned Numbers and the Formats section at Bluetooth SIG Developer Portal.

[4] ISO/IEEE Std 11073-10408™-2008 Standard for Health informatics - Personal health device communication - Device specialization - Thermometer

[5] Health Thermometer Service V10r00

[6] Continua Design Guidelines 2010 (version 1.5)

[7] IEEE Std 11073-10406™-2011 Standard for Health informatics - Personal health device communication - Device specialization - Basic Electrocardiograph (ECG) (1 to 3-lead ECG)

[8] Heart Rate Service V10r00

[9] Blood Pressure Service V10r00

[10] IEEE Std 11073-10407™-2008 Standard for Health informatics – Personal health device communication – Device specialization – Blood Pressure Monitor

[11] IEEE Std 11073-10417™-2011 Standard for Health informatics – Personal health device communication – Device specialization – Glucose meter

[12] Glucose Service V10r00

[13] Bluetooth Core Specification v4.0 or later

[14] Current Time Service V10r00

[15] ISO/IEEE Std 11073-10441™-2008 Standard for Health Informatics – Personal health device communication – Device specialization – Cardiovascular fitness and activity monitor

[16] Description of the Current Time Characteristic format in the Bluetooth SIG developer site.

[17] Specification of Regulatory Certification Data List at ISO/IEEE Std 11073-20601a-2010, sections 6.3.2.3 (MDS class attributes) and A.11.2 (MDS-related data types).

[18] Patient Care Device (PCD) Technical Framework at the IHE site.

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth WSP 1.0 (2014): Weight Scale Profile

  - 2 	 Status of approval:

Specification approved on 21 October 2014.

  - 3 	 Justification for the specific reference:

The LP wireless PAN weight scale client components shall implement the weight scale profile from the Bluetooth Weight Scale Profile specification.

NOTE - Entry added after Consent.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved at 2014-10-21 and some qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

See item 5 above.

  - 7 	 Relationship with other existing or emerging documents:

See item 5 above.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Weight Scale Service

[2] Bluetooth Core Specification v4.0 or later version of the Core Specification

[3] Bluetooth Core Specification v4.0 with CSA3 or later version of the Core Specification

[4] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers.

[5] Body Composition Service v1.0 or later

[6] User Data Service v1.0 or later

[7] Device Information Service v1.1 or later

[8] Battery Service v1.0 or later

[9] Current Time Service v1.1 or later

[10] Personal Health Devices Transcoding White Paper v1.5 or later

[11] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later. This also includes ISO/IEEE Std 11073-20601a™- 2010 - Amendment 1.

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth WSS 1.0 (2014): Weight Scale Service

  - 2 	 Status of approval:

Specification approved on 21 October 2014.

  - 3 	 Justification for the specific reference:

The LP wireless PAN weight scale meter service components shall implement the weight scale service from the Bluetooth Weight Scale Service specification.

NOTE - Entry added after Consent.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved at 2014-10-21 and some qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

See item 5 above.

  - 7 	 Relationship with other existing or emerging documents:

See item 5 above.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Bluetooth Core Specification v4.0 or later version of the Core Specification.

[2] Characteristic and Descriptor descriptions are accessible via the Bluetooth SIG Assigned Numbers.

[3] Current Time Service Specification v1.1 or later

[4] IEEE 11073-10415 - 2008 (Health informatics-Personal health device communication - Part 10415: Device specialization- Weighing Scale)

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

FIPS PUB 180-4 (2012): Secure Hash Standard (SHS)

  - 2 	 Status of approval:

Federal Information Processing Standard (FIPS) approved 2012-03.

  - 3 	 Justification for the specific reference:

Secure Hash technology is used for security of communications within the ITU-T H.810 Architecture. It is an update of FIPS PUB 180-2 referenced in earlier editions of the COtinua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

Some information may be available in the NIST Patents Database that can be accessed through http://patapsco.nist.gov/ts/220/sharedpatent/index.cfm

  - 5 	 Other useful information describing the "Quality" of the document:

This standard specifies hash algorithms that can be used to generate digests of messages. The digests are used to detect whether messages have been changed since the digests were generated. This NIST document has been produced by Computer Security Division's (CSD) Security Technology Group of NIST has a subgroup that deals specifically with Cryptographic Technology Standards and Guidance (CTSG). CTSG is involved in the development, maintenance, and promotion of a number of standards and guidance that cover a wide range of cryptographic technology.

NIST has long term technical experience in dealing with cryptographic matters. The document has been publicly and internally reviewed before publication.

  - 6 	 The degree of stability or maturity of the document:

Published in March 2012. This Standard supersedes FIPS 180-3, which had already superseded FIPS 180-2. For the relationship between FIPS 180-4 and FIPS 140-2, see IG 1.10 of the Implementation Guidance for FIPS PUB 140-2 and the Cryptographic Module Validation Program at http://csrc.nist.gov/groups/STM/cmvp.

  - 7 	 Relationship with other existing or emerging documents:

NIST is actively involved in standardization of cryptographic techniques. The crypto tools are of wide general applicability (see e.g. DES, AES, modes of operation and guidelines). NIST continues its research and standardization in the area of modes of operation.

Guidance regarding the testing and validation to FIPS 180-4 and its relationship to FIPS 140-2 can be found in IG 1.10 of the Implementation Guidance for FIPS PUB 140-2 and the Cryptographic Module Validation Program at http://csrc.nist.gov/groups/STM/cmvp.

  - 8 	 Any explicit references within that referenced document should also be listed:

APPENDIX B: REFERENCES

[FIPS 180-3]  NIST, Federal Information Processing Standards Publication 180-3,  Secure  Hash Standards (SHS) , October 2008.

[SP 800-57]  NIST Special Publication (SP) 800-57, Part 1,  Recommendation for Key  Management: General , (Draft) May 2011.

[SP 800-107]  NIST Special Publication (SP) 800-107,  Recommendation for Applications  Using Approved Hash Algorithms , (Revised), (Draft) September 2011.

  - 9 	 Qualification of NIST:

Qualification of NIST: NIST is recognized under the provisions of ITU-T Recommendation A.5. Qualifying information is on file in TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDA IG (2011): HL7 Implementation Guide for Clinical Document Architecture, Release 2: Consent Directives, Release 1

  - 2 	 Status of approval:

HL7 Draft Standard for Trial Use approved on 2011-01.

  - 3 	 Justification for the specific reference:

This document describes constraints on the Clinical Document Architecture Release 2 (CDA R2) header and body elements used to express Privacy Consent Directive documents, which are used by the Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Publication of this draft standard for trial use and comment has been approved by Health Level Seven International (HL7). This draft standard is not an accredited American National Standard. The comment period for use of this draft standard shall end 18 months from the date of publication. Suggestions for revision should be submitted at http://www.hl7.org/dstucomments/index.cfm.

Following this 18 month evaluation period, this draft standard, revised as necessary, will be submitted to a normative ballot in preparation for approval by ANSI as an American National Standard. Implementations of this draft standard shall be viable throughout the normative ballot process and for up to six months after publication of the relevant normative standard.

  - 6 	 The degree of stability or maturity of the document:

See item 5 above.

  - 7 	 Relationship with other existing or emerging documents:

Revised version expected after the trial period finishes and received feedback is incorporated in a future version of the standard.

  - 8 	 Any explicit references within that referenced document should also be listed:

The base standard for this implementation guide is the HL7 Clinical Document Architecture, Release 2.0.

The following list of specifications was used in the creation of this implementation guide:

Clinical LOINC document and section codes

Health Information Technology Standards Panel (HITSP) Constructs, Transaction Package (TP30) - Manage Consent Directives

HL7 Clinical Document Architecture, Release 2 Normative Edition 2005,

Integrating the Healthcare Enterprise (IHE) Profiles, including the content profiles within Cross-Enterprise Sharing Document (XDS) Sharing Scanned Documents Integration Profile (XDS-SD) and Basic Patient Privacy Consents (BPPC) that is based on it

HL7 Version 3 Domain Analysis Model: Medical Records; Composite Privacy Consent Directive, DSTU Release 2 (CPCD DAM) – http://www.hl7.org/dstucomments/

Sample privacy consent authorization forms provided by the state and federal agencies (e.g., SAMHSA, SSA ,VHA, Sate of New York, State of California, British Columbia)

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDA-CCD (2007): HL7 Implementation Guide: CDA Release 2 – Continuity of Care Document (CCD)

  - 2 	 Status of approval:

HL7 Standard approved on 2007-04-01. Same as ASTM E2369-05.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates Continuity of Care records for use within the HL7 CDA. This specification describes constraints on the HL7 Clinical Document Architecture, Release 2 (CDA) specification in accordance with requirements set forward in ASTM E2369-05 Standard Specification for Continuity of Care Record (CCR).

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

HL7 Standard approved on 2007, dual publication with American Society for Testing and Materials (ASTM) standard E2369-05.

  - 6 	 The degree of stability or maturity of the document:

See 5.

  - 7 	 Relationship with other existing or emerging documents:

See 5.

  - 8 	 Any explicit references within that referenced document should also be listed:

ASTM E2369-05, Standard Specification for Continuity of Care Record (CCR), http://www.astm.org/DATABASE.CART/HISTORICAL/E2369-05.htm

RFC 2557 “MIME Encapsulation of Aggregate Documents, such as HTML (MHTML)”

HL7 CDA Release 2

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDA-PHMR (2010): HL7 Implementation Guide for CDA Release 2.0: Personal Healthcare Monitoring Report (PHMR), International Realm. Release 1.1.

  - 2 	 Status of approval:

HL7 Draft Standard for Trial Use (DSTU) approved on 2010-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines architecture uses HL7 Healthcare Monitoring Reports (PHMR). The purpose of HL7 CDA-PHMR is to describe constraints on the HL7 Clinical Document Architecture (CDA) Header and Body elements for Personal Healthcare Monitoring Report (PHMR) documents mostly containing analysed and raw information of data generated by personal healthcare monitoring devices such as glucometers, BP cuffs, thermometers, weight scales, etc.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Second release (Release 1.1) of the Draft Standard for Trial Use (DSTU) for Personal Healthcare Monitoring Report in the HL7 Clinical Document Architecture (CDA) was issued in October 2010. After the comment period of 24 months, the document is expected to progress into a Standard phase based on comments received.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

See 5. above.

  - 8 	 Any explicit references within that referenced document should also be listed:

IETF RFC 2806 "URLs for Telephone Calls"

Health Level Seven (2005-04), HL7 Clinical Document Architecture, Release 2.0

IEEE 11073,

SNOMED CT

UCUM.

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDAR2 QA (2009): HL7 Implementation Guide for CDA Release 2: CDA Framework for Questionnaire Assessments (Universal Realm) and CDA Representation of the Minimum Data Set Questionnaire (U.S. Realm)

  - 2 	 Status of approval:

HL7 Draft Standard for Trial Use (DSTU) Release 1.0 April 2009

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines use the HL7 Clinical Document Architecture (CDA) Framework for Questionnaire Assessments, which are defined in this specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Draft Standard for Trial Use (DSTU) Released in April 2009.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

See 5. above.

  - 8 	 Any explicit references within that referenced document should also be listed:

Health Level Seven (2005-04), HL7 Clinical Document Architecture, Release 2.0

RFC 2557 “MIME Encapsulation of Aggregate Documents, such as HTML (MHTML)”

3 REFERENCES

MDS Data Dictionary Access Data Base (Contained in this file link).

Rand Corporation: MDS 3.0 Evaluation Project Instruction Manual Updated

May 30, 2008.

HITSP Clinical Document and Message Terminology Component HITSP/C80 -

September 12, 2008 Version 0.0.9.

HITSP CDA and CCD Content Modules Component HITSP/C83 - August 16,

2008 Version 0.0.1.

Dolin RH, Alschuler L, Boyer S, Beebe C, Behlen FM, Biron PV, Shabo A,

(Editors). HL7 Clinical Document Architecture, Release 2.0. ANSI-approved HL7

Standard; May 2005. Ann Arbor, Mich.: Health Level Seven, Inc. Available at:

http://www.hl7.org/documentcenter/private/standards/cda/r2/cda_r2_normat

ivewebedition.zip.

LOINC: Logical Observation Identifiers Names and Codes, Regenstrief Institute.

Available at http://www.regenstrief.org/medinformatics/LOINC/.

SNOMED CT: SNOMED CT Clinical Terms SNOMED CT International

Organization. Available at http://www.ihtsdo.org.

Extensible Markup Language. Available at http://www.w3.org/XML.

Dolin RH, Alschuler L, Boyer S, Beebe C, Behlen FM, Biron PV, Shabo A., HL7

Clinical Document Architecture, Release 2. J Am Med Inform Assoc. 2006;13:30-

39. Available at http://www.jamia.org/cgi/reprint/13/1/30.

Using SNOMED CT in HL7 Version 3, Release 1.0.

Nunnally JC, Bernstein IH. Psychometric Theory, 3rd ed. New York, McGraw-

Hill, 1994.

Aday LA. Designing and Conducting Health Surveys: A Comprehensive Guide,

2nd ed. San Francisco, Jossey-Bass, 1996.

White TM, Hauan MJ. Extending the LOINC conceptual schema to support

standardized assessment instruments. J Am Med Inform Assoc, Vol. 9, No. 6,

p. 586-99 (2002).

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 MS2.6 (2007): HL7 Messaging Standard Version 2.6

  - 2 	 Status of approval:

"Final Standard" approved October 2007.

  - 3 	 Justification for the specific reference:

The HL7 Messaging Standard Version 2.6 is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

HL7 Version 2.6 approved in October 2007 represents HL7's represents a major revision to Versions 2.5 and 2.5.1, refining and updating existing messages and adding new messages and domains. Version 2.7 exists but does not supersede V2.6.

  - 6 	 The degree of stability or maturity of the document:

In use since its approval in October 2007. No erratum exists.

  - 7 	 Relationship with other existing or emerging documents:

Version 2.7 exists but does not supersede V2.6.

  - 8 	 Any explicit references within that referenced document should also be listed:

1.9 REFERENCE DOCUMENTS

1.9.1 ANSI Standards1

ANSI X3.30

1985 Representation for calendar date and ordinal date

ANSI X3.4

1986 Coded character sets - American National Standard code for information interchange (7-bit ASCII)

ANSI X3.43

1986 Information systems representation of local time of day for information interchange

of universal time, local time differentials, and United States time zone references for information interchange

1.9.2 ISO Standards2

ISO 5218

1977 Information Interchange-Representation of Human Sexes

ISO 1000

1981 SI Units and Recommendations for the use of their multiples and of certain other units

ISO 2955

1983 Information processing-Representation of SI and other units in systems with limited character sets

ISO 8072

1986 Network Standards

ISO 8601

1988 Data elements and interchange formats - information interchange (representation of dates and times)

ISO 8859

1988 Information Processing- 8-bit single-byte coded graphic character sets

ISO 8859/1

1988 Information Processing-Latin Alphabet No. 1

ISO 8859/2

1988 Information Processing-Latin Alphabet No. 2

ISO 8859/3

1988 Information Processing-Latin Alphabet No. 3

ISO 8859/4

1988 Information Processing-Latin Alphabet No. 4

ISO 8859/5

1988 Information Processing-Latin/Cyrillic Alphabet

ISO 8859/6

1988 Information Processing-Latin/Arabic Alphabet

ISO 8859/7

1988 Information Processing-Latin/Greek Alphabet

ISO 8859/8

1988 Information Processing-Latin/Hebrew Alphabet

ISO 8859/9

1988 Information Processing-Latin Alphabet No. 5

JAS2020

A subset of ISO2020 used for most Kanji transmissions

JIS X 0202

ISO 2022 with escape sequences for Kanji

1.9.3 Codes and Terminology Sources

ACR

Index for Radiological Diagnosis, Revised 3rd Edition

CPT4

Current Procedural Terminology3

CAS

USAN 1990 and the USP dictionary of drug names4

EUCLIDES

European standard for clinical laboratory data exchange5

Home Health

Home Healthcare Classification System (Virginia Saba, EdD, RN, Georgetown U. School of Nursing, Washington DC)

HIBCC

Standard for electronic business data interchange

ICCS

Commission on Professional and Hospital Activities

ICD-9

International Classification of Diseases, 9th Revision

ICD9-CM

International Classification of Diseases, Clinical Modification Manual of Clinical Microbiology6

NANDA

North American Nursing Diagnosis Association, Philadelphia PA

NDC

National drug codes7

NIC

Nursing Interventions Classification, Iowa Intervention Project. U. of Iowa

NLM

Unified Medical Language8

Omaha System

Omaha Visiting Nurse Association, Omaha NE

Read

Clinical Classification of Medicine9

SNOMED III

Systemized Nomenclature of Medicine10

WHO

Drug Codes11

UMDNS

Universal Medical Device Nomenclature System12

FDA K10

Device Codes Device and analyte process codes13

LOINC

Laboratory Object Identifier and Numerical Code

1.9.4 Other Applicable Documents

ASTM E31.12 Draft Dec 1990 - A Standard Specification for Representing Clinical Laboratory Test and Analyte Names Draft14

ASTM E1467-91 Standard Specification for Transferring Digital Neurophysiological Data Between Independent Computer Systems15

ASTM E1394 A Standard Specification for Transferring Information Between Clinical Instruments and Computer Systems16

ASTM E1381 Standard Specification for the Low-level Protocol to Transfer Messages between Clinical Instruments and Computer Systems17

McDonald CJ, Hammond WE: Standard formats for electronic transfer of clinical data. Annals of Internal Medicine 1989; 110(5):333-335.

International Union of Pure and Applied Chemistry/International Federation of Clinical Chemistry. The Silver Book: Compendium of terminology and nomenclature of properties in clinical laboratory sciences. Oxford: Blackwell Scientific Publishers, 1995.

NOTES -

1 Available from American National Standards Institute, 25 West 43rd Street, New York, NY 10036

2 Available from ISO 1, ch. de la Voie-Creuse, Case postale 56, CH 1211, Geneva 20, Switzerland

3 Available from American Medical Association, 515 N. State Street, Chicago, IL 60610.

4 William M. Heller, Ph.D., Executive Editor. Available from United States Pharmacopeial Convention, Inc., 12601 Twinbrook Parkway, Rockville, MD 20852-1790.

5 Available from G. De Moor, M.D., Dept. of Medical Informatics 5K3, State University Hospital Gent, De Pintelaan 185, B 9000 GENT, BELGIUM.

6 Available from American Society for Microbiology, 1752 N Street, NW, Washington, D.C. 20036-2904.

7 Available from the National Drug Code Directory, FDA, 5600 Fishers Lane, Rockville, MD 20857, and other sources.

8 Available from National Library of Medicine, 8600 Rockville Pike, Bethesda, MD 20894.

9 Available from James D. Read, MB, ChB, DRCOG, MRCGP, General Medical Practitioner, Park View Surgery, 26-28 Leicester Rd., Loughborough, Leicestershire LE11 2AG.

10 Available from College of American Pathologists, 325 Waukegan Road, Northfield, IL 60093-2750.

11 Available from INTDIS, P O Box 26, S-751 03 Uppsele, Sweden.

12 Available from ECRI, 5200 Butler Pike, Plymouth Meeting, PA 19462-1298.

13 Available from Dept. of Health & Human Services, FDA, Rockville, MD 20857.

14 Available from Arden Forrey, Ph.D., 4916 Purdue Ave., NE, Seattle, WA 98105.

15 Available from American Society for Testing and Materials (ASTM) 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA, 19428-2959.

16 Available from American Society for Testing and Materials (ASTM) 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA, 19428-2959.

17 Available from American Society for Testing and Materials (ASTM) 1916 Race St., Philadelphia, PA 19103-1187

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG)

  - 2 	 Status of approval:

Specification approved 2011-11-30.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks  leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Basic Electrocardiograph.  It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-30.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-30. Continua has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Profile Amendment 1.

IEEE 100™, The Authoritative Dictionary of IEEE Standards Terms, Seventh Edition, New York, Institute of Electrical and Electronic Engineers, Inc..

ISO/IEEE Std 11073-10101:2004, Health informatics - Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE Std 11073-10201:2004, Health informatics - Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE Std 11073-20101:2004, Health informatics - Point-of-care medical device communication - Part 20101: Application Profiles – Base Standard.

ITU-T Rec. X.680-2002, Information technology - Abstract Syntax Notation One (ASN.1): Specification of basic notation.

IEC 60601-1 Ed.3 (2005) Medical electrical equipment - Part 1: General requirements for basic safety and essential performance

IEC 60601-1-1 Ed.2 (2000): Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems

IEC 60601-2-XX Medical electrical equipment - Part 2-XX: Particular requirements for the basic safety and essential performance for specific device

EN 62304:2005 Medical device software – Software life-cycle processes

ISO 14971:2007 Medical devices – Application of risk management to medical devices

IEC 80001-1 Application of risk management for IT-networks incorporating medical devices - Part 1: Roles, responsibilities

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter

  - 2 	 Status of approval:

Specification approved 2012-01-27.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks  leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Glucose Meter.  It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol-Amendment 1.4

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor

  - 2 	 Status of approval:

Specification approved 2011-11-09.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks  leverages this base specification for medical device system interoperability. This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor).  It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has implemented this specification within both its test tool and its source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-09. Continua has implemented this specification within both its test tool and its source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application Profile-Optimized Exchange Protocol-Amendment 1.

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

IEC 60601-1:2005, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.

IEC 60601-1-1:2000, Ed. 2, Medical electrical equipment-Part 1-1: General requirements for safety-Collateral standard: Safety requirements for medical electrical systems.

IEC 60601-1-2:2007, Medical electrical equipment-Part 1-2: General requirements for basic safety and essential performance-Collateral standard: Electromagnetic compatibility-Requirements and tests.

IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards, Part 2-1 through Part 2-51.)

IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

ISO 14971:2007, Medical devices-Application of risk management to medical devices.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer

  - 2 	 Status of approval:

Specification approved 2010-06-17.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks  leverages this base specification for medical device system interoperability. This specification defines the medical device system for a Body Composition Analyzer.  It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-06-17.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-06-17. Continua has implemented this within their tools and has a few certified Body Composition Analyzers.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601-2008, Health informatics-Personal health device communication-Part 20601:

Application Profile-Optimized Exchange Profile.4, 5

IEEE Std 11073-10415™-2008, Health informatics-Personal health device communication-Part 10415:

Device specialization-Weighing scale.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication - Part 20101: Application Profiles-Base Standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1):

Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1

  - 2 	 Status of approval:

Specification approved 2010-09-30.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks  leverages this base specification for medical device system interoperability. This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard. It has also been tested by Continua where over 90 devices have been certified by Continua that utilize this standard.

  - 7 	 Relationship with other existing or emerging documents:

This is the base protocol for currently 14 other IEEE 11073-104zz device specializations.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 1305 (1992): Network Time Protocol (Version 3) Specification, Implementation and Analysis (1992-03)

  - 2 	 Status of approval:

Approved standards track document

  - 3 	 Justification for the specific reference:

Even though this RFC is superseded by NTP V4 (RFC 5905), this Recommendation requires the use of Network Time Protocol (Version 3) specified in RFC 1305 as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document is required as it constitutes a formal specification of the Network Time Protocol (NTP) Version 3, which is used to synchronize timekeeping among a set of distributed time servers and clients within the H.810 architecture. It defines the architectures, algorithms, entities and protocols used by NTP and is intended primarily for implementors.

  - 4 	 Current information, if any, about IPR issues:

Information on IPR issues regarding RFCs is available at: https://datatracker.ietf.org/ipr/search/. Specifically: https://datatracker.ietf.org/ipr/search/?option=rfc_search&rfc_search=1305

  - 5 	 Other useful information describing the "Quality" of the document:

IETF RFC1305 is a good quality document with useful information on Home Network.

  - 6 	 The degree of stability or maturity of the document:

IETF RFC1305 is a Draft Standard published by IETF.

  - 7 	 Relationship with other existing or emerging documents:

IETF RFC1305 has relationship with other publications.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ABA89] Abate, et al. AT&T's new approach to the synchronization of telecommunication networks. IEEE Communications Magazine (April 1989), 35-45.

[ALL74a] Allan, D.W., J.H. Shoaf and D. Halford. Statistics of time and frequency data analysis. In: Blair, B.E. (Ed.). Time and Frequency Theory and Fundamentals. National Bureau of Standards Monograph 140, U.S. Department of Commerce, 1974, 151-204.

[ALL74b] Allan, D.W., J.E. Gray and H.E. Machlan. The National Bureau of Standards atomic time scale: generation, stability, accuracy and accessibility. In: Blair, B.E. (Ed.). Time and Frequency Theory and Fundamentals. National Bureau of Standards Monograph 140, U.S. Department of Commerce, 1974, 205-231.

[BEL86] Bell Communications Research. Digital Synchronization Network Plan. Technical Advisory TA-NPL-000436, 1 November 1986.

[BER87] Bertsekas, D., and R. Gallager. Data Networks. Prentice-Hall, Englewood Cliffs, NJ, 1987.

[BLA74] Blair, B.E. Time and frequency dissemination: an overview of principles and techniques. In: Blair, B.E. (Ed.). Time and Frequency Theory and Fundamentals. National Bureau of Standards Monograph 140, U.S. Department of Commerce, 1974, 233-314.

[BRA80] Braun, W.B. Short term frequency effects in networks of coupled oscillators. IEEE Trans. Communications COM-28, 8 (August 1980), 1269-1275.

[COL88] Cole, R., and C. Foxcroft. An experiment in clock synchronisation. The Computer Journal 31, 6 (1988), 496-502.

[DAR81a] Defense Advanced Research Projects Agency. Internet Protocol. DARPA Network Working Group Report RFC-791, USC Information Sciences Institute, September 1981.

[DAR81b] Defense Advanced Research Projects Agency. Internet Control Message Protocol. DARPA Network Working Group Report RFC-792, USC Information Sciences Institute, September 1981.

[DEC89] Digital Time Service Functional Specification Version T.1.0.5. Digital Equipment Corporation, 1989.

[DER90] Dershowitz, N., and E.M. Reingold. Calendrical Calculations. Software Practice and Experience 20, 9 (September 1990), 899-928.

[FRA82] Frank, R.L. History of LORAN-C. Navigation 29, 1 (Spring 1982).

[GUS84] Gusella, R., and S. Zatti. TEMPO - A network time controller for a distributed Berkeley UNIX system. IEEE Distributed Processing Technical Committee Newsletter 6, NoSI-2 (June 1984), 7-15. Also in: Proc. Summer USENIX Conference (June 1984, Salt Lake City).

[GUS85a] Gusella, R., and S. Zatti. The Berkeley UNIX 4.3BSD time synchronization protocol: protocol specification. Technical Report UCB/CSD 85/250, University of California, Berkeley, June 1985.

[GUS85b] Gusella, R., and S. Zatti. An election algorithm for a distributed clock synchronization program. Technical Report UCB/CSD 86/275, University of California, Berkeley, December 1985.

[HAL84] Halpern, J.Y., B. Simons, R. Strong and D. Dolly. Fault-tolerant clock synchronization. Proc. Third Annual ACM Symposium on Principles of Distributed Computing (August 1984), 89-102.

[JOR85] Jordan, E.C. (Ed). Reference Data for Engineers, Seventh Edition. H.W. Sams & Co., New York, 1985.

[KOP87] Kopetz, H., and W. Ochsenreiter. Clock synchronization in distributed real-time systems. IEEE Trans. Computers C-36, 8 (August 1987), 933-939.

[LAM78] Lamport, L., Time, clocks and the ordering of events in a distributed system. Comm. ACM 21, 7 (July 1978), 558-565.

[LAM85] Lamport, L., and P.M. Melliar-Smith. Synchronizing clocks in the presence of faults. J. ACM 32, 1 (January 1985), 52-78.

[LIN80] Lindsay, W.C., and A.V. Kantak. Network synchronization of random signals. IEEE Trans. Communications COM-28, 8 (August 1980), 1260-1266.

[LUN84] Lundelius, J., and N.A. Lynch. A new fault-tolerant algorithm for clock synchronization. Proc. Third Annual ACM Symposium on Principles of Distributed Computing (August 1984), 75-88.

[MAR85] Marzullo, K., and S. Owicki. Maintaining the time in a distributed system. ACM Operating Systems Review 19, 3 (July 1985), 44-54.

[MIL81a] Mills, D.L. Time Synchronization in DCNET Hosts. DARPA Internet Project Report IEN-173, COMSAT Laboratories, February 1981.

[MIL81b] Mills, D.L. DCNET Internet Clock Service. DARPA Network Working Group Report RFC-778, COMSAT Laboratories, April 1981.

[MIL83a] Mills, D.L. Internet Delay Experiments. DARPA Network Working Group Report RFC-889, M/A-COM Linkabit, December 1983.

[MIL83b] Mills, D.L. DCN local-network protocols. DARPA Network Working Group Report RFC-891, M/A-COM Linkabit, December 1983.

[MIL85a] Mills, D.L. Algorithms for synchronizing network clocks. DARPA Network Working Group Report RFC-956, M/A-COM Linkabit, September 1985.

[MIL85b] Mills, D.L. Experiments in network clock synchronization. DARPA Network Working Group Report RFC-957, M/A-COM Linkabit, September 1985.

[MIL85c] Mills, D.L. Network Time Protocol (NTP). DARPA Network Working Group Report RFC-958, M/A-COM Linkabit, September 1985.

[MIL88a] Mills, D.L. Network Time Protocol (version 1) - specification and implementation. DARPA Network Working Group Report RFC-1059, University of Delaware, July 1988.

[MIL88b] Mills, D.L. The Fuzzball. Proc. ACM SIGCOMM 88 Symposium (Palo Alto, CA, August 1988), 115-122.

[MIL89] Mills, D.L. Network Time Protocol (version 2) - specification and implementation. DARPA Network Working Group Report RFC-1119, University of Delaware, September 1989.

[MIL90] Mills, D.L. Measured performance of the Network Time Protocol in the Internet system. ACM Computer Communication Review 20, 1 (January 1990), 65-75.

[MIL91a] Mills, D.L. Internet time synchronization: the Network Time Protocol. IEEE Trans. Communications 39, 10 (October 1991), 1482-1493.

[MIL91b] Mills, D.L. On the chronology and metrology of computer network timescales and their application to the Network Time Protocol. ACM Computer Communications Review 21, 5 (October 1991), 8-17.

[MIT80] Mitra, D. Network synchronization: analysis of a hybrid of master-slave and mutual synchronization. IEEE Trans. Communications COM-28, 8 (August 1980), 1245-1259.

[NBS77] Data Encryption Standard. Federal Information Processing Standards Publication 46. National Bureau of Standards, U.S. Department of Commerce, 1977.

[NBS79] Time and Frequency Dissemination Services. NBS Special Publication 432, U.S. Department of Commerce, 1979.

[NBS80] DES Modes of Operation. Federal Information Processing Standards Publication 81. National Bureau of Standards, U.S. Department of Commerce, December 1980.

[POS80] Postel, J. User Datagram Protocol. DARPA Network Working Group Report RFC-768, USC Information Sciences Institute, August 1980.

[POS83a] Postel, J. Daytime protocol. DARPA Network Working Group Report RFC-867, USC Information Sciences Institute, May 1983.

[POS83b] Postel, J. Time protocol. DARPA Network Working Group Report RFC-868, USC Information Sciences Institute, May 1983.

[RIC88] Rickert, N.W. Non Byzantine clock synchronization - a programming experiment. ACM Operating Systems Review 22, 1 (January 1988), 73-78.

[SCH86] Schneider, F.B. A paradigm for reliable clock synchronization. Department of Computer Science Technical Report TR 86-735, Cornell University, February 1986.

[SMI86] Smith, J. Modern Communications Circuits. McGraw-Hill, New York, NY, 1986.

[SRI87] Srikanth, T.K., and S. Toueg. Optimal clock synchronization. J. ACM 34, 3 (July 1987), 626-645.

[STE88] Steiner, J.G., C. Neuman, and J.I. Schiller. Kerberos: an authentication service for open network systems. Proc. Winter USENIX Conference (February 1988).

[SU81] Su, Z. A specification of the Internet protocol (IP) timestamp option. DARPA Network Working Group Report RFC-781. SRI International, May 1981.

[TRI86] Tripathi, S.K., and S.H. Chang. ETempo: a clock synchronization algorithm for hierarchical LANs - implementation and measurements. Systems Research Center Technical Report TR-86-48, University of Maryland, 1986.

[VAN84] Van Dierendonck, A.J., and W.C. Melton. Applications of time transfer using NAVSTAR GPS. In: Global Positioning System, Papers Published in Navigation, Vol. II, Institute of Navigation, Washington, DC, 1984.

[VAS78] Vass, E.R. OMEGA navigation system: present status and plans 1977-1980. Navigation 25, 1 (Spring 1978).

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

IETF RFC 2030 (1996): Simple Network Time Protocol (SNTP) Version 4 for IPv4, IPv6 and OSI

  - 2 	 Status of approval:

Informational RFC approved October 1996. Obsoleted by RFC 4330.

  - 3 	 Justification for the specific reference:

Although Informational and obsoleted by RFC 5905 (2010), ITU-T H.810 uses the specs in this RFC as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document describes the Simple Network Time Protocol (SNTP) Version 4, which is an adaptation of the Network Time Protocol (NTP) also utilized by H.810 to synchronize computer clocks in the Internet. SNTP can be used when the ultimate performance of the full NTP implementation described in RFC 1305 is not needed or justified.  ITU-T H.810 allows SNTP as a secondary means for synchronizing computer clocks used within the Continua architecture.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Informational RFC approved October 1996. Obsoleted by RFC 4330. Obsoletes RFC 1769. Errata exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved October 1996 and there is one Continua certified implementation that utilizes SMTP.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[COL94] Colella, R., R. Callon, E. Gardner, Y. Rekhter, "Guidelines for OSI NSAP allocation in the Internet", RFC 1629, NIST, May 1994.

[DAR81] Postel, J., "Internet Protocol", STD 5, RFC 791, USC Information Sciences Institute, September 1981.

[DEE89] Deering, S., "Host extensions for IP multicasting", STD 5, RFC 1112, Stanford University, August 1989.

[DEE96] Deering, S., R. Hinden, "Internet Protocol, Version 6 (IPv6) Specification", RFC 1883, Xerox and Ipsilon, January 1996.

[DOB91] Dobbins, K, W. Haggerty, C. Shue, "OSI connectionless transport services on top of UDP - Version: 1", RFC 1240, Open Software Foundation, June 1991.

[EAS95] Eastlake, D., 3rd., and C. Kaufman, "Domain Name System Security Extensions", Work in Progress.

[FUR94] Furniss, P., "Octet sequences for upper-layer OSI to support basic communications applications", RFC 1698, Consultant,    October 1994.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 2246 (1999): The TLS Protocol Version 1.0

  - 2 	 Status of approval:

Standards track - Proposed Standard (1999-01) - Obsolete

  - 3 	 Justification for the specific reference:

H.810 requires the use of TLS v1.0 for the operation of medical, health and fitness devices using the WAN interface specifically for its privacy cryptography for data encryption and its connection reliability and integrity using secure hash functions.  The TLS v1.0 protocol provides sufficient communication privacy over the Internet allowing client/server applications to  communicate in a way that is designed to prevent eavesdropping, tampering, or message forgery. There is also dependency on the use of this spec across other IHE and HL7 that also use this version of the TLS protocol.

  - 4 	 Current information, if any, about IPR issues:

Information on IPR issues regarding RFCs is available at: https://datatracker.ietf.org/ipr/search/. Specifically: https://datatracker.ietf.org/ipr/search/?option=rfc_search&rfc_search=2246

  - 5 	 Other useful information describing the "Quality" of the document:

RFC 2246 has been in existence since 1999. This is an IETF standards-track document that has been reviewed extensively in the IETF.

  - 6 	 The degree of stability or maturity of the document:

RFC is a standards-track document and is currently in the "Proposed Standard" state. Obsoleted by RFC 4346. Updated by RFC 6176, RFC 3546, RFC 5746. Errata exist.

  - 7 	 Relationship with other existing or emerging documents:

RFC 2246 is based on the SSL 3.0 published by Netscape and is widely used to provide security for electronic commerce.

References within the listed RFCs are listed under item (8).

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] W. Tuchman, "Hellman Presents No Shortcut Solutions to DES," IEEE Spectrum, v. 16, n. 7, July 1979, pp40-41.

[2] Bleichenbacher D., "Chosen Ciphertext Attacks against Protocols Based on RSA Encryption Standard PKCS #1" in Advances in Cryptology -- CRYPTO'98, LNCS vol. 1462, pages:1--12, 1998.

[3] ANSI X3.106, "American National Standard for Information Systems-Data Link Encryption," American National Standards Institute, 1983.

[4] W. Diffie and M. E. Hellman, "New Directions in Cryptography," IEEE Transactions on Information Theory, V. IT-22, n. 6, Jun 1977, pp. 74-84.

[5] NIST FIPS PUB 186, "Digital Signature Standard," National Institute of Standards and Technology, U.S. Department of Commerce, May 18, 1994.

[6] Postel J., and J. Reynolds, "File Transfer Protocol", STD 9, RFC 959, October 1985.

[7] Berners-Lee, T., Fielding, R., and H. Frystyk, "Hypertext Transfer Protocol -- HTTP/1.0", RFC 1945, May 1996.

[8] Krawczyk, H., Bellare, M., and R. Canetti, "HMAC:  Keyed-Hashing for Message Authentication," RFC 2104, February 1997.

[9] X. Lai, "On the Design and Security of Block Ciphers," ETH Series in Information Processing, v. 1, Konstanz: Hartung-Gorre Verlag, 1992.

[10] Kaliski, B., "The MD2 Message Digest Algorithm", RFC 1319, April 1992.

[11] Rivest, R., "The MD5 Message Digest Algorithm", RFC 1321, April 1992.

[12] RSA Laboratories, "PKCS #1: RSA Encryption Standard," version 1.5, November 1993.

[13] RSA Laboratories, "PKCS #6: RSA Extended Certificate Syntax Standard," version 1.5, November 1993.

[14]  RSA Laboratories, "PKCS #7: RSA Cryptographic Message Syntax Standard," version 1.5, November 1993.

[15] Housley, R., Ford, W., Polk, W. and D. Solo, "Internet Public Key Infrastructure: Part I: X.509 Certificate and CRL Profile", RFC 2459, January 1999.

[16] Rivest, R., "A Description of the RC2(r) Encryption Algorithm", RFC 2268, January 1998.

[17] Thayer, R. and K. Kaukonen, A Stream Cipher Encryption Algorithm, Work in Progress.

[18] R. Rivest, A. Shamir, and L. M. Adleman, "A Method for Obtaining Digital Signatures and Public-Key Cryptosystems," Communications of the ACM, v. 21, n. 2, Feb 1978, pp. 120-126.

[19] Contact RSA Data Security, Inc., Tel: 415-595-8782

[20] B. Schneier. Applied Cryptography: Protocols, Algorithms, and Source Code in C, Published by John Wiley & Sons, Inc. 1994.

[21] NIST FIPS PUB 180-1, "Secure Hash Standard," National Institute of Standards and Technology, U.S. Department of Commerce, Work in Progress, May 31, 1994.

[22] Hickman, Kipp, "The SSL Protocol", Netscape Communications Corp., Feb 9, 1995.

[23] A. Frier, P. Karlton, and P. Kocher, "The SSL 3.0 Protocol", Netscape Communications Corp., Nov 18, 1996.

[24] Postel, J., "Transmission Control Protocol," STD 7, RFC 793, September 1981.

[25] Postel J., and J. Reynolds, "Telnet Protocol Specifications", STD 8, RFC 854, May 1993.

[26] Postel J., and J. Reynolds, "Telnet Option Specifications", STD 8, RFC 855, May 1993.

[27] ITU Recommendation X.509: "The Directory - Authentication Framework". 1988.

[28] R. Srinivansan, Sun Microsystems, RFC-1832: XDR: External Data Representation Standard, August 1995.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

References should always be made to RFC numbers (and not by other designations such as STD, BCP, etc.). References not to be made to documents referred to as "Internet Drafts" or RFCs categorized as "Historic". Normative references should not be made to RFCs that are not standards, for example, "Informational" and "Experimental" RFCs.

  - 1 	 Clear description of the referenced document:

IETF RFC 2988 (2000): Computing TCP's Retransmission Timer

  - 2 	 Status of approval:

Standards track RFC approved November 2000. Obsoleted by RFC 6298.

  - 3 	 Justification for the specific reference:

H.810 requires the use of this RFC, Computing TCP's Retransmission Timer, for the codification of the algorithm used for setting the Retransmission Timeout (RTO) over the WAN Interface. The RTO ensures data delivery in the absence of any feedback from the remote data WAN receiver utilized within Continua's architecture. There is also dependency on the use of this spec across other IHE and HL7 that also use this specification. Additionally, many H.810 certified devices exist that use this version of the RFC.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved November 2000. Obsoleted by RFC 6298. Errata exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved November, 2000 and has been widely used.

  - 7 	 Relationship with other existing or emerging documents:

It expands on the discussion in section 4.2.3.1 of RFC 1122 and upgrades the requirement of supporting the algorithm from a SHOULD to a MUST.

  - 8 	 Any explicit references within that referenced document should also be listed:

[AP99]  Allman, M. and V. Paxson, "On Estimating End-to-End Network Path Properties", SIGCOMM 99.

[APS99] Allman, Paxson V. and W. Stevens, "TCP Congestion Control", RFC 2581, April 1999.

[Bra89] Braden, R., "Requirements for Internet Hosts -- Communication Layers", STD 3, RFC 1122, October 1989.

[Bra97] Bradner, S., "Key words for use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[Jac88] Jacobson, V., "Congestion Avoidance and Control", Computer Communication Review, vol. 18, no. 4, pp. 314-329, Aug.  1988.

[JK88]  Jacobson, V. and M. Karels, "Congestion Avoidance and Control", ftp://ftp.ee.lbl.gov/papers/congavoid.ps.Z.

[KP87]  Karn, P. and C. Partridge, "Improving Round-Trip Time Estimates in Reliable Transport Protocols", SIGCOMM 87.

[Pos81] Postel, J., "Transmission Control Protocol", STD 7, RFC 793, September 1981.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3195 (2001): Reliable Delivery for syslog

  - 2 	 Status of approval:

Standards track RFC approved November 2001.

  - 3 	 Justification for the specific reference:

Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over teh WAN Interface.  The BSD Syslog Protocol describes a number of service options related to propagating event messages.  For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages.  One is a trivial mapping    maximizing backward compatibility and the second provides a more  complete mapping.  Both provide the degree of robustness and security required by Continua  in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved November 2001 and its is widely used

  - 6 	 The degree of stability or maturity of the document:

See 6. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1]  Lonvick, C., "The BSD Syslog Protocol", RFC 3164, August 2001.

[2]  Bradner, S., "Key words for use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[3]  Rose, M., "The Blocks Extensible Exchange Protocol Core", RFC 3080, March 2001.

[4]  Rose, M., "Mapping the BEEP Core onto TCP", RFC 3081, March 2001.

[5]  Gulbrandsen, A., Vixie, P. and L. Esibov, "A DNS RR for specifying the location of services (DNS SRV)", RFC 2782, February 2000.

[6]  Freed, N. and N. Borenstein, "Multipurpose Internet Mail Extensions (MIME) Part Two: Media Types", RFC 2046, November 1996.

[7]  Alvestrand, H., "Tags for the Identification of Languages", BCP 47, RFC 3066, January 2001.

[8]  Leach, P. and C. Newman, "Using Digest Authentication as a SASL Mechanism", RFC 2831, May 2000.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3211 (2001): Password-based Encryption for CMS

  - 2 	 Status of approval:

Specification approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 3 	 Justification for the specific reference:

Password-based Encryption for CMS in this obsolete RFC is used by ITU-T H.810 for the encryption of data using user-supplied passords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key.  The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and therefore ITU-TT H.810 requires this within the Continua architecture. Utilized within many ITU-T H.810-compliant devices certified by Continua Health Alliance. There is also dependency on the use of this spec across other IHE and HL7 that also use this version of the protocol.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

Specification approved December 2001 and Continua has several WAN certified devices that have implemented this specification. It has also been tested and verifed within Continua Plugfest events.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASN1]    CCITT Recommendation X.208: Specification of Abstract Syntax Notation One (ASN.1), 1988.

[RFC2119] Bradner, S., "Key Words for Use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[RFC2630] Housley, R., "Cryptographic Message Syntax", RFC 2630, June 1999.

[RFC2898] Kaliski, B., "PKCS #5: Password-Based Cryptography Specification, Version 2.0", RFC 2898, September 2000.

[PACKAGE] All-or-Nothing Encryption and the Package Transform, R. Rivest, Proceedings of Fast Software Encryption '97, Haifa,              Israel, January 1997.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3268 (2002): Advanced Encryption Standard (AES) Ciphersuites for Transport Layer Security (TLS)

  - 2 	 Status of approval:

All are approved IETF documents. Obsoleted by RFC 5246.

  - 3 	 Justification for the specific reference:

ITU-T H.810 requires the use of this RFC, Advanced Encryption Standard (AES) Ciphersuites for Transport Layer Security (based on TLS v1.0), for the certificate handling operation of medical, health and fitness devices using the WAN interface. Continua specifies cipher usage with TLS in accordance with this RFC only. Future editions of ITU-T H.810 may include reference to more recent RFCs that obsolete this RFC; however, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the TLS protocol, and there are many H.810-compliant devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

Information on IPR issues regarding RFCs is available at: https://datatracker.ietf.org/ipr/search/. Specifically: https://datatracker.ietf.org/ipr/search/?option=rfc_search&rfc_search=3268

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved July 2002. Obsoleted by RFC 5246.

  - 6 	 The degree of stability or maturity of the document:

See 5. Above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

References

[TLS]    Dierks, T. and C. Allen, "The TLS Protocol Version 1.0", RFC

2246, January 1999.

[AES]    National Institute of Standards and Technology,

"Specification for the Advanced Encryption Standard (AES)"

FIPS 197.  November 26, 2001.

[SHA-1]  FIPS PUB 180-1, "Secure Hash Standard," National Institute

of Standards and Technology, U.S. Department of Commerce,

April 17, 1995.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

If the study group decides to make the reference to the RFC, the reference should always be made by RFC number (and not by other designations such as STD, BCP, etc.). References should not be made to documents referred to as "Internet Drafts" or RFCs categorized as "Historic". Normative references should not be made to RFCs that are not standards, for example, "Informational" and "Experimental" RFCs

  - 1 	 Clear description of the referenced document:

IETF RFC 3881 (2001): Password-based Encryption for CMS

  - 2 	 Status of approval:

Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 3 	 Justification for the specific reference:

ITU-T H.810 requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key.  The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and H.810 requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many H.810-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASN1]    CCITT Recommendation X.208: Specification of Abstract Syntax Notation One (ASN.1), 1988.

[RFC2119] Bradner, S., "Key Words for Use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[RFC2630] Housley, R., "Cryptographic Message Syntax", RFC 2630, June 1999.

[RFC2898] Kaliski, B., "PKCS #5: Password-Based Cryptography Specification, Version 2.0", RFC 2898, September 2000.

[PACKAGE] All-or-Nothing Encryption and the Package Transform, R. Rivest, Proceedings of Fast Software Encryption '97, Haifa,              Israel, January 1997.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 4330 (2006): Simple Network Time Protocol version 4 for IPv6, IPv4, and OSI

  - 2 	 Status of approval:

Informational RFC approved January 2006. Obsoleted by RFC 4330.

  - 3 	 Justification for the specific reference:

Although Informational and obsoleted by RFC 5905 (2010), ITU-T H.810 uses the specs in this RFC as the mechanism to synchronize time and coordinate time distribution in a large, diverse Internet operating at rates from mundane to light-wave over its WAN Interface. This document describes the Simple Network Time Protocol (SNTP) Version 4, which is an adaptation of the Network Time Protocol (NTP) also utilized by Continua to synchronize computer clocks in the Internet. SNTP can be used when the ultimate performance of the full NTP implementation described in RFC 1305 is not needed or justified. ITU-T H.810 allows SNTP as a secondary means for synchronizing computer clocks used within the Continua architecture.

  - 4 	 Current information, if any, about IPR issues:

Information on IPR issues regarding RFCs is available at: https://datatracker.ietf.org/ipr/search/. Specifically: https://datatracker.ietf.org/ipr/search/?option=rfc_search&rfc_search=4330

  - 5 	 Other useful information describing the "Quality" of the document:

Informational RFC approved October 1996. Obsoleted by RFC 4330. Obsoletes RFC 2030, RFC 1769. Errata exist.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

Obsoletes: RFC 2030, 1769. Obsoleted by RFC 4330.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

IETF RFC 4614 (2006): A Roadmap for Transmission Control Protocol (TCP) Specification Documents

  - 2 	 Status of approval:

Informal RFC approved September 2006.

  - 3 	 Justification for the specific reference:

ITU-T H.810 requires the use of this informational RFC, A Roadmap for Transmission Control Protocol (TCP) Specification Documents, as a library of documents required for implementing TCP for use over the Continua WAN Interface defined in H.810. It serves as a quick reference for both TCP implementers and other parties who desire information contained in the TCP-related RFCs. The correct and efficient implementation of the Transmission Control  Protocol (TCP) for certification of H.810 devices is a critical part of the software of most Internet hosts.  As TCP has evolved over the years, many distinct documents have become part of the accepted standard for TCP.  At the same time, a large number of more experimental modifications to TCP have also been published in the RFC series, along with informational notes, case studies, and other advice. This document is used as a brief summary of the RFC documents that define TCP and provides guidance to implementers on the relevance and signifcance of RFC extensions, informational notes, and best current practices tat relate to TCP.This specification has been very helpful in both helping Continua create its source code and its automated test program. The same guidance has been utilized by implementers who have certified WAN devices at Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Informational RFC approved September 2006. Updated by RFC 6247.

  - 6 	 The degree of stability or maturity of the document:

Specification approved September 2006.

  - 7 	 Relationship with other existing or emerging documents:

Specification approved September 2006.

  - 8 	 Any explicit references within that referenced document should also be listed:

[RFC0793]  Postel, J., "Transmission Control Protocol", STD 7, RFC 793, September 1981.

[RFC1122]  Braden, R., "Requirements for Internet Hosts - Communication Layers", STD 3, RFC 1122, October 1989.

[RFC2026]  Bradner, S., "The Internet Standards Process -- Revision 3", BCP 9, RFC 2026, October 1996.

[RFC2460]  Deering, S. and R. Hinden, "Internet Protocol, Version 6 (IPv6) Specification", RFC 2460, December 1998.

[RFC2474]  Nichols, K., Blake, S., Baker, F., and D. Black, "Definition of the Differentiated Services Field (DS Field) in the IPv4 and IPv6 Headers", RFC 2474, December 1998.

[RFC2581]  Allman, M., Paxson, V., and W. Stevens, "TCP Congestion Control", RFC 2581, April 1999.

[RFC2675]  Borman, D., Deering, S., and R. Hinden, "IPv6 Jumbograms", RFC 2675, August 1999.

[RFC2873]  Xiao, X., Hannan, A., Paxson, V., and E. Crabbe, "TCP Processing of the IPv4 Precedence Field", RFC 2873, June 2000.

[RFC2988]  Paxson, V. and M. Allman, "Computing TCP's Retransmission Timer", RFC 2988, November 2000. 10.2.  Recommended Enhancements

[RFC1323]  Jacobson, V., Braden, R., and D. Borman, "TCP Extensions for High Performance", RFC 1323, May 1992.

[RFC1948]  Bellovin, S., "Defending Against Sequence Number Attacks", RFC 1948, May 1996.

[RFC2018]  Mathis, M., Mahdavi, J., Floyd, S., and A. Romanow, "TCP Selective Acknowledgment Options", RFC 2018, October 1996.

[RFC2385]  Heffernan, A., "Protection of BGP Sessions via the TCP MD5 Signature Option", RFC 2385, August 1998.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI TF-1 PIX (2010): IHE IT Infrastructure 10 Technical Framework Supplement Patient Identifier Cross-Reference HL7 V3 (PIXV3) and Patient Demographic Query HL7 V3 (PDQV3) 15

Trial Implementation

  - 2 	 Status of approval:

Approved for trial implementation.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This document defines two new Integration Profiles and provides alternative IHE transactions for the Patient Identity Feed, the Patient Identity Query, the Patient Update 195 Notification, and the Patient Demographic Query.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has one certified HRN device which has implemented this standard.

  - 6 	 The degree of stability or maturity of the document:

Continua has one certified HRN device which has implemented this standard.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

HL7 Version 3 Edition 2008 Patient Administration DSTU, Patient Topic (found at http://www.hl7.org/memonly/downloads/v3edition.cfm#V32008)

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI TF-1 XDM (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0, IHE Cross-Enterprise Document Media Interchange (XDM) profile

  - 2 	 Status of approval:

Specification approved 2009-08-10

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Utilizes existing standards while constraining them specifically for health IT. Continua has several certified WAN devices implementing this specification.

  - 6 	 The degree of stability or maturity of the document:

Utilizes existing standards while constraining them specifically for health IT.

  - 7 	 Relationship with other existing or emerging documents:

HL7 and OASIS.

  - 8 	 Any explicit references within that referenced document should also be listed:

Note to Simao: The explicit reference are many and which are interspersed throughout the document. What should be listed?

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IHE ITI TF-1 XUA (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles: Cross Enterprise User Assertion (XUA) Integration Profile

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This Profile specification provides a means to communicate claims about an authenticated principal (user, application, system...) in transactions that cross enterprise boundaries. To provide accountability in these cross-enterprise transactions there is a need to identify the requesting user in a way that enables the receiver to make access decisions and proper audit entries. The XUA Profile supports many solutions including enterprises that have chosen to have their own user directory with their own unique method of authenticating the users, and others that have chosen to use a third party to perform the authentication.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. Continua has further constrained it for HRN Sender certification.

  - 6 	 The degree of stability or maturity of the document:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. Continua has further constrained it for HRN Sender certification. Currently one certification that has utilized this profile exists but other implementations in the clinical area do exist as well.

  - 7 	 Relationship with other existing or emerging documents:

Related documents are included within the same specification.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within the Profile section for this reference.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI TFS XDR (2009): IHE IT Infrastructure (ITI) Technical Framework Supplement 2009-2010 Cross-Enterprise Document Reliable Interchange (XDR) Trial Implementation Supplement Version, Release 4.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Utilizes existing standards while constraining them specifically for health IT.  Continua has one certified HRN device.

  - 6 	 The degree of stability or maturity of the document:

Utilizes existing standards while constraining them specifically for health IT.

  - 7 	 Relationship with other existing or emerging documents:

HL7 and OASIS.

  - 8 	 Any explicit references within that referenced document should also be listed:

No explicit references to other documents.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI-TF-1 (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. It defines a technical framework for the implementation of established messaging standards to achieve specific remote patient monitoring goals.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification is in force and has been implemented in at least one Continua certified device.

  - 6 	 The degree of stability or maturity of the document:

It includes a rigorous testing process for the implementation of this framework. And it organizes educational sessions and exhibits at major meetings of medical professionals to demonstrate the benefits of this framework and encourages its adoption by industry and users.

  - 7 	 Relationship with other existing or emerging documents:

The approach employed in the IHE initiative is to support the use of existing standards, e.g HL7, ASTM, DICOM, ISO, IETF, OASIS and others as appropriate, rather than to define new standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

RFC 1510 - http://www.ietf.org/rfc/rfc1510.txt

MIT's Kerberos home page - http://web.mit.edu/kerberos/www/

The Moron's Guide to Kerberos - http://www.isi.edu/~brian/security/kerberos.html

Microsoft Kerberos information 910 http://www.microsoft.com/TechNet/prodtechnol/windows2000serv/deploy/kerberos.asp

IHE white paper “HIE Security and Privacy through IHE” published on the IHE web site http://www.ihe.net/Technical_Framework/upload/IHE_ITI_Whitepaper_Security_and_Privacy_2007_07_18.pdf

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging).  “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is approved and in-force.

  - 6 	 The degree of stability or maturity of the document:

The specification is approved and in-force. Continua has 6 certifications which have implemented this specification.

  - 7 	 Relationship with other existing or emerging documents:

Virtually all web services specifications are developed under the auspices of the World Wide Web Consortium (W3C) or the Organization for the Advancement of Structured Information Standards (OASIS).

  - 8 	 Any explicit references within that referenced document should also be listed:

WS-I: http://ws-i.org/

WS-I Basic Profile 1.1: http://www.ws-i.org/Profiles/BasicProfile-1.1.html

WS-I Simple SOAP Binding Profile: http://www.ws-i.org/Profiles/SimpleSoapBindingProfile-1.0.html

SOAP 1.1: http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

SOAP 1.2: http://www.w3.org/TR/soap12-part0/

WSDL 1.1 SOAP 1.1 binding (Chapter 3): http://www.w3.org/TR/wsdl.html#_soap-b

WSDL 1.1 SOAP 1.2 binding: http://www.w3.org/Submission/wsdl11soap12/

HL7 V3 Web Services Profile: http://www.hl7.org/v3ballot/html/infrastructure/transport/transport-wsprofiles.htm

WS-Addressing: http://www.w3.org/TR/ws-addr-core

WS-I Basic Security Profile: http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

MTOM: http://www.w3.org/TR/soap12-mtom/

XOP: http://www.w3.org/TR/xop10/

WS-Security 1.0: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Security 1.1: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Secure Conversation: http://specs.xmlsoap.org/ws/2005/02/sc/WS-SecureConversation.pdf

WS-Trust: http://docs.oasis-open.org/ws-sx/ws-trust/v1.3/ws-trust.html

WS-Policy: http://www.w3.org/Submission/WS-Policy/

WS-Reliable Messaging: http://docs.oasis-open.org/ws-rx/wsrm/200702

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD TF 2012 1 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 1: Integration Profiles

  - 2 	 Status of approval:

Specification approved 2012-08-16.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) Integration Profiles, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved August 16th, 2012.  Continua has one certified several WAN devices which have implemented this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved August 16th, 2012.  Continua has one certified several WAN devices which have implemented this standard within the last year.

  - 7 	 Relationship with other existing or emerging documents:

At its current level of development, it defines a coordinated set of transactions based on the HL7, IEEE, DICOM, W3C and other industry standards within the last year.  It has also been tested using NIST tooling during the IHE Connectathon earlier this year.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD TF 2012 2 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 2: Transactions

  - 2 	 Status of approval:

Specification approved 2012-08-16.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) for transactions, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has several certified WAN devices which have implemented this standard.

  - 6 	 The degree of stability or maturity of the document:

Continua has several certified WAN devices which have implemented this standard. This standard is an improvement over the draft trial for implementation standard.

  - 7 	 Relationship with other existing or emerging documents:

At its current level of development, it defines a coordinated set of transactions based on ASTM, DICOM, HL7, IEEE, IETF, ISO, OASIS and W3C standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

HL7 - Health Level 7 Version 2.6 Ch4 Order Entry

HL7 - Health Level 7 Version 2.6 Chapter 7 Observation Reporting

ISO/IEEE 11073-10201 Domain Information Model 335

ISO/IEEE 11073-10101 Nomenclature

ISO 19005-1. Document management – Electronic document file format for long-term preservation – Part 1: Use of PDF (PDF/A)

UCUM: Unified Code for Units of Measure, Regenstrief Institute for Health Care, Indianapolis. Version 1.6

IEEE 11073_10103 MDC_IDC Nomenclature

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD TF 2012 3 (2012): Integrating the Healthcare Enterprise, IHE Patient Care Device Technical Framework – Revision 2.0. Volume 3: Semantic Content

  - 2 	 Status of approval:

Specification approved 2012-08-16.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF) Semantic Content, defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has certified several WAN devices which implement this document.

  - 6 	 The degree of stability or maturity of the document:

Continua has certified several WAN devices which implement this document. It has also been tested using NIST tooling during the IHE Connectathon earlier this year.

  - 7 	 Relationship with other existing or emerging documents:

At its current level of development, it defines a coordinated set of transactions based on ASTM, DICOM, HL7, IEEE, IETF, ISO, OASIS and W3C standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD-TF-1 (2006): Patient Care Device Technical Framework Year 1: 2006-2007 Volume 1 Integration Profiles Revision 1.1 (Trial Implementation Version)

  - 2 	 Status of approval:

Approved for trial implementation 2006-08-15.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 15 August 2006, and many certified devices implementing this version of the specification exist. Even though this s titled a "trial implementation" it defines specific configuration and parameters necessary for interoperable operation of devices.

  - 6 	 The degree of stability or maturity of the document:

Approved August 15th, 2006 and being implemented.

  - 7 	 Relationship with other existing or emerging documents:

This document defines a coordinated set of transactions based on the HL7, IEEE, DICOM, W3C and other industry standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD-TF-2 (2011): IHE Patient Care Device (PCD) Technical Framework, Volume 2 (PCD TF-2): Transactions, Revision 1.0

  - 2 	 Status of approval:

Final text specification approved 2011-08-12.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 12 August 2011, and there are several certified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 12 August 2011, and there are several certified devices implementing this version of the specification exist. This document is an integral part of the IHE message data payload and explains how transactions are executed.

  - 7 	 Relationship with other existing or emerging documents:

At its current level of development, it defines a coordinated set of transactions based on ASTM, DICOM, HL7, IEEE, IETF, ISO, OASIS and W3C standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

HL7 - Health Level 7 Version 2.6 Chapter 7 Observation Reporting

ISO/IEEE 11073-10201 Domain Information Model 335

ISO/IEEE 11073-10101 Nomenclature

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE TFS DSG (2009): IHE IT Infrastructure (ITI), Technical Framework Supplement: Document Digital Signature 2009-2010.Trial Implementation Supplement.

  - 2 	 Status of approval:

Approved for trial implementation August 10th, 2009.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

This specification was approved as a draft for trial implementation on August 10th, 2009 and is in-force.

  - 6 	 The degree of stability or maturity of the document:

The IHE initiative is both a process and a forum for encouraging integration efforts. It defines a technical framework for the implementation of established information exchange standards to achieve specific clinical goals. It includes a rigorous testing process for the implementation of this framework. And, both the IHE and Continua organize educational sessions and exhibits at major meetings of medical professionals to demonstrate the benefits of each of their frameworks encouraging its adoption by industry and users.

  - 7 	 Relationship with other existing or emerging documents:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. Continua has further constrained it for both the WAN and HRN interfaces.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASTM-E1985] E1985-98 -- Standard guide for user authentication and authorization http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1985.htm?E+mystore

[ASTM-E2212] ASTM E2212 – Standard Practice for Healthcare Certificate Policy http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+-L+ASTM:E2212+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E2212.htm

[ASTM-E1762-05]ASTM E1762-05 – Standard Guide for the Authentication of Health Care Information http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+- L+ASTM:E1762+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E1762.htm

[ASTM-E2084] ASTM E2084 – Standard Specification for the Authentication of Healthcare Information using Digital Signatures http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+- L+ASTM:E2084+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E2084.htm

[ISO17090 (1,2,3)] ISO/TS 17090 – Health Informatics Digital Signatures for Healthcare http://www.iso.org/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=35489&ICS1=35&ICS2=240&ICS3=80

[ISO 21091]ISO/TS 21091- Health Informatics – Directory Services for Security, Communications, and Identification of Professionals and Patients http://www.iso.org/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=35647&scopelist=PROGRAMME

[IETF RFC3280] IETF/RFC 3280 regarding X.509v3 PKIX Private Key Infrastructure RFC3280 http://www.faqs.org/rfcs/rfc3280.html

[IETF RFC2633] IETF/RFC 2633 regarding S/MIME http://www.imc.org/rfc2633

[DICOM 41] DICOM Supplement 41 ftp://medical.nema.org/medical/dicom/final/sup41_ft.pdf

[DICOM 86] DICOM Supplement 86 ftp://medical.nema.org/medical/dicom/supps/sup86_lb.pdf

[NCPDP] NCPDP prescription data coding, content, formatting and taxonomy http://www.ncpdp.org

[HL7 CDA] HL7 CDA http://secure.cihi.ca/cihiweb/dispPage.jsp?cw_page=infostand_hl7doc_arch_e#cda

[CEN ENV13607] Process flow guidance from CEN Pre-Standard ENV13607 - Health informatics http://www.centc251.org

[WS-I] WS-I Basic Security Profile Version 1.0, working draft http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

[ETSI TS 201 733] ETSI TS 201 733 Sections C.3.1 and C.3.2; Electronic Signatures and Infrastructures and (ESI)Electronic Signature Formats http://webapp.etsi.org/WorkProgram/Report_WorkItem.asp?WKI_ID=8179&curItemNr= 1&totalNrItems=1&optDisplay=10&qSORT=REFNB&qETSI_NUMBER=201+733&qINCLUDE_SUB_TB=True&qINCLUDE_MOVED_ON=&qSTOP_FLG=N&butExpertSearch=Search&includeNonActiveTB=FALSE&qREPORT_TYPE=SUMMARY

[ETSI TS 101 903] ETSI TS 101 903: XML Advanced Electronic Signatures XadES http://www.w3.org/TR/XAdES/

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE TFS XUA++ (2010): IHE IT Infrastructure (ITI), Technical Framework Supplement: Cross-Enterprise User Assertion - Attribute Extension (XUA++). Trial Implementation.

  - 2 	 Status of approval:

Approved for trial implementation August 10th, 2010.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

An improvement over the XUA Profile improving access control for audit logging: This supplement extends the Cross-Enterprise User Assertion (XUA) profile with Options that will enable access controls on the service side. The current XUA profile allows attributes but does not require any specific attributes beyond the user identity that is used for audit logging. There is now experience on how to extend an XUA Assertion to support some service side access control. This improvement over the XUA profile has been recognized and implemented within related certification programs.

  - 6 	 The degree of stability or maturity of the document:

See 5.

  - 7 	 Relationship with other existing or emerging documents:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. The COntinua Design Guidelines further constrained it for the HRN and WAN interfaces.

  - 8 	 Any explicit references within that referenced document should also be listed:

NIST SP 800-63, Liberty Alliance, and OASIS [sstc-saml-assurance-profile-draft-01.pdf].

IHE Access Control White Paper [http://www.ihe.net/Technical_Framework/upload/IHE_ITI_TF_WhitePaper_AccessControl_2009-09-28.pdf].

OASIS http://www.oasis-open.org/committees/security/.

SAMLCore SAML V2.0 Core standard

WSS10 OASIS Standard, "OASIS Web Services Security: SOAP Message Security 1.0 (WS-Security 2004)", March 2004. 330

WSS11 OASIS Standard, "OASIS Web Services Security: SOAP Message Security 1.1 (WS-Security 2004)", February 2006.

WSS:SAMLTokenProfile1.0 OASIS Standard, “Web Services Security: SAML Token Profile”, December 2004

WSS:SAMLTokenProfile1.1 OASIS Standard, “Web Services Security: SAML 335 Token Profile 1.1”, February 2006

XSPA-SAMLv1.0 OASIS Standard, ?Cross-Enterprise Security and Privacy Authorization (XSPA) Profile of the Security Assertion Markup Language (SAML) for Healthcare v1.0? , November 2009

SAML V2.0 Standards http://www.oasis-open.org/committees/security/.

SAML V2.0 Technical Overview

SAML Executive Overview

SAML Tutorial presentation by Eve Maler of Sun Microsystems

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

NFC Forum TS PHDC 1.0 (2013): Personal Health Device Communication 1.0

  - 2 	 Status of approval:

Technical Specification approved 2013-02-27.

  - 3 	 Justification for the specific reference:

The NFC Personal Health Device Communication specification is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a framework for personal health devices that are compliant with the IEEE 11073 standards family and use IEEE 11073-20601 Optimized Exchange Protocol to report measurements using NFC Forum communication technology.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved 2013-02-27.

  - 6 	 The degree of stability or maturity of the document:

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

[IEEE_11073-20601] IEEE Health informatics-Personal health device communication Part 20601: Application profile- Optimized Exchange Protocol 2010, IEEE

[LLCP] NFC Logical Link Control Protocol (LLCP) Technical Specification, Version 1.1, NFC Forum

[NDEF] NFC Data Exchange Format (NDEF)Technical Specification, Version 1.0, NFC Forum

[RFC2119] Key words for use in RFCs to Indicate Requirement Levels, RFC 2119, S. Bradner, March 1997, Internet Engineering Task Force

[RTD] NFC Record Type Definition (RTD) Technical Specification, Version 1.0, NFC Forum Personal Health Device Communication

[T2TOP] NFC Forum Type 2 Tag Operation Specification, Version 1.1, NFC Forum

[T3TOP] NFC Forum Type 3 Tag Operation Specification, Version 1.1, NFC Forum

[T4TOP] NFC Forum Type 4 Tag Operation Specification, Version 2.0, NFC Forum

  - 9 	 Qualification of NFC:

NFC is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

OASIS SAMLTokenProfile (2006): Web Services Security: SAML Token Profile 1.1

  - 2 	 Status of approval:

Approved OASIS Standard, 1 February 2006

  - 3 	 Justification for the specific reference:

SAML Token Profile 1.1 is needed for web services security in applications defined in Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved OASIS Standard, 1 February 2006.

  - 6 	 The degree of stability or maturity of the document:

Approved OASIS Standard, 1 February 2006.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[GLOSSARY] Informational RFC 2828, "Internet Security Glossary," May 2000.

[KEYWORDS] S. Bradner, "Key words for use in RFCs to Indicate Requirement Levels," RFC 2119, Harvard University, March 1997

[SAMLBindV1] Oasis Standard, E. Maler, P.Mishra, and R. Philpott (Editors), Bindings and Profiles for the OASIS Security Assertion Markup Language (SAML) V1.1,September 2003.

[SAMLBindV2] Oasis Standard, S. Cantor, F. Hirsch, J. Kemp, R. Philpott, E. Maler (Editors),Bindings for the OASIS Security Assertion Markup Language (SAML) V2.0,March 2005.

[SAMLCoreV1] Oasis Standard, E. Maler, P.Mishra, and R. Philpott (Editors), Assertions and Protocols for the OASIS Security Assertion Markup Language (SAML) V1.1,September 2003.

[SAMLCoreV2] Oasis Standard, S. Cantor, J. Kemp, R. Philpott, E. Maler (Editors), Assertions and Protocol for the OASIS Security Assertion Markup Language (SAML) V2.0,March 2005.

[SOAP] W3C Note, "SOAP: Simple Object Access Protocol 1.1," 08 May 2000. W3C Working Draft, Nilo Mitra (Editor), SOAP Version 1.2 Part 0: Primer, June 2002. W3C Working Draft, Martin Gudgin, Marc Hadley, Noah Mendelsohn, Jean- Jacques Moreau, Henrik Frystyk Nielsen (Editors), SOAP Version 1.2 Part 1: Messaging Framework, June 2002. W3C Working Draft, Martin Gudgin, Marc Hadley, Noah Mendelsohn, Jean- Jacques Moreau, Henrik Frystyk Nielsen (Editors), SOAP Version 1.2 Part 2: Adjuncts, June 2002.

[URI] T. Berners-Lee, R. Fielding, L. Masinter, "Uniform Resource Identifiers (URI): Generic Syntax," RFC 2396, MIT/LCS, U.C. Irvine, Xerox Corporation, August 1998.

[WS-SAML] Contribution to the WSS TC, P. Mishra (Editor), WS-Security Profile of the Security Assertion Markup Language (SAML) Working Draft 04, Sept 2002.

[WSS: SAML Token Profile] Oasis Standard, P. Hallem-Baker, A. Nadalin, C. Kaler, R. Monzillo (Editors), Web Services Security: SAML Token Profile 1.0, December 2004.

[WSS: SOAP Message Security V1.0] Oasis Standard, A. Nadalin, C.Kaler, P. Hallem-Baker, R. Monzillo (Editors), Web Services Security: SOAP Message Security 1.0 (WSSecurity 2004), August 2003.

[WSS: SOAP Message Security] Oasis Standard, A. Nadalin, C.Kaler, R. Monzillo, P. Hallem-Baker,(Editors), Web Services Security: SOAP Message Security 1.1 (WS-Security 2004), December 2005.

[XML-ns] W3C Recommendation, "Namespaces in XML," 14 January 1999. [XML Signature] W3C Recommendation, "XML Signature Syntax and Processing," 12 February 2002.

[XML Token] Contribution to the WSS TC, Chris Kaler (Editor),WS-Security Profile for XML-based Tokens, August 2002.

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

OASIS WS-MakeConnection v1.1 (2009): Web Services Make Connection (WS-MakeConnection) Version 1.1

  - 2 	 Status of approval:

Approved OASIS standard

  - 3 	 Justification for the specific reference:

ITU-T H.810 makes use of OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2. WS-MakeConnection is used by WS-ReliableMessaging and describes a protocol that allows messages to be transferred between nodes implementing this protocol by using a transport-specific back-channel. The protocol is described in this specification in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within this specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

OASIS standard approved 2 February 2009 (version 1.1).

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

WS-Reliable Messaging v1.2: http://docs.oasis-open.org/ws-rx/wsrm/200702

WS-RM Policy v1.2: http://docs.oasis-open.org/ws-rx/wsrmp/200702

  - 8 	 Any explicit references within that referenced document should also be listed:

1.2 Normative

[KEYWORDS]         S. Bradner, "Key words for use in RFCs to Indicate Requirement Levels," RFC 2119, Harvard University, March 1997

http://www.ietf.org/rfc/rfc2119.txt

[SOAP 1.1]             W3C Note, "SOAP: Simple Object Access Protocol 1.1," 08 May 2000.

http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

[SOAP 1.2]             W3C Recommendation, "SOAP Version 1.2 Part 1: Messaging Framework" June 2003.

http://www.w3.org/TR/2003/REC-soap12-part1-20030624/

[URI]                       T. Berners-Lee, R. Fielding, L. Masinter, "Uniform Resource Identifiers (URI): Generic Syntax," RFC 3986, MIT/LCS, U.C. Irvine, Xerox Corporation, January 2005.

http://ietf.org/rfc/rfc3986

[UUID]                    P. Leach, M. Mealling, R. Salz, "A Universally Unique IDentifier (UUID) URN Namespace," RFC 4122, Microsoft, Refactored Networks - LLC, DataPower Technology Inc, July 2005

http://www.ietf.org/rfc/rfc4122.txt

[WSDL 1.1]             W3C Note, "Web Services Description Language (WSDL 1.1)," 15 March 2001.

http://www.w3.org/TR/2001/NOTE-wsdl-20010315

[WS-Addressing]    W3C Recommendation, “Web Services Addressing 1.0 - Core”, May 2006.

http://www.w3.org/TR/2006/REC-ws-addr-core-20060509/

W3C Recommendation, “Web Services Addressing 1.0 – SOAP Binding”, May 2006.

http://www.w3.org/TR/2006/REC-ws-addr-soap-20060509/

[WS-RM]                 OASIS Standard, "Web Services Reliable Messaging (WS-ReliableMessaging)," February 2009.

http://docs.oasis-open.org/ws-rx/wsrm/200702/wsrm-1.2-spec-os.doc

[WS-RM Policy]      OASIS Standard, "Web Services Reliable Messaging Policy Assertion( WS-RM Policy)", February 2009.

http://docs.oasis-open.org/ws-rx/wsrmp/200702/wsrmp-1.2-spec-os.doc

[XML]                     W3C Recommendation, "Extensible Markup Language (XML) 1.0 (Fourth Edition)", September 2006.

http://www.w3.org/TR/REC-xml/

[XML-ns]                W3C Recommendation, "Namespaces in XML," 14 January 1999.

http://www.w3.org/TR/1999/REC-xml-names-19990114/

[XML-Schema Part1]          W3C Recommendation, "XML Schema Part 1: Structures," October 2004.

http://www.w3.org/TR/xmlschema-1/

[XML-Schema Part2]          W3C Recommendation, "XML Schema Part 2: Datatypes," October 2004.

http://www.w3.org/TR/xmlschema-2/

[XPATH 1.0]            W3C Recommendation, "XML Path Language (XPath) Version 1.0," 16 November 1999.

http://www.w3.org/TR/xpath

1.3 Non-Normative

[RDDL 2.0]              Jonathan Borden, Tim Bray, eds. “Resource Directory Description Language (RDDL) 2.0,” January 2004

http://www.openhealth.org/RDDL/20040118/rddl-20040118.html

[RTTM]                   V. Jacobson, R. Braden, D. Borman, "TCP Extensions for High Performance", RFC 1323, May 1992.

http://www.rfc-editor.org/rfc/rfc1323.txt

[SecurityPolicy]      OASIS Standard, "WS-SecurityPolicy 1.3", February 2009

http://docs.oasis-open.org/ws-sx/ws-securitypolicy/v1.3/os/ws-securitypolicy-1.3-spec-os.doc

[SecureConversation]        OASIS Standard, "WS-SecureConversation 1.4", February 2009

http://docs.oasis-open.org/ws-sx/ws-secureconversation/v1.4/os/ws-secureconversation-1.4-spec-os.doc

[Trust]                    OASIS Standard "WS-Trust 1.4", February 2009

http://docs.oasis-open.org/ws-sx/ws-trust/v1.4/os/ws-trust-1.4-spec-os.doc

[WS-Policy]            W3C Recommendation, "Web Services Policy 1.5 - Framework," September 2007.

http://www.w3.org/TR/2007/REC-ws-policy-20070904

[WS-PolicyAttachment]      W3C Recommendation, "Web Services Policy 1.5 - Attachment," September 2007.

http://www.w3.org/TR/2007/REC-ws-policy-attach-2007004

[WS-Security]         Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS Web Services Security: SOAP Message Security 1.0 (WS-Security 2004)",  OASIS Standard 200401, March 2004.

http://docs.oasis-open.org/wss/2004/01/oasis-200401-wss-soap-message-security-1.0.pdf

Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS Web Services Security: SOAP Message Security 1.1 (WS-Security 2004)", OASIS Standard 200602, February 2006.

http://docs.oasis-open.org/wss/v1.1/wss-v1.1-spec-os-SOAPMessageSecurity.pdf

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

OASIS/WS-I BP (2006): Basic Profile Version 1.1

  - 2 	 Status of approval:

"Final Material" specification approved on 2006-04-10.

  - 3 	 Justification for the specific reference:

The OASIS/WS-I Basic Profile Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

In existence since 2006.

  - 6 	 The degree of stability or maturity of the document:

In existence since 2006.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

- W3C Simple Object Access Protocol (SOAP) 1.1

- IETF RFC 2616: Hypertext Transfer Protocol -- HTTP/1.1

- IETF RFC 2965: HTTP State Management Mechanism

- W3C SOAP 1.1, Section 4

- W3C Extensible Markup Language (XML) 1.0 (Second Edition)

- W3C Namespaces in XML 1.0

- W3C XML Schema Part 1: Structures

- W3C XML Schema Part 2: Datatypes

- W3C Web Services Description Language (WSDL) 1.1

- UDDI Version 2.04 API Specification, Dated 19 July 2002

- UDDI Version 2.03 Data Structure Reference, Dated 19 July 2002

- UDDI Version 2 XML Schema

- UDDI Version 2.03 Data Structure Reference, Section 7

- RFC2818: HTTP Over TLS

- RFC2246: The TLS Protocol Version 1.0

- (Netscape) The SSL Protocol Version 3.0

- RFC2459: Internet X.509 Public Key Infrastructure Certificate and CRL Profile

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

Approved originally in 2006 by The Web Services-Interoperability Organization (WS-I), which subsequently merged with OASIS, which now publishes and maintains the WS-I specifications.

  - 1 	 Clear description of the referenced document:

OASIS/WS-I BSP (2007): OASIS/WS-I Basic Security Profile Version 1.0

  - 2 	 Status of approval:

"Final Material" specification approved on 2007-03-30.

  - 3 	 Justification for the specific reference:

The OASIS/WS-I Basic Security Profile Version 1.0 is needed for web services security in applications defined in Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

In existence since 2007.

  - 6 	 The degree of stability or maturity of the document:

In existence since 2007.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

RFC 2818: HTTP over TLS

RFC 2246: The TLS Protocol Version 1.0

The SSL Protocol Version 3.0 (http://wp.netscape.com/eng/ssl3/ssl-toc.html)

Web Services Security: SOAP Message Security 1.0 (WS-Security 2004), OASIS Standard 200401, March 2004

Web Services Security: SOAP Message Security 1.0 (WS-Security 2004), Errata 1.0 Committee Draft 200512, December 2005

Basic Profile Version 1.0 (BP1.0)

Basic Profile Version 1.0 Errata

Basic Profile Version 1.1 (BP1.1)

Simple SOAP Binding Profile Version 1.0 (SSBP1.0)

XML-Signature Syntax and Processing (http://www.w3.org/TR/xmldsig-core/)

XML Encryption Syntax and Processing (http://www.w3.org/TR/xmlenc-core/)

Web Services Security: UsernameToken Profile 1.0, OASIS Standard 200401, March 2004

Web Services Security: UsernameToken Profile 1.0, Errata 1.0 Committee Draft 200401, September 2004

Web Services Security: X.509 Certificate Token Profile, OASIS Standard 200401, March 2004

Web Services Security: X.509 Token Profile 1.0, Errata 1.0 Committee Draft 200512, December 2005

RFC2459: Internet X.509 Public Key Infrastructure Certificate and CRL Profile

Information technology "Open Systems Interconnection" The Directory: Public-key and attribute certificate frameworks Technical Corrigendum 1

Web Services Security: Rights Expression Language (REL) Token Profile 1.0, OASIS Standard: 19 December 2004

Web Services Security: Kerberos Token Profile 1.1, OASIS Standard Specification, 1 February 2006

Web Services Security: SAML Token Profile 1.0, OASIS Standard, 01 Dec. 2004

Attachments Profile Version 1.0 (AP1.0) (http://www.ws-i.org/Profiles/AttachmentsProfile-1.0.html)

Web Services Security: SOAP Messages with Attachments (SwA) Profile 1.1, OASIS Standard, 1 February 2006

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

Approved originally in 2007 by The Web Services-Interoperability Organization (WS-I), which subsequently merged with OASIS, which now publishes and maintains the WS-I specifications.

  - 1 	 Clear description of the referenced document:

OASIS/WS-ReliableMessaging 1.2 (2009): OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2

  - 2 	 Status of approval:

OASIS Standard approved 2 February 2009.

  - 3 	 Justification for the specific reference:

The OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.2 is needed for web services security in applications defined in Continua Design Guidelines. WS-ReliableMessaging describes a protocol that allows messages to be transferred reliably between nodes implementing this protocol in the presence of software component, system, or network failures. The protocol is described in WS-ReliableMessaging in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within WS-ReliableMessaging.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Standard approved 2 February 2009. This specification replaces or supersedes OASIS WS-ReliableMessaging v1.1.

  - 6 	 The degree of stability or maturity of the document:

Standard approved 2 February 2009.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

1.2 Normative References

[KEYWORDS]         S. Bradner, “Key words for use in RFCs to Indicate Requirement Levels,” RFC 2119, Harvard University, March 1997

http://www.ietf.org/rfc/rfc2119.txt

[WS-RM Policy]      OASIS Standard, "Web Services Reliable Messaging Policy Assertion( WS-RM Policy)," February 2009

http://docs.oasis-open.org/ws-rx/wsrmp/200702/wsrmp-1.2-spec-os.doc

[SOAP 1.1]             W3C Note, "SOAP: Simple Object Access Protocol 1.1," 08 May 2000.

http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

[SOAP 1.2]             W3C Recommendation, "SOAP Version 1.2 Part 1: Messaging Framework" June 2003.

http://www.w3.org/TR/2003/REC-soap12-part1-20030624/

[URI]                       T. Berners-Lee, R. Fielding, L. Masinter, "Uniform Resource Identifiers (URI): Generic Syntax," RFC 3986, MIT/LCS, U.C. Irvine, Xerox Corporation, January 2005.

http://ietf.org/rfc/rfc3986

[UUID]                    P. Leach, M. Mealling, R. Salz, "A Universally Unique IDentifier (UUID) URN Namespace," RFC 4122, Microsoft, Refactored Networks - LLC, DataPower Technology Inc, July 2005

http://www.ietf.org/rfc/rfc4122.txt

[XML]                     W3C Recommendation, "Extensible Markup Language (XML) 1.0 (Fourth Edition)", September 2006.

http://www.w3.org/TR/REC-xml/

[XML-ns]                W3C Recommendation, "Namespaces in XML," 14 January 1999.

http://www.w3.org/TR/1999/REC-xml-names-19990114/

[XML-Schema Part1]          W3C Recommendation, "XML Schema Part 1: Structures," October 2004.

http://www.w3.org/TR/xmlschema-1/

[XML-Schema Part2]          W3C Recommendation, "XML Schema Part 2: Datatypes," October 2004.

http://www.w3.org/TR/xmlschema-2/

[XPATH 1.0]            W3C Recommendation, "XML Path Language (XPath) Version 1.0," 16 November 1999.

http://www.w3.org/TR/xpath

[WSDL 1.1]             W3C Note, "Web Services Description Language (WSDL 1.1)," 15 March 2001.

http://www.w3.org/TR/2001/NOTE-wsdl-20010315

[WS-Addressing]    W3C Recommendation, “Web Services Addressing 1.0 – Core,” May 2006.

http://www.w3.org/TR/2006/REC-ws-addr-core-20060509/

W3C Recommendation, “Web Services Addressing 1.0 – SOAP Binding,” May 2006

http://www.w3.org/TR/2006/REC-ws-addr-soap-20060509/

1.3 Non-Normative References

[BSP 1.0]                WS-I Working Group Draft. "Basic Security Profile Version 1.0," August 2006

http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

[RDDL 2.0]              Jonathan Borden, Tim Bray, eds. “Resource Directory Description Language (RDDL) 2.0,” January 2004

http://www.openhealth.org/RDDL/20040118/rddl-20040118.html

[RFC 2617]              J. Franks, P. Hallam-Baker, J. Hostetler, S. Lawrence, P. Leach, A. Loutonen, L. Stewart, "HTTP Authentication: Basic and Digest Access Authentication," June 1999.

http://www.ietf.org/rfc/rfc2617.txt

[RFC 4346]              T. Dierks, E. Rescorla, "The Transport Layer Security (TLS) Protocol Version 1.1," April 2006.

http://www.ietf.org/rfc/rfc4346.txt

[WS-Policy]            W3C Recommendation, "Web Services Policy 1.5 - Framework," September 2007.

http://www.w3.org/TR/2007/REC-ws-policy-20070904

[WS-PolicyAttachment]      W3C Recommendation, "Web Services Policy 1.5 - Attachment," September 2007.

http://www.w3.org/TR/2007/REC-ws-policy-attach-20070904

[WS-Security]         Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS Web Services Security: SOAP Message Security 1.0 (WS-Security 2004)",  OASIS Standard 200401, March 2004.

http://docs.oasis-open.org/wss/2004/01/oasis-200401-wss-soap-message-security-1.0.pdf

Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS Web Services Se-curity: SOAP Message Security 1.1 (WS-Security 2004)", OASIS Standard 200602, February 2006.

http://docs.oasis-open.org/wss/v1.1/wss-v1.1-spec-os-SOAPMessageSecurity.pdf

[RTTM]                   V. Jacobson, R. Braden, D. Borman, "TCP Extensions for High Performance", RFC 1323, May 1992.

http://www.rfc-editor.org/rfc/rfc1323.txt

[SecurityPolicy]      OASIS Standard, "WS-SecurityPolicy 1.3", February 2009

http://docs.oasis-open.org/ws-sx/ws-securitypolicy/v1.3/os/ws-securitypolicy-1.3-spec-os.doc

[SecureConversation]        OASIS Standard, "WS-SecureConversation 1.4", February 2009

http://docs.oasis-open.org/ws-sx/ws-secureconversation/v1.4/os/ws-secureconversation-1.4-spec-os.doc

[Trust]                    OASIS Standard, "WS-Trust 1.4", February 2009

http://docs.oasis-open.org/ws-sx/ws-trust/v1.4/os/ws-trust-1.4-spec-os.doc

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0

  - 2 	 Status of approval:

Approved specification.

  - 3 	 Justification for the specific reference:

The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved specification since 2007, erratum exists (integrated with base file downloaded from the link above).

  - 6 	 The degree of stability or maturity of the document:

N/A

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

1. Universal Serial Bus Specification, Revision 2.0, April 27, 2000, http://www.usb.org.

2. ISO/IEEE 11073-20601 Optimized Exchange Protocol, Revision 1.0, 2010.

3. ISO/IEEE 11073-10101, Health Informatics – Point of Care medical device communication – Part 10101: Nomenclature, First edition, December 15, 2004.

4. RFC 2119, Key words for use in RFCs to Indicate Requirement Levels: March 1997, http://www.ietf.org/rfc/rfc2119.txt.

  - 9 	 Qualification of USB-IF:

USB-IF is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

W3C XMLENC (2002): XML Encryption Syntax and Processing

  - 2 	 Status of approval:

W3C Recommendation of 10 December 2002

  - 3 	 Justification for the specific reference:

The XML Encryption Syntax and Processing is used for secure encryption of XML data within the Continua Design Guideline architecture. W3C XMLENC specifies a process for encrypting data and representing the result in XML. The data may be arbitrary data (including an XML document), an XML element, or XML element content. The result of encrypting data is an XML Encryption element which contains or references the cipher data.

  - 4 	 Current information, if any, about IPR issues:

W3C is a Royalty Free organization. Identification of patent policy  is available on the Web page http://www.w3.org/2004/01/pp-impl/

  - 5 	 Other useful information describing the "Quality" of the document:

Document published in December 2002 (http://www.w3.org/TR/xmlenc-core/). Status is Recommendation.

  - 6 	 The degree of stability or maturity of the document:

Document published in December 2002. Latest version: http://www.w3.org/TR/xmlenc-core/.

  - 7 	 Relationship with other existing or emerging documents:

  - 8 	 Any explicit references within that referenced document should also be listed:

TRIPLEDES

ANSI X9.52: Triple Data Encryption Algorithm Modes of Operation. 1998.

AES

NIST FIPS 197: Advanced Encryption Standard (AES). November 2001.

http://csrc.nist.gov/publications/fips/fips197/fips-197.pdf

AES-WRAP

RFC3394: Advanced Encryption Standard (AES) Key Wrap Algorithm. J. Schaad and R. Housley. Informational, September 2002.

CMS-Algorithms

RFC3370: Cryptographic Message Syntax (CMS) Algorithms. R. Housley. Informational, February 2002.

http://www.ietf.org/rfc/rfc3370.txt

CMS-Wrap

RFC3217: Triple-DES and RC2 Key Wrapping. R. Housley. Informational, December 2001.

http://www.ietf.org/rfc/rfc3217.txt

Davis

Defective Sign & Encrypt in S/MIME, PKCS#7, MOSS, PEM, PGP, and XML. D. Davis. USENIX Annual Technical Conference. 2001.

http://www.usenix.org/publications/library/proceedings/usenix01/davis.html

DES

NIST FIPS 46-3: Data Encryption Standard (DES). October 1999.

http://csrc.nist.gov/publications/fips/fips46-3/fips46-3.pdf

EncReq

XML Encryption Requirements. J. Reagle. W3C Note, March 2002.

http://www.w3.org/TR/2002/NOTE-xml-encryption-req-20020304

ESDH

RFC 2631: Diffie-Hellman Key Agreement Method. E. Rescorla. Standards Track, 1999.

http://www.ietf.org/rfc/rfc2631.txt

http://www.w3.org/TR/2002/CR-xml-exc-c14n-20020212

Glossary

RFC 2828: Internet Security Glossary. R Shirey. Informational, May 2000.

http://www.ietf.org/rfc/rfc2828.txt

HMAC

RFC 2104: HMAC: Keyed-Hashing for Message Authentication. H. Krawczyk, M. Bellare, and R. Canetti. Informational, February 1997.

http://www.ietf.org/rfc/rfc2104.txt

HTTP

RFC 2616: Hypertext Transfer Protocol -- HTTP/1.1. J. Gettys, J. Mogul, H. Frystyk, L. Masinter, P. Leach, and T. Berners-Lee. Standards Track, June 1999.

http://www.ietf.org/rfc/rfc2616.txt

KEYWORDS

RFC 2119: Key words for use in RFCs to Indicate Requirement Levels. S. Bradner. Best Current Practice, March 1997.

http://www.ietf.org/rfc/rfc2119.txt

MD5

RFC 1321: The MD5 Message-Digest Algorithm. R. Rivest. Informational, April 1992.

http://www.ietf.org/rfc/rfc1321.txt

MIME

RFC 2045: Multipurpose Internet Mail Extensions (MIME) Part One: Format of Internet Message Bodies. N. Freed and N. Borenstein. Standards Track, November 1996.

http://www.ietf.org/rfc/rfc2045.txt

MIME-REG

RFC 2048: Multipurpose Internet Mail Extensions (MIME) Part Four: Registration Procedures. N. Freed, J. Klensin, and J. Postel. Best Current Practice, November 1996.

http://www.ietf.org/rfc/rfc2048.txt

NFC

TR15, Unicode Normalization Forms. M. Davis and M. Dürst. Revision 18: November 1999.

http://www.unicode.org/unicode/reports/tr15/tr15-18.html.

NFC-Corrigendum

Corrigendum #2: Yod with Hiriq Normalization.

http://www.unicode.org/versions/corrigendum2.html.

prop1

XML Encryption strawman proposal. E. Simon and B. LaMacchia. Aug 2000.

http://lists.w3.org/Archives/Public/xml-encryption/2000Aug/0001.html

prop2

Another proposal of XML Encryption. T. Imamura. Aug 2000.

http://lists.w3.org/Archives/Public/xml-encryption/2000Aug/0005.html

prop3

XML Encryption Syntax and Processing. B. Dillaway, B. Fox, T. Imamura, B. LaMacchia, H. Maruyama, J. Schaad, and E. Simon. December 2000.

http://lists.w3.org/Archives/Public/xml-encryption/2000Dec/att-0024/01-XMLEncryption_v01.html

PKCS1

RFC 2437: PKCS #1: RSA Cryptography Specifications Version 2.0. B. Kaliski and J. Staddon. Informational, October 1998.

http://www.ietf.org/rfc/rfc2437.txt

RANDOM

RFC 1750: Randomness Recommendations for Security. D. Eastlake, S. Crocker, and J. Schiller. Informational, December 1994.

http://www.ietf.org/rfc/rfc1750.txt

RIPEMD-160

CryptoBytes, Volume 3, Number 2. The Cryptographic Hash Function RIPEMD-160. RSA Laboratories. Autumn 1997.

ftp://ftp.rsasecurity.com/pub/cryptobytes/crypto3n2.pdf

http://www.esat.kuleuven.ac.be/~cosicart/pdf/AB-9601/AB-9601.pdf

SHA

Secure Hash Standard. NIST FIPS 180-1. (RFC 3174). April 1995.

http://www.itl.nist.gov/fipspubs/fip180-1.htm

Secure Hash Standard. NIST Draft FIPS 180-2. 2001. (Extended to include SHA-384, SHA-256, and SHA-512)

http://csrc.nist.gov/encryption/shs/dfips-180-2.pdf

Tobin

R. Tobin. Infoset for external entities, XML Core mailing list, 2000 [W3C Member Only].

http://lists.w3.org/Archives/Member/w3c-xml-core-wg/2000OctDec/0054

UTF-16

RFC 2781: UTF-16, an encoding of ISO 10646. P. Hoffman and F. Yergeau. Informational, February 2000.

http://www.ietf.org/rfc/rfc2781.txt

UTF-8

RFC 2279: UTF-8, a transformation format of ISO 10646F. F. Yergeau. Standards Track, January 1998.

http://www.ietf.org/rfc/rfc2279.txt

URI

RFC 2396: Uniform Resource Identifiers (URI): Generic Syntax. T. Berners-Lee, R. Fielding, and L. Masinter. Standards Track, August 1998.

http://www.ietf.org/rfc/rfc2396.txt

http://www.ietf.org/rfc/rfc1738.txt

http://www.ietf.org/rfc/rfc2141.txt

RFC 2611: URN Namespace Definition Mechanisms. Best Current Practices. Daigle, D. van Gulik, R. Iannella, P. Falstrom. June 1999.

http://www.ietf.org/rfc/rfc2611.txt

X509v3

ITU-T Recommendation X.509 version 3 (1997). "Information Technology - Open Systems Interconnection - The Directory Authentication Framework"  ISO/IEC 9594-8:1997.

XML

Extensible Markup Language (XML) 1.0 (Second Edition). T. Bray, J. Paoli, C. M. Sperberg-McQueen, and E. Maler. W3C Recommendation, October 2000.

XML-Base

XML Base. J. Marsh. W3C Recommendation, June 2001.

http://www.w3.org/TR/2001/REC-xmlbase-20010627/

XML-C14N

Canonical XML. J. Boyer. W3C Recommendation, March 2001.

http://www.w3.org/TR/2001/REC-xml-c14n-20010315

http://www.ietf.org/rfc/rfc3076.txt

XML-exc-C14N

Exclusive XML Canonicalization. J. Boyer, D. Eastlake, and J. Reagle. W3C Recommendation, July 2002.

http://www.w3.org/TR/2002/REC-xml-exc-c14n-20020718/

XML-DSIG

XML-Signature Syntax and Processing. D. Eastlake, J. Reagle, and D. Solo. W3C Recommendation, February 2002.

http://www.w3.org/TR/2002/REC-xmldsig-core-20020212/

XML-DSIG-Decrypt

Decryption Transform for XML Signature. M. Hughes, T. Imamura and H. Maruyama. W3C Recommendation, December 2002.

http://www.w3.org/TR/2002/REC-xmlenc-decrypt-20021210

XML-Encryption

XML Encryption Syntax and Processing. D. Eastlake and J. Reagle. W3C Candidate Recommendation, December 2002.

http://www.w3.org/TR/2002/CR-xmlenc-core-20020802/

XML-Infoset

XML Information Set. J. Cowan and R. Tobin. W3C Recommendation, October 2001

http://www.w3.org/TR/2001/REC-xml-infoset-20011024/

XML-MT

RFC 3023: XML Media Types. M. Murata, S. St. Laurent, and D. Kohn. Informational, January 2001.

http://www.ietf.org/rfc/rfc2376.txt

XML-NS

Namespaces in XML. T. Bray, D. Hollander, and A. Layman. W3C Recommendation, January 1999.

http://www.w3.org/TR/1999/REC-xml-names-19990114

XML-schema

XML Schema Part 1: Structures D. Beech, M. Maloney, and N. Mendelsohn. W3C Recommendation, May 2001.

http://www.w3.org/TR/2001/REC-xmlschema-1-20010502/

XML Schema Part 2: Datatypes. P. Biron and A. Malhotra. W3C Recommendation, May 2001.

http://www.w3.org/TR/2001/REC-xmlschema-2-20010502/

XPath

XML Path Language (XPath) Version 1.0. J. Clark and S. DeRose. W3C Recommendation, October 1999.

http://www.w3.org/TR/1999/REC-xpath-19991116

  - 9 	 Qualification of W3C:

W3C is qualified for including references in ITU-T Recommendations under Recommendation A.5 procedures.

  - 10 	 Other (for any supplementary information):

All standards are available on-line. An index of Recommendation and their status may be found in the W3C archives at http://www.w3.org/TR/ .

  - 1 	 Clear description of the referenced document:

ZigBee HCP (2010): ZigBee Health Care Profile Specification, version 1.0, revision 15

  - 2 	 Status of approval:

ZigBee Standard approved March 2010.

  - 3 	 Justification for the specific reference:

The ZigBee Health Care Profile Specification Standard is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. The application domains covered are Disease Monitoring, Personal Wellness Monitoring and Personal Fitness monitoring. The environments addressed are residential environments, retirement communities, medical care facilities (low acuity aspects only) and fitness centers.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

ZigBee Standard, version 1 release 15 was approved in 2010 and has been widely adopted worldwide.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

2.1 ZigBee Alliance documents

[R1] ZigBee document 053474, ZigBee Specification

[R2] ZigBee document 08006, ZigBee-2007 Layer PICS and Stack Profiles

[R3] ZigBee document 075123, ZigBee Cluster Library Specification: Foundation Specification chapter

[R4] ZigBee document 075123, ZigBee Cluster Library Specification: General Specification chapter

[R5] ZigBee document 075123, ZigBee Cluster Library Specification: Protocol Interfaces chapter

[R6] ZigBee document 074828, Personal, Home and Hospital Care - Market Requirements

[R7] ZigBee document 075111, Personal, Home and Hospital Care - Technical Requirements

[R8] ZigBee document 095203, Health Care Profile - Part2, Security Clusters

[R9] ZigBee document 095167, Device List for the ZigBee Health Care Application Profile

[R10] ZigBee document 053520, Home Automation Profile Specification

[R11] ZigBee document 075307, Telecom Applications Profile Specification

[R12] ZigBee document 064309, Commissioning Framework

[R13] ZigBee document 075329, IP Gateway Specification

[R14] ZigBee document 105567, ASKE and ASAC best practice and usage guidelines

2.2 ISO / IEEE Standards Documents

[R15] Institute of Electrical and Electronics Engineers, Inc., IEEE Std. 802.15.4 2003, IEEE Standard for Information Technology Telecommunications and Information Exchange between Systems – Local and Metropolitan Area Networks – Specific Requirements Part 15.4: Wireless Medium Access Control (MAC) and Physical Layer (PHY) Specifications for Low Rate Wireless Personal Area Networks (WPANs). New York: IEEE Press. 2003

[R16] ISO/IEEE 11073-20601: Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later.

[R17] ISO/IEEE P11073-10404, Health informatics – Personal health device communication – Device specialization – Pulse oximeter.

[R18] ISO/IEEE P11073-10407, Health informatics – Personal health device communication – Device specialization – Blood pressure monitor.

[R19] ISO/IEEE P11073-10408, Health informatics – Personal health device communication – Device specialization – Thermometer.

[R20] ISO/IEEE P11073-10415, Health informatics – Personal health device communication – Device specialization – Weighing scale.

[R21] ISO/IEEE P11073-10417, Health informatics – Personal health device communication – Device specialization – Glucose meter.

[R22] ISO/IEEE P11073-10419, Health informatics – Personal health device communication – Device specialization – Insulin Pump

[R23] ISO/IEEE P11073-10421, Health informatics – Personal health device communication – Device specialization – Peak Expiratory Flow Monitor

[R24] ISO/IEEE P11073-10441, Health informatics – Personal health device communication – Device specialization – Cardiovascular Fitness and Activity Monitor.

[R25] ISO/IEEE P11073-10442, Health informatics – Personal health device communication – Device specialization – Strength Fitness Equipment.

[R26] ISO/IEEE P11073-10471, Health informatics – Personal health device communication – Device specialization – Independent living activity hub.

[R27] ISO/IEEE P11073-10472, Health informatics – Personal health device communication – Device specialization – Medication Monitor.

  - 9 	 Qualification of ZigBee Alliance:

ZigBee Alliance meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

_________________