Question ITU-R 221-1/1*

Compatibility between radiocommunication systems and high data rate telecommunication systems using wired electrical power supply

(2000-2007)

The ITU Radiocommunication Assembly,

considering

a)	that electricity power supply continues to be used for low data rate telemetry or control purposes in LF bands;

b)	that electricity power supply is generally not designed or installed in such a way that RF radiation will be minimised;

c)	that new telecommunication systems are being designed which will operate with data rates exceeding 1 Mb/s, with carrier frequencies in the HF band;

d)	that any radiation from such systems may affect the use of radiocommunication systems, particularly at LF, MF, HF and VHF,

decides that the following Question shall be studied

1	What are the acceptable levels of radiation from telecommunication systems utilising wired electrical power supply so as not to impair the performance of radiocommunication systems?

further decides

1	that the results of the above studies should be included in a Recommendation or a Report;

2	that the studies should be completed by 2012.

NOTE 1 – See also Question ITU-R 218-1/1.

Category: S2

*	 	In the year 2009, Radiocommunication Study Group 1 extended the completion date of studies for this Question.