RECOMMENDATION  ITU-R  F.385-6*

RADIO-FREQUENCY  CHANNEL  ARRANGEMENTS  FOR  RADIO-RELAY
SYSTEMS  OPERATING  IN  THE  7  GHz  BAND**

(Question ITU-R 136/9)

(1959-1963-1978-1982-1986-1990-1992-1994)

Rec. ITU-R F.385-6

The ITU Radiocommunication Assembly,

considering

a)	that it is desirable to be able to interconnect 60, 120 and 300-channel radio-relay systems on international circuits at radio frequencies in the 7 GHz band;

b)	that frequency bands 300 MHz wide may be available for such systems;

c)	that economy may be achieved if several go and return channels are connected to one common transmit-receive antenna;

d)	that many interfering effects can be minimized by a carefully planned arrangement of the radio frequencies in radio-relay systems employing several radio-frequency channels;

e)	that, for reasons of frequency economy, it is desirable to interleave additional radio-frequency channels between those of the main pattern;

f)	that it is desirable that the values of the mid-frequencies of the radio-frequency channels be the same for 60, 120 and 300-channel systems;

g)	that the spacing between the mid-frequencies of the radio-frequency channels should be such that the systems can work with the maximum frequency deviation given in Recommendation ITU-R F.404 for such systems;

h)	that digital radio-relay systems at data rates up to 155 Mbit/s, including synchronous digital hierarchy bit rates, may operate in the 7 GHz radio-frequency band,

recommends

1.	that the preferred radio-frequency channel arrangement for several radio-relay systems, each accommodating 60, 120 or 300 telephone channels and operating in the 7 GHz band, should be derived as follows (see Fig. 1):

Let	f0	be the frequency of the centre of the band of frequencies occupied (MHz),

fn	be the centre frequency of one radio-frequency channel in the lower half of this band (MHz),

be the centre frequency of one radio-frequency channel in the upper half of this band (MHz),

then the frequencies (MHz) of the individual channels are expressed by the following relationships:

lower half of the band:	fn   =  f0 – 154 + 7 n (see Note 1)

upper half of the band:	  =  f0 + 7 + 7 n (see Note 1)

where:

n = 1, 2, 3, ..., 20;

2.	that, in a section over which the international connection is arranged, all the go channels should be in one half of the band and all the return channels should be in the other half of the band;

FIGURE 1...[D01] = 3 CM

3.	that, when common transmit-receive antennas are used and three radio-frequency channels are accommodated on a single antenna, it is preferable that the channel frequencies be selected by making:

n = 1, 8 and 15, or

n = 2, 9 and 16, or

n = 3, 10 and 17, or

n = 4, 11 and 18, or

n = 5, 12 and 19, or

n = 6, 13 and 20,

in both halves of the band;

4.	that for international connections, the centre frequency should preferably be:

f0 = 7 575 MHz for the band 7 425 to 7 725 MHz (see Note 1);

other centre frequencies may be used in certain geographical areas by agreement between the administrations concerned, e.g.:

f0 = 7 275, 7 400 or 7 700 MHz (see Note 1);

5.	that the channel arrangement and antenna polarization should be agreed between the administrations concerned;

6.	that, when systems with 300 telephone channels are operated in a radio-frequency band, channel combinations which result in differences between channel frequencies of less than 14 MHz, should in general be avoided. If sufficient antenna discrimination is available, this precaution may be disregarded;

7.	that the radio-frequency channel arrangements in use by some administrations, and described in Annexes 1, 2, 3 and 4, may be used for digital systems.

Note 1 – The formulae for fn and  and the values for f0 differ from those given in Recommendation 284 (Los Angeles, 1959). This change has been made so that the “centre frequency” f0 falls, in reality, in the centre of the band of frequencies occupied.

ANNEX  1

Radio-frequency channel arrangement in the band 7 425-7 725 MHz
with a channel spacing of 28 MHz

1.	This Annex describes a radio-frequency channel arrangement for digital radio-relay systems of 34 Mbit/s capacity and for coexistence of digital systems and analogue radio-relay systems up to 300 channels, operating in the band 7 425-7 725 MHz. The radio-frequency channel arrangement is shown in Fig. 2 and is derived as follows:

Let	f0	be the frequency of the centre of the band of frequencies occupied (MHz),

fn	be the centre frequency of one radio-frequency channel in the lower half of the band (MHz),

be the centre frequency of one radio-frequency channel in the upper half of the band (MHz),

then the frequencies (MHz) of the individual channels are expressed by the following relationships:

lower half of the band:	fn   =  f0 – 161 + 28 n

upper half of the band:	  =  f0 – 7 + 28 n

where:

n = 1, 2, 3, 4 and 5.

FIGURE 2...[D02] = 3 CM

2.	All go channels should be in one half of the band and all return channels should be in the other half of the band.

3.	For adjacent radio-frequency channels in the same half of the band, different polarizations may be used for alternate channels or where it is possible, both polarizations may be utilized for each digital radio-frequency channel.

4.	When additional analogue radio frequencies are required, they should be interleaved between those of the main pattern of Fig. 2, and can be realized by the same f0 and the following relationship:

lower half of the band:	fn   =  f0 – 175 + 28 n

upper half of the band:	  =  f0 + 7 + 28 n

where:

n = 1, 2, 3, 4 and 5.

5.	When additional digital radio frequencies interleaved between those of the main pattern of Fig. 2 are required, they can be realized by the same f0 and the following relationship:

lower half of the band:	fn   =  f0 – 147 + 28 n

upper half of the band:	  =  f0 + 7 + 28 n

where:

n = 1, 2, 3 and 4.

6.	The preferred centre frequency f0 is 7 575 MHz.

7.	The local oscillators for the lower half of the band should preferably be 70 MHz above the respective channel frequency and for the upper half of the band 70 MHz below the channel frequency. This will ensure that the image frequencies will fall within the band. However, the application of certain techniques, particularly the use of image frequency rejection mixers, helps to overcome this constraint.

ANNEX  2

Radio-frequency channel arrangement in the band 7 435-7 750 MHz
with channel spacings of 5, 10 or 20 MHz

1.	This Annex describes a radio-frequency channel arrangement suitable for digital radio-relay systems up to 19 Mbit/s (1.544 ´ 12) and allows coexistence of digital systems and medium capacity analogue systems spaced on a 20 MHz interval operating in the band 7 435-7 750 MHz. Coexistence can also be achieved with analogue 960 telephone channels. The radio-frequency channel arrangement is shown in Fig. 3 and is derived as follows:

Let	f0	be the frequency of the centre of the band of frequencies occupied (MHz),

fn	be the centre frequency of one radio-frequency channel in the lower half of the band (MHz),

be the centre frequency of one radio-frequency channel in the upper half of the band (MHz),

then the frequencies (MHz) of the individual channels are expressed by the following relationships:

lower half of the band:	fn   =  f0 – 152.5 + 5 n

upper half of the band:	  =  f0 + 7.5 + 5 n

where:

n = 1, 2, 3, 4, 5, 6, ..., 28.

2.	All go channels should be in one half of the band and all return channels should be in the other half of the band.

3.	The centre frequency f0 is 7 592.5 MHz.

4.	For all radio-frequency channels in the same half of the band, the same polarization may be used or, where it is necessary because of the existence of interference, different polarizations may be utilized.

Where it is possible, both polarizations may be utilized for each digital radio-frequency channel.

5.	Digital radio-frequency channels for 12.6 Mbit/s (1.544 ´ 8) or 19 Mbit/s (1.544 ´ 12) systems, can be realized by use of a 10 MHz or 20 MHz interval.

FIGURE 3...[D03] = 3 CM

ANNEX  3

Radio-frequency channel arrangement in the band 7 110-7 750 MHz
with a channel spacing of 28 MHz

This Annex describes a radio-frequency channel arrangement for the 7 GHz band. In the higher part of the band the original frequency pattern of Recommendation 284 (Los Angeles, 1959) has been maintained (see Note 1), in order to have a regular frequency pattern for the whole band.

The arrangement provides for up to ten go and ten return channels, each accommodating about 140 Mbit/s subdivided in two groups of five go and five return channels relating to the lower part and the higher part of the band.

The radio-frequency channel arrangement is as shown in Fig. 4 and is derived as follows:

FIGURE 4...[D04] = 3 CM

Let	f0l	be the frequency at the centre of the lower part of the band:

f0l = 7 275 MHz

f0h	be the frequency at the centre of the higher part of the band:

f0h = 7 597 MHz

fnl	is the centre frequency of one radio-frequency channel in the lower half of the lower part of the band

is the centre frequency of one radio-frequency channel in the upper half of the lower part of the band

fnh	is the centre frequency of one radio-frequency channel in the lower half of the higher part of the band

is the centre frequency of one radio-frequency channel in the upper half of the higher part of the band,

then the frequencies (MHz) of the individual channels are expressed by the following relationships:

fnl	=	f0l – 182 + 28 n

=	f0l + 14 + 28 n

fnh	=	f0h – 168 + 28 n

=	f0h + 28 n

where:

n = 1, 2, 3, 4, 5.

ANNEX  4

Radio-frequency channel arrangement in the band 7 425-7 900 MHz
with a channel spacing up to 28 MHz

1.	This Annex describes a radio-frequency channel arrangement suitable for digital radio-relay systems with a channel bandwidth up to 28 MHz, and makes provision for eight 28 MHz channels.

The radio-frequency channel arrangement is shown in Fig. 5 and is derived as follows:

Let	f0	be the frequency of the centre of the band of frequencies occupied (MHz),

fn	be the centre frequency of one radio-frequency channel in the lower half of the band (MHz),

be the centre frequency of one radio-frequency channel in the upper half of the band (MHz),

then the frequencies (MHz) of individual 28 MHz channels are expressed by the following relationships,

fn   =  f0 – 248.5 + 28 n

= f0 – 3.5 + 28 n

where:

n = 1 to 8.

FIGURE 5...[D05] = 3 CM

2.	The eight channels with a spacing of 28 MHz can be subdivided to provide sixteen channels with a spacing of 14 MHz or thirty-two channels with a spacing of 7 MHz. The 28 MHz and 14 MHz channels are centred on the 7 MHz pattern of recommends 1 and 4, whilst the 7 MHz channels are interleaved with an offset of 3.5 MHz.

The frequencies (MHz) of individual channels are expressed by the following relationships:

for 14 MHz channels:

fn  =  f0 – 241.5 + 14 n

=  f0 + 3.5 + 14 n

where:

n = 1 to 16

for 7 MHz channels:

fn  =  f0 – 238 + 7 n

=  f0 + 7 + 7 n

where:

n = 1 to 32.

3.	All go channels should be in one half of the band and all return channels should be in the other half of the band.

4.	The centre frequency f0 is 7 662.5 MHz.

Note 1 – The first five channels with a spacing of 28 MHz in the lower sub-band of the above channel arrangement align with those in Annex 1, covering the 7 425-7 725 MHz band. The go-return spacing is greater as a result of using the full 7 425-7 900 MHz band.

# Footnotes

* 	This Recommendation applies only to line-of-sight and near line-of-sight radio-relay systems.

** 	Subject to agreement between the administrations concerned, higher-capacity systems using the radio-frequency channel arrangement pattern defined in this Recommendation may be accepted if necessary.