## Slide 1: Proposal for building in country labs
Nairobi (Kenya), 21-23 October 2015 - Workshop for EAC Countries

## Slide 2
Scope
To identify priorities in conformance testing lab implementation in EAC African countries
Preamble:
It is urgent to establish the MRA between different African countries as Africa is the only region without any accreditation scheme similar to ILAC. However implementing an MRA will take time due to political and procedural reasons.
Possible approach
A possible approach could be to start, in parallel to the MRA implementation, the development of Mini Labs (focusing on verification of incoming quality of mobile terminals) in different African countries in order to promote the KH development in such regions as far as concern use of instrumentation, lab management, quality and instrumentation purchasing process (quality and instrumentation maintenance). Proceeding in such a way the countries developing labs could become the reference for each specific testing area in the African area
In parallel the MRA will be established and auditing and verification procedures could be established to monitor the labs implemented in the meantime. Same subtest list for conformance testing (acceptance) and market survilliance
Proposal for building in country labs

## Slide 3
LAB | activity | Rationale | Usefulness | cost | total
DTT | Digital terrestrial | to verify the quality of set top box | 10 | 10 | 20
SAR | SAR | to verify the quality of mobile terminals for health reasons | 12 | 6 | 18
PWR | Powering consumption lab | critical powering conditions either for main supply conditions and quality of equipment | 8 | 9 | 17
QML | Quality of material lab | to verify the quality of equipment in severe environmental conditions (temperature humidity, fog salt) | 5 | 11 | 16
WIF | Personal area network lab | Important to verify WIFI | 6 | 8 | 14
EPS | Electrical safety & protection lab | critical powering conditions either for main supply conditions and quality of equipment | 9 | 5 | 14
EMC | Electromagnetic compatibility lab | to verify the emitted and conducted radiations in low quality equipment | 10 | 3 | 13
RSL | Radio & Signalling lab | to verify the quality of radio part of mobile terminals in low quality mobile equipment | 11 | 2 | 13
VAS | Mobile value added services lab | Not useful in EAC | 0 | 12 | 12
ELA | Electroacoustic lab | To verify audio quality in mobile terminals | 4 | 7 | 11
USX | User experience lab | Not useful in EAC | 0 | 10 | 10
BBA | Broadband access lab | to verify the quality of broadband lines in emerging fixed market | 5 | 4 | 9
TPF | Fixed Test plant | Too complex and expensive, useful only for big test center | 0 | 1 | 1
TPM | Mobile Test plant | Too complex and expensive, useful only for big test center | 0 | 1 | 1
Lab implementation priorities

## Slide 4
lab | activity | m2 | Location Rent K€/year | Utility K€/year | Instrument. Asset K€ | Personne Number of people # | Instrument. Opex K€/year
SAR | Specific Absorption Rate lab | 150 | 19 | 28 | 800 | 4 | 25
USX | User experience lab | 130 | 17 | 24 | 100 | 6 | 0
BBA | Broadband access lab | 300 | 39 | 56 | 1.400 | 7 | 5
VAS | Mobile value added services lab | 40 | 5 | 7 | 0 | 3 | 0
EPS | Electrical safety & protection lab | 80 | 10 | 15 | 1.200 | 4 | 25
ELA | Electroacoustic lab | 250 | 32 | 46 | 800 | 4 | 5
EMC | Electromagnetic compatibility lab | 300 | 39 | 56 | 1.600 | 5 | 5
RSL | Radio & Signalling lab | 250 | 32 | 46 | 2.000 | 12 | 10
PWR | Powering consumption lab | 80 | 10 | 15 | 200 | 2 | 5
QML | Quality of material lab | 250 | 32 | 46 | 1.300 | 6 | 15
WIF | Personal area network lab | 170 | 22 | 31 | 500 | 5 | 5
TPF | Fixed Test plant | 900 | 117 | 167 | 3.000 | 33 | 120
TPM | Mobile Test plant | 2500 | 324 | 463 | 3.000 | 55 | 300
management |  |  |  |  |  | 10 | 
cross activities (*) |  |  |  |  |  | 24 | 
TOTAL |  | 5.400 | 700 | 1.000 | 15.900 | 180 | 520
Large test center cost (ITU feasibility study)

## Slide 5
lab | activity | m2 | Location Rent K€/year | Utility K€/year | Instrument. Asset K€ | Personne Number of people # | Instrument. Opex K€/year
EPS | Electrical safety & protection lab | 80 | 10 | 15 | 12 | 3 | 2
RSL | Radio lab | 100 | 32 | 46 | 150 | 3 | 6
ANC | Radio lab anechoic chamber |  |  |  | 200 |  | 
SIL | Signalling radio lab | 60 | 8 | 12 | 800 | 4 | 4
BCL | Battery charge | 80 | 10 | 16 | 230 | 2 | 8
SAR | Specific Absorption Rate lab | 150 | 19 | 28 | 423 | 3 | 4
management |  |  |  |  |  | 2 | 
cross activities (*) |  |  |  |  |  | 1 | 
TOTAL |  | 470 | 79 | 117 | 1815 | 18 | 24
Example of Mini Lab cost
(for mobile terminals testing only)
5

## Slide 6
Instrumentation/device | Purpose | Estimate cost (kEuros)
SAR measurement system | Overall measurement system, including probes and phantoms | 200.0
Dielectric probe kit | SW and probe used to measure Tissue Simulating Liquids properties | 15.0
Network analyser | Instrumentation used to measure Tissue Simulating Liquids properties | 25.0
Radio communication tester | Instrumentation needed to set up EUT communication (e.g. 2G, 3G, LTE systems) | 80.0
System check components | Instrumentation needed to perform SAR system verification | 60.0
Personal computer and printer | Measurement SW is installed on it | 3.0
Absorbers | To avoid reflections in close proximity of the measurement area | 20.0
Liquid management | Material, instrumentation needed to prepare liquids and storage chemicals | 20.0
 | TOTAL | 423.0
Example: SAR lab cost evaluation
6