|  |  |  |  |
| --- | --- | --- | --- |
| CUB - Cuba | | | |
| **Centralizing office** | **Postal address** | **Telephone, Telefax, Electronic-mail** | **Remarks** |
|  |  |  |  |
| Agencia de Control y Supervisión | Ministerio de la Informática y las Comunicaciones Plaza de la Revolución «José Martí» Habana 6 | TF : +53 7 8854114 TF : +53 7 8828141 FAX : +53 7 8854063 EMAIL : cmartinez@acs-mic.cu |  |
|  |  |  |  |

Stations in the Terrestrial radiocommunication services

|  |  |  |  |
| --- | --- | --- | --- |
| **Name of the station** | **Postal address** | **Telephone, Telefax, Electronic-mail** | |
|  |  |  |  |
| **Cuatro Caminos (IMS)** | Dirección de Control y Supervisión de los Servicios de Radiocomunicaciones  Ministerio de la Informática y las Comunicaciones Plaza de la Revolución «José Martí» Habana 6 Cuba | TF : +53 7 6829553 FAX : +53 7 8854133 EMAIL : castineira@acs-mic.cu | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Geographical coordinates** | **Types of measurements** | **Ranges of frequencies for each measurement** | **Hours of service (UTC)** | **Remarks** |
| 23°00'00''N 082°13'42''W | Frequency measurements | 0.5 MHz - 900 MHz | H24 | Measuring equipment. Receivers from 0.5 MHz to 30 MHz and from 25 MHz to 900 MHz, and spectrum analyser. |
| 23°00'00''N 082°13'42''W | Field strength or power flux-density measurements | 0.5 MHz - 900 MHz | H24 | Field-strength meter with accessories and antennas for operation in and outside the station. Also has a graphic recorder. |
| 23°00'00''N 082°13'42''W | Bandwidth measurements | 0.5 MHz - 30 MHz | H24 | In accordance with Recommendation ITU-R SM.443-2. |
| 23°00'00''N 082°13'42''W | Automatic spectrum occupancy surveys | 0.5 MHz - 30 MHz | H24 | In accordance with Recommendation ITU-R SM.182-4. |

\_\_\_\_\_\_\_\_\_\_\_\_\_\_