| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.831 (ex H.EH-WAN.1) |  |  |  |
| Title: | A.5 justification information for draft new H.831 (ex H.EH-WAN.1) "Conformance of ITU-T H.810 personal health devices: WAN Interface Part 1: Web services interoperability: Sender" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new H.831 (ex H.EH-WAN.1) "Conformance of ITU-T H.810 personal health devices: WAN Interface Part 1: Web services interoperability: Sender" including the following normative references: Bluetooth HDPv1.1 (2008), Bluetooth MCAP (2008), ETSI ETS 300 406 (1995-04), HL7 MS2.6 (2007), IEEE 11073-10406-2011, IEEE 11073-10417-2011, IEEE 11073-10418-2011, IEEE 11073-10420-2010, IEEE 11073-20601a-2010, IETF RFC 3195 (2001), IETF RFC 3881 (2001), IHE ITI-TF-2 (2009), IHE PCD-TF-2 (2010), OASIS/WS-I BP (2006), OASIS/WS-I BSP (2007), OASIS/WS-ReliableMessaging 1.1 (2007), USB-IF PDH Rel.1 (2007). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new H.831 (ex H.EH-WAN.1) "Conformance of ITU-T H.810 personal health devices: WAN Interface Part 1: Web services interoperability: Sender".

- 2	Referred documents and respective justifications

| - Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1 |  |
| --- | --- |
| - | Specification approved 2012-07-24. |
| - | The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol |  |
| --- | --- |
| - | Specification approved 2008-06-26. |
| - | MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models. This protocol enables the following capabilities: Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile. Permits multiple simultaneous data channels. Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions. Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints. Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks. Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP. Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility. Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements. |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; Standardization methodology |  |
| --- | --- |
| - | April 1995 |
| - | The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification. |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - HL7 MS2.6 (2007): HL7 Messaging Standard Version 2.6 |  |
| --- | --- |
| - | "Final Standard" approved October 2007. |
| - | The HL7 Messaging Standard Version 2.6 is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications. |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG) |  |
| --- | --- |
| - | Specification approved 2011-11-30. |
| - | This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter |  |
| --- | --- |
| - | Specification approved 2012-01-27. |
| - | This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor |  |
| --- | --- |
| - | Specification approved 2011-11-09. |
| - | This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer |  |
| --- | --- |
| - | Specification approved 2010-06-17. |
| - | This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 8 . |

| - IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1 |  |
| --- | --- |
| - | Specification approved 2010-09-30. |
| - | This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 9 . |

| - IETF RFC 3195 (2001): Reliable Delivery for syslog |  |
| --- | --- |
| - | Standards track RFC approved November 2001. |
| - | Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over the WAN Interface. The BSD Syslog Protocol describes a number of service options related to propagating event messages. For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages. One is a trivial mapping maximizing backward compatibility and the second provides a more complete mapping. Both provide the degree of robustness and security required by Continua in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 10 . |

| - IETF RFC 3881 (2001): Password-based Encryption for CMS |  |
| --- | --- |
| - | Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370. |
| - | Continua requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passwords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key. The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and Continua requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many Continua-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 11 . |

| - IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging). “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 12 . |

| - IHE PCD-TF-2 (2010): IHE Patient Care Device (PCD) Technical Framework, Volume 2 (PCD TF-2): Transactions. Revision 2.1 - Review Draft for Trial Implementation Version |  |
| --- | --- |
| - | Review Draft for Trial Implementation Version, 8 August 2010 |
| - | The Continua Design Guidelines utilizes the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 13 . |

| - OASIS/WS-I BP (2006): Basic Profile Version 1.1 |  |
| --- | --- |
| - | "Final Material" specification approved on 2006-04-10. |
| - | The OASIS/WS-I Basic Profile Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 14 . |

| - OASIS/WS-I BSP (2007): OASIS/WS-I Basic Security Profile Version 1.0 |  |
| --- | --- |
| - | "Final Material" specification approved on 2007-03-30. |
| - | The OASIS/WS-I Basic Security Profile Version 1.0 is needed for web services security in applications defined in Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 15 . |

| - OASIS/WS-ReliableMessaging 1.1 (2007): OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.1 |  |
| --- | --- |
| - | OASIS Standard approved 11 April 2007. |
| - | The OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines. WS-ReliableMessaging describes a protocol that allows messages to be transferred reliably between nodes implementing this protocol in the presence of software component, system, or network failures. The protocol is described in WS-ReliableMessaging in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within WS-ReliableMessaging. |
| - | Complete A.5 justification information can be found in Annex 16 . |

| - USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0 |  |
| --- | --- |
| - | Approved specification. |
| - | The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. |
| - | Complete A.5 justification information can be found in Annex 17 . |

Annex 1A.5 justification information for the reference to Bluetooth HDPv1.1 (2008)

  - 1 	 Clear description of the referenced document:

Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1

  - 2 	 Status of approval:

Specification approved 2012-07-24.

  - 3 	 Justification for the specific reference:

The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below.  There are several but specifically reference [7]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1] Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

[2] Multi-Channel Adaptation Protocol (MCAP)

[3] Bluetooth SIG member web side, Bluetooth Assigned Numbers, http://www.bluetooth.org

[4] Bluetooth Advanced Audio Distribution Profile (A2DP) (Informative)

[5] Bluetooth Basic Imaging Profile (BIP) (Informative)

[6] IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[7] IEEE Std 11073-20601 ™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

[8] Bluetooth Qualification Reference Document (PRD), version 2.0 or later (Informative)

[9] Bluetooth User Interface Flow Diagrams for Bluetooth Secure Simple Pairing Devices (Informative)

[10] 2.1 + EDR, Volume 0, Part B, Compliance Requirements (Informative)

[11] Bluetooth Device Identification Specification, version 1.3 or later

[12] HDP Implementation Guidance Whitepaper (Informative)

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol

  - 2 	 Status of approval:

Specification approved 2008-06-26.

  - 3 	 Justification for the specific reference:

MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models. This protocol enables the following capabilities: Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile. Permits multiple simultaneous data channels. Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions. Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints. Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks. Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP. Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility. Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [5]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [5].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1]

Bluetooth Core Specification version 2.0 + EDR or later versions of the Bluetooth Core Specification

[2]

Bluetooth SIG member web site, Bluetooth Assigned Numbers, http://www.bluetooth.org

[3]

IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[4]

1003.1-2001/COR 1-2002 IEEE Standard for Information Technology - Portable Operating System Interface (POSIX) (Informative)

[5]

Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS);

Protocol and profile conformance testing specifications;

Standardization methodology

  - 2 	 Status of approval:

April 1995

  - 3 	 Justification for the specific reference:

The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved since April 1995.

  - 6 	 The degree of stability or maturity of the document:

Approved since April 1995.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETR 153: "Methods for Testing and Specification (MTS); Guidance on the production and completion of System Conformance Test Report (SCTR) and Protocol Conformance Test Report (PCTR) proformas".

[2] ETR 141: "Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; The Tree and Tabular Combined Notation (TTCN) style guide".

[3] PNE-Rules (1991): "CEN/CENELEC Internal Regulations - IR; Part 3: Rules for the drafting and presentation of European Standards (PNE-Rules)".

[4] EN 45001 (1989): "General criteria for the operation of testing laboratories".

[5] ISO/IEC 9646-1 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 1: General concepts" (including DAM1 and DAM2, to be published).

[6] ISO/IEC 9646-2 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 2: Abstract Test Suite Specification" (including DAM1 and DAM2, to be published).

[7] ISO/IEC 9646-3: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation".

[8] ISO/IEC 9646-3 AM 1: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation. Amendment 1: TTCN Extensions (concurrent TTCN)".

[9] ISO/IEC 9646-4 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 4: Test Realisation" (including DAM1 and DAM2, to be published).

[10] ISO/IEC 9646-5 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 5: Requirements on test laboratories and clients for the Conformance Assessment Process" (including DAM1 and DAM2, to be published).

[11] ISO/IEC 9646-6 IS (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 6: Protocol Profile Test Specification".

[12] ISO/IEC 9646-7 DIS (1993): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 7: Implementation Conformance Statements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 MS2.6 (2007): HL7 Messaging Standard Version 2.6

  - 2 	 Status of approval:

"Final Standard" approved October 2007.

  - 3 	 Justification for the specific reference:

The HL7 Messaging Standard Version 2.6 is used in the Continua Design Guidelines for definitions of the data to be exchanged between CDG devices, the timing of the exchanges, and the communication of certain application-specific errors between the applications.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

HL7 Version 2.6 approved in October 2007 represents HL7's represents a major revision to Versions 2.5 and 2.5.1, refining and updating existing messages and adding new messages and domains. Version 2.7 exists but does not supersede V2.6.

  - 6 	 The degree of stability or maturity of the document:

In use since its approval in October 2007. No erratum exists.

  - 7 	 Relationship with other existing or emerging documents:

Version 2.7 exists but does not supersede V2.6.

  - 8 	 Any explicit references within that referenced document should also be listed:

1.9 REFERENCE DOCUMENTS

1.9.1 ANSI Standards1

ANSI X3.30

1985 Representation for calendar date and ordinal date

ANSI X3.4

1986 Coded character sets - American National Standard code for information interchange (7-bit ASCII)

ANSI X3.43

1986 Information systems representation of local time of day for information interchange

of universal time, local time differentials, and United States time zone references for information interchange

1.9.2 ISO Standards2

ISO 5218

1977 Information Interchange-Representation of Human Sexes

ISO 1000

1981 SI Units and Recommendations for the use of their multiples and of certain other units

ISO 2955

1983 Information processing-Representation of SI and other units in systems with limited character sets

ISO 8072

1986 Network Standards

ISO 8601

1988 Data elements and interchange formats - information interchange (representation of dates and times)

ISO 8859

1988 Information Processing- 8-bit single-byte coded graphic character sets

ISO 8859/1

1988 Information Processing-Latin Alphabet No. 1

ISO 8859/2

1988 Information Processing-Latin Alphabet No. 2

ISO 8859/3

1988 Information Processing-Latin Alphabet No. 3

ISO 8859/4

1988 Information Processing-Latin Alphabet No. 4

ISO 8859/5

1988 Information Processing-Latin/Cyrillic Alphabet

ISO 8859/6

1988 Information Processing-Latin/Arabic Alphabet

ISO 8859/7

1988 Information Processing-Latin/Greek Alphabet

ISO 8859/8

1988 Information Processing-Latin/Hebrew Alphabet

ISO 8859/9

1988 Information Processing-Latin Alphabet No. 5

JAS2020

A subset of ISO2020 used for most Kanji transmissions

JIS X 0202

ISO 2022 with escape sequences for Kanji

1.9.3 Codes and Terminology Sources

ACR

Index for Radiological Diagnosis, Revised 3rd Edition

CPT4

Current Procedural Terminology3

CAS

USAN 1990 and the USP dictionary of drug names4

EUCLIDES

European standard for clinical laboratory data exchange5

Home Health

Home Healthcare Classification System (Virginia Saba, EdD, RN, Georgetown U. School of Nursing, Washington DC)

HIBCC

Standard for electronic business data interchange

ICCS

Commission on Professional and Hospital Activities

ICD-9

International Classification of Diseases, 9th Revision

ICD9-CM

International Classification of Diseases, Clinical Modification Manual of Clinical Microbiology6

NANDA

North American Nursing Diagnosis Association, Philadelphia PA

NDC

National drug codes7

NIC

Nursing Interventions Classification, Iowa Intervention Project. U. of Iowa

NLM

Unified Medical Language8

Omaha System

Omaha Visiting Nurse Association, Omaha NE

Read

Clinical Classification of Medicine9

SNOMED III

Systemized Nomenclature of Medicine10

WHO

Drug Codes11

UMDNS

Universal Medical Device Nomenclature System12

FDA K10

Device Codes Device and analyte process codes13

LOINC

Laboratory Object Identifier and Numerical Code

1.9.4 Other Applicable Documents

ASTM E31.12 Draft Dec 1990 - A Standard Specification for Representing Clinical Laboratory Test and Analyte Names Draft14

ASTM E1467-91 Standard Specification for Transferring Digital Neurophysiological Data Between Independent Computer Systems15

ASTM E1394 A Standard Specification for Transferring Information Between Clinical Instruments and Computer Systems16

ASTM E1381 Standard Specification for the Low-level Protocol to Transfer Messages between Clinical Instruments and Computer Systems17

McDonald CJ, Hammond WE: Standard formats for electronic transfer of clinical data. Annals of Internal Medicine 1989; 110(5):333-335.

International Union of Pure and Applied Chemistry/International Federation of Clinical Chemistry. The Silver Book: Compendium of terminology and nomenclature of properties in clinical laboratory sciences. Oxford: Blackwell Scientific Publishers, 1995.

NOTES -

1 Available from American National Standards Institute, 25 West 43rd Street, New York, NY 10036

2 Available from ISO 1, ch. de la Voie-Creuse, Case postale 56, CH 1211, Geneva 20, Switzerland

3 Available from American Medical Association, 515 N. State Street, Chicago, IL 60610.

4 William M. Heller, Ph.D., Executive Editor. Available from United States Pharmacopeial Convention, Inc., 12601 Twinbrook Parkway, Rockville, MD 20852-1790.

5 Available from G. De Moor, M.D., Dept. of Medical Informatics 5K3, State University Hospital Gent, De Pintelaan 185, B 9000 GENT, BELGIUM.

6 Available from American Society for Microbiology, 1752 N Street, NW, Washington, D.C. 20036-2904.

7 Available from the National Drug Code Directory, FDA, 5600 Fishers Lane, Rockville, MD 20857, and other sources.

8 Available from National Library of Medicine, 8600 Rockville Pike, Bethesda, MD 20894.

9 Available from James D. Read, MB, ChB, DRCOG, MRCGP, General Medical Practitioner, Park View Surgery, 26-28 Leicester Rd., Loughborough, Leicestershire LE11 2AG.

10 Available from College of American Pathologists, 325 Waukegan Road, Northfield, IL 60093-2750.

11 Available from INTDIS, P O Box 26, S-751 03 Uppsele, Sweden.

12 Available from ECRI, 5200 Butler Pike, Plymouth Meeting, PA 19462-1298.

13 Available from Dept. of Health & Human Services, FDA, Rockville, MD 20857.

14 Available from Arden Forrey, Ph.D., 4916 Purdue Ave., NE, Seattle, WA 98105.

15 Available from American Society for Testing and Materials (ASTM) 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA, 19428-2959.

16 Available from American Society for Testing and Materials (ASTM) 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA, 19428-2959.

17 Available from American Society for Testing and Materials (ASTM) 1916 Race St., Philadelphia, PA 19103-1187

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG)

  - 2 	 Status of approval:

Specification approved 2011-11-30.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601,to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-30.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-30. Continua has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Profile Amendment 1.

IEEE 100™, The Authoritative Dictionary of IEEE Standards Terms, Seventh Edition, New York, Institute of Electrical and Electronic Engineers, Inc..

ISO/IEEE Std 11073-10101:2004, Health informatics - Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE Std 11073-10201:2004, Health informatics - Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE Std 11073-20101:2004, Health informatics - Point-of-care medical device communication - Part 20101: Application Profiles – Base Standard.

ITU-T Rec. X.680-2002, Information technology - Abstract Syntax Notation One (ASN.1): Specification of basic notation.

IEC 60601-1 Ed.3 (2005) Medical electrical equipment - Part 1: General requirements for basic safety and essential performance

IEC 60601-1-1 Ed.2 (2000): Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems

IEC 60601-2-XX Medical electrical equipment - Part 2-XX: Particular requirements for the basic safety and essential performance for specific device

EN 62304:2005 Medical device software – Software life-cycle processes

ISO 14971:2007 Medical devices – Application of risk management to medical devices

IEC 80001-1 Application of risk management for IT-networks incorporating medical devices - Part 1: Roles, responsibilities

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter

  - 2 	 Status of approval:

Specification approved 2012-01-27.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol-Amendment 1.4

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor

  - 2 	 Status of approval:

Specification approved 2011-11-09.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has implemented this specification within both its test tool and its source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-09. Continua has implemented this specification within both its test tool and its source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application Profile-Optimized Exchange Protocol-Amendment 1.

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

IEC 60601-1:2005, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.

IEC 60601-1-1:2000, Ed. 2, Medical electrical equipment-Part 1-1: General requirements for safety-Collateral standard: Safety requirements for medical electrical systems.

IEC 60601-1-2:2007, Medical electrical equipment-Part 1-2: General requirements for basic safety and essential performance-Collateral standard: Electromagnetic compatibility-Requirements and tests.

IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards, Part 2-1 through Part 2-51.)

IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

ISO 14971:2007, Medical devices-Application of risk management to medical devices.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer

  - 2 	 Status of approval:

Specification approved 2010-06-17.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-06-17.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-06-17. Continua has implemented this within their tools and has a few certified Body Composition Analyzers.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601-2008, Health informatics-Personal health device communication-Part 20601:

Application Profile-Optimized Exchange Profile.4, 5

IEEE Std 11073-10415™-2008, Health informatics-Personal health device communication-Part 10415:

Device specialization-Weighing scale.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication - Part 20101: Application Profiles-Base Standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1):

Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1

  - 2 	 Status of approval:

Specification approved 2010-09-30.

  - 3 	 Justification for the specific reference:

This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard. It has also been tested by Continua where over 90 devices have been certified by Continua that utilize this standard.

  - 7 	 Relationship with other existing or emerging documents:

This is the base protocol for currently 14 other IEEE 11073-104zz device specializations.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3195 (2001): Reliable Delivery for syslog

  - 2 	 Status of approval:

Standards track RFC approved November 2001.

  - 3 	 Justification for the specific reference:

Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over the WAN Interface. The BSD Syslog Protocol describes a number of service options related to propagating event messages. For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages. One is a trivial mapping maximizing backward compatibility and the second provides a more complete mapping. Both provide the degree of robustness and security required by Continua in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved November 2001 and its is widely used

  - 6 	 The degree of stability or maturity of the document:

See 6. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1]  Lonvick, C., "The BSD Syslog Protocol", RFC 3164, August 2001.

[2]  Bradner, S., "Key words for use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[3]  Rose, M., "The Blocks Extensible Exchange Protocol Core", RFC 3080, March 2001.

[4]  Rose, M., "Mapping the BEEP Core onto TCP", RFC 3081, March 2001.

[5]  Gulbrandsen, A., Vixie, P. and L. Esibov, "A DNS RR for specifying the location of services (DNS SRV)", RFC 2782, February 2000.

[6]  Freed, N. and N. Borenstein, "Multipurpose Internet Mail Extensions (MIME) Part Two: Media Types", RFC 2046, November 1996.

[7]  Alvestrand, H., "Tags for the Identification of Languages", BCP 47, RFC 3066, January 2001.

[8]  Leach, P. and C. Newman, "Using Digest Authentication as a SASL Mechanism", RFC 2831, May 2000.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3881 (2001): Password-based Encryption for CMS

  - 2 	 Status of approval:

Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 3 	 Justification for the specific reference:

Continua requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passwords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key. The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and Continua requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many Continua-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASN1]    CCITT Recommendation X.208: Specification of Abstract Syntax Notation One (ASN.1), 1988.

[RFC2119] Bradner, S., "Key Words for Use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[RFC2630] Housley, R., "Cryptographic Message Syntax", RFC 2630, June 1999.

[RFC2898] Kaliski, B., "PKCS #5: Password-Based Cryptography Specification, Version 2.0", RFC 2898, September 2000.

[PACKAGE] All-or-Nothing Encryption and the Package Transform, R. Rivest, Proceedings of Fast Software Encryption '97, Haifa,              Israel, January 1997.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging). “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is approved and in-force.

  - 6 	 The degree of stability or maturity of the document:

The specification is approved and in-force. Continua has 6 certifications which have implemented this specification.

  - 7 	 Relationship with other existing or emerging documents:

Virtually all web services specifications are developed under the auspices of the World Wide Web Consortium (W3C) or the Organization for the Advancement of Structured Information Standards (OASIS).

  - 8 	 Any explicit references within that referenced document should also be listed:

WS-I: http://ws-i.org/

WS-I Basic Profile 1.1: http://www.ws-i.org/Profiles/BasicProfile-1.1.html

WS-I Simple SOAP Binding Profile: http://www.ws-i.org/Profiles/SimpleSoapBindingProfile-1.0.html

SOAP 1.1: http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

SOAP 1.2: http://www.w3.org/TR/soap12-part0/

WSDL 1.1 SOAP 1.1 binding (Chapter 3): http://www.w3.org/TR/wsdl.html#_soap-b

WSDL 1.1 SOAP 1.2 binding: http://www.w3.org/Submission/wsdl11soap12/

HL7 V3 Web Services Profile: http://www.hl7.org/v3ballot/html/infrastructure/transport/transport-wsprofiles.htm

WS-Addressing: http://www.w3.org/TR/ws-addr-core

WS-I Basic Security Profile: http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

MTOM: http://www.w3.org/TR/soap12-mtom/

XOP: http://www.w3.org/TR/xop10/

WS-Security 1.0: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Security 1.1: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Secure Conversation: http://specs.xmlsoap.org/ws/2005/02/sc/WS-SecureConversation.pdf

WS-Trust: http://docs.oasis-open.org/ws-sx/ws-trust/v1.3/ws-trust.html

WS-Policy: http://www.w3.org/Submission/WS-Policy/

WS-Reliable Messaging: http://docs.oasis-open.org/ws-rx/wsrm/200702

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE PCD-TF-2 (2010): IHE Patient Care Device (PCD) Technical Framework, Volume 2 (PCD TF-2): Transactions. Revision 2.1 - Review Draft for Trial Implementation Version

  - 2 	 Status of approval:

Review Draft for Trial Implementation Version, 8 August 2010

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines utilizes the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document, the IHE Patient Care Device Technical Framework (IHE PCD TF), defines specific implementations of established standards to achieve integration goals for the Patient Care Device domain. Such integration promotes appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Review Draft for Trial Implementation Version, 8 August 2010. Specification approved 12 August 2011, see IHE PCD-TF-2 (2011)

  - 6 	 The degree of stability or maturity of the document:

Review Draft for Trial Implementation Version, 8 August 2010. Specification approved 12 August 2011, see IHE PCD-TF-2 (2011)

  - 7 	 Relationship with other existing or emerging documents:

See IHE PCD-TF-2 (2011). At its current level of development, it defines a coordinated set of transactions based on ASTM, DICOM, HL7, IEEE, IETF, ISO, OASIS and W3C standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

HL7 - Health Level 7 Version 2.6

ISO/IEEE 11073-10201

ISO/IEEE 11073-10101

HL7 Messaging Standard v2.5

ISO 19005-1

UCUM: Unified Code for Units of Measure, Regenstrief Institute for Health Care, Indianapolis

2005. Version 1.6

IEEE 11073-10103

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

OASIS/WS-I BP (2006): Basic Profile Version 1.1

  - 2 	 Status of approval:

"Final Material" specification approved on 2006-04-10.

  - 3 	 Justification for the specific reference:

The OASIS/WS-I Basic Profile Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

In existence since 2006.

  - 6 	 The degree of stability or maturity of the document:

In existence since 2006.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

- W3C Simple Object Access Protocol (SOAP) 1.1

- IETF RFC 2616: Hypertext Transfer Protocol -- HTTP/1.1

- IETF RFC 2965: HTTP State Management Mechanism

- W3C SOAP 1.1, Section 4

- W3C Extensible Markup Language (XML) 1.0 (Second Edition)

- W3C Namespaces in XML 1.0

- W3C XML Schema Part 1: Structures

- W3C XML Schema Part 2: Datatypes

- W3C Web Services Description Language (WSDL) 1.1

- UDDI Version 2.04 API Specification, Dated 19 July 2002

- UDDI Version 2.03 Data Structure Reference, Dated 19 July 2002

- UDDI Version 2 XML Schema

- UDDI Version 2.03 Data Structure Reference, Section 7

- RFC2818: HTTP Over TLS

- RFC2246: The TLS Protocol Version 1.0

- (Netscape) The SSL Protocol Version 3.0

- RFC2459: Internet X.509 Public Key Infrastructure Certificate and CRL Profile

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

Approved originally in 2006 by The Web Services-Interoperability Organization (WS-I), which subsequently merged with OASIS, which now publishes and maintains the WS-I specifications.

  - 1 	 Clear description of the referenced document:

OASIS/WS-I BSP (2007): OASIS/WS-I Basic Security Profile Version 1.0

  - 2 	 Status of approval:

"Final Material" specification approved on 2007-03-30.

  - 3 	 Justification for the specific reference:

The OASIS/WS-I Basic Security Profile Version 1.0 is needed for web services security in applications defined in Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

In existence since 2007.

  - 6 	 The degree of stability or maturity of the document:

In existence since 2007.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

RFC 2818: HTTP over TLS

RFC 2246: The TLS Protocol Version 1.0

The SSL Protocol Version 3.0 (http://wp.netscape.com/eng/ssl3/ssl-toc.html)

Web Services Security: SOAP Message Security 1.0 (WS-Security 2004), OASIS Standard 200401, March 2004

Web Services Security: SOAP Message Security 1.0 (WS-Security 2004), Errata 1.0 Committee Draft 200512, December 2005

Basic Profile Version 1.0 (BP1.0)

Basic Profile Version 1.0 Errata

Basic Profile Version 1.1 (BP1.1)

Simple SOAP Binding Profile Version 1.0 (SSBP1.0)

XML-Signature Syntax and Processing (http://www.w3.org/TR/xmldsig-core/)

XML Encryption Syntax and Processing (http://www.w3.org/TR/xmlenc-core/)

Web Services Security: UsernameToken Profile 1.0, OASIS Standard 200401, March 2004

Web Services Security: UsernameToken Profile 1.0, Errata 1.0 Committee Draft 200401, September 2004

Web Services Security: X.509 Certificate Token Profile, OASIS Standard 200401, March 2004

Web Services Security: X.509 Token Profile 1.0, Errata 1.0 Committee Draft 200512, December 2005

RFC2459: Internet X.509 Public Key Infrastructure Certificate and CRL Profile

Information technology "Open Systems Interconnection" The Directory: Public-key and attribute certificate frameworks Technical Corrigendum 1

Web Services Security: Rights Expression Language (REL) Token Profile 1.0, OASIS Standard: 19 December 2004

Web Services Security: Kerberos Token Profile 1.1, OASIS Standard Specification, 1 February 2006

Web Services Security: SAML Token Profile 1.0, OASIS Standard, 01 Dec. 2004

Attachments Profile Version 1.0 (AP1.0) (http://www.ws-i.org/Profiles/AttachmentsProfile-1.0.html)

Web Services Security: SOAP Messages with Attachments (SwA) Profile 1.1, OASIS Standard, 1 February 2006

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

Approved originally in 2007 by The Web Services-Interoperability Organization (WS-I), which subsequently merged with OASIS, which now publishes and maintains the WS-I specifications.

  - 1 	 Clear description of the referenced document:

OASIS/WS-ReliableMessaging 1.1 (2007): OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.1

  - 2 	 Status of approval:

OASIS Standard approved 11 April 2007.

  - 3 	 Justification for the specific reference:

The OASIS Web Services Reliable Messaging (WS-ReliableMessaging) Version 1.1 is needed for web services security in applications defined in Continua Design Guidelines. WS-ReliableMessaging describes a protocol that allows messages to be transferred reliably between nodes implementing this protocol in the presence of software component, system, or network failures. The protocol is described in WS-ReliableMessaging in a transport-independent manner allowing it to be implemented using different network technologies. To support interoperable Web services, a SOAP binding is defined within WS-ReliableMessaging.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Standard approved 11 April 2007. Superseded/replaced by OASIS/WS-ReliableMessaging 1.2 (2009)

  - 6 	 The degree of stability or maturity of the document:

Standard approved 11 April 2007. Superseded/replaced by OASIS/WS-ReliableMessaging 1.2 (2009)

  - 7 	 Relationship with other existing or emerging documents:

OASIS/WS-ReliableMessaging 1.2 (2009)

  - 8 	 Any explicit references within that referenced document should also be listed:

Normative References

[KEYWORDS] S. Bradner, “Key words for use in RFCs to Indicate Requirement Levels,” RFC 2119, Harvard University, March 1997

http://www.ietf.org/rfc/rfc2119.txt

[WS-RM Policy] OASIS WS-RX Technical Committee Specification, "Web Services Reliable Messaging Policy Assertion( WS-RM Policy)," April 2007

http://docs.oasis-open.org/ws-rx/wsrmp/v1.1/wsrmp.pdf

[SOAP 1.1] W3C Note, "SOAP: Simple Object Access Protocol 1.1," 08 May 2000.

http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

[SOAP 1.2] W3C Recommendation, "SOAP Version 1.2 Part 1: Messaging Framework" June 2003.

http://www.w3.org/TR/2003/REC-soap12-part1-20030624/

[URI] T. Berners-Lee, R. Fielding, L. Masinter, "Uniform Resource Identifiers (URI): Generic Syntax," RFC 3986, MIT/LCS, U.C. Irvine, Xerox Corporation, January 2005.

http://ietf.org/rfc/rfc3986

[UUID] P. Leach, M. Mealling, R. Salz, "A Universally Unique IDentifier (UUID) URN Namespace," RFC 4122, Microsoft, Refactored Networks - LLC, DataPower Technology Inc, July 2005

http://www.ietf.org/rfc/rfc4122.txt

[XML] W3C Recommendation, "Extensible Markup Language (XML) 1.0 (Fourth Edition)", September 2006.

http://www.w3.org/TR/REC-xml/

[XML-ns] W3C Recommendation, "Namespaces in XML," 14 January 1999.

http://www.w3.org/TR/1999/REC-xml-names-19990114/

[XML-Schema Part1] W3C Recommendation, "XML Schema Part 1: Structures," October 2004.

http://www.w3.org/TR/xmlschema-1/

[XML-Schema Part2] W3C Recommendation, "XML Schema Part 2: Datatypes," October 2004.

http://www.w3.org/TR/xmlschema-2/

[XPATH 1.0] W3C Recommendation, "XML Path Language (XPath) Version 1.0," 16 November 1999.

http://www.w3.org/TR/xpath

[WSDL 1.1] W3C Note, "Web Services Description Language (WSDL 1.1)," 15 March 2001.

http://www.w3.org/TR/2001/NOTE-wsdl-20010315

[WS-Addressing] W3C Recommendation, “Web Services Addressing 1.0 – Core,” May 2006.

http://www.w3.org/TR/2006/REC-ws-addr-core-20060509/

W3C Recommendation, “Web Services Addressing 1.0 – SOAP Binding,” May 2006

http://www.w3.org/TR/2006/REC-ws-addr-soap-20060509/

Non-Normative References

[BSP 1.0] WS-I Working Group Draft. "Basic Security Profile Version 1.0," August 2006

http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

[RDDL 2.0] Jonathan Borden, Tim Bray, eds. “Resource Directory Description Language (RDDL) 2.0,” January 2004

http://www.openhealth.org/RDDL/20040118/rddl-20040118.html

[RFC 2617] J. Franks, P. Hallam-Baker, J. Hostetler, S. Lawrence, P. Leach, A. Loutonen, L. Stewart, "HTTP Authentication: Basic and Digest Access Authentication," June wsrm-1.1-spec-cs-01 11 April 2007

Copyright © OASIS 1993–2007. All Rights Reserved. OASIS trademark, IPR and other policies apply. Page 8 of 62 1999.

http://www.ietf.org/rfc/rfc2617.txt

[RFC 4346] T. Dierks, E. Rescorla, "The Transport Layer Security (TLS) Protocol Version 1.1," April 2006.

http://www.ietf.org/rfc/rfc4346.txt

[WS-Policy] W3C Member Submission "Web Services Policy 1.2 - Framework", April 2006

http://www.w3.org/Submission/2006/SUBM-WS-Policy-20060425/

W3C Candidate Recommendation, "Web Services Policy 1.5 - Framework," February 2007.

http://www.w3.org/TR/2007/CR-ws-policy-20070228

[WS-PolicyAttachment] W3C Member Submission "Web Services Policy 1.2 - Attachment", April 2006

http://www.w3.org/Submission/2006/SUBM-WS-PolicyAttachment-20060425/

W3C Candidate Recommendation, "Web Services Policy 1.5 - Attachment," February 2007.

http://www.w3.org/TR/2007/CR-ws-policy-attach-20070228

[WS-Security] Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS Web Services Security: SOAP Message Security 1.0 (WS-Security 2004)", OASIS Standard 200401, March 2004.

http://docs.oasis-open.org/wss/2004/01/oasis-200401-wss-soap-message-security-1.0.pdf

Anthony Nadalin, Chris Kaler, Phillip Hallam-Baker, Ronald Monzillo, eds. "OASIS 270 Web Services Se-curity: SOAP Message Security 1.1 (WS-Security 2004)", OASIS Standard 200602, February 2006.

http://docs.oasis-open.org/wss/v1.1/wss-v1.1-spec-os-SOAPMessageSecurity.pdf

[RTTM] V. Jacobson, R. Braden, D. Borman, "TCP Extensions for High Performance", RFC 1323, May 1992.

http://www.rfc-editor.org/rfc/rfc1323.txt

[SecurityPolicy] G. Della-Libra, et. al. "Web Services Security Policy Language (WS-SecurityPolicy)", July 2005

http://specs.xmlsoap.org/ws/2005/07/securitypolicy/ws-securitypolicy.pdf

[SecureConversation] S. Anderson, et al, "Web Services Secure Conversation Language (WS-SecureConversation)," February 2005.

http://schemas.xmlsoap.org/ws/2004/04/sc/

[Trust] S. Anderson, et al, "Web Services Trust Language (WS-Trust)," February 2005.

http://schemas.xmlsoap.org/ws/2005/02/trust

  - 9 	 Qualification of OASIS:

OASIS is recognized under the provisions of ITU-T Recommendations A.5 and A.4. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0

  - 2 	 Status of approval:

Approved specification.

  - 3 	 Justification for the specific reference:

The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved specification since 2007, erratum exists (integrated with base file downloaded from the link above).

  - 6 	 The degree of stability or maturity of the document:

N/A

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

1. Universal Serial Bus Specification, Revision 2.0, April 27, 2000, http://www.usb.org.

2. ISO/IEEE 11073-20601 Optimized Exchange Protocol, Revision 1.0, 2010.

3. ISO/IEEE 11073-10101, Health Informatics – Point of Care medical device communication – Part 10101: Nomenclature, First edition, December 15, 2004.

4. RFC 2119, Key words for use in RFCs to Indicate Requirement Levels: March 1997, http://www.ietf.org/rfc/rfc2119.txt.

  - 9 	 Qualification of USB-IF:

USB-IF is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

_________________