| Question(s): | 6/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 2/5 |
| Source: | Editor of L.1220 (ex L.ENST1overview) |  |  |  |
| Title: | A.5 justification information for draft new L.1220 (ex L.ENST1overview) "Innovative energy storage technology for stationary use - Part 1: Overview of energy storage" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1220 (ex L.ENST1overview) "Innovative energy storage technology for stationary use - Part 1: Overview of energy storage" including the following normative references: ETSI EN 300 132-2 V2.4.6 (2011-12). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1220 (ex L.ENST1overview) "Innovative energy storage technology for stationary use - Part 1: Overview of energy storage".

- 2	Referred documents and respective justifications

| - ETSI EN 300 132-2 V2.4.6 (2011-12): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment;Part 2: Operated by -48 V direct current (dc) |  |
| --- | --- |
| - | Approved by ETSI |
| - | There is no internation standard of the -48V power interafce at the input of Telecom/ICT equipment. The ETSI is the reference regional standard available for this and already used in many other ITU-T recommendations. |
| - | Complete A.5 justification information can be found in Annex 1 . |

Annex 1A.5 justification information for the reference to ETSI EN 300 132-2 V2.4.6 (2011-12)

  - 1 	 Clear description of the referenced document:

ETSI EN 300 132-2 V2.4.6 (2011-12): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment;Part 2: Operated by -48 V direct current (dc)

  - 2 	 Status of approval:

Approved by ETSI

  - 3 	 Justification for the specific reference:

There is no internation standard of the -48V power interafce at  the input of Telecom/ICT equipment. The ETSI is the reference regional standard available for this and already used in many other ITU-T recommendations.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 60269-1: "Low-voltage fuses - Part 1: General requirements".

[2] CENELEC EN 60934: "Circuit-breakers for equipment (CBE)".

[3] ETSI EN 300 253: "Environmental Engineering (EE); Earthing and bonding of telecommunication

equipment in telecommunication centres".

[4] ITU-T Recommendation O.41: "Psophometer for use on telephone-type circuits".

[5] CENELEC EN 61000-4-5: "Electromagnetic compatibility (EMC) - Part 4-5: Testing and

measurement techniques - Surge immunity test".

[6] IEC 60050-601: "International Electrotechnical Vocabulary. Chapter 601: Generation,

transmission and distribution of electricity - General" (Area 826 "Electrical installations",

section 826-11 "Voltages and currents").

[7] CENELEC EN 61000-4-29: "Electromagnetic compatibility (EMC) -Part 4-29: Testing and

measurement techniques -Voltage dips, short interruptions and voltage variations on d.c. input

power port immunity tests".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

_________________