| Question(s): | 6/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 2/5 |
| Source: | Editor of L.1316 (ex L.EEframe) |  |  |  |
| Title: | A.5 justification information for draft new L.1316 (ex L.EEframe) "Energy efficiency framework" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1316 (ex L.EEframe) "Energy efficiency framework" including the following normative references: ATIS-0600015.01.2014, ATIS-0600015.02.2016, ATIS-0600015.03.20136, ATIS-0600015.04.2017, ATIS-0600015.05, ATIS-0600015.07.2018, ATIS-0600015.08.2014, ATIS-0600015.09.2015, ATIS-0600015.10.2015, ATIS-0600015.11.2016, ATIS-0600015.12.2016, ATIS-0600015.13.2017, ATIS-0600015.2018, ETSI EN 301 575 V1.1.1 (2012-05), ETSI EN 303 215 V1.3.1 (2015-04), ETSI EN 303 423 V1.2.1 (2018-08), ETSI EN 303 470 V1.1.1 (2019-03), ETSI EN 303 471 V1.1.1 (2019-01), ETSI EN 303 472 V1.1.1 (2018-10), ETSI EN 305 174-1 V1.1.1 (2018-02), ETSI EN 305 174-2 V1.1.1 (2018-02), ETSI EN 305 200-1 V1.1.1 (2018-07), ETSI EN 305 200-2-1 V1.1.1 (2018-02), ETSI EN 305 200-2-2 V1.2.1 (2018-08), ETSI EN 305 200-3-1 V1.1.1 (2018-02), ETSI ES 201 554 V1.2.1 (2014-07), ETSI ES 202 706-1 V1.5.1 (2017-01), ETSI ES 203 136 V1.2.1 (2017-10), ETSI ES 203 228 V1.2.1 (2017-04), ETSI ES 203 475 V1.1.1 (2017-11), ETSI ES 203 539 V 1.1.1 (2019-06), ETSI ES 205 200-1 V1.2.1 (2014-03), ETSI ES 205 200-2-1 V1.2.1 (2014-03), ETSI ES 205 200-2-1 V1.2.1 (2014-03), ETSI ES 205 200-2-2 V1.1.1 (2018-05), ETSI ES 205 200-2-2 V1.1.1 (2018-05), ETSI TS 102 706-2 V1.5.1 (2018-11), ETSI TS 105 174-1 V1.2.1 (2014-09), ETSI TS 105 174-2 V1.2.1 (2017-01), ETSI TS 105 174-2-2 V1.1.1 (2009-10), ETSI TS 105 174-4-1 V1.2.1 (2015-09), ETSI TS 105 174-5-4 V1.1.1 (2009-10). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1316 (ex L.EEframe) "Energy efficiency framework".

- 2	Referred documents and respective justifications

| - ATIS-0600015.01.2014: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting -- Server Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It a standard relevant for teh Recommendation |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - ATIS-0600015.02.2016: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement & Reporting – Transport & Optical Access Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - ATIS-0600015.03.20136: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting for Router and Ethernet Switch Products |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - ATIS-0600015.04.2017: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting DC Power Plant – Rectifier Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - ATIS-0600015.05: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting Facility Energy Efficiency |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - ATIS-0600015.07.2018: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – Wireline Access, Asymmetric Broadband Equipment |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - ATIS-0600015.08.2014: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting for Small Network Equipment |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant to the Recommendation |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - ATIS-0600015.09.2015: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting of Base Station Metrics |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 8 . |

| - ATIS-0600015.10.2015: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting DC Power Plant – Inverter Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 9 . |

| - ATIS-0600015.11.2016: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting DC/DC Converter Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant for the recommendation |
| - | Complete A.5 justification information can be found in Annex 10 . |

| - ATIS-0600015.12.2016: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting DC Power Plant – Rectifier Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant to the recommendation |
| - | Complete A.5 justification information can be found in Annex 11 . |

| - ATIS-0600015.13.2017: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting of 802.11xx Wi-Fi Access Points |  |
| --- | --- |
| - | Approved ATIS specification |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 12 . |

| - ATIS-0600015.2018: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements |  |
| --- | --- |
| - | Approved ATIS specification |
| - | It is a standard relevant to the recommendation |
| - | Complete A.5 justification information can be found in Annex 13 . |

| - ETSI EN 301 575 V1.1.1 (2012-05): Environmental Engineering (EE); Measurement method for energy consumption of Customer Premises Equipment (CPE) |  |
| --- | --- |
| - | Normative |
| - | it is a available International standard related to the subject |
| - | Complete A.5 justification information can be found in Annex 14 . |

| - ETSI EN 303 215 V1.3.1 (2015-04): Environmental Engineering (EE); Measurement methods and limits for power consumption in broadband telecommunication networks equipment |  |
| --- | --- |
| - | Normative |
| - | it a relevant standard for our Reccomendation |
| - | Complete A.5 justification information can be found in Annex 15 . |

| - ETSI EN 303 423 V1.2.1 (2018-08): Environmental Engineering (EE); Electrical and electronic household and office equipment; Measurement of networked standby power consumption of Interconnecting equipment; Harmonised Standard covering the measurement method for EC Regulation 1275/2008 amended by EU Regulation 801/2013 |  |
| --- | --- |
| - | Normative |
| - | It a relevant standard for our Recomendation |
| - | Complete A.5 justification information can be found in Annex 16 . |

| - ETSI EN 303 470 V1.1.1 (2019-03): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for servers |  |
| --- | --- |
| - | Normative |
| - | it is a relevan standard for this Reccomendation |
| - | Complete A.5 justification information can be found in Annex 17 . |

| - ETSI EN 303 471 V1.1.1 (2019-01): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for Network Function Virtualisation (NFV) |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for this Recommendation |
| - | Complete A.5 justification information can be found in Annex 18 . |

| - ETSI EN 303 472 V1.1.1 (2018-10): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for RAN equipment |  |
| --- | --- |
| - | Normative |
| - | It is a standard related to the scope of the Recomendation |
| - | Complete A.5 justification information can be found in Annex 19 . |

| - ETSI EN 305 174-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Lifecycle Resource Management; Part 1: Overview, common and generic aspects |  |
| --- | --- |
| - | Normative |
| - | The standard it is relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 20 . |

| - ETSI EN 305 174-2 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Lifecycle Resource Management; Part 2: ICT Sites |  |
| --- | --- |
| - | Normative |
| - | The standard it is relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 21 . |

| - ETSI EN 305 200-1 V1.1.1 (2018-07): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 1: General requirements |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the recommendation |
| - | Complete A.5 justification information can be found in Annex 22 . |

| - ETSI EN 305 200-2-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 2: Specific requirements; Sub-part 1: ICT Sites |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 23 . |

| - ETSI EN 305 200-2-2 V1.2.1 (2018-08): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks |  |
| --- | --- |
| - | Normative |
| - | The standard it is relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 24 . |

| - ETSI EN 305 200-3-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 3: ICT Sites; Sub-part 1: DCEM |  |
| --- | --- |
| - | Normative |
| - | The standard it is relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 25 . |

| - ETSI ES 201 554 V1.2.1 (2014-07): Environmental Engineering (EE); Measurement method for Energy efficiency of Mobile Core network and Radio Access Control equipment |  |
| --- | --- |
| - | Normative |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 26 . |

| - ETSI ES 202 706-1 V1.5.1 (2017-01): Environmental Engineering (EE); Metrics and measurement method for energy efficiency of wireless access network equipment; Part 1: Power Consumption - Static Measurement Method |  |
| --- | --- |
| - | Normative |
| - | It is a standard relevant for our Recommendation |
| - | Complete A.5 justification information can be found in Annex 27 . |

| - ETSI ES 203 136 V1.2.1 (2017-10): Environmental Engineering (EE); Measurement methods for energy efficiency of router and switch equipment |  |
| --- | --- |
| - | Normative |
| - | it is a standard related to our Recommendation |
| - | Complete A.5 justification information can be found in Annex 28 . |

| - ETSI ES 203 228 V1.2.1 (2017-04): Environmental Engineering (EE); Assessment of mobile network energy efficiency |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 29 . |

| - ETSI ES 203 475 V1.1.1 (2017-11): Environmental Engineering (EE); Standardization terms and trends in energy efficiency |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 30 . |

| - ETSI ES 203 539 V 1.1.1 (2019-06): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for Network Function Virtualisation (NFV) Measurement method for energy efficiency of Network Functions Virtualisation (NFV) in laboratory environment |  |
| --- | --- |
| - | Normative |
| - | it a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 31 . |

| - ETSI ES 205 200-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements |  |
| --- | --- |
| - | Normative |
| - | The standard is useful for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 32 . |

| - ETSI ES 205 200-2-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 1: Data centres |  |
| --- | --- |
| - | Normative |
| - | standard useful for the scope of the Recommendation |
| - | Complete A.5 justification information can be found in Annex 33 . |

| - ETSI ES 205 200-2-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 1: Data centres |  |
| --- | --- |
| - | Normative |
| - | It is a standard useful for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 34 . |

| - ETSI ES 205 200-2-2 V1.1.1 (2018-05): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 35 . |

| - ETSI ES 205 200-2-2 V1.1.1 (2018-05): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks |  |
| --- | --- |
| - | Normative |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 36 . |

| - ETSI TS 102 706-2 V1.5.1 (2018-11): ETSI ES 203 790 V1.1.1 (2019-01) Methods for Testing and Specification (MTS); The Testing and Test Control Notation version 3; TTCN-3 Language Extensions: Object Oriented Features |  |
| --- | --- |
| - | Normative |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 37 . |

| - ETSI TS 105 174-1 V1.2.1 (2014-09): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 1: Overview, common and generic aspects |  |
| --- | --- |
| - | Normative |
| - | It is a relevant standard for the Recommendation. |
| - | Complete A.5 justification information can be found in Annex 38 . |

| - ETSI TS 105 174-2 V1.2.1 (2017-01): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 2: ICT sites |  |
| --- | --- |
| - | Normative |
| - | It is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 39 . |

| - ETSI TS 105 174-2-2 V1.1.1 (2009-10): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment - Energy Efficiency and Key Performance Indicators; Part 2: Network sites; Sub-part 2: Data centres |  |
| --- | --- |
| - | Normative |
| - | Standard is relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 40 . |

| - ETSI TS 105 174-4-1 V1.2.1 (2015-09): ccess, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 4: Access Networks; Sub-part 1: Fixed access networks (excluding cable) |  |
| --- | --- |
| - | Normative |
| - | it is a standard relevant for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 41 . |

| - ETSI TS 105 174-5-4 V1.1.1 (2009-10): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment - Energy Efficiency and Key Performance Indicators; Part 5: Customer network infrastructures; Sub-part 4: Data centres (customer) |  |
| --- | --- |
| - | Normative |
| - | it is a relevant standard for the Recommendation |
| - | Complete A.5 justification information can be found in Annex 42 . |

Annex 1A.5 justification information for the reference to ATIS-0600015.01.2014

  - 1 	 Clear description of the referenced document:

ATIS-0600015.01.2014: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting -- Server Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It a standard relevant for teh Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015.2013, Energy Efficiency for Telecommunications Equipment: Methodology for Measuring and Reporting General Requirements.

ATIS-0600015.04.2010, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting DC Power Plant – Rectifier Requirements.

SPECpower_ssj2008 V1.12, SPECpower_ssj2008.

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.02.2016: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement & Reporting – Transport & Optical Access Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ANSI INCITS 230-1994 (R1999) Information Technology - Fibre Channel - Physical and Signaling Interface (FC-PH) [formerly ANSI X3.230-1994 (R1999)].

ANSI INCITS 297-1997 (R2002) Information Technology - Fibre Channel - Physical and Signalling Interface-2 (FC-PH-2) [formerly ANSI X3.297-1997].1

ANSI INCITS 303-1998 (R2003) Information Technology - Fibre Channel Physical and Signalling Interface-3 (FC-PH-3).1

ANSI INCITS 364-2003 FC-10GFC - Fibre Channel 10 Gigabit (10GFC).1

ANSI INCITS Project 1647-D Information Technology - Fibre Channel - Physical Interface-4 (draft FC-PI-4).

ATIS-0900105.05.2002(R2015) Synchronous Optical Network (SONET) – Basic Description including Multiplex Structure, Rates, and Formats.

ATIS-0600107.2002(R2011) Digital Hierarchy - Formats Specifications.

ATIS-0600015.2013 Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements.

IEEE 802.3-2008 IEEE Standard for Information technology-Specific requirements - Part 3: Carrier Sense Multiple Access with Collision Detection (CSMA/CD) Access Method and Physical Layer Specifications.

ITU-T G.702 Digital Hierarchy Bit Rates, Fascicle III.4 - Rec. G.702, 1993.

ITU-T G.707/Y.1322 Network node interface for the synchronous digital hierarchy (SDH), 01/2007.5

ITU-T G.984 Gigabit-capable passive optical networks (GPON): General characteristics.

ITU-T G.987 10-Gigabit-capable passive optical network (XG-PON) systems: Definitions, abbreviations and acronyms.

ITU-T G.988 ONU management and control interface (OMCI) specification.

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.03.20136: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting for Router and Ethernet Switch Products

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO 17025 general Requirement for the competence of testing and calibration laboratories

ATIS-0600015.2013 Methodology for Measurement and reporting: General Requirements

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.04.2017: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting DC Power Plant – Rectifier Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements.

ATIS-0600315, Voltage Levels for DC Powered Equipment Used in the Telecommunications Environment

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.05: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting Facility Energy Efficiency

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015.2009, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting.

The Green Grid White Paper #6, The Green Grid Data Center Power Efficiency Metrics: PUE and DCiE

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.07.2018: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – Wireline Access, Asymmetric Broadband Equipment

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting General Requirements.

ETSI EN 303 215, Environmental Engineering (EE); Measurement Methods and Limits for Power Consumption in Broadband Telecommunication Networks Equipment

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.08.2014: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting for Small Network Equipment

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant to the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO 17025, General Requirements for the competence of testing and calibration laboratories.

ATIS-0600015.2013, Methodology for Measurement and Reporting: General Requirements.

ITU-T recommendation L.1310: Energy efficiency metrics and measurement methods for telecommunication equipment

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.09.2015: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting of Base Station Metrics

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015.2013, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements

ATIS-0600315.2013, Voltage Levels for DC-Powered Equipment Used in the Telecommunications Environment

3GPP TS 36.104 v12.5.0 Release 12, LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) radio transmission and reception

3GPP TS 25.141 v12.5.0 Release 12, Universal Mobile Telecommunications System (UMTS); Base Station (BS) Conformance Testing (FDD)

3GPP TS 36.141 v12.5.0 Release 12, LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) Conformance Testing

3GPP TS 51.021 v12.2.0 Release 12, Digital Cellular Telecommunications System (Phase 2+); Base Station System (BSS) equipment specification; Radio aspects

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.10.2015: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting DC Power Plant – Inverter Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015.2013, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements.

ATIS-0600315.2013, Voltage Levels for DC Powered Equipment Used in the Telecommunications Environment.

IEEE Std 1515-2000, IEEE Recommended Practice for Electronic Power Subsystems: Parameter Definitions, Test Conditions, and Test Methods.

IEC 62301 Ed 2.0, Measurement of Standby Power.

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.11.2016: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting DC/DC Converter Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant for the recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015, Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements.

ATIS-0600315, Voltage Levels for DC Powered Equipment Used in the Telecommunications Environment.

GR-151-CORE, Generic Requirements for 24-, 48-, 130-, and 140-Volt Central Office Power Plant Rectifiers.

GR-947-CORE, Generic Requirements for a -48 Volt Telecommunications Switchmode Rectifier/Power Supply.3

IEEE Std 1515-2000, IEEE Recommended Practice for Electronic Power Subsystems: Parameter Definitions, Test Conditions, and Test Methods.

IEC 62301 Ed 2.0, Measurement of Standby Power

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.12.2016: Energy Efficiency for Telecommunications Equipment: Methodology for Measurement and Reporting DC Power Plant – Rectifier Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant to the recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ATIS-0600015 Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.13.2017: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting of 802.11xx Wi-Fi Access Points

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE 802.11, Wireless LANs.

ISO 17025, General Requirements for the competence of testing and calibration laboratories.

ATIS-0600015.2013, Methodology for Measurement and Reporting: General Requirements.

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ATIS-0600015.2018: Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting – General Requirements

  - 2 	 Status of approval:

Approved ATIS specification

  - 3 	 Justification for the specific reference:

It is a standard relevant to the recommendation

  - 4 	 Current information, if any, about IPR issues:

http://www.atis.org/legal/patentinfo.asp

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is a widely used specification.

  - 6 	 The degree of stability or maturity of the document:

The specification is considered stable and mature.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO 17025 general Requirement for the competence of testing and calibration laboratories

ATIS-0600015.2009 Methodology for Measurement and reporting: General Requirements

  - 9 	 Qualification of ATIS:

ATIS is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 301 575 V1.1.1 (2012-05): Environmental Engineering (EE); Measurement method for energy consumption of Customer Premises Equipment (CPE)

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a available International standard related to the subject

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 301 575 V1.1.1 (2012-05)  was published by ETSI in May 2012.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] Commission Regulation (EC) No 1275/2008 of 17 December 2008 implementing Directive 2005/32/EC of the European Parliament and of the Council with regard to ecodesign requirements for standby and off mode electric power consumption of electrical and electronic household and office equipment.

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 303 215 V1.3.1 (2015-04): Environmental Engineering (EE); Measurement methods and limits for power consumption in broadband telecommunication networks equipment

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it a relevant standard for our Reccomendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 303 215 V1.3.1 (2015-04) was published by ETSI in April 2014.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI TS 101 388: "Access Terminals Transmission and Multiplexing (ATTM); Access transmission systems on metallic access cables; Asymmetric Digital Subscriber Line (ADSL) - European specific requirements [ITU-T Recommendation G.992.1 modified]".

[2] ETSI EN 300 132-2: "Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 2: Operated by -48 V direct current (dc)".

[3] ETSI TS 101 271 (V1.1.1): "Access Terminals Transmission and Multiplexing (ATTM); Access transmission system on metallic pairs; Very High Speed digital subscriber line system (VDSL2); [ITU-T Recommendation G.993.2 modified]".

[5] ETSI ES 201 970: "Access and Terminals (AT); Public Switched Telephone Network (PSTN); Harmonized specification of physical and electrical characteristics at a 2-wire analogue presented Network Termination Point (NTP)".

[6] Recommendation ITU-T G.984: "Gigabit-capable passive optical networks (GPON)".

[7] Recommendation ITU-T G.984.2: "Gigabit-capable Passive Optical Networks (G-PON): Physical Media Dependent (PMD) layer specification".

[8] IEEE 802.3: "IEEE Standard for Information technology -- Telecommunications and information exchange between systems --Local and metropolitan area networks -- Specific requirements -- Part 3: Carrier Sense Multiple Access with Collision Detection (CSMA/CD) Access Method and

Physical Layer Specifications".

[9] Broadband Forum TR-100: "ADSL2/ADSL2plus; Performance Test Plan".

[10] Broadband Forum TR-114: "VDSL2 Performance Test Plan".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 303 423 V1.2.1 (2018-08): Environmental Engineering (EE);

Electrical and electronic household and office equipment; Measurement of networked standby power consumption of Interconnecting equipment;  Harmonised Standard covering the measurement method for EC Regulation 1275/2008 amended by EU Regulation 801/2013

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It a relevant standard for our Recomendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 303 423 V1.2.1 (2018-08)  was published by ETSI in august 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

CENELEC EN 50564 (2011): "Electrical and electronic household and office equipment - measurement of low power consumption".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 303 470 V1.1.1 (2019-03): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for servers

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a relevan standard for this Reccomendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 303 470 V1.1.1 (2019-03) was published by ETSI in March 2019.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[[1] CENELEC EN 62623:2013: "Desktop and notebook computers. Measurement of energy consumption".

[2] Standard Performance Evaluation Corporation (SPEC): "Server Efficiency Rating Tool (SERT) version 2 Run and Reporting Rules".

NOTE: Available at https://www.spec.org/sert2/SERT-runrules.pdf.

[3] Standard Performance Evaluation Corporation (SPEC): "Server Efficiency Rating Tool (SERT) version 2 User Guide".

NOTE: Available at https://www.spec.org/sert2/SERT-userguide.pdf.

[4] IEEE 802.3?: "IEEE Standard for Ethernet".

NOTE: Available at https://standards.ieee.org/findstds/standard/802.3-2015.html.

[5] IEEE 802.3az : "Energy Efficient Ethernet".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 303 471 V1.1.1 (2019-01): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics

for Network Function Virtualisation (NFV)

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for this Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 303 471 V1.1.1 (2019-01)  was published by ETSI in January 2019.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI ES 202 336-12: "Environmental Engineering (EE); Monitoring and control interface for infrastructure equipment (power, cooling and building environment systems used in telecommunication networks); Part 12: ICT equipment power, energy and environmental parameters monitoring information model".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 303 472 V1.1.1 (2018-10): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for RAN equipment

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard related to the scope of the Recomendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 303 472 V1.1.1 (2018-10) was published by ETSI in October 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI ES 203 228: "Environmental Engineering (EE); Assessment of mobile network energy efficiency".

[2] ETSI ES 202 336-12: "Environmental Engineering (EE); Monitoring and control interface for infrastructure equipment (power, cooling and building environment systems used in telecommunication networks); Part 12: ICT equipment power, energy and environmental parameters monitoring information model".

[3] ETSI TS 123 203: "Digital cellular telecommunications system (Phase 2+) (GSM); Universal Mobile Telecommunications System (UMTS); LTE; Policy and charging control architecture (3GPP TS 23.203)".

[4] ETSI TS 132 412: "Digital cellular telecommunications system (Phase 2+) (GSM); Universal Mobile Telecommunications System (UMTS); LTE; Telecommunication management; Performance Management (PM) Integration Reference Point (IRP): Information Service (IS) (3GPP TS 32.412)".

[5] ETSI TS 132 425: "LTE; Telecommunication management; Performance Management (PM); Performance measurements Evolved Universal Terrestrial Radio Access Network (E-UTRAN) (3GPP TS 32.425)".

[6] ETSI TS 125 306: "Universal Mobile Telecommunications System (UMTS); UE Radio Access capabilities (3GPP TS 25.306)".

[7] ETSI TS 136 306: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); User Equipment (UE) radio access capabilities (3GPP TS 36.306)".

[8] ETSI TS 136 214: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Physical layer; Measurements (3GPP TS 36.214)".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI EN 305 174-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Lifecycle Resource Management; Part 1: Overview, common and generic aspects

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

The standard it is relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 174-1 V1.1.1 (2018-02)  was published by ETSI in Febraury 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

NONE

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 305 174-2 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Lifecycle Resource Management; Part 2: ICT Sites

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

The standard it is relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 174-2 V1.1.1 (2018-02)  was published by ETSI in Febraury 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

ETSI EN 305 174-8: "Access, Terminals, Transmission and Multiplexing (ATTM); Broadband

Deployment and Lifecycle Resource Management; Part 8: Management of end of life of ICT

equipment (ICT waste / end of life)".

ETSI EN 305 200-2-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy

management; Operational infrastructures; Global KPIs; Part 2: Specific requirements;

Sub-part 1: ICT Sites".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 305 200-1 V1.1.1 (2018-07): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 1: General requirements

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 200-1 V1.1.1 (2018-07) was published by ETSI in July 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 305 200-2-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 2: Specific requirements; Sub-part 1: ICT Sites

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 200-2-1 V1.1.1 (2018-02) was published by ETSI in Febraury 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

CEN EN 1434 series: "Heat meters".

[2] CENELEC EN 50600-2-2: "Information technology - Data centre facilities and infrastructures -

Part 2-2: Power distribution".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 305 200-2-2 V1.2.1 (2018-08): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

The standard it is relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 200-2-2 V1.2.1 (2018-08)  was published by ETSI in August 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 305 200-3-1 V1.1.1 (2018-02): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Operational infrastructures; Global KPIs; Part 3: ICT Sites; Sub-part 1: DCEM

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

The standard it is relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI EN 305 200-3-1 V1.1.1 (2018-02)  was published by ETSI in Febraury 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

CEN EN 1434 series: "Heat meters".

[2] CENELEC EN 50600-2-2: "Information technology - Data centre facilities and infrastructures -

Part 2-2: Power distribution".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 201 554 V1.2.1 (2014-07): Environmental Engineering (EE); Measurement method for Energy efficiency of Mobile Core network and Radio Access Control equipment

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard relevant for  the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 201 554 V1.2.1 (2014-07) was published by ETSI in June 2014.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI EN 300 132-2: "Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 2: Operated by -48 V direct current (dc)".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 202 706-1 V1.5.1 (2017-01): Environmental Engineering (EE); Metrics and measurement method for energy efficiency of wireless access network equipment; Part 1: Power Consumption - Static Measurement Method

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard relevant for our Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 202 706-1 V1.5.1 (2017-01) was published by ETSI in January 2017.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[2] ETSI TS 125 104: "Universal Mobile Telecommunications System (UMTS); Base Station (BS) radio transmission and reception (FDD) (3GPP TS 25.104)".

[3] CENELEC EN 50160: "Voltage characteristics of electricity supplied by public electricity networks".

[4] ETSI EN 300 132-2: "Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 2: Operated by -48 V direct current (dc)".

[5] ETSI ES 201 554: "Environmental Engineering (EE); Measurement method for Energy efficiency of Mobile Core network and Radio Access Control equipment".

[6] Void.

[7] ETSI TS 125 141 (V8.3.0): "Universal Mobile Telecommunications System (UMTS); Base Station (BS) conformance testing (FDD) (3GPP TS 25.141 version 8.3.0 Release 8)".

[8] ETSI TS 125 101: "Universal Mobile Telecommunications System (UMTS); User Equipment (UE) radio transmission and reception (FDD) (3GPP TS 25.101)".

[9] ETSI TS 136 101: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); User Equipment (UE) radio transmission and reception (3GPP TS 36.101)".

[10] ETSI TS 136 211: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Physical channels and modulation (3GPP TS 36.211)".

[11] ETSI TS 136 141 (V8.6.0): "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) conformance testing (3GPP TS 36.141 version 8.6.0 Release 8)".

[12] ETSI TS 136 104: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) radio transmission and reception (3GPP TS 36.104)".

[13] IEEE 802.16e™: "IEEE Standard for Local and metropolitan area networks Part 16: Air Interface for Fixed and Mobile Broadband Wireless Access Systems Amendment for Physical and Medium Access Control Layers for Combined Fixed and Mobile Operation in Licensed Bands".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 203 136 V1.2.1 (2017-10): Environmental Engineering (EE); Measurement methods for energy efficiency of router and switch equipment

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard related to our Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 203 136 V1.2.1 (2017-10) was published by ETSI in October 2017.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ATIS-0600015.03.2009: "Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting for Router and Ethernet Switch Products".

[2] ATIS-0600015: "Energy Efficiency for Telecommunication Equipment: Methodology for Measurement and Reporting - General Requirements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 203 228 V1.2.1 (2017-04): Environmental Engineering (EE); Assessment of mobile network energy efficiency

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 203 228 V1.2.1 (2017-04) was published by ETSI in April 2017.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI TS 125 104: "Universal Mobile Telecommunications System (UMTS); Base Station (BS) radio transmission and reception (FDD) (3GPP TS 25.104)".

[2] ETSI TS 136 104: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) radio transmission and reception (3GPP TS 36.104)".

[3] ETSI TS 132 425 (V12.0.0): "LTE; Telecommunication management; Performance Management (PM); Performance measurements Evolved Universal Terrestrial Radio Access Network (E UTRAN) (3GPP TS 32.425 version 12.0.0 Release 12)".

[4] ETSI TS 132 412 (V11.1.0): "Digital cellular telecommunications system (Phase 2+); Universal Mobile Telecommunications System (UMTS); LTE; Telecommunication management; Performance Management (PM) Integration Reference Point (IRP): Information Service (IS) (3GPP TS 32.412 version 11.1.0 Release 11)".

[5] ETSI TS 123 203 (V12.7.0): "Digital cellular telecommunications system (Phase 2+); Universal Mobile Telecommunications System (UMTS); LTE; Policy and charging control architecture (3GPP TS 23.203 version 12.7.0 Release 12)".

[6] ETSI TS 136 314: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Layer 2 - Measurements (3GPP TS 36.314)".

[7] ETSI TS 152 402 (V11.0.0): "Digital cellular telecommunications system (Phase 2+); Telecommunication management; Performance Management (PM); Performance measurements - GSM (3GPP TS 52.402 version 11.0.0 Release 11)".

[8] ETSI TS 132 405 (V11.1.1): "Digital cellular telecommunications system (Phase 2+); Universal Mobile Telecommunications System (UMTS); LTE; Telecommunication management; Performance Management (PM); Performance measurements; Universal Terrestrial Radio Access Network (UTRAN) (3GPP TS 32.405 version 11.1.1 Release 11)".

[9] ETSI ES 202 336-12: "Environmental Engineering (EE); Monitoring and control interface for infrastructure equipment (power, cooling and building environment systems used in telecommunication networks); Part 12: ICT equipment power, energy and environmental parameters monitoring information model".

[10] ISO/IEC 17025 (2005): "General requirements for the competence of testing and calibration laboratories".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 203 475 V1.1.1 (2017-11): Environmental Engineering (EE); Standardization terms and trends in energy efficiency

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 203 475 V1.1.1 (2017-11)  was published by ETSI in November 2017.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI ES 203 539 V 1.1.1 (2019-06): Environmental Engineering (EE); Energy Efficiency measurement methodology and metrics for Network Function Virtualisation (NFV) Measurement method for energy efficiency of Network Functions Virtualisation (NFV) in laboratory environment

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 203 539 V 1.1.1 (2019-06)  was published by ETSI in January 2019.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

  - 1 	 Clear description of the referenced document:

ETSI ES 205 200-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

The standard is useful for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 205 200-1 V1.2.1 (2014-03) was published by ETSI in March 2014.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

ETSI ES 205 200-2-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 1: Data centres".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 205 200-2-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 1: Data centres

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

standard useful for the scope of the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 205 200-2-1 V1.2.1 (2014-03) was published by ETSI in March 2014.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 50600-2-2: "Information technology - Data centre facilities and infrastructures - Part 2-2: Power distribution".

[2] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements".

[3] CEN EN 1434 series: "Heat Meters".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 205 200-2-1 V1.2.1 (2014-03): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 1: Data centres

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is  a standard useful for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 205 200-2-1 V1.2.1 (2014-03) was published by ETSI in March 2014.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 50600-2-2: "Information technology - Data centre facilities and infrastructures - Part 2-2: Power distribution".

[2] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements".

[3] CEN EN 1434 series: "Heat Meters".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 205 200-2-2 V1.1.1 (2018-05): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 205 200-2-2 V1.1.1 (2018-05) was published by ETSI in May 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[[1] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 205 200-2-2 V1.1.1 (2018-05): Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 2: Specific requirements; Sub-part 2: Fixed broadband access networks

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI ES 205 200-2-2 V1.1.1 (2018-05) was published by ETSI in May 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[[1] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy management; Global KPIs; Operational infrastructures; Part 1: General requirements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 102 706-2 V1.5.1 (2018-11): ETSI ES 203 790 V1.1.1 (2019-01) Methods for Testing and Specification (MTS); The Testing and Test Control Notation version 3; TTCN-3 Language Extensions: Object Oriented Features

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI TS 102 706-2 V1.5.1 (2018-11) was published by ETSI in November 2018.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI TS 125 104: " Universal Mobile Telecommunications System (UMTS); Base Station (BS) radio transmission and reception (FDD) (3GPP TS 25 104)".

[2] ETSI EN 300 132-1: "Environmental Engineering (EE); Power supply interface at the input to Information and Communication Technology (ICT) equipment; Part 1: Operated by Alternating Current (AC) source".

[3] ETSI EN 300 132-2: "Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 2: Operated by -48 V direct current (dc)".

[4] ETSI TS 136 211: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Physical channels and modulation (3GPP TS 36.211)".

[5] ETSI TS 136 104: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) radio transmission and reception (3GPP TS 36.104)".

[6] ETSI ES 201 554: "Environmental Engineering (EE); Measurement method for Energy efficiency of Mobile Core network and Radio Access Control equipment".

[7] ETSI EN 300 132-3: "Environmental Engineering (EE); Power supply interface at the input to telecommunications equipment; Part 3: Operated by rectified current source, alternating current source or direct current source up to 400 V".

[8] 3GPP TR 36 873: "3rd Generation Partnership Project; Technical Specification Group radio Access Network; Study on 3D channel model for LTE".

[9] ETSI TS 136 141: "LTE; Evolved Universal Terrestrial Radio Access (E-UTRA); Base Station (BS) conformance testing (3GPP TS 36.141)"

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 105 174-1 V1.2.1 (2014-09): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 1: Overview, common and generic aspects

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a relevant standard for the Recommendation.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

The standard was published by ETSI in September  2019.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

CENELEC EN 50173-2: "Information technology - Generic cabling systems - Part 2: Office

premises".

[3] CENELEC EN 50173-3: "Information technology - Generic cabling systems - Part 3: Industrial

premises".

[4] CENELEC EN 50173-4: "Information technology - Generic cabling systems - Part 4: Homes".

[5] CENELEC EN 50173-5: "Information technology - Generic cabling systems - Part 5: Data

centres".

[6] CENELEC TR 50173-99-2: "Information technology - Implementation of BCT applications using

cabling in accordance with EN 50173-4".

ETSI

7 ETSI TS 105 174-1 V1.2.1 (2014-09)

[7] CENELEC EN 50174-1: "Information technology - Cabling installation - Part 1: Installation

specification and quality assurance".

[8] CENELEC EN 50174-2: "Information technology - Cabling installation - Part 2: Installation

planning and practices inside buildings".

[9] CENELEC EN 50174-3: "Information technology - Cabling installation - Part 3: Installation

planning and practices outside buildings".

[10] CENELEC EN 60728 series: "Cable networks for television signals, sound signals and interactive

services".

[13] Recommendation ITU-T I.113: "Vocabulary of terms for broadband aspects of ISDN".

[14] CENELEC EN 50600 series: "Information technology - Data centre facilities and infrastructures".

[15] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy

management; Global KPIs; Operational infrastructures; Part 1: General requirements".

[16] ETSI ES 205 200-2-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy

management; Global KPIs; Operational infrastructures; Part 2: Specific requirements;

Sub-part 1: Data centres".

[17] ETSI GS OEU 001: "Operational energy Efficiency for Users (OEU); Technical Global KPIs for

Data Centres".

[18] ETSI GS OEU 008: "Operational energy Efficiency for Users (OEU); Global KPI for Information

and Communication Technology Nodes"

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 105 174-2 V1.2.1 (2017-01): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 2: ICT sites

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

It is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI  published the standard in January 2017.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 50600-1: "Information technology - Data centre facilities and infrastructures -

Part 1: General concepts".

[2] ISO 14045:2012: "Environmental management - Eco-efficiency assessment of product systems -

Principles, requirements and guidelines".

[3] ISO 50001:2011: "Energy management systems - Requirements with guidance for use".

[4] Directive 2002/96/EC of the European Parliament and of the Council of 27 January 2003 on waste

electrical and electronic equipment (WEEE).

[5] ETSI TS 103 199: "Environmental Engineering [EE]; Life Cycle Assessment (LCA) of ICT

equipment, networks and services; General methodology and common requirements".

[6] ETSI ES 203 199: "Environmental Engineering (EE); Methodology for environmental Life Cycle

Assessment (LCA) of Information and Communication Technology (ICT) goods, networks and

services".

[7] European Commission: "DG-JRC Code of Conduct on Data Centres Energy Efficiency".

[8] Recommendation ITU-T L.1300: "Best practices for green data centers".

ETSI

10 ETSI TS 105 174-2 V1.2.1 (2017-01)

[9] ETSI ES 205 200-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Energy

management; Global KPIs; Operational infrastructures; Part 1: General requirements".

[10] CENELEC EN 50600-2-3: "Information technology - Data centre facilities and infrastructures -

Part 2-3: Environmental control".

[11] European Commission: "DG-JRC Code of Conduct on Energy Consumption of Broadband

Equipment Version 5.0".

[12] ETSI EN 300 019-1-3: "Environmental Engineering (EE); Environmental conditions and

environmental tests for telecommunications equipment; Part 1-3: Classification of environmental

conditions; Stationary use at weather protected locations".

[13] European commission: "DG JRC Code of Conduct on Energy Efficiency and Quality of AC

Uninterruptible Power Systems (UPS)".

[14] ETSI ES 202 336-12: "Environmental Engineering (EE); Monitoring and control interface for

infrastructure equipment (power, cooling and building environment systems used in

telecommunication networks); Part 12: ICT equipment power, energy and environmental

parameters monitoring information model".

[15] ETSI EN 300 132: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications and datacom (ICT) equipment".

[16] ETSI EN 301 605: "Environmental Engineering (EE); Earthing and bonding of 400 VDC data and

telecom (ICT) equipment".

[17] ETSI ES 202 336-9: "Environmental Engineering (EE); Monitoring and Control Interface for

Infrastructure Equipment (Power, Cooling and Building Environment Systems used in

Telecommunication Networks); Part 9: Alternative Power Systems".

[18] CENELEC EN 50600 2-4: "Information technology - Data centre facilities and infrastructures -

Part 2-4: Telecommunication cabling infrastructure".

[19] ISO 14040: "Environmental management -- Life cycle assessment -- Principles and framework".

[20] ISO 14044: "Environmental management -- Life cycle assessment -- Requirements and

guidelines".

[21] ETSI ES 203 237: "Environmental Engineering (EE);Green Abstraction Layer (GAL);Power

management capabilities of the future energy telecommunication fixed network nodes".

[22] CENELEC EN 50600-2-2: "Information technology - Data centre facilities and infrastructures -

Part 2-2: Power distribution".

[23] ETSI EN 300 132-3-1: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications and datacom (ICT) equipment; Part 3: Operated by rectified current source,

alternating current source or direct current source up to 400 V; Sub-part 1: Direct current source

up to 400 V".

[24] ETSI EN 300 132-3: "Environmental Engineering (EE);Power supply interface at the input to

telecommunications equipment; Part 3: Operated by rectified current source, alternating current

source or direct current source up to 400 V"

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 105 174-2-2 V1.1.1 (2009-10): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment - Energy Efficiency and Key Performance Indicators; Part 2: Network sites; Sub-part 2: Data centres

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

Standard is relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

Standard was published by ETSI in October 2009.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ANSI/TIA-942: "Telecommunications Infrastructure Standard for Data Centres".

[2] Uptime Institute: "Tier Classifications Define Site Infrastructure Performance".

[3] Johannesburg: "Datacenter Dynamics Research Key Findings" August 2008.

[4] European Commission: "DG-JRC Code of Conduct on Data Centres Energy Efficiency".

[5] "Best Practices for the EU Code of Conduct on Data Centres".

ETSI

9 ETSI TS 105 174-2-2 V1.1.1 (2009-10)

[6] CENELEC EN 50173-2: "Information technology - Generic cabling systems - Part 2: Office

premises".

[7] CENELEC EN 50173-5: "Information technology - Generic cabling systems - Part 5: Data

centres".

[8] CENELEC EN 50174-1: "Information technology - Cabling installation - Part 1: Installation

specification and quality assurance".

[9] CENELEC EN 50174-2: "Information technology - Cabling installation - Part 2: Installation

planning and practices inside buildings".

[10] High performance buildings: "UPS report (Ecos Consulting-Epri Solutions)".

[11] ETSI EN 300 019-1-3: "Environmental Engineering (EE); Environmental conditions and

environmental tests for telecommunications equipment; Part 1-3: Classification of environmental

conditions; Stationary use at weatherprotected locations".

[12] ETSI EN 300 132-3: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications equipment; Part 3: Operated by rectified current source, alternating current

source or direct current source up to 400 V".

[13] ETSI TS 105 174-1: "Access, Terminals, Transmission and Multiplexing (ATTM); Broadband

Deployment - Energy Efficiency and Key Performance Indicators; Part 1: Overview, common and

generic aspects".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 105 174-4-1 V1.2.1 (2015-09): ccess, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment and Energy Management; Part 4: Access Networks; Sub-part 1: Fixed access networks (excluding cable)

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a standard relevant for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI TS 105 174-4-1 V1.2.1 (2015-09)was published by ETSI in September  2015.

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI TS 105 174-5-4 V1.1.1 (2009-10): Access, Terminals, Transmission and Multiplexing (ATTM); Broadband Deployment - Energy Efficiency and Key Performance Indicators; Part 5: Customer network infrastructures; Sub-part 4: Data centres (customer)

  - 2 	 Status of approval:

Normative

  - 3 	 Justification for the specific reference:

it is a relevant standard for the Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

ETSI TS 105 174-5-4 V1.1.1 (2009-10) was published by Etsi in October 2009

  - 6 	 The degree of stability or maturity of the document:

ETSI Published.

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

None

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

_________________