| Question(s): | 6/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 2/5 |
| Source: | Editor of L.1206 (ex L.dualpowerinput) |  |  |  |
| Title: | A.5 justification information for draft new L.1206 (ex L.dualpowerinput) "Impact on information and communication technology equipment architecture of multiple AC, -48 VDC or up to 400 VDC power inputs" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1206 (ex L.dualpowerinput) "Impact on information and communication technology equipment architecture of multiple AC, -48 VDC or up to 400 VDC power inputs" including the following normative references: ETSI EN 300 132-2 V2.4.6 (2011-12), ETSI EN 300 132-3-1 V2.1.1 (2011-10). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1206 (ex L.dualpowerinput) "Impact on information and communication technology equipment architecture of multiple AC, -48 VDC or up to 400 VDC power inputs".

- 2	Referred documents and respective justifications

| - ETSI EN 300 132-2 V2.4.6 (2011-12): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment;Part 2: Operated by -48 V direct current (dc) |  |
| --- | --- |
| - | Approved by ETSI |
| - | This is international standard of -48V power interface for telecom/ICT equipment. It is recognized worldwide. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - ETSI EN 300 132-3-1 V2.1.1 (2011-10): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 3: Operated by rectified current source, alternating current source or direct current source up to 400 V; Sub-part 1: Direct current source up to 400 V |  |
| --- | --- |
| - | Published standard |
| - | This is the only reference of standard interface A3 of up to 400VDC, similar to interface P of Recommendation L.1200. and both are used in the Recommendation L.dualpowerinput for covering all possible case of the scope, this Recommendation being jointly developed with ETSI. |
| - | Complete A.5 justification information can be found in Annex 2 . |

Annex 1A.5 justification information for the reference to ETSI EN 300 132-2 V2.4.6 (2011-12)

  - 1 	 Clear description of the referenced document:

ETSI EN 300 132-2 V2.4.6 (2011-12): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment;Part 2: Operated by -48 V direct current (dc)

  - 2 	 Status of approval:

Approved by ETSI

  - 3 	 Justification for the specific reference:

This is international standard of -48V power interface for telecom/ICT equipment. It is recognized worldwide.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 60269-1: "Low-voltage fuses - Part 1: General requirements".

[2] CENELEC EN 60934: "Circuit-breakers for equipment (CBE)".

[3] ETSI EN 300 253: "Environmental Engineering (EE); Earthing and bonding of telecommunication

equipment in telecommunication centres".

[4] ITU-T Recommendation O.41: "Psophometer for use on telephone-type circuits".

[5] CENELEC EN 61000-4-5: "Electromagnetic compatibility (EMC) - Part 4-5: Testing and

measurement techniques - Surge immunity test".

[6] IEC 60050-601: "International Electrotechnical Vocabulary. Chapter 601: Generation,

transmission and distribution of electricity - General" (Area 826 "Electrical installations",

section 826-11 "Voltages and currents").

[7] CENELEC EN 61000-4-29: "Electromagnetic compatibility (EMC) -Part 4-29: Testing and

measurement techniques -Voltage dips, short interruptions and voltage variations on d.c. input

power port immunity tests".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI EN 300 132-3-1 V2.1.1 (2011-10): Environmental Engineering (EE); Power supply interface at the input to telecommunications and datacom (ICT) equipment; Part 3: Operated by rectified current source, alternating current source or direct current source up to 400 V; Sub-part 1: Direct current source up to 400 V

  - 2 	 Status of approval:

Published standard

  - 3 	 Justification for the specific reference:

This is the only reference of standard interface A3 of up to 400VDC, similar to interface P of Recommendation L.1200. and both are used in the Recommendation L.dualpowerinput for covering all possible case of the scope, this Recommendation being jointly developed with ETSI.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The only standard published on 400 Vdc

  - 6 	 The degree of stability or maturity of the document:

Approved and in use for many years.

  - 7 	 Relationship with other existing or emerging documents:

None known.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1]IEC/EN 60947-2: "Low-voltage switchgear and controlgear - Part 2: Circuit-breakers".

[2]IEC/EN 60269-1: "Low-voltage fuses - Part 1: General requirements".

[3]IEC/EN 61000-4-5: "Electromagnetic compatibility (EMC) - Part 4-5: Testing and measurement techniques - Surge immunity test".

[4]IEC/EN 61000-4-29: "Electromagnetic compatibility (EMC) - Part 4-29: Testing and measurement techniques - Voltage dips, short interruptions and voltage variations on d.c. input power port immunity tests".

[5]IEC/EN 60898-2: "Circuit-breakers for overcurrent protection for household and similar installations - Part 2: Circuit-breakers for a.c. and d.c. operation".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

_________________