|  | SPCG/104 2022-22-24 |
| --- | --- |

SPCG – Standardization Programme Coordination Group

SPCG Recommendation

Ref.: ISO/TS/P 300: PROPOSAL FOR A NEW FIELD OF TECHNICAL ACTIVITY: New TC on Small hydropower plants (SHP plants).

The IEC SMB/ISO TMB/ITU-T TSAG Standardization Programme Coordination Group (SPCG) thanks ISO for sharing ISO/TS/P 300: PROPOSAL FOR A NEW FIELD OF TECHNICAL ACTIVITY: New TC on Small hydropower plants (SHP plants).

SPCG has reviewed the content of the proposal and would like to offer the following information and recommendation for ISO/TMB to consider.

The SPCG understands that the construction of a power plant is a special building producing power. It was emphasized by some of the IEC TCs that it is hard to imagine that a power plant can be designed without active deep engagement and leadership of electrical designers. Although the proposer explicitly excludes electrotechnical work, there will obviously be interfaces to IEC work, for instance when selecting electromechanical equipment.

The SCPG supports the following exclusions mentioned in the proposed scope and emphasizes the importance of establishing these liaison relationships as soon as the work is initiated:

- Standardization of electromechanical equipment for SHP plants covered by IEC/TC 4, IEC/TC 14, IEC/TC 17, IEC/TC 22 and IEC/TC 57, etc.;

- Standardization of marine energy conversion systems covered by IEC/TC114.

On projects of high relevance to two or more committees, the Joint Working Group mechanism should be use as agreed between the relevant committees.

SPCG recommends:

- The following deliverables should be added to the list of relevant existing documents:

  - IEC/IEEE 63197 (Terms and Definitions for Hydro Turbine Governing Systems),

  - IEC/IEEE 63198 (Technical Guide for Smart Hydroelectric Power Plants),

  - IEC 61850 (Communication networks and systems for power utility automation),

  - a reference to existing IEC/TC 14 standards.

- The following items should be refined in the proposal:

  - Definition of “small” hydropower plant, and

  - The title of the committee should be changed from “Small hydro power plants (SHO)” to “Construction of small hydro power plants (SHO)

  - Additional exclusion from the scope:

  - automation, control, and communication equipment as well as communication protocols covered by IEC/TC 57.

Amanda Richardson

Chair of IEC/ISO/ITU Standardization Programme Coordination Group

______________