Draft revised Recommendation ITU-T H.842 (2nd edition)

Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 2: Optimized exchange protocol: Manager

Summary

Recommendation ITU-T H.842 is a transposition of Continua Test Tool DG2015, Test Suite Structure & Test Purposes, PAN-LAN-TAN Interface; Part 2: Optimized Exchange Protocol. Manager that was developed by the Continua Health Alliance. A number of versions of this specification existed before transposition.

This revision aligns the content of this Recommendation with the second edition of the H.810 series.

This Recommendation includes an electronic attachment with the protocol implementation conformance statements (PICS) and the protocol implementation extra information for testing (PIXIT) required for the implementation of Annex A.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_