| INTERNATIONAL TELECOMMUNICATION UNION | Focus Group On Future Networks |
| --- | --- |
| TELECOMMUNICATION STANDARDIZATION SECTOR STUDY PERIOD 2009-2012 | FG-FN OD-74 |
|  | Original: English |
|  |  | 8th FG-FN meeting: Ljubljana, Slovenia 29 November – 3 December 2010 |
| OUTPUT DOCUMENT 74 |
| Source: | Editors |
| Title: | Draft Deliverable on “Overview of Energy-saving of Networks” |

This is a revised text of Draft Deliverable on “Overview of Energy-saving of Networks” based on contributions and discussions of 8th FG-FN meeting in Ljubljana, Slovenia, 29 November – 3 December 2010.

[C150] The proposed text was modified and added to the document.

[C134] The proposed text was modified and added to the document.

Overview of Energy-saving of Networks

[Editor's Note: should be decided if "Future" is to be included in the title later.]

Summary

This document describes the overview of energy-saving of networks.

Table of Contents

1. Scope

2. References

3. Definitions

3.1. Terms defined elsewhere

3.2. Terms defined in this document

4. Abbreviations and acronyms

5. Introduction to Energy-saving of Networks

6. Motivation and High Level Requirements

7.  Review of Energy-saving technologies

7.1. List of technologies and their levels

7.2. Device-level technologies

7.3. Equipment-level technologies

7.4. Network-level technologies

8. Capability requirements

8.1. Considerations for energy-saving

8.2. Control device/equipment operation for traffic dynamics

8.3. Forward traffic with less power

8.4. Classification of technologies from capabilities

9. Impact analysis of Energy-saving

9.1 Influence of service provision

9.2 Influence to other network performance

10. Overview of candidate functions and physical implementation

10.1. Candidate functions

10.2. Physical implementation mapping

Appendix I. Examples of technology consideration

I.1. Environmental Token Consideration in Future Network Routing Capability

Appendix II. Examples of energy-saving technology

II.1. ADSL2/ADSL2plus Low-Power Mode Guidelines

Overview of Energy-saving of Networks

# 1. Scope

Energy-saving of networks themselves is an important capability in future networks (FNs). In this document we call a network capability that use less energy as “energy-saving of networks”, and

-  review energy-saving technologies,

-  describe capability requirements

-  describe impact analysis of energy-saving

-  describe overview of candidate functions and physical implementation

-  describe high-level requirements

of energy-saving of networks.

# 2. References

[1] International Telecommunication Union, “ICT and Climate Change,” April 2008

[2] ISO 14067-1, “Carbon Footprints of Products – Part 1: Quantification”, under development

[3] ISO 14067-2, “Carbon Footprints of Products – Part 2: Communication”, under development

[4] Cisco, “Cisco Visual Networking Index: Forecast and Methodology, 2009-2014”, June 2010

[5] Green IT Promotion Council, 2008 Research Report, June 2009 (in Japanese)

[6] Global e-Sustainability Initiative (GeSI), Smart 2020 report, 2008

[7] “Annual Energy Outlook 2009 with Projections to 2030”, World Energy Outlook, DOE/EIA-0383, Mar. 2009.

[8] “ICT Energy Consumption – Trends and Challenges”, Gerhard Fettweis, Vodafone Chair Mobile Communication Systems.

[9] “http://www.greentouch.org/index.php?page=challenges-opportunities”

[10] “Green IT-A New Industry Shock Wave”, Gartner 2007.

[11] “Compact base stations: a new step in the evolution of base station design”, Senza Fili Consulting, 2010.

[12] http://www.octasic.com/en/applications/wireless/small_cell.php

[13] http://www.instat.com/newmk.asp?ID=2810&SourceID=00000652000000000000

[14] “BLI Research on Small Cells”, Davide Cherubini, Alcatel-Lucent.

[15] David Neilson, GreenTouch: Inventing Sustainable, Ultra Energy-Efficient ICT Networks,  GreenTouch presentation material, 2010.

[16] Hai Huang, Padmanabhan Pillai, Kang G. Shin, "Design and Implementation of Power-Aware Virtual Memory", usenix03, 2003

[17] ENERGY STAR computer specification Draft Version 5.0, 2008

[18] Broadband forum, TR 202, ADSL2/ADSL2plus Low-Power Mode Guidelines, issue 1, 2010

[19] NICC ND1424, Guidelines on DSL power saving models and non-stationary noise in metallic access networks, 2008

[20] ENERGY STAR Small Network Equipment Draft Specification Framework Document, October 2009

[21] IEEE P802.3az Energy Efficient Ethernet Task Force, http://www.ieee802.org/3/az/index.html

[22] IETF CAPWAP Working Group, http://www.ietf.org/html.charters/capwap-charter.html

[23] RFC 5412, “Lightweight Access Point Protocol”, Feb. 2010

[24] ETSI TR 102 530 V1.1.1, Environmental Engineering; The reduction of energy consumption in telecommunications equipment and related infrastructure, 2008.

[25] Broadband forum, TR 202, ADSL2/ADSL2plus Low-Power Mode Guidelines, issue 1, 2010

[26] ITU-T Rec. G.992.3 ADSL2, 2009

[27] ITU-T Rec. G.992.5 ADSL2plus 2009.

[28] NICC ND1424, Guidelines on DSL power saving models and non-stationary noise in metallic access networks, 2008

[29] ITU-T Rec. G.997.1 Physical Layer Management for DSL Transceivers, 2009

[30] Joseph Chabarek et al., “Power Awareness in Network Design and Routing,” INFOCOM 2008, 2008.

[31] ATIS, “ATIS Report on Wireless Network Energy Efficiency”, Jan. 2010.

[32] S. Cui, A. J. Goldsmith, and A. Bahai, “Energy-efficiency of MIMO and cooperative MIMO techniques in sensor networks,” IEEE Journal on Selected Areas in Communications, vol. 22,no. 6, pp. 1089–1098, Aug. 2004.

[33] “Cell Planning for Cooperative Transmission,” in Proc. IEEE WCNC’08, Mar, 2008.

[34] “Distributed Antenna-based EPON-WiMAX Integration and Its Cost Efficient Cell Planning,” IEEE J. Sel. Areas Commun. vol. 28, no. 6, Aug. 2010.

[35] “Green Network Planning of Single Frequency Networks,” accepted for inclusion a future issue of IEEE Trans. Broadcasting, Jun. 2010.

[36] Peter Grant, “Green Radio Techniques for Improved Wireless Basestation Design”, Mobile VCE, July 2010.

[Editor's Note: Numbering, order, notation, and validity of each reference will be checked later.]

# 3. Definitions

## 3.1. Terms defined elsewhere

TBD

## 3.2. Terms defined in this document

Energy-saving of networks: A network capability that use less energy than conventional networks. [Editor's Note: Definition for more terms may be added to sub-section 3.1 and 3.2.]

# 4. Abbreviations and acronyms

FN	Future Network

# 5. Introduction to Energy-saving of Networks

After the monumental 4th IPCC report in 2007 concluded that the man-made climate change is ‘very likely’, various scientific evidence that show the seriousness and urgency of climate change has been added. To this end, it has become apparent that one of the key objectives of future networks is its contribution to mitigate climate change.

Contribution of ICT to mitigate climate change is often categorized into ‘Green by ICT’ and ‘Green of ICT’. ‘Green of ICT’ is the challenge to reduce environmental load of ICT system itself such as PCs, servers, routers, and so on. On the other hand, ‘Green by ICT’ is the challenge to reduce the environmental load caused by using ICT system; for example, telework and supply chain management (SCM). We can therefore categorize future networks’ contribution to climate change into two, ‘Green by future networks’ and ‘Green of future networks’.

- Green by future networks

Future networks must become a useful tool for other sectors to mitigate or adapt to climate change. Smart grid friendly networks architecture, QoS and cost suitable for ubiquitous sensor networks that monitor the earth's environment are a few examples of contributions by way of ‘Green by future networks’.

- Green of future networks

Future networks must minimize their carbon footprint and overall ecological impact from production through use to disposal. For example, most of the ecological impact of a mobile terminal arises from its production, so reducing the impact in production phase is a valuable contribution. Routers, switches and servers consume much electricity in their use phase, which makes energy-saving a valuable contribution on these facilities.

Since energy consumption is often correlated with GHG emissions, both Green “by” and “of” Future Networks’ contributions to mitigate climate change are effective when Future Networks can effectively use of energy consumption. Energy consumption in ICT networks is rapidly increasing in part due to exponential network growth, especially with the explosion of wired data traffic as well as wireless data traffic [9]. The World Energy Outlook (WEO) 2009 estimated that the world’s energy consumption will be doubled in 2030 driven by the energy consumption of the networks [7][8]. Thus, the impact of world’s energy consumption caused by the networks will be more significant than now. Thus, reducing the energy consumption of networks becomes effective contribution to mitigate climate change due to the correlation of GHG emissions.   Therefore, energy-saving is a critically important concept of Future Networks. In this document, Energy-saving of networks means a network capability where total power consumption of network equipment such as routers and switches is systematically used thus reduced of energy consumption comparing with current networks.

# 6. Motivation and High Level Requirements

The reduction of GHG emissions is a key requirement for Future Networks. A carbon footprint quantifies the GHG emissions associated with goods and services. In general, the following stages are considered in estimating a carbon footprint:

- Production, manufacture, and transportation

- In-use (include service provisioning)

- Disposal/recycling

Networks are composed of equipment (products). For the network construction, products are transported from a manufacturer’s site to a construction place. After the end of life of the equipment, the equipment should be disposed and/or recycled. Carbon footprint considers those activities and the GHG emissions associated with these stages. In terms of networks, the stage of “in-use” is primarily considered, because GHG emissions associated with “in-use” activity can be controlled by network architecture and capabilities. For this stage, three categories of technologies are focused, i.e. device-, equipment- and network-levels.

- Device-level (e.g. LSI micro fabrication, optical node, clock gating)

- Equipment-level (e.g. transmission, multiplexing, equipment configuration, equipment-level software)

- Network-level (e.g. access, core, wireless, wireline, architecture-level software)

Technology associated with each level can be evolved. Future Networks should stimulate and flexibly adopt technological developments and evolutions. When network control parameters and mechanisms at each level of the category are standardized and supported by those categorized technologies, technological changes can be allowed and adopted by Future Networks. Therefore, high level requirements for energy-saving aspect of networks will be management functions, which control parameters and mechanisms at each technological category. Management functions will include status monitoring and control of device-, equipment-, and network-level of technologies.

# 7. Review of Energy-saving technologies

7.1. List of technologies and their levels

Based on three levels (Device-, Equipment-, and Network-level) described in section 6, the following technologies are listed.

- Device-level Technology

LSI micro fabrication, Optical network nodes, Multi-core CPU, Clock Gating, Power-aware virtual memory, Advanced Power Amplifier (PA)

- Equipment-level Technology

Sleep mode control, ALR/DVS, Circuit switching, Thermal design, Cache server, Filtering, Sorry server, Shaping, Compact base transceiver stations (BTSs), Smart Antenna Technologies

- Network-level Technology

Energy Consumption-based routing/traffic engineering, Lightweight protocol, Transmission scheduling, CDN, Job scheduling, Small-cell design, Energy Consumption-aware network planning

In sub-sections 7.2 - 7.4, the outline of each technology is described.

7.2. Device-level technologies

7.2.1. LSI micro fabrication

LSI micro fabrication is a device technology, which reduces the driving voltage. The more it advances, the less power is needed. Up to now, the ratio of improvement of it has progressed by 30% per year, but this has slowed down recently because of the increase of leakage current.

7.2.2. Optical network nodes

It is an implementation of optical transmission technology to a network node. Optical networks have very large capacity compared with electronic networks, with speed of Tbps or more. It can improve energy efficiency drastically that is defined by W/bps (necessary energy to get unit data rate) [15]. Because of its very high capacity, it requires large amount of traffic aggregation. Otherwise, sufficient energy efficiency cannot be achieved. Moreover, optical packet switching is still difficult to realize.

7.2.3. Multi-core CPU

This is a technology to control power supply and clock rate to multi-core CPUs, so that necessary number of CPUs can operate at necessary clock rate. If CPUs are controlled adequately according to the load, then energy-saving can be made.

7.2.4. Clock Gating

This is a technology to control the clock supply to CPU(s) when necessary task does not exists. The longer the duration without clock is, the more energy can be saved. Nevertheless, if the transition between the ON and OFF state of the clock occurs frequently, then less energy-saving effect is achieved.

7.2.5. Power-aware virtual memory

This is a technology to control the power state transitions of memory under software control not using hardware control [16]. From the energy-saving viewpoint, this technology brings the high energy-efficient power management of memories (such as buffer memory, cache memory) in a network node.

7.2.6. Advanced Power Amplifier (PA)

This is a high-efficiency power amplifier that can provide for more than 60 percent efficiency. As PA alone counts for up to 70 percent of total base station power consumption, using high-efficiency power amplifiers can reduce power consumption of wireless networks. [31]

7.3. Equipment-level technologies

7.3.1. Sleep mode control

This is a technology to put equipment and functions to "sleep mode" when they are not used, and hence conserve energy. At a equipment-level such as routers and switches in wired networks, and radio base stations and mobile devices in wireless networks, sleep mode control is typically implemented on equipment and network interfaces. The effect of energy-saving depends on the traffic dynamics. The more the difference between maximum and minimum traffic, the more the energy-saving effect can be achieved.

In wired networks, the difficulty of this technology is that current routers must treat small control traffics such as routing information even if data traffic is not delivered, so it is a problem how to treat these control traffic. To solve this problem, a “proxy” maintains a network presence during sleep mode operation for any network node, and responds to routine network traffic instead of network node. The details of this technology are described in the ENERGY STAR computer specification Version 5.0 [17]. To realize sleep mode control, the network node supports sleep mode control described in this section and network supports energy efficient Ethernet protocol developed by IEEE P802.3az Energy Efficient Ethernet Task Force [21]. Moreover, energy-saving of up to 2.9GWh/year per million lines can be attained by L2 power saving mode (e.g., low power mode) combined with existing ADSL2/ADSL2plus technology. One example of this technology is described in appendix II.1.

On the other hand, in wireless networks, sleep mode control software and sleep-mode operation are implemented for energy-saving radio base stations and mobile devices, respectively. In radio base station systems, the sleep control software is shutting off/down a band that is seeing low traffic patterns on that cell or shutting off/down the whole radio base stations. Additionally, during sleep-mode operation, mobile devices do not communicate with their corresponding radio base stations by powering down its batteries.

7.3.2. Adaptive Link Rate (ALR)/Dynamic Voltage Scaling (DVS)

This is an energy-saving operation mode of network equipment. ALR implies Adaptive Link Rate, which controls link speed according to the amount of the traffic to be processed. DVS implies Dynamic Voltage Scaling, which controls the driving voltage of CPU, hard disc, network interface card (NIC), and so on, according to the amount of the traffic to be processed. The more scaling is accomplished, the more the energy-saving can be achieved. The problem of this technology is how to treat burst traffic, and so on.

7.3.3. Circuit switching

Circuit switching consumes less energy than packet switching, because it is simple and does not need extra energy-consuming devices such as SRAM and CAM. Nevertheless, circuit switching cannot realize statistical multiplexing, so it may degrade network performance. It is a problem of circuit switch from the viewpoint of energy-saving. Transport mechanism is required to reduce energy consumption without degrading network performance for implemented services.

7.3.4. Thermal design

In a network node, cooling system consumes considerable amount of energy. Energy-saving can be achieved by improvement of thermal design of a network node.

7.3.5. Cache server

This technology is the caching of web contents to reduce bandwidth usage, so it can achieve energy-saving corresponding to the reduction. If the copy of the contents exists in this server at high probability, it is effective for energy-saving. But, if this probability is low, the server needs to access to the original server frequently. It may costs more energy than the case without cache server.

7.3.6. Filtering

This technology blocks unnecessary data to be transmitted, so it can achieve energy-saving corresponding to it. Filtering technology is not originally intended for energy-saving, but using it well can save energy.

7.3.7. Sorry server

This is a server, which returns the alternative response to inform that it cannot provide services by some reason such as traffic congestion. Consequently, it can peak-shift the traffic on the time axis and ease the necessary traffic demand and hence it can save energy.

7.3.8. Shaping

This is a technology that controls the output rate of packets according to the link speed. Because it controls the maximum data rate, it can save the energy of other nodes, which is defined by the maximum data rate. Nevertheless, it may increase the delay.

7.3.9. Compact base transceiver stations (BTSs)

This is the latest base station system to be introduced for saving power consumption and cost reduction.  Unlike the conventional ground-based BTSs and distributed BTSs, compact BTSs do not require ground shelters and cooling equipment, so it consumes lower energy, less expensive equipment, and lower installation costs. Nevertheless, they are able to support high performance features such as multiple antennas per sector with multiple input, multiple output (MIMO), and beamforming [11].

7.3.10. Smart Antenna Technologies

Smart antenna technologies, recently known as MIMO, are smart signal processing algorithms using antenna arrays with multiple antennas at both the transmitter and receiver to improve wireless communication performance. Since it can control the directionality of the reception or transmission of a signal and reduce the interference of other signal, it can support higher data rates under the same transmit power budget and bit-error-rate (BER) performance requirements as a Single-Input-Single-Output (SISO). To exemplify, cooperative transmission technologies promises potential gain to better spectral efficiencies by increasing Signal to Interference and Noise Ratio (SINR). In particular, among them, Distributed Antenna Systems (DASs) can enlarge the available network coverage near or in overlapped cell coverage areas. Therefore, such smart antenna-based technologies can achieve energy-saving in wireless networks [31][32][33][34][35].

7.4. Network-level technologies

7.4.1. Energy Consumption-based routing/traffic engineering

This is a routing/traffic engineering technology to minimize network-wide energy consumption. It uses the premise that the sleep mode or ALR/DVS functions described in sub-section 6.3 can be utilized in network nodes. When sleep mode function can be utilized, this technology aggregates the traffic routes, and allows unused nodes or links to sleep mode so that unnecessary energy can be saved. When the ALR/DVS function can be utilized, this technology distributes the traffic routes so that each node treats minimum traffic, and makes link rate or voltage at the adequate level so that unnecessary energy can be saved. The problem of this technology is how to treat dynamics of the traffic. One example of this technology consideration is described in appendix I.1.

7.4.2. Lightweight protocol

This technology simplifies the network protocol and saves energy corresponding to it. Typically, there are two approaches to accomplish energy-saving by it. One is to transfer the data traffic in the lower layer than IP, and the other is to make simple the transmission layer protocol. The former includes label switching such as MPLS, and the latter includes convergence of IP transport layer with access network and its backhaul to utilize full IP networking as a common platform [31], modified TCP that improves retransmission algorithm and CAPWAP protocol that reduces the signalling overhead for WLAN developed by IETF CAPWAP WG [22]. This technology can make the necessary functions of network nodes small, so it can save energy according to it.

7.4.3. Transmission scheduling

This technology assumes that nodes have smaller buffer than usual. It controls the amount and the timing of packet transmission so that it can avoid output waits at each node. So it can save energy. The problem of this technology is the network performance. If transmission scheduling is controlled ineffectively, it degrades the network performance. Consequently, it may require extra network resources.

7.4.4. CDN (Content Delivery Networks)

This is an optimized network for delivery of web contents via the Internet. Optimized CDN can save energy because it can access the nearer server than the original one, so it can save energy corresponding to it [15]. The problem of this technology is as same as that of cache server. That is, if hit rate is small, this technology is not so effective for energy-saving. From the viewpoint of energy consumption, it is required that the operation of cache server is controlled by its hit rate.

7.4.5. Job scheduling

This technology peak-shifts the traffic on the time axis as much as possible, and reduces the number of network equipment to be needed, in order to save energy. One method is to distribute broadcast content in advance.

7.4.6. Small-cell design

It is designed for the small-cell area (micro-cell, pico-cell, and femto-cell), where mobile demand is high such as city downtowns, shopping malls, airports, campuses, and large offices, to off-load macro-cell traffic. Typically, small-cell design can be implemented in the compact BTSs described in sub-section 7.3.9 with marcro BTSs, establishing the overlay cellular networks [12][13]. It needs less power to transmit the data traffic compared with that of macro-cell because its cell size is far small, so it can save energy. In addition, energy consumption for small-cell can be further reduced by Energy-efficient algorithms such as coverage-aware switch-offs, which detect existing spatial coverage and switch-off base stations, and traffic-aware sleep modes which detect User Equipment (UE) activity via carrier sniffing and temporarily switch-off idle small cells [14]. The reduction of energy consumption is explained in [36] in more detail.

7.4.7. Energy Consumption-aware network planning

This is a part of energy-saving technology in wired and wireless network. To reduce energy consumption, it considers the energy consumption at network-level. Until now, the network planning usually concerns the performance and reliability and does not concern the improvement of energy efficiency, which is just as important to reduce environmental impact. However, network planning should include all the requirements on a network including energy efficincy for optimization. Important is the installation data energy consumption report, energy utility mains outage reports (number of main losses, duration of outage, etc.), optimization should start with the highest energy consumer at a site [15][24].

The energy consumption-aware network planning can be divided into two parts: a dynamic and a static part. For example, we consider the energy consumption in a static manner when we design the network topology. Through this approach, we can design the network topology with the less power. Meanwhile, the dynamic rerouting or protection technology can save the energy by controlling the traffic in a dynamic manner. Therefore, both of approaches are important to save the energy consumption in a network. According to [30], the energy consumption-aware network planning can result in significant energy-saving.

# 8. Capability requirements

8.1. Considerations for energy-saving

From the technologies listed in previous section, some considerations can be made regarding the direction for energy-saving.

8.1.1. Target area

( ‘Green of future networks’ or ‘Green by future networks’

In order to reduce GHG emissions, both issues are important. But we focus on ‘Green of future networks’ in this document, as described in section 5.

( Stage in a lifecycle

We focus on the stages of  “service provision” and “in-use”[4]. The former treats the static problem of how smaller amount of network resources could be prepared for the given traffic demand, on the network design phase. The latter treats the dynamic problem of how smaller amount of network resources could be used according to the traffic at the moment, on the network deployment phase.

( Level of technologies

Each level of technologies (device, equipment, and network) is important. Each technology does not stand alone, but cooperates with others at different levels. Our objective is to find a total solution, which incorporates each level of technologies.

8.1.2. Possible capability requirements

Considering technologies listed in section 6, capabilities for energy-saving can be categorized as follows:

1) Satisfaction of customer requests with minimum traffic

1-1) Reduce the volume of traffic to be forwarded

1-2) Peak-shift the traffic as much as possible

2) Improvement of power consumption efficiency of the entire network

2-1) Control device/equipment operation for traffic dynamics

2-2) Forward traffic with less power

Figure 8-1: Power consumption vs. Network capacity

Capability requirement 1) is an approach from traffic handling. Energy  consumption of devices or equipment is defined by the maximum traffic they can accommodate. So, if the maximum traffic to be accommodated could be reduced, energy consumption would be also reduced accordingly.

1-1) is a static solution. It is a technique to reduce the volume of traffic to be forwarded by devices or equipment. One example is providing a cache at the entrance of networks so as to cache frequently accessed content on it.

1-2) is a dynamic solution. It is a technique to move the data on time axis and to put down the peak traffic. One example is job scheduling, which allow broadcast content to be distributed in advance.

Capability requirement 2) is an approach from architecture at various levels. Energy  consumption efficiency usually defined by necessary energy  to get unit data speed, that is, W/bps. So, if energy consumption efficiency could be improved in some ways such as device evolution, total energy consumption would be reduced according to it.

2-1) is a dynamic solution. Conventional network devices or equipment always operate at full spec and full speed. It is a technique to control the operation of devices or equipment according to the traffic. One example is sleep mode control.

2-2) is a static solution. Conventional data transmission is usually carried out on complex layered protocol. It is a technique to transmit data on simplified mechanism, using lower layer, light protocol, and so on. One example is optical networks.

There are various methods to satisfy these capabilities. Some of them are technical, and some of them are non-technical. Both of them are important, but we will focus on technical methods in this document.

In the following sub-sections: 8.2 and 8.3, capability requirements of 2-1) and 2-2) are described in more detail.

## 8.2. Control device/equipment operation for traffic dynamics

Techniques to control device/equipment operation for traffic dynamics include sleep mode control and dynamic voltage scaling (DVS) control. Sleep mode control saves energy by putting a device to "sleep mode" when it is not in use, and DVS control works by reducing the traffic forwarding capacity of devices such as CPUs, line cards and network interface cards (NICs) when the traffic volume is low. For this reason, sleep mode control and DVS control are effective when they are applied to networks which characteristically have a large number of devices, low volume of traffic handled by individual networks and low device operating ratios.

From the view point of network-level technology, internet traffic is characterized by dynamic variations in terms of time and space. Energy consumption of routers, on the other hand, is almost independent of the volume of traffic forwarded and just driving routers consumes a certain amount of electric energy. Accordingly, putting routers to sleep mode when traffic does not flow into them provides a possible energy-saving technique. In the present situation, however, traffic is distributed for forwarding on a network according to the paths predefined by routing protocols or other methods, which means that traffic, if low volume, flows into each rouer even when the overall volume of traffic is low, resulting in the need to keep each router running all the time. This points out  the technical challenge of how to control traffic paths in an entire networks in such a way that allows routers to enter sleep mode.

## 8.3. Forward traffic with less power

Techniques to forward traffic with less power include use of evolving device-level technology and employment of optical nodes along with traffic aggregation. Device-level technology offers prospects for energy-saving by LSI micro fabrication and reduction of driving voltage. Use of optical nodes requires traffic aggregation as a prerequisite.

From the viewpoint of equipment-level technology, the internet uses packet forwarding, which achieves efficient accommodation of applications by statistical multiplexing effect. The other side of the coin is that further increases in the speed and capacity of transmission lines in the future will require special types of memory that are high-speed, high-capacity and high-power-consumption (such as static random access memory [SRAM] and content addressable memory [CAM] for buffering and routing. However, video traffic, which is expected to increase in the future, is characterized by continuous generation in one direction while a session is maintained and routing is required only on a session-by-session basis. This eliminates the need to use CAM, which is intended for packet-by-packet routing and requires high power consumption, and packet buffers. Accordingly, one technological challenge is to build a new forwarding mechanism that does not require these types of memory to be used.

8.4. Classification of technologies from capabilities

From the viewpoint of the capability requirements, technologies listed in section 7 are classified as follows:

Table 1: Correspondence of technologies to capability requirements

| Capability requirements Level | 1) Satisfaction of customer requests | 2) Improvement of power efficiency |
| --- | --- | --- |
|  | 1-1) Reduce traffic | 1-2) Peak-shift | 2-1) Dynamic ctl. | 2-2) Less power |
| Device |  |  | - Multi-core CPU - Clock Gating | - LSI - Optical nodes - Power aware virtual memory - Advanced Power Amplifier |
| Equipment | - Cache server - Filtering | - Sorry server - Shaping | - Sleep mode control - ALR/DVS | - Circuit switching - Thermal design - Compact BTSs - Smart Antenna Technologies |
| Network | - CDN | - Job scheduling | - Routing/TE - Energy-aware network planning (dynamic) | - Light protocol - Txt. scheduling - Small-cell design - Energy-aware network planning (static) |

# 9. Impact analysis of Energy-saving

This section describes impact analysis  of energy-saving of networks, especially performance aspects.

## 9.1. Influence of service provision

For provision of a certain service and implementation of new services could result of increasing energy consumption, but networks and services using energy-saving technologies can mitigate this increase. The effect of energy-saving depends on the technologies to be implemented into the three different levels (device, equipment and network), thus must be carefully decided according to the energy-saving demand of each level.

## 9.2. Influence to other network performance

When introducing energy-saving technologies to the networks, there might be concerned about the degradation of network performance such as QoS, security, and so on, because energy-saving technology could be caused of using additional resources or processes. However, it depends on the application services or network systems how much degrade can be admitted. For example, usual e-mail service can tolerate the delay of several seconds. So, influences to other network performance should be identified, and it should be observed whether it can be tolerable for that service.

[Editor's Note: More close observation should be added to sub-section 9.1 and 9.2, especially about the relation between energy consumption and performance.]

# 10. Overview of candidate functions and physical implementation

10.1. Candidate functions

From the considerations of section 8 "Capability requirements", Energy-saving of Networks should have the followings as candidate functions, as shown in figure 10-1, two principal functions and one database.

- Energy Control Function is subdivided into Device- Equipment-, and Network-level technologies.

- Energy Management Function includes three sub-functions: Monitoring Sub-function, Optimization Sub-function, and Controller Sub-function.

- Status Information Base includes a set of status information such as energy consumption and traffic.

Figure 10-1: Candidate functions

Figure 10-1 is a conceptual figure. The location of functions and a database is basically independent of specific equipment.

10.1.1. Energy Control Function

Energy Control Function is a set of various energy-saving technologies, which are mainly described in section 8. They are subdivided into Device-, Equipment-, and Network-level technologies. Examples for each level are device clock, node sleep, and routing path, as shown in Figure 10-1. This function is directly related to power consumption, and is controlled by Energy Management Function.

In addition, each level of technology has static and dynamic ones. Static one is itself a stand-alone technology to save energy, and is not affected by inputs from outside, such as LSI micro fabrication and thermal design. Dynamic one is a technology to be controlled by inputs from outside, such as node sleep and energy-based routing. In the framework depicted in Figure 10-1, dynamic one is more important.

10.1.2. Energy Management Function

The Energy Management Function monitors Status Information Base and manages the Energy Control Function, in order to minimize total energy consumption. It includes following three sub-functions:

Monitoring Sub-function: monitors the necessary status information about network nodes from the Status Information Base.

Optimization Sub-function: decides which control operation should be performed on which network node, to minimize total power consumption.

Controller Sub-function: sends control request to the Energy Control Function of a network node.

10.1.3. Status Information Base

The Status Information Base is a database, which includes a set of status information to define network node characteristics, such as energy consumption and traffic.

[Editor's Note: We need to check if the above functions are necessary and sufficient for energy-saving framework. If not, we should consider adding some additional functions or sub-functions.]

10.2. Physical implementation mapping

Physical mapping of the above framework is shown in Figure 10-2. In this figure, three examples are shown. Here, a solid line shows signalling flow (monitor/control), and a dotted line shows data flow.

Figure 10-2: Physical implementation mapping

(A)Local implementation loop: is usually implemented on a single network node, such as a router or a switch. Two principal functions and a database all exist in one node. A local control loop is executed in it. This pattern is self-optimizing in each node.

A typical example of this case is to control device clock according to the traffic.

(B)Global implementation loop: is usually implemented on multiple network nodes and a single network management server. The Energy Control Function and The Status Information Base exist in each network node, and the Energy Management Function exists in a network management sever. The global control loop is executed among them. This pattern is that a network management server monitors and controls multiple nodes in a centralized manner.

A typical example of this case is the routing which assigns least power consumption route.

(C)Combined implementation loop: is usually implemented on multiple network nodes and a single network management server. The Energy Control Function and the Status Information Base exist in each network node, and the Energy Management Function exists in network node and a network management sever. Two kinds of Energy Management Functions, global and local, constitute two control loops combined. A combined control loop, a local loop and a global loop, are executed among them. The pattern is that the network management server monitors and controls multiple nodes in a centralized manner, and each node executes self-optimization in a distributed manner.

Typical example of this case is energy-based routing, where global loop aggregates the traffic routes, and local loop puts the node to sleep in case of no traffic.

Appendix I. Examples of technology consideration

## I.1. Environmental Token Consideration in Future Network Routing Capability

The environmental token indicates a level of carbon-free power consumption at a network node, and includes a ratio (R) between carbon-free and total power consumptions at a node. A total of power consumption at a node is the sum of carbon-free and carbon-based-nuclear power consumptions. Environmental token also indicates GHG emissions, and includes carbon footprint (CF) of a node. Therefore, the environmental token (ET) at one node can be represented as the following:

ET = (1 – R) x CF

A lower level of carbon-based power consumption would be preferable for mitigating GHG emissions. This means that a larger ratio value (R) would show less carbon-based power consumption and a better routing scheme. A value of the carbon footprint will show an equivalent of GHG emission in consideration of Life Cycle Assessment at a network node. Consequently, a smaller value of ET will represent a preferable node in terms of environmental consideration. At each node with a routing capability, both carbon-free and carbon-based power consumptions are monitored, and the ratio R as well as ET are computed. Then, its value is notified to adjacent nodes via a central or distributed manner. (See Figure 1) A node with a routing capability will route information under consideration of the ratio/environmental token. In the figure, each RN will have a different energy-saving capability, and small letters of ET will indicate less GHG emissions. Note that a routing capability would include bypassing and rerouting functions.

Figure I.1 - Environmental Token Exchange

## Appendix II. Examples of energy-saving technology

## II.1. ADSL2/ADSL2plus Low-Power Mode Guidelines

The purpose of this appendix is to provide practical guidelines for network providers and service providers for the use of the existing low-power operational mode embodied in ITU-T Recommendations for ADSL2[26] and ADSL2plus[27] technology, while minimizing the risk that some emerging high speed services (e.g., IPTV) and delay sensitive services (e.g., VoIP) could be adversely impacted by the use of the ADSL2/2plus L2 mode. Furthermore, there is a need to use energy as efficiently as possible in order to minimize carbon footprint in a low-carbon economy. The use of low power mode(s) (e.g., L2) for ADSL2 and ADSL2plus is recognized as a key method of reducing the carbon footprint of the broadband ecosystem.

## II.1.1. Definitions

- L0 state: full power management state achieved after the initialization procedure has completed successfully (the ADSL link is fully functional)

- L2 state: low power management state (the ADSL link is active but a low power signal conveying background data is sent from the network operator to the CP

- L3 state: link state (Idle) at the start of the initialization procedure (there is no signal transmitting, the ADSL transceiver unit may be powered or unpowered)

- L0-TIME: minimum time between Exit from the L2 state and the next Entry into L2 state

- L2-TIME: minimum time between Entry into the L2 state and the first Power Trim in the L2 state and between two consecutive Power Trims in the L2 state

- L2-ATPR: Maximum aggregate transmit power reduction that can be performed at transition of L0 to L2 state

- L2-ATPRT: Total Maximum aggregate transmit power reduction that can be performed in an L2 state

## II.1.2. Recommended guidelines for key parameters

If L2 power saving mode is used in the access network it is recommended that the control parameters for it are set according to Table 2, and that any incumbent or local loop unbundling operator sharing the same metallic infrastructure use the same set of parameter values.

Table 2: Recommended values for L2 mode control parameters

| L2 mode parameter | Recommended value |
| --- | --- |
| L2-ATPR (dB) | 1 |
| L2-TIME (seconds) | ≥127 |
| L2-ATPRT (dB) | ≤10 |
| L0-TIME (seconds) | ≥127 |

The above parameters are defined in [25] and [29] as well as in sub-section II.1.1 of this appendix.

NOTE: Application of these recommended values will result in a power saving of the order 75% [28] of that achievable using the most aggressive power saving parameters but with a much reduced impact on DSL performance (by virtue of the fact of the increased damping in the control system which minimizes the fluctuating crosstalk).

NOTE: It may be appropriate also to set L2 “Minimum data rate in low power state” to a value lower than that necessary to support VoIP, so that at the start of a session the link immediately exits L2 state to ensure QoS and QoE for the duration of the call.

## II.1.3. Operation of L2 mode

In the description of these power saving modes L0 mode refers to the normal (full power operation), while L2 mode refers to the main mode of interest, a power saving mode that stops short of actually turning the transmit signal off altogether. The operation of this L2 mode is illustrated in Figure II-1.

Figure II.1 – How L2 mode works

In this figure it is assumed that initially the modem is operating in L0 mode and therefore transmitting at full power, when it is detected that little or no user data is being transmitted. As a result entry into L2 mode is enabled, resulting in an initial power reduction by L2-ATPR dB.

NOTE: The L2 power trim sent by the DSLAM may be rejected by the CPE due to an invalid or infeasible parameter. This can occur when there is no capacity left for further power reduction, or if further reduction of power might result in instability (negative noise margin on certain tones).

This level of power reduction shall be maintained for a period of at least L2-TIME seconds before further power reduction is permitted. Once this time has passed, if user data requirements still permit, a further reduction in power by L2-ATPR is enabled, and so on, provided that the total power reduction does not exceed L2-ATPRT. If at any time user data throughput demands a higher transmit power level then immediate return to L0 mode is the only option. Once in L0 mode again, this mode shall be maintained for at least L0-TIME seconds before L2 mode can be invoked again. The values of L2-ATPR, L2-TIME, L2-ATPRT and L0-TIME are all under control of the network operator and can be configured through the DSLAM or MSAN management system.

# Footnotes

In global environment, IP traffic is estimated to increase by 34% every year [4]. If this rate of increase continues, IP traffic of 2025 will be almost 350 times that of 2005. Accordingly, the estimated network power consumption in 2025 is predicted to be 6.2 times the 2005 level [5]. The energy consumption of the networks in 2007 is 3% among the overall energy consumption, but it is increasing rapidly by 16~20% every year [8]

The Gartner estimated that global carbon footprint of networks in 2007 is 2%, which is similar percentage of the aviation [7] and its percentage will be expected to increase by 2.3 times, from 2002 to 2020 [6].

# Text boxes

【ET】

【ET】

【ET】

CCN

RN

RN

RN

RN: Network Node with Routing Capability

CCN: Central Control Node

Environmental Token Exchange in Distributed Manner

Environmental Token Exchange in Centralized Manner

RN

Network capacity

Energy consumption

(1

2)

Base point

W/bps

1)