RECOMMENDATION  ITU-R  F.268-1*

Interconnection at audio frequencies
of radio-relay systems for telephony

(1970)

The ITU Radiocommunication Assembly,

considering

a)	that radio-relay systems for telephony may form part of an international circuit;

b)	that international connections between such systems, among themselves or with other radio-relay or line systems, may at times have to be made at audio frequencies;

c)	that the objective should be to comply with the relevant ITU-T Recommendations in respect of overall performance measured between audio-frequency terminals;

d)	that it will be necessary to signal over telephone circuits provided by means of such systems,

recommends

that, as far as is practicable, radio-relay systems for telephony providing circuits which may form part of an international connection should be such that these circuits conform with the relevant ITU-T Recommendations for modern types of telephone circuit in the following respects:

1	the transmission characteristics of the circuits between audio-frequency terminals (the relevant Recommendations are contained in ITU-T Vol. III, Fascicle III.1);

2	the characteristics of the multiplex terminal equipment, where applicable (see ITU-T Recommendations G.232 and G.412, Vol. III, Fascicle III.2);

3	the method of signalling over international circuits (the relevant Recommendations are contained in ITU-T Vol. VI; see also ITU-T Recommendation G.422, Vol. III, Fascicle III.2).

*	Radiocommunication Study Group 9 made editorial amendments to this Recommendation in 2001 in accordance with Resolution ITU-R 44.