## Slide 1: GramHealth: An affordable and usable healthcare system for unreached community
Ashir Ahmed
Director, Global Communication Center Project, Grameen Communications, Bangladesh
Associate Professor, Department of Advanced Information Technology, Kyushu University, Japan
ITU Workshop on "E-health services in low-resource settings: Requirements and ITU role”
February 4-5, 2013, Tokyo, Japan

## Slide 2: Agenda
GramHealth
UnReached People
Affordable and Usable Healthcare System
Portable Clinic and GramHealth : Experimental Results and Comments

## Slide 3: The Unreached Community
The Unreached | Category
3 billion people live on less than $2.50/day | Poverty
1 billion people unable to read | Education
1.5 million children die of diarrhea each year | Health
1.6 billion people live without electricity | Energy
・・・ | ・・・
How can we change these facts?

## Slide 4
Muhammad Yunus
Was awarded Nobel Peace Prize in 2006.
Contributed to solve poverty issue.

## Slide 5: Collaboration with Grameen Since 2007
Development of Technologies based on Social Needs
Social Business to provided social services to the target community in a business way
Healthcare is a focused area of joint-research

## Slide 6: Unreached: Beyond the BOP
Socio-economic
  Low income, Low skills
  Compromised infrastructure
  Under developed countries
Natural Disasters
  Low/high income, low/ high skills
  Compromised infrastructure
  Both developed and developing countries
Political
  Low/High income, Low/high skills
  Compromised infrastructure
  Both developed and developing countries
Commonality and Variability
100 M
２ Billion
Purchase Power Parity (daily)
$１
$２
$５
4 Billion People
69% of World Population
BOP
Charity:Business
Reverse Innovation
Notes: Last year, scientists revealed that it was in fact the chicken that came first, not the egg. And the same applies here: that it is the people that come first, not the technology. Regardless of how well-designed or technologically sound the tool, if people aren’t already using that tool then they won’t turn to it in a time of disaster. It is not just that people need to know of a technology, but they really need to have it already integrated into the way they communicate and share for adoption to take hold during a crisis.

## Slide 7: E-Health services in low-resource settings

## Slide 8: Low-resource setting
Doctors don’t want to stay in villages
Quality hospitals don’t sustain without a stable income
Transportation cost is bigger than treatment cost

## Slide 9: Bangladesh case: Health Consultancy over mobile phone since early 2000
GSM Net
Doctors @Call Center
CDR
Patient @Home
A patient calls a hotline number.
The call is redirected to a call center doctor.
The patient-doctor conversation starts.
The doctor provides three types of services.
The conversation is archived in CDR
Notes: Voice only service

## Slide 10: Two Case studies
  2-a) Remote Health consultancy over mobile phone
 | 789 Service | Tele health 10600
Provider | GrameenPhone (a mobile phone operator) | JBFH (a hospital)
Calls per day | 15,000 calls | 500 calls
Call center doctors | 200 doctors / three shifts | 10-15 doctors / three shifts
Price | 5 cents per minute | Free for farmers
Notes: Case-1: 789 Service by GrameenPhone (a mobile phone operator)
15,000 calls per day, 200 doctors in 3 shifts
5 cents per minute
Case-2: Tele health 10600 JBFH* (a hospital)
500 calls per day (in 2009)
Free for farmers
Small call center with 3-5 doctors/shift

## Slide 11: Amazing Facts from Doctor-Patient conversation analysis
Observed Item | Results (n=400)
(a) Caller | Patient: 60%, Relatives: 40%
(b) Age distribution of the patient | 0-10 years: 29%, 11-20 years: 15% 21-30 years:24%, 31-40 years:17% 41-50 years: 9%, 50+ years: 7 %
(c) Sex | Male: 67%, Female: 33%
(d) Location | Rural: 30%, Urban: 70%
(e) Call completion | Complete: 68%, Incomplete: 32%
(f) Time of call | Day (8:00-15:30): 57 % Evening (15:30-23:00): 18% Night (23:00-8:00): 25%
(g) Time occupancy of a single call | Introduction phase: 8%, Diagnosis phase: 27%, Advice phase: 67%
(h) Consultancy about | Disease related: 79%, Preventive healthcare related: 21%
(i) Type of advices | Prescribed medicine: 54% , Advice: 28%, Referred to specialist/hospital: 17%,
(j) Patients | Follow up: 17%, New: 83%
(k) Major diseases consulted | Gastro-intestinal: 22%, Respiratory: 17%, Reproductive:10%, skin: 10%
Data Source: Tele health 10600 (Case-2)
Duration: December, 2009
Total Records: 10000
Selected Records: 400
17% follow up patients
→Popular !!!
2-a) Remote Health Consultancy over mobile phone
33% patients are females
→ Solves another social prolem of female
10

## Slide 12: Advantages and Technical Challenges
Social and Business Aspect
  Female patients can stay anonymous for female diseases. Amazing Privacy!!
  Access to basic healthcare by millions of unreached patients
Technical Challenges
  Bad quality of communications. Incomplete calls.
  Doctors cannot see to past records for repeated patients
  Doctors can not make a good clinical decision, no diagnostic tools at the patient side to provide health data

## Slide 13: Our response to the technical challenges
Solution by GramHealth (a Web based PHR)
c. Unique patient ID and Phone number
d. Universal access to PHR
Challenges
a. No diagnostic tools
b. Bad quality of communications
c. No Patient ID management mechanism
d. Difficulties to access to past clinical records
GramHealth
Portable Clinic
PHR: Personal Health Record
Solutions by Portable Clinic (a health check up box)
a. Diagnostic tools (one set for one community)
b. Broadband Internet (Not GSM)
Notes: Difficulties to access to past clinical records

## Slide 14
Grameen and KU: Towards One Community One Clinic
3,000 USD
Affordable?

## Slide 15: Can we make it more efficient? Portable?
Rural Patients
Cell Phone
Diagnostic Tools
Interfaces
(a) $3000 “Clinic Booth” with existing devices
Urban doctor
(b) FHR
Rural Patients
Proposed $300 “Portable Clinic”
Patients visit
clinic
Clinic visits
patients
(c) FHR Application Server
(d) FHR
Viewer
Phase 1: System design of a clinic booth using traditional devices and SW tools
Phase 2: Develop a cost effective portable clinic

## Slide 16: Affordable ($300?) Portable Clinic

## Slide 17: The prototype used in field
Blood sugar meter
Pulse oximeter
(Oxygen in blood)
Android terminal
Mobile modem
Buttery
Barcode reader
Paper
and pen
Urine tester tape
（protein, sugar）
Measure
(Height, Waist, Hip)
Weight scale
Blood pressure
Name cards
with barcode
Thermo
meter
Low cost vs. Accuracy

## Slide 18: Accuracy of the sensors: Concept of Triage to convince the patient
Safe
Risky
 | Green | Yellow | Orange | Red
Blood Pressure (mmHg) | <140 mmHg | 140≦ <160 mmHg | 160≦ <180 | 180≦
 | <90 mmHg | 90≦ <100 mmHg | 100≦ <110 | 110≦
Blood Sugar | <100mg/dl | 100≦ <126mg/dl | 126≦ < 200mg/dl | ≧200mg/dl
Postprandial Blood Sugar | <140mg/dl | 140≦ <200mg/dl | 200≦ < 300mg/dl | ≧300mg/dl
Urine test |  |  |  | 
… |  |  |  | 
SpO2 | ≧96% | 93≦ <96% | 90≦ <93% | <90%

## Slide 20: PHR collection for preventive healthcare
Doctors in Urban Area
Internet
Patients in Village
2. Health
checkup
1. Registration
Health Care Guideline
Triage
Triage
3. Tele
Consultancy
4. Prescription & Suggestion
Doctors’ Advantages:
-Saves (>70%) doctor-time Can see more patients
-Immediate access to health records Better clinical decision
Patients’ Advantages:
-Access to quality healthcare from home
-Saves travel time and cost

## Slide 21: Portable Clinic in KU-Grameen
Internet
Doctors @Hospital
Patient @Home
Lady Health
Worker
FHR
Energy and communication problem
Similar to disconnected (due to natural disasters) areas?

## Slide 22: Nomadic and Portable
Internet
Doctors @Hospital
GramHealth
Village-3
Village-2
Village-1

## Slide 23
1. Registration
2. Health
checkup
Triage
3. Tele
Consultancy
4. Prescription & Suggestion
Triage
Health care Guideline
GramHealth DB
Vital Data
Clinical Data
Conversation Data
Prescription Data
BigData in GramHealth
15,000 records by March, 2013
Collaborator: N. Nakashima, Kyushu University

## Slide 24: Data Variability and Trends
  4. What’s next? Healthcare BigData?
PHR
Structured
Prescription
Conversation
GramHealth DBBigData
Semi-Structured
Un-Structured
Analysis of BigData will produce Trending
-Disease pattern
-Geographical distribution
-Cohort characteristics
Invaluable resource for the Data mining researchers

## Slide 25: Collaboration Opportunities
Projects
Leap frog Technology
Our Lab
Research Orgs
(Academia, Industry)
Japan
Unmet Needs
Technology Development
Joint Experiment
Developing Countries
Local Orgs
(NGO, Industries)
UnReached People
Social Problems
Prototype
Business Model
Product Development
Social Business Venture

## Slide 26
Can we keep the FHR a the patient side?
An Electronic gadget for -
-MFI (Micro Finance Institution)
-FHR (Family Health Record)
-Electronic Money Transfer
-Future options

## Slide 28: Conclusion
Technology to be developed based on the community needs
Charity aspect vs. Business aspect
Engagement with the local community
Role of academia to connect the community and industry

## Slide 29: Thank you