## Slide 1: Smart utility connectivity
Cesar Fuzeto,
IP Solution Director, Huawei cesar.fuzeto@huawei.com
ITU Workshop
“Smart Sustainable Cities in Latin America ”
(Sao Paulo, Brazil, 30 July 2013)

## Slide 2: Challenges
GOVERNMENTS & REGULATORY
NEAR-SHORT-TERM
RENEWABLES &
INNOVATION
SUSTAINABLE
BUSINESS
ENVIRONMENT

## Slide 3: SUSTAINABLE BUSINESS ENVIRONMENT
NEAR-SHORT
-TERM
SUSTAINABLE
BUSINESS
ENVIRONMENT
SMART METERING
M2M
TSO & DSO DRIVEN EVOLUTION
MICROGRID
NEW BUSINESS MODELS
MORE DISTRIBUTED RENEWABLE
ENERGY
INTERNET DRIVEN (RE)EVOLUTION
ENHANCED SERVICES AND
APPLICATIONS
OPTIMIZING NEW POWER INVESTMENTS

## Slide 4: Next 5-10 Years
Islanding/micro grids
Grid synchronization/
synchrophasors
Demand and Response
2013
2017
2014
2015
2016
Meter Evolution from Electricity-Water-Gas-Heating
M2M
Interconnecting Wind-Farms
Source: Funkschau

## Slide 5: AMI Requirements are not aligned
Data Collection
Unit (DCU)
BPL…….n
Substation 1..n
RTU
meter
RS485/FE/GE/DI/USB
Fiber
GE
ZigBee
DLMS
DLMS
2G/3G, LTE/CDMA 450
Etc.
Cellular
MDMS(Meter Data Management System)
IT Infrastructure
Authentication Server (AAA)
Firewall
Database Server
VPN Server
DLMS
MV PLC
Integrated Security Module
Metering
Consumer
Network Management
Head-end-System
Home Gateway
Electricity
Gas
Water
In-house home
Display
Microwave
Date Collection Platform
PLC
Cloud
meter

## Slide 6: Technology Innovation for Smart Grid
Cyber security
Developing a base for Advanced machine learning in the grid
Communication
(ubquitous connectivity
and high bandwidth)
Integration/
Plug and play
Grid components
Reliability
Availability
Efficiency

## Slide 7: Smart grid success components for consumers
Customer Benefit
Efficient
payment
Economic
Pricing
Green gird
Home
Automation
Smart
Appliances
Smart
Metering

## Slide 8: Smart Grid and it‘s Role in energy Networks
Present and Future
Challenges
Network Reliability
Renewable and Distribution Energy Generation
Increased Cost transparency
Intelligent Asset Management
Improving Utility Operations
Enhanced Customer Satisfaction

## Slide 9: Communication Networks become Multi-X capable
Multi Stakeholder
Producer
Transportation
Distribution
Consumer
Service Provider
Content Provider
Multi-Processes
Business Processes
Market & Trading
Operation
Multi-Services
Measure
Control
Voice
Video
Messaging
Machine-Type
Multi-Utility
Electricity
Gas
Oil
Water
Communication
Backbone
Access Networks
Applications
  Terminals
Cloud Infrastructure
  Advanced Infrastructure & Services Offerings Requires:
  Service Oriented IT Architecture & Cloud Infrastructure (XaaS)
  Advanced QoS handling in Communication Networks
  100% security and integrity of private data in shared medium

## Slide 10: Machine Type Communication New Challenges Require New ICT Solutions
Public | Private | Sensor Networks (Telemetering)
 |  | Ultra Low Power Consumption (battery) or remote powered nodes
 |  | Ultra-Low Traffic: Bits (instead of Gigabits) per second
 |  | Long Latency accepted: Message delivery within hours
Public | Private | Control Networks (Telecontrol)
 |  | Ultra-Reliable (100%) physically redundant communication (e.g. via public backup)
 |  | Ultra-low latency in Milliseconds (e.g. line protection)
Private Communication Infrastructure Designed to Specific Customer Requirements
Can Outperform Public Infrastructure specially for Control Networks
Sensors,
Meters,
RTU, IED
Central Systems
Designed to requirements
Operator SLA required
Regulation Barriers
Private
(Utility Band, PLC, Fiber, ...)
Public
(Mobile, DSL)

## Slide 11
Comparison of Downlink Communication
No. | Spec. Name | PLC（S-FSK） | PLC（OFDM） (G3 & PRIME) | RF/ZigBee | RS-485
1 | Applied Scene | High density | All | Disperse, but not too far | Centralized
2 | Transmission rate | 2.4kbps | 33.4kbps(G3) 128.6kbps(PRIME) | 9.6～250Kbps | 1200-9600bps, theoretically up to 10Mbps
3 | Transmission distance | 500m | 8km（MV） 220m（LV）* | 200m ~ 600m, open field up to 1000m | ≤1200m
4 | Success rate of one collection | About 70-85% | 95% | ≥85% | 100%
5 | Success rate of cycle collection | ≥95%(period of 1 day) | 99%(period of 1 day) | ≥95%(period of 1 day) | 100%(period of 1 day)
6 | Cost | Low | Medium | Medium | High
Notes: 1、对于OFDM的传输距离，未找到可靠的测试报告，G3的宣传口径一直是10km，但是是在中压线路的测试，低压线路目前能找到的是一份SAGEM的报告，测试距离为220m

## Slide 12
Comparison of Uplink Communication
Technology | xPON | Public Network 2G/3G
Advantage | High capacity Far transmission distance Low latency Strong privacy | No network deployment and maintenance Good coverage Mature industry chain
Disadvantage | Difficult or unable deployment Long deployment cycle High one-time investment | Resource sharing with public Poor privacy Low reliability and security Low bandwidth Incapable for Service Development Subject to 2G/3G telecom operator
Notes: MV PLC的优势查清楚

## Slide 13
SMART
SMART
SMART
SMART
SMART
SMART
SMART
SMART
SMART
GRID
City
WATER

## Slide 14: SMART WATER
The Telco Opportunity in Enabling the Smart Utilities including: Connectivity, Technology Platform and Consumer Service, Roberto Gavazzi, Telecom Italia ITU Workshop on “ICT as an Enabler for Smart Water Management” Luxor, Egypt, 14-15 April 2013

## Slide 15: SMART……..
The Telco Opportunity in Enabling the Smart Utilities including: Connectivity, Technology Platform and Consumer Service, Roberto Gavazzi, Telecom Italia ITU Workshop on “ICT as an Enabler for Smart Water Management” Luxor, Egypt, 14-15 April 2013

## Slide 16: Energy efficiency needs to be sure about the benefits
ICT deployment in support of smart grids forces to reconsider energy-awareness of ICT devices, especially where large numbers of devices are involved (access network, inside home, AMI) .
an increased smartness on the part of the electrical grid allows greater flexibility in the energy aware resource allocation for the ICT sector; for example, in:
  the choice of ”green” data centres (e.g., those utilizing renewable power sources;
  o the introduction of faster dynamics in the energy price range (e.g., energy-price-aware (routing).

## Slide 17: Thank you very much for your attention and think about the future …..
Image: Sara Heppner-Waldston
World Café @ ITU Seventh ITU Symposium on ICTs, the Environment and Climate Change
29 May 2012, Montreal, Canada