## Cover
FGAI4H-G-038-A01
New Delhi, 13-15 November 2019
Source: | WG DAISAM chairs
Title: | Mapping of IMDRF essential principles to AI for health software - Attachment 1 - Spreadsheets for cluster creation
Abstract: | This spreadsheet contains four worksheets that document how clusters were created for the main contribution.

## key concepts
Chronology | Keyword | Section
5 | Acceptable risks | 5.1.1
109 | Accuracy | 5.8.1
197 | Accuracy | 5.12.2
245 | Accuracy of measurements (trueness and precision) | 7.2.1
40 | Alarms | 5.1.3
44 | Alarms | 5.1.3
235 | Analytical performance | 7.2.1
247 | Analytical sensitivity/Limit of detection | 7.2.1
249 | Analytical specificity | 7.2.1
301 | Appropriate representation | 7.2.4
77 | Benefit-risk determination | 5.2.1
275 | Calibrators | 7.2.2
136 | Change management process | 5.8.2
75 | Clinical evaluation | 5.2.1
83 | Clinical experience | 5.2.1
79 | Clinical investigation report | 5.2.1
237 | Clinical performance | 7.2.1
255 | Clinical performance | 7.2.1
145 | Connectivity | 5.8.3
57 | Consider user knowledge | 5.1.5
15 | Continuous, iterative risk management | 5.1.2
27 | Continuous, iterative risk management | 5.1.2
28 | Continuous, iterative risk management | 5.1.2
143 | Contrast ratio of the screen | 5.8.3
277 | Control materials | 7.2.2
271 | Control procedures | 7.2.1
161 | Cybersecurity | 5.8.5
88 | Declaration of Helsinki | 5.2.2
257 | Diagnostic/clinical sensitivity | 7.2.1
259 | Diagnostic/clinical specificity | 7.2.1
171 | Easily understood | 5.10.1
186 | Easy to apply | 5.12.1
184 | Easy to understand | 5.12.1
86 | Ehtical prinicples | 5.2.2
103 | Electronic programmable systems | 5.8.1
303 | Ethnicity | 7.2.4
63 | Expected life of device | 5.1.6
267 | Expected values in normal and affected populations. | 7.2.1
149 | External factors related to their use (varying environment as regards level of light or noise) | 5.8.3
228 | Failure | 5.12.3
24 | Foreseeable misuse | 5.1.2
305 | Gender | 7.2.4
307 | Genetic diversity | 7.2.4
210 | Handling | 5.12.2
153 | Hardware | 5.8.4
7 | Health | 5.1.1
21 | Identify and analyze hazards | 5.1.2
165 | Information [Manual] | 5.10.1
130 | Information security (e.g., safely implement updates) | 5.8.2
98 | Informed consent | 5.2.2
182 | Instructions | 5.12.1
199 | Instructions | 5.12.2
54 | Intended usage environment | 5.1.5
23 | Intended use | 5.1.2
62 | Intended use | 5.1.6
178 | Intended use | 5.12.1
222 | Intended use | 5.12.3
273 | Intended use | 7.2.1
293 | Intended use | 7.2.4
297 | Intended use environment | 7.2.4
295 | Intended user | 7.2.4
2 | Intendeded conditions of use | 5.1.1
212 | Interpretation of results | 5.12.2
155 | IT networks characteristics | 5.8.4
157 | IT security measures | 5.8.4
174 | Lay user | 5.12.1
188 | Lay user | 5.12.2
214 | Lay users | 5.12.3
100 | Leftover specimen | 5.2.2
265 | Likelihood ratios | 7.2.1
17 | MD life cycle | 5.1.2
251 | Measuring interval/range | 7.2.1
147 | Memory | 5.8.3
151 | Minimum requirements | 5.8.4
139 | Mobile computing platforms | 5.8.3
192 | Near-patient testing | 5.12.2
218 | Near-patient testing | 5.12.3
263 | Negative predictive value | 7.2.1
285 | Numerical values | 7.2.3
6 | Patient benefits | 5.1.1
4 | Perform as intended | 5.1.1
1 | Performance | 5.1.1
14 | Performance | 5.1.2
117 | Performance | 5.8.1
169 | Performance | 5.10.1
224 | Performance | 5.12.3
233 | Performance characteristics | 7.2.1
291 | Performance evaluation | 7.2.4
261 | Positive predictive value | 7.2.1
96 | Pre-study protocol review | 5.2.2
113 | Precision | 5.8.1
311 | Prevalence rates | 7.2.4
126 | Principles of development life cycle (e.g., rapid development cycles, frequent changes, the cumulative effect of changes) | 5.8.2
159 | Protection against unauthorized access | 5.8.4
163 | Protection against unauthorized access | 5.8.5
81 | Published scientific literature | 5.2.1
11 | Quality | 5.1.2
283 | Reference materials of higher order | 7.2.2
281 | Reference measurement procedures | 7.2.2
299 | Relevant population | 7.2.4
111 | Reliability | 5.8.1
309 | Representative population | 7.2.4
48 | Residual risk information for user | 5.1.4
90 | Rights | 5.2.2
22 | Risk | 5.1.2
70 | Risk | 5.1.9
26 | Risk control | 5.1.2
38 | Risk control | 5.1.3
32 | Risk control measures | 5.1.3
25 | Risk elimination | 5.1.2
128 | Risk management (e.g., changes to system, environment, and data) | 5.8.2
20 | Risk management plan | 5.1.2
9 | Risk management system | 5.1.2
208 | Risk of error | 5.12.2
50 | Risk reduction | 5.1.5
52 | Risk reduction | 5.1.5
121 | Risk reduction | 5.8.1
201 | Risk reduction | 5.12.2
206 | Risk reduction | 5.12.2
42 | Risks that cannot be eliminated | 5.1.3
39 | Safe design | 5.1.3
3 | Safety | 5.1.1
12 | Safety | 5.1.2
92 | Safety | 5.2.2
115 | Safety | 5.8.1
167 | Safety | 5.10.1
195 | Safety | 5.12.2
34 | Safety principles compliance | 5.1.3
176 | Self-testing | 5.12.1
190 | Self-testing | 5.12.2
216 | Self-testing | 5.12.3
67 | Shelf life | 5.1.8
72 | Side-effects | 5.1.9
119 | Single fault conditions | 5.8.1
141 | Size | 5.8.3
105 | Software | 5.8.1
107 | Software as a medical device | 5.8.1
253 | Specimen stability | 7.2.1
65 | Stability | 5.1.8
287 | Standardized units | 7.2.3
36 | State of the art | 5.1.3
124 | State of the art | 5.8.2
241 | State of the art | 7.2.1
60 | Stress resistance | 5.1.6
243 | Traceability of calibrators and controls | 7.2.1
279 | Traceability of values | 7.2.2
203 | Training | 5.12.2
30 | Update control measures | 5.1.2
18 | Updating | 5.1.2
180 | Usage variations (user technique, usage environment) | 5.12.1
46 | User training | 5.1.3
289 | User understanding | 7.2.3
230 | Valid result | 5.12.3
134 | Validation | 5.8.2
239 | Validation | 7.2.1
269 | Validation | 7.2.1
132 | Verification | 5.8.2
220 | Verification | 5.12.3
226 | Warning | 5.12.3
94 | Well-being | 5.2.2

## ep key concepts with clusters
Chronology | Keyword | Section | Cluster 1 | Cluster 2 | Cluster 3
1 | Performance | 5.1.1 | Analytical performance | Clinical performance
2 | Intendeded conditions of use | 5.1.1 | Intended use
3 | Safety | 5.1.1 | Safety
4 | Perform as intended | 5.1.1 | Intended use | Safety
5 | Acceptable risks | 5.1.1 | Risk and Alarms
6 | Patient benefits | 5.1.1 | Benefit-risk | Clinical performance
7 | Health | 5.1.1 | Clinical performance
9 | Risk management system | 5.1.2 | Risk and Alarms
11 | Quality | 5.1.2 | Analytical performance | Clinical performance
12 | Safety | 5.1.2 | Safety
14 | Performance | 5.1.2 | Analytical performance | Clinical performance
15 | Continuous, iterative risk management | 5.1.2 | Risk and Alarms
17 | MD life cycle | 5.1.2 | Life cycle
18 | Updating | 5.1.2 | Control | Safety
20 | Risk management plan | 5.1.2 | Risk and Alarms
21 | Identify and analyze hazards | 5.1.2 | Risk and Alarms | Safety
22 | Risk | 5.1.2 | Risk and Alarms
23 | Intended use | 5.1.2 | Intended use
24 | Foreseeable misuse | 5.1.2 | Safety | Risk and Alarms
25 | Risk elimination | 5.1.2 | Risk and Alarms
26 | Risk control | 5.1.2 | Risk and Alarms
27 | Continuous, iterative risk management | 5.1.2 | Risk and Alarms
28 | Continuous, iterative risk management | 5.1.2 | Risk and Alarms
30 | Update control measures | 5.1.2 | Control | Safety
32 | Risk control measures | 5.1.3 | Risk and Alarms
34 | Safety principles compliance | 5.1.3 | Safety
36 | State of the art | 5.1.3
38 | Risk control | 5.1.3 | Risk and Alarms
39 | Safe design | 5.1.3 | Safety
40 | Alarms | 5.1.3 | Risk and Alarms | Safety
42 | Risks that cannot be eliminated | 5.1.3 | Risk and Alarms | Documentation
44 | Alarms | 5.1.3 | Risk and Alarms
46 | User training | 5.1.3 | Documentation | Intended user
48 | Residual risk information for user | 5.1.4 | Documentation | Intended use
50 | Risk reduction | 5.1.5 | Risk and Alarms
52 | Risk reduction | 5.1.5 | Risk and Alarms
54 | Intended usage environment | 5.1.5 | Intended use | Documentation
57 | Consider user knowledge | 5.1.5 | Intended user
60 | Stress resistance | 5.1.6 | Safety | External factors
62 | Intended use | 5.1.6 | Intended use
63 | Expected life of device | 5.1.6 | Documentation | Safety
65 | Stability | 5.1.8 | Life cycle | Change management | Data quality
67 | Shelf life | 5.1.8 | Life cycle
70 | Risk | 5.1.9 | Risk and Alarms
72 | Side-effects | 5.1.9 | Risk and Alarms
75 | Clinical evaluation | 5.2.1 | Clinical performance
77 | Benefit-risk determination | 5.2.1 | Benefit-risk
79 | Clinical investigation report | 5.2.1 | Clinical performance
81 | Published scientific literature | 5.2.1 | Clinical performance
83 | Clinical experience | 5.2.1 | Clinical performance
86 | Ehtical prinicples | 5.2.2 | Ethical compliance
88 | Declaration of Helsinki | 5.2.2 | Ethical compliance
90 | Rights | 5.2.2 | Ethical compliance
92 | Safety | 5.2.2 | Safety
94 | Well-being | 5.2.2 | Benefit-risk | Clinical performance
96 | Pre-study protocol review | 5.2.2 | Ethical compliance
98 | Informed consent | 5.2.2 | Ethical compliance
100 | Leftover specimen | 5.2.2 | Ethical compliance
103 | Electronic programmable systems | 5.8.1 | Software
105 | Software | 5.8.1
107 | Software as a medical device | 5.8.1
109 | Accuracy | 5.8.1 | Analytical performance | Safety
111 | Reliability | 5.8.1 | Analytical performance | Technical interfaces
113 | Precision | 5.8.1 | Safety | Analytical performance
115 | Safety | 5.8.1 | Safety
117 | Performance | 5.8.1 | Analytical performance | Intended use
119 | Single fault conditions | 5.8.1 | Risk and Alarms
121 | Risk reduction | 5.8.1 | Risk and Alarms
124 | State of the art | 5.8.2
126 | Principles of development life cycle (e.g., rapid development cycles, frequent changes, the cumulative effect of changes) | 5.8.2 | Life cycle | Safety
128 | Risk management (e.g., changes to system, environment, and data) | 5.8.2 | Risk and Alarms
130 | Information security (e.g., safely implement updates) | 5.8.2 | Technical interfaces
132 | Verification | 5.8.2 | Analytical performance | Control
134 | Validation | 5.8.2 | Analytical performance | Control
136 | Change management process | 5.8.2 | Change management
139 | Mobile computing platforms | 5.8.3 | Technical interfaces
141 | Size | 5.8.3 | Technical interfaces
143 | Contrast ratio of the screen | 5.8.3 | Technical interfaces
145 | Connectivity | 5.8.3 | Technical interfaces
147 | Memory | 5.8.3 | Technical interfaces
149 | External factors related to their use (varying environment as regards level of light or noise) | 5.8.3 | External factors
151 | Minimum requirements | 5.8.4 | Technical interfaces
153 | Hardware | 5.8.4 | Technical interfaces
155 | IT networks characteristics | 5.8.4 | Technical interfaces
157 | IT security measures | 5.8.4 | Technical interfaces
159 | Protection against unauthorized access | 5.8.4 | Safety | Technical interfaces
161 | Cybersecurity | 5.8.5 | Technical interfaces | Safety | Documentation
163 | Protection against unauthorized access | 5.8.5 | Safety | Technical interfaces
165 | Information [Manual] | 5.10.1 | Documentation | Intended use
167 | Safety | 5.10.1 | Safety
169 | Performance | 5.10.1 | Documentation | Intended user
171 | Easily understood | 5.10.1 | Explainability | Intended user | Intended use
174 | Lay user | 5.12.1 | Intended user
176 | Self-testing | 5.12.1 | Intended use | Intended user
178 | Intended use | 5.12.1 | Intended use
180 | Usage variations (user technique, usage environment) | 5.12.1 | Intended use | Intended user
182 | Instructions | 5.12.1 | Documentation | Intended use
184 | Easy to understand | 5.12.1 | Explainability | Intended user
186 | Easy to apply | 5.12.1 | Intended user | Documentation
188 | Lay user | 5.12.2 | Intended user
190 | Self-testing | 5.12.2 | Intended use | Intended user
192 | Near-patient testing | 5.12.2 | Safety | Intended user | Intended use
195 | Safety | 5.12.2 | Safety
197 | Accuracy | 5.12.2 | Analytical performance
199 | Instructions | 5.12.2 | Documentation | Intended use
201 | Risk reduction | 5.12.2 | Risk and Alarms
203 | Training | 5.12.2 | Documentation | Intended user
206 | Risk reduction | 5.12.2 | Risk and Alarms
208 | Risk of error | 5.12.2 | Risk and Alarms
210 | Handling | 5.12.2 | Documentation | Intended use
212 | Interpretation of results | 5.12.2 | Interpretability | Intended user
214 | Lay users | 5.12.3 | Intended user
216 | Self-testing | 5.12.3 | Intended use | Intended user
218 | Near-patient testing | 5.12.3 | Safety | Intended user
220 | Verification | 5.12.3 | Analytical performance | Control
222 | Intended use | 5.12.3 | Intended use
224 | Performance | 5.12.3 | Safety | Intended user
226 | Warning | 5.12.3 | Risk and Alarms | Safety
228 | Failure | 5.12.3 | Safety | Risk and Alarms
230 | Valid result | 5.12.3
233 | Performance characteristics | 7.2.1 | Analytical performance | Clinical performance
235 | Analytical performance | 7.2.1 | Analytical performance
237 | Clinical performance | 7.2.1 | Clinical performance
239 | Validation | 7.2.1 | Analytical performance | Control
241 | State of the art | 7.2.1
243 | Traceability of calibrators and controls | 7.2.1 | Analytical performance
245 | Accuracy of measurements (trueness and precision) | 7.2.1 | Analytical performance | Measurements
247 | Analytical sensitivity/Limit of detection | 7.2.1 | Analytical performance
249 | Analytical specificity | 7.2.1 | Analytical performance
251 | Measuring interval/range | 7.2.1 | Analytical performance
253 | Specimen stability | 7.2.1 | Analytical performance
255 | Clinical performance | 7.2.1 | Clinical performance
257 | Diagnostic/clinical sensitivity | 7.2.1 | Clinical performance
259 | Diagnostic/clinical specificity | 7.2.1 | Clinical performance
261 | Positive predictive value | 7.2.1 | Clinical performance
263 | Negative predictive value | 7.2.1 | Clinical performance
265 | Likelihood ratios | 7.2.1 | Clinical performance
267 | Expected values in normal and affected populations. | 7.2.1 | Clinical performance
269 | Validation | 7.2.1 | Analytical performance | Control
271 | Control procedures | 7.2.1 | Safety | Control
273 | Intended use | 7.2.1 | Intended use
275 | Calibrators | 7.2.2 | Measurements | Analytical performance
277 | Control materials | 7.2.2 | Measurements | Analytical performance
279 | Traceability of values | 7.2.2 | Measurements | Data quality
281 | Reference measurement procedures | 7.2.2 | Measurements | Data quality
283 | Reference materials of higher order | 7.2.2 | Measurements | Data quality
285 | Numerical values | 7.2.3 | Interpretability
287 | Standardized units | 7.2.3 | Measurements | Data quality |  | Change management
289 | User understanding | 7.2.3 | Documentation | Intended user |  | Change management
291 | Performance evaluation | 7.2.4 | Intended user | Intended use
293 | Intended use | 7.2.4 | Intended use
295 | Intended user | 7.2.4 | Intended user |  |  | Explainability
297 | Intended use environment | 7.2.4 | Intended use
299 | Relevant population | 7.2.4 | Clinical performance | Data quality
301 | Appropriate representation | 7.2.4 | Intended use | Data quality
303 | Ethnicity | 7.2.4 | Data quality | Clinical performance
305 | Gender | 7.2.4 | Clinical performance
307 | Genetic diversity | 7.2.4 | Clinical performance
309 | Representative population | 7.2.4 | Clinical performance | Data quality
311 | Prevalence rates | 7.2.4 | Clinical performance | Data quality

## ai4h concepts with clusters
Super-cluster name | Cluster-name | AI4H concept name | Super-cluster ID | Cluster ID | AI4H concept ID
Performance | Analytical performance | Two-class classification metrics | A | a | 1
Performance | Analytical performance | Mutli-class classification metrics | A | a | 2
Performance | Analytical performance | Regression metrics | A | a | 3
Life Cycle | Change management | Evolution of the AI algorithm | D | a | 1
Risk and Control | Control | Cross-validation | B | a | 1
Risk and Control | Control | Statistical tests | B | a | 2
Risk and Control | Control | Information criteria | B | a | 3
Risk and Control | Control | Robustness validation | B | a | 4
Risk and Control | Control | Out of sample testing | B | a | 5
Risk and Control | Control | Attribution methods | B | a | 6
Risk and Control | Data quality | Data diversity | B | b | 1
Risk and Control | Data quality | Preprocessing | B | b | 2
Risk and Control | Data quality | Normalization | B | b | 3
Risk and Control | Data quality | Expert labels | B | b | 4
Risk and Control | Data quality | Data collection procedure | B | b | 5
Usability and Documentation | Documentation | Datasheets for data sets | C | a | 1
Usability and Documentation | Documentation | Modelcards for ML models | C | a | 2
Ethical Compliance | Ethical Compliance | FAT optimization objectives (“FAT training”) | F | a | 1
Ethical Compliance | Ethical Compliance | FAT validation | F | a | 2
Ethical Compliance | Ethical Compliance | Data acceptance and handling | F | a | 3
Ethical Compliance | Ethical Compliance | Patient consent | F | a | 4
Usability and Documentation | Explainability | see B) Risk and Control a) Control 6) Attribution methods (“Explainable AI (XAI)”) | C | b | 1
Usability and Documentation | Explainability | Counterfactual explanations | C | b | 2
Usability and Documentation | Intended use | Specification for inputs | C | c | 1
Usability and Documentation | Intended use | see C) Usability and Documentation a) Documentation 1) Datasheets for data sets | C | c | 2
Usability and Documentation | Intended use | see C) Usability and Documentation a) Documentation 2) Modelcards for ML models | C | c | 3
Usability and Documentation | Interpretability | see B) Risk and Control a) Control 6) Attribution methods (“Explainable AI (XAI)”) | C | e | 1
Life Cycle | Life Cycle | AI software life cycle | D | b | 1
Performance | Measurements | see B) Risk and Control b) Data quality | A | d | 1
Risk and Control | Risk and Alarms | Uncertainty quantification | B | c | 1
Risk and Control | Risk and Alarms | Outlier detection | B | c | 2
Risk and Control | Safety | Robust training | B | d | 1
Dependencies | Technical Interfaces | Compression of AI4H models | E | b | 1
Dependencies | Technical Interfaces | Response time | E | b | 2
Dependencies | Technical Interfaces | Memory | E | b | 3
Dependencies | Technical Interfaces | Compute | E | b | 4
Dependencies | Technical Interfaces | Networking | E | b | 5
Dependencies | Technical Interfaces | Operating system | E | b | 6
Dependencies | Technical Interfaces | Displays | E | b | 7
Dependencies | Technical Interfaces | Sensors for input data | E | b | 8

## clusters with super-clusters
Clusters | Super-clusters | My order
Analytical performance | Performance | 1
Benefit-risk | Performance | 1
Clinical performance | Performance | 1
Measurements | Performance | 1
Control | Risk and control | 2
Data quality | Risk and control | 2
Risk and Alarms | Risk and control | 2
Safety | Risk and control | 2
Documentation | Usability and documentation | 3
Explainability | Usability and documentation | 3
Intended use | Usability and documentation | 3
Intended user | Usability and documentation | 3
Interpretability | Usability and documentation | 3
Change management | Life cycle | 4
Life cycle | Life cycle | 4
External factors | Dependencies | 5
Technical interfaces | Dependencies | 5
Ethical compliance | Ethical compliance | 6
Software