## Slide 1
FGAI4H-M-009-A03
E-meeting, 28-30 September 2021
Source: | TG-DiagnosticCT Topic Driver | 
Title: | Att.3 – Presentation (TG-DiagnosticCT) | 
Purpose: | Discussion | 
Contact: | Ji Qi | E-mail: qji@infervision.com
Abstract: | This PPT contains the introduction of Infervision company, the introduction of Infervision CT Lung software, and the application of AFROC metric . | 

## Slide 2
InferRead™️ Lung CT.AI
INFERVISION PRODUCTS
Augments radiologists with automated detection of pulmonary nodules in Chest CT for lung cancer screening or incidental nodule findings.

## Slide 3
InferRead™️ Lung CT.AI Key Features
INFERVISION PRODUCTS
Provides follow-up recommendations and guidelines
Auto Report Generation based on the identified nodules
Automatically prints results to a PDF document
Comparison of current and prior scans for lesion monitoring
Findings List
Intelligent Follow-up Guidelines
Longitudinal Comparison
Diagnostic Report Generation
Automatic nodule Detection, Type (Solid, Semi Solid, GGN), Size
Location, Slice Number, Diameter, Volume, Malignancy
Density Analysis
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 4
InferRead™️ Enhances Accurate Interpretation
Automatic detection of actionable nodule(s)
Measurements including diameters, volume, and density
AI  IA: Intelligent Augmentation
Reduction of Turnaround Time
Fewer Missed Nodules
InferRead™️ Value Proposition
InferRead Lung CT.AI Values
INFERVISION PRODUCTS
InferRead™️ Clinical Benefits
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 5
The Application of Alternative Free-Response Receiver Operating Characteristic (AFROC) Metric

## Slide 6
Assessment Methodologies for CAD
Diagnostic accuracy: Agreement between diagnoses and “truth”
The application of AFROC Metric
Is ROC analysis necessary?
the limitations of other available methods for evaluating diagnostic accuracy
A pair of indices: “Sensitivity” and “Specificity”
Sensitivity: Probability of calling an actually-positive case “Positive”
Specificity: Probability of calling an actually-negative case “Negative”
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 7
Features
Sensitivity (TPF) averaged over all Specificities (or FPFs) — i.e., average ROC curve height
Specificity averaged over all Sensitivities
Probability of distinguishing correctly between a randomly selected actually-positive case and a randomly selected actually-negative case
Interpretations of ROC area
The application of AFROC Metric
However:
this global index can be misleading when curves cross and/or there is only one region of interest
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 8
Generalized ROC analysis
The application of AFROC Metric
AFROC
FROC
ROC
LROC
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 9
Advantages of AFROC
The application of AFROC Metric
AFROC analysis allows for marking of more than one location on an image.
It makes up for the limitation that ROC/LROC cannot count multiple lesions accurately.
ROC does not distinguish statistical differences for incorrect location (FP)
Significant clinical implications which may impact on treatment cannot be accounted for in ROC’ scenario.
AFROC plotting uses a mixture of conventional ROC methodology and free response ROC (FROC) calculations.
It improves the shortcomings of the non-fixed X-axis of the FROC curve.
In MRMC studies the use of the AFROC method is ideal when the amount of abnormalities and locations are required to be identified, and ranked each against values according to the confidence levels.
Notes: Diagnostic error is not any simple medical accident – it can lead to life and death decision that will impact a patient for life.

## Slide 10
ARTIFICIAL INTELLIGENCE IN MEDICAL IMAGING
Our mission is to improve human life with AI.

## Slide 11
COMPANY INTRODUCTION
Infervision Medical Technology Group
Infervision Medical Technology is a global company that was found in 2015 by the Co-founder & CEO Kuan Chen, while a Ph.D. candidate at the University of Chicago. With the passion and expertise in AI technology, Infervision Medical Technology developed cutting-edge AI systems targeting disease detections

## Slide 12
Infervision Medical Technology
8
Global
Offices
300+
Employees (50% Developers)
8
Global
Offices
20+
Countries Served
170+
Patents
150+
Peer reviewed Papers/ Abstracts
28M+
Total Cases Analyzed
Barcelona
Shanghai
Frankfurt
Beijing
Zurich
Tokyo
Philadelphia
Tampa

## Slide 13
INFERVISION IN THE INDUSTRY
Highlights of Infervision

## Slide 14: Infervision AI Solution Suite
InferRead CT Stroke (FDA)
InferRead DR Chest
InferRead DR Bone Age
InferScholar (Not medical device)
InferRead DR Tuberculosis (CE, WHO GDF Catalog)
InferRead CT Bone
InferRead CT Lung (CE, NMPA, FDA, PMDA)
InferRead Mammo
InferRead CT Pneumonia (PMDA, NMPA, CE)
InferCloud (Not medical device)

## Slide 15
Thank You