## Slide 1
FGAI4H-P-056
Helsinki, 20-22 September 2022
Source: | Editor | 
Title: | DEL5.3: Data annotation specification - Presentation | 
Purpose: | Discussion | 
Contact: | Shan Xu, CAICT, China | E-mail: xushan@caict.ac.cn
 | Sebastian Bosse, Fraunhofer HHI, Germany | Email: sebastian.bosse@hhi.fraunhofer.de
 | Jianrong Wu Tencent Healthcare, China | Email: edwinjrwu@tencent.com
Abstract: | This PPT contains a presentation of DEL5.3 presented at Meeting P of the FG-AI4H (Helsinki), 20-22 September 2022. | 

## Slide 2: Contributors
Harpreet Singh ICMR, India | Email: hsingh@bmi.icmr.org.in
Yanwu Xu Intelligent Healthcare Unit, Baidu, China | Email: xuyanwu@baidu.com
Huihui Fang Artificial Intelligence Innovation Business, Baidu, China | Email: fanghuihui@baidu.com
Nathan Guo ShuKun Techonology, China | Email: guoning@shukun.net
Yajun Zhang Tencent Technology (Shenzhen), China | Email: yajunzhang@tencent.com
Chunyang Niu Zhejiang Lab, China | Email: niucy@zhejianglab.com
Guoqiang Li Zhejiang Lab, China | Email: gli@zhejianglab.com

## Slide 3: Abstract
Data annotation, as a critical component of the data quality control on Artificial Intelligence for health, could be one of the most important determinants on model performance.
This deliverable is to give a framework of data annotation specification, including terms and definitions, framework, standard operating procedure, scenarios description and corresponding consistency criteria, as well as recommended metadata, etc. for different stakeholders to develop and implement AI-based tools in advancing healthcare.
A questionnaire is attached to gather input from different topic groups in FG-AI4H regarding data annotation.

## Slide 4: Content

## Slide 5: What is Data annotation
Perform operations such as categorizing, sorting, editing, marking, and annotating on the data to be labelled such as images, and add tags to the data to generate machine-readable data codes that meet the requirements of Artificial intelligence/machine learning training.

## Slide 6: WHY data annotation is important
“Garbage in, Garbage out”
  Data format
  System interoperability
  Complex real world data
  machine-readable data codes
* IBM has estimated that poor data quality costs U.S. businesses $3 trillion per year

## Slide 7: How data annotation works
Input
Output
Dataset
Annotation Metadata
Data Annotation
Standard Operating Procedure (SOP)
Annotators
Tools
Validation dataset
Training dataset
Supervised Machine Learning
Training Process
Testing & Evaluation
Test dataset

## Slide 8: Complexity of Data annotation
Data modalities
Result inconsistency
Task diversity
Standard operation process

## Slide 9: Common medical measurement
 | Dimensionality | Description | Anatomies
X-ray | 2D, 2D+t | Produces images by measuring the attenuation of X-ray through the body, via a detector array | Most organs
CT | 2D, 3D, 3D+t | Creates 2D cross-sectional images of the body by using a rotating X-ray source and detector | Most organs
Ultrasound | 2D, 2D+t, 3D, 3D+t | A transducer array emits acoustic pulses and measure he echoes from tissue scatters 1 | Most organs
MRI | 3D, 3D+t | Use a magnetic field to align protons; RF and gradient pulses are used to selectively excite protons in tissues and blood in order to measure their spatially encoded unclear magnetic resonance signals | Most organs
Nuclear | 2D, 3D, 3D+t | Measures the emission of gamma rays through decay of radioisotopes introduced into the body via external detectors/Gamma cameras. 1 | All organs with radioactive tracer uptake
Microscopy | 2D, 3D, 3D+t | Typically uses an illumination source and lenses to magnify specimens before capturing an image1 | Primarily biopsies and surgical specimens
Table 1: Summary of common medical measurement modalities

## Slide 10: Input modalities
Data | Dimensionality | Description | Examples
Image | 2D | Two-dimensional medical imaging | Fundus photos
3D images | 3D | Three-dimensional spatial imaging | Sets of CT slices
4D | 4D（3D+t） | 3D space imaging changes over time | Heart film imaging
Video | 2D +t | Camera or monitor recording | Falls among the elderly
Audio/ signal | 1D +t | Sound or transmitted in signal form. | Heart sound /ECG
Text | 1D, 2D | Structured/ unstructured description in words | Case history, diagnosis extraction
Single number | 1D | Single measurement data | Blood pressure or respiratory rate
Table 2: Summary of input data modalities for AI4H tasks

## Slide 11: Complexity of Data annotation
Data modalities
Result inconsistency
Task diversity
Standard operation process

## Slide 12: Output requirements
Task | Description | Examples
Classification | The problem of classifying instances into two or more classes. | Identify abnormal tissue Diabetic retinopathy grade
Detection | Identify an object, usually marked with rectangle for further processing. | Detect the position of a coronary plaque for further processing
Segmentation | separate certain lesions, and draw the specific outline of the lesion | Tumour segmentation
Localization | Calculate the central coordinate of the anatomical structure | Localize the optic disc or macular fovea for further analysis of ocular fundus diseases
Table 3: Output requirements

## Slide 13: Complexity of Data annotation
Data modalities
Result inconsistency
Standard operation process
Task diversity

## Slide 14: Criteria calculation
Table 6: Criteria calculation for Image detection and segmentation
Criteria | Calculation method | Graphical representation
Jaccard index | Numerator represents the area of overlap between two annotations; Denominator represents the area encompassed by two annotations. Dividing the area of overlap by the area of union yields our final score. | J=D/(2-D)，D=2J/(1+J)
Dice's coefficient | Numerator represents the double area of overlap between two annotations; Denominator represents the sum of two annotation area. Dividing the area of overlap by the sum area yields our final score. | 
Criteria | Calculation method | Graphical representation
Jaccard index |  | J=D/(2-D)，D=2J/(1+J)
Dice's coefficient |  | 

## Slide 15
Criteria | Situation | Calculation method | Parameter explanation
Cohen's kappa | Assessing the agreement between not more than two raters or the interrater reliability for one appraiser versus themselves. | If the raters are in complete agreement then kappa =1; If there is no agreement among the raters other than what would be expected by chance kappa =0. It is possible for the statistic to be negative which implies that there is no effective agreement between the two raters or the agreement is worse than random. | where is the relative observed agreement among raters (identical to accuracy), and is the hypothetical probability of chance agreement, using the observed data to calculate the probabilities of each observer randomly seeing each category
Weighted kappa | Allows disagreements to be weighted differently, and is especially useful when codes are ordered. |  | where k is the number of codes and , , and are elements in the weight, observed, and expected matrices, respectively. The weights in the diagonal cells are all 1 (i.e., , for all i), and the weights in the off-diagonal cells range from 0 to <1 (i.e., , for all ).
Fleiss' kappa | Assessing the reliability of agreement between a fixed number of raters when assigning categorical ratings to a number of items or classifying items. | If the raters are in complete agreement, then Fleiss' kappa =1. If there is no agreement among the raters (other than what would be expected by chance) then Fleiss' kappa <0. | The factor gives the degree of agreement that is attainable above chance, and gives the degree of agreement actually achieved above chance.
Krippendorf’s alpha | Assessment of inter-rate reliability dealing with missing data, various sample sizes, categories and numbers of raters, and any type of measurement level. Generalization of Fleiss’ kappa (and others) |  | : Disagreement observed : Disagreement expected by chance Metric function : Number of pairable elements Number of items per unit/sample Number of pairs in unit Permutation function Number of permutations in pair
Criteria | Situation | Calculation method | Parameter explanation
Cohen's kappa | Assessing the agreement between not more than two raters or the interrater reliability for one appraiser versus themselves. |  | 
Weighted kappa | Allows disagreements to be weighted differently, and is especially useful when codes are ordered. |  | 
Fleiss' kappa | Assessing the reliability of agreement between a fixed number of raters when assigning categorical ratings to a number of items or classifying items. |  | 
Krippendorf’s alpha | Assessment of inter-rate reliability dealing with missing data, various sample sizes, categories and numbers of raters, and any type of measurement level. Generalization of Fleiss’ kappa (and others) |  | 
Table 5: Criteria calculation for classification

## Slide 16: Complexity of Data annotation
Data modalities
Result inconsistency
Standard operation process
Task diversity
To enable large-scale dataset projects on high diversity of data formats and multi-annotators.

## Slide 17: Standard operating procedure
Arbitration
Independent Annotation
Data Distribution
Annotation 1
Annotation 2
Annotation n
Annotation i
??
??
Label Fusion
Consistency in
Labeling
Put in the
training set
Annotation
n+1
Annotation
n+m
Label Fusion
Consistency in
Labeling
Put in the
training set
Put in the
training set
Yes
Expert
Reviewing
No
Annotator
-
n
Annotator
-
i
Annotator
-
2
Annotator
-
1
No
Yes
??
Put in the Annotation Metadata Set
Put in the Annotation Metadata Set
Put in the Annotation Metadata Set
yes
Discard
No
Figure 2: Data annotation procedure

## Slide 18
Table 7 Recommended metadata

## Slide 19: Output file & File saving
The output files include the annotation documents and the origin images. The formats of the annotation documents include but are not limited to xml, json, txt, etc. The annotation documents should include at least three items: image path, object name and object coordinates. Supporting document may be given if it’s necessary to interpret the annotation information.
Both the images and the documents should be named according to the same rules for easy querying. For example, they can be named with the number of the classification of the object, and the document’s name is the same with the corresponding origin images.

## Slide 20: Objectives
To assist the quality control of data annotation from standard operating procedure.
To reduce model performance problems caused by inconsistent data annotations.
To facilitate the training and education for non-professional annotators and improve common understandings.
large-scale dataset projects on high diversity of data formats and multi-annotators

## Slide 21: Next steps
Collect suggestions and feedback
Finalize the deliverables at the next meeting
Input to SG16 Q28 work item on medical image quality control
Consider profiled standardization on data annotation for different use cases or diseases (need more capacity and expertise)
Key findings to Journal papers

## Slide 22
FGAI4H
Thank you