## Slide 1
FGAI4H-R-038-A01
Cambridge, 21-24 March 2023
Source: | AITRICS (KR) | 
Title: | Att.1 – Presentation - New TG or subtopic proposal: Artificial Intelligence based Early Warning Score for patient safety | 
Contact: | Dongyeop Kim AITRICS Republic of Korea | E-mail: dykim@aitrics.com
Abstract: | This PPT contains a presentation of R-038. | 

## Slide 2
AI-based Early Warning Score
for patient safety
ITU-WHO FG-AI4H, TG proposal
Dongyeop Kim
Manager, Regulatory Affairs & Quality Assurance
noah@aitrics.com

## Slide 3
Save patient’s life and provide
innovative workflow to medical staff
Our Vision
3

## Slide 4
About us
Partnerships
Market-ready
Advanced Technology
Accepted papers
in Global Top-tier conferences
(ICLR, ICML, NeurIPS, etc.)
2021 | 15
2020 | 24
2019 | 22
Year
Number of Papers
Innovating healthcare workflow with the World Class AI/ML Expertise
4
First-approved
medical device in Korea
Partnerships with the best institutions
KAIST (Korea Advanced Institute of Science and Technology)
National Health Insurance Ilsan Hospital (KR)
National Cancer Center (KR)
Severance Hospital (KR)
Cleveland Clinic (US)
(approved by Oct 2022)
Sepsis Prediction
Major adverse event Prediction
(Cardiac Arrest, ICU transfer, Mortality)
Mortality Prediction (* only in ICU)

## Slide 5
5
Increased demand for medical services during pandemic, aging population, etc.
The large amount of time and money required to train medical staff
The issue of health worker shortage
Major factor that increasing costs for disease management
1 in 3 people who dies in a hospital had sepsis during their hospitalization
Life-threatening acute disease
“Measuring the availability of human resources for health and … a systematic analysis for the Global Burden of Disease Study 2019”, The Lancet (2022)
Centers for Disease Control and Prevention (US), “What is Sepsis?”
Countries are facing with a lack of medical resources since pandemic.
Acute life-threatening Infections or diseases are still a significant burden on healthcare systems.

## Slide 6
6
Alarm
fatigue
Low performance
Single-dimensional data
Non-uniform
evaluation
Problems with conventional Early Warning Scores
Early warning scores (EWS) assist medical staff to identify patient's deterioration.
They trigger an alert to indicate a patient who requires closer monitoring.

## Slide 7
7
[i] Andrew Wong et al. External validation of a widely implemented proprietary sepsis prediction model in hospitalized patients. JAMA Intern Med. 2021; 181(8):1065-1070. doi:10.1001/jamainternmed.2021.2626
In Oct 2022
In Sep 2022
“Software to predict risk of sepsis, stroke should be regulated as a medical device”, says FDA
AI/ML-based EWS shows higher performance, but must prove itself to solve regulatory concerns
“Machine learning may improve performance of screening tools, in a meta-analysis … performance was higher than the traditional screening tools such as SIRS, MEWS, and SOFA”
International Guidelines for management of Sepsis and Septic shock 2021, Society of Critical Care Medicine

## Slide 8
AI Solution for predicting Patient Deterioration
8

## Slide 9
Multi-dimensional data in EHR
Prediction Result
AITRISC-VC (“VitalCare”) uses easily accessible 19 features of EHR to provide reliable prediction scores
1️⃣ Sepsis Score
Sepsis risk in general ward within 4 hours
Prediction
Module
6 Vital Signs
11 Blood Test results
2 Patient Status Info. (Glasgow Coma Scale, Age)
Explainable AI
Module
AI Model
2️⃣ Major Adverse Events Score
(Cardiac Arrest/Mortality/ICU Transfer) risk in general ward within 6 hours
3️⃣ Mortality Score
Mortality risk in ICU within 6 hours
9
Operations

## Slide 10
Explainable AI
Clinical Benefit
User Experience
Event Prediction
 Precise detection of target event
Interpretable Result
 Providing to medical staff
Workflow Enhancement
 Fit for clinical workflow
Sangchul Hahn et. al., “Event Prediction Model Considering Time and Input Error Using Electronic Medical Records in the Intensive Care
Unit: A Retrospective Study” JMIR (2021)
Saehoon Kim et. al., “A Deep Learning Model for Real-time Mortality
Prediction in Critically ill Children” CRITICAL CARE (2019)
• Clinical Paper
• Uncertainty score
“How confidence is the model on this score?”
• Feature Importance graph
“Which input feature had the most influence?”
• User friendly interface
• Optimization of clinical workflow
• Mobile solution for remote access
10
Monitoring patients in real-time with three features
Main Features

## Slide 11
11
Performance (1/3)
Major Adverse Events
(Cardiac Arrest, ICU transfer, Mortality)
Sepsis
AITRICS-VC | AUROC 0.909
MEWS* | AUROC 0.633
NEWS* | AUROC 0.648
AITIRCS-VC | AUROC 0.929
qSOFA* | AUROC 0.687
* AUROC (Area Under ROC curve)
* MEWS (Modified Early Warning Score)
* NEWS (National Early Warning Score)
* qSOFA Score (quick Sequential Organ Failure Assessment Score)
* APACHE Score (Acute Physiology and Chronic Health Evaluation Score)
General wards #1
Mortality
AITRICS-VC | AUROC 0.964
APACHE* | AUROC 0.888
22.4%
Higher predictive power than conventional early warning scores or similar tools
Intensive Care Units #2
Reference: #1. IRB No. NHIMC 2018-06-004-001, National Health Insurance Ilsan Hospital (KR)
#2. Sung M, et al. “Event Prediction Model Considering Time and Input Error Using Electronic Medical Records in the Intensive Care Unit: Retrospective Study”, JMIR Med Inform 2021;9(11):e26426

## Slide 12
12
Performance (2/3)
Major Adverse Events
(Cardiac Arrest, ICU transfer, Mortality)
Sepsis
AUROC 0.961 (n=2,953)
AUROC 0.869 (n=3,668)
General wards
Mortality
AUROC 0.975 (n=754)
Pivotal Clinical Trial for medical device approval in KR
Intensive Care Units
Reference: National Health Insurance Ilsan Hospital (KR)
IND No. 1334, 1335, 1336
IRB No. NHIMC 2022-04-011-002,
2022-04-012-002, 2022-04-013-002

## Slide 13
13
Performance (3/3)
General wards
Mortality
Model expansion & performance validation in US population
Intensive Care Units
Sepsis
AITIRCS-VC | AUROC 0.834
Logistic Regression* | AUROC 0.717
XGBoost* | AUROC 0.759
AITIRCS-VC | AUROC 0.921
Logistic Regression* | AUROC 0.890
XGBoost* | AUROC 0.890
Cleveland Clinic Foundation Data
Re-training & Evaluation with an independent test dataset
Period : Dec 2004 - Dec 2019
IRB No. 18-316: Medical Records: Retrospective Big Data EHR Study to Predict Disease Progression and Optimize Patient Outcomes
Publication is under review
Type | ICU | GW
Patient | 175,973 | 178,076
* LR/XGB : Conventional Machine Learning Method
Dataset

## Slide 14
14
Real-world Evidence with national health institutions and top-tier hospitals
National Health Insurance Ilsan Hospital (715 beds)
National Cancer Center (521 beds)
Severance Hospitals (2,119 | 742 | 595 beds)
Presbyterian Medical Center Jeonju (730 beds)
NCC
Rapid market entry since medical device approval in October 2022 * offering free services for low-income individuals qualified from the government
Designated as a conditional ‘new Health Technology’ for evidence development
nHTA (new Health Technology Assessment) scheduled by 2025

## Slide 15
15
New TG or subtopic proposal : Artificial Intelligence based Early Warning Score for patient safety
We strive to make this technology available to all individuals, regardless of their socio-economic status or background.
There are no global standard that incorporates technical, clinical, and regulatory issues of this technology
We are looking forward to building a community to collaborate for a fair evaluation and adoption of this technology.

## Slide 16
http://www.aitrics.com/en
contact@aitrics.com
noah@aitrics.com
+82-2-569-5507
-Thank You-