## Slide 1: ETSI TC-EE ACTIVITIES ON ENERGY EFFICIENCY
Doc: EE(14)
Source: TC EE Chair
Agenda item:
For: For discussion with ITU-T
© ETSI 2013. All rights reserved

## Slide 2: Measurement method of energy efficiency of Radio Base Stations
TS 102 706 V1.3.1 published on 07/2013
New ES 202 706 V1.1.1 is in approval process
  This includes clarifications on the test methods and on equipment configuration
A NWI has been initiated to revise the ES 202 706:
  The test method with dynamic traffic load will be improved
  Improvements will also address:
    channel multipath propagation,
    interference,
    noise,
    multi standard mode base station
    multiple-input and multiple-output
Harmonization with ATIS standard is also considered
Publication expected in 2Q/2016

## Slide 3: Measurement method of energy efficiency in wireless access networks
This will be a technical aligned standard with the ITU-T SG5/SQ17
Work done in cooperation with 3GPP
Reference in ETSI is ES 203 228
The covered technology is GSM, UMTS, LTE
In defines:
  the topology and level of analysis to assess the energy efficiency of mobile networks.
  Metrics for the energy efficiency of wireless access networks
Time scale for publication:
  Stable draft submitted for comments in ETSI
  Final draft planned in November 2014
  Approval expected in December 2014

## Slide 4: Measurement method of energy efficiency of fixed access equipment
ES 203 315 V1.2.1 published on 10/2011
NWI is on going to:
  Upgrade the standard to EN (new reference: EN 303 215)
  Include the measurement method of Vectoring
  Remove the power targets because covered by EU Code of Conduct
Final draft to be sent in Approval Process

## Slide 5: Energy aware networking measurement
NWI on “Energy aware networking measurement” started in December 2013
This is a deliverable that defines a measurement procedure to determine the equipment’s ability to adapt performances and power consumption to traffic load needs
The present deliverable is a TR but may be upgraded to TS
Stable draft expected in February 2015
Publication expected on July 2015

## Slide 6: Standardization terms and trends in energy efficiency
NWI approved in September 2014
This ES will define:
  General definitions and terms used in energy efficiency standards
  Different types of technologies (e.g. equipment/site/network/service level)
  Instrumentation specification
This WI will be a technical aligned deliverable with ITU-T SG5/WP3
It will take into account the work already done by other SDOs
Publication expected on 2Q/2016

## Slide 7: ETSI activity on EU regulation N°801/2013 “Network Standby”
The EU regulation 801/2013 amends the EU regulation 1275/2008 on standby and off-mode power consumption
It defines power consumption limits for equipment with activation through a network interface (wireless or wireline)
ETSI and CENELEC JWG 59X/100X will produce the standards for the measurement methods
  ETSI and CENELEC work with mode 4 cooperation agreement to develop two standards (one in CENELEC and one in ETSI) that mutually exclusives;
  These standards have to cover the household appliances and the ICT office equipment with network interface
  The two standards will have an introduction with what is 'in scope' and 'out of scope' and with cross-reference to each other's standards
  The work repartition is:
    CENELEC to cover the “edge equipment” (networked equipment that can be connected to a network and interact with that network or other devices and that does not have, as its primary function, the passing of network traffic to provide a network)
    ETSI to cover the “interconnecting equipment” (networked equipment that has, as its primary function, the passing of network traffic to provide a

## Slide 8: Overview of ETSI TC-EE standards for measurement methods of energy efficiency
Wireline Broadband Access equipment
  ES 203 215 V1.3.1, 10/2011
  Under revision to include new technologies
Customer Premises Equipment
  EN 301 575 V1.1.1, 5/2012
  end-user broadband equipment in the scope of EU regulation 1275/2008
Core network equipment
  ES 201 554 V1.1.1, 04/2012
  Equipment defined in TS 123 002
  Under revision to include Radio access control nodes
Transport equipment
  ES 203 184 V1.1.1, 03/2013
Switching and router equipment
  ES 203 136 V1.1.1, 05/2013
Wireless Broadband Access equipment
  TS 102 706 V1.3.1, 7/2013
  Under revision to enhance test method in traffic conditions
Mobile networks
  ES 203 228 in preparation
These deliverables were published under the frame of Mandate M/462 “ICT to enable efficient energy use in fixed and mobile information and communication networks”
Green Abstraction Layer
  ES 203 237 V1.1.1, 3/2013
  To manage/monitor energy and performance profiles of device hardware

## Slide 9
Questions?