| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.840 (ex H.EH-PAN-USB) |  |  |  |
| Title: | A.5 justification information for draft new H.840 (ex H.EH-PAN-USB) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN: USB host" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new H.840 (ex H.EH-PAN-USB) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN: USB host" including the following normative references: ETSI ETS 300 406 (1995-04), IEEE 11073-10406-2011, IEEE 11073-10417-2011, IEEE 11073-10418-2011, IEEE 11073-10420-2010, IEEE 11073-20601a-2010, USB 2.0 (2000), USB-IF PDH Rel.1 (2007). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new H.840 (ex H.EH-PAN-USB) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN: USB host".

- 2	Referred documents and respective justifications

| - ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; Standardization methodology |  |
| --- | --- |
| - | April 1995 |
| - | The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG) |  |
| --- | --- |
| - | Specification approved 2011-11-30. |
| - | This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter |  |
| --- | --- |
| - | Specification approved 2012-01-27. |
| - | This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor |  |
| --- | --- |
| - | Specification approved 2011-11-09. |
| - | This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer |  |
| --- | --- |
| - | Specification approved 2010-06-17. |
| - | This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1 |  |
| --- | --- |
| - | Specification approved 2010-09-30. |
| - | This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - USB 2.0 (2000): Universal Serial Bus Specification 2.0 |  |
| --- | --- |
| - | Specification approved by the USB Implementors Forum on 27 April 2000. |
| - | This Recommendation provides a test suite structure and the test purposes for the USB host based on the requirements defined in Recommendation ITU-T H.810 (2013). Version 2.0 of the USB specification is used. |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0 |  |
| --- | --- |
| - | Approved specification. |
| - | The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. |
| - | Complete A.5 justification information can be found in Annex 8 . |

Annex 1A.5 justification information for the reference to ETSI ETS 300 406 (1995-04)

  - 1 	 Clear description of the referenced document:

ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS);

Protocol and profile conformance testing specifications;

Standardization methodology

  - 2 	 Status of approval:

April 1995

  - 3 	 Justification for the specific reference:

The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved since April 1995.

  - 6 	 The degree of stability or maturity of the document:

Approved since April 1995.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETR 153: "Methods for Testing and Specification (MTS); Guidance on the production and completion of System Conformance Test Report (SCTR) and Protocol Conformance Test Report (PCTR) proformas".

[2] ETR 141: "Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; The Tree and Tabular Combined Notation (TTCN) style guide".

[3] PNE-Rules (1991): "CEN/CENELEC Internal Regulations - IR; Part 3: Rules for the drafting and presentation of European Standards (PNE-Rules)".

[4] EN 45001 (1989): "General criteria for the operation of testing laboratories".

[5] ISO/IEC 9646-1 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 1: General concepts" (including DAM1 and DAM2, to be published).

[6] ISO/IEC 9646-2 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 2: Abstract Test Suite Specification" (including DAM1 and DAM2, to be published).

[7] ISO/IEC 9646-3: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation".

[8] ISO/IEC 9646-3 AM 1: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation. Amendment 1: TTCN Extensions (concurrent TTCN)".

[9] ISO/IEC 9646-4 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 4: Test Realisation" (including DAM1 and DAM2, to be published).

[10] ISO/IEC 9646-5 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 5: Requirements on test laboratories and clients for the Conformance Assessment Process" (including DAM1 and DAM2, to be published).

[11] ISO/IEC 9646-6 IS (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 6: Protocol Profile Test Specification".

[12] ISO/IEC 9646-7 DIS (1993): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 7: Implementation Conformance Statements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG)

  - 2 	 Status of approval:

Specification approved 2011-11-30.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-30.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-30. Continua has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Profile Amendment 1.

IEEE 100™, The Authoritative Dictionary of IEEE Standards Terms, Seventh Edition, New York, Institute of Electrical and Electronic Engineers, Inc..

ISO/IEEE Std 11073-10101:2004, Health informatics - Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE Std 11073-10201:2004, Health informatics - Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE Std 11073-20101:2004, Health informatics - Point-of-care medical device communication - Part 20101: Application Profiles – Base Standard.

ITU-T Rec. X.680-2002, Information technology - Abstract Syntax Notation One (ASN.1): Specification of basic notation.

IEC 60601-1 Ed.3 (2005) Medical electrical equipment - Part 1: General requirements for basic safety and essential performance

IEC 60601-1-1 Ed.2 (2000): Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems

IEC 60601-2-XX Medical electrical equipment - Part 2-XX: Particular requirements for the basic safety and essential performance for specific device

EN 62304:2005 Medical device software – Software life-cycle processes

ISO 14971:2007 Medical devices – Application of risk management to medical devices

IEC 80001-1 Application of risk management for IT-networks incorporating medical devices - Part 1: Roles, responsibilities

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter

  - 2 	 Status of approval:

Specification approved 2012-01-27.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol-Amendment 1.4

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor

  - 2 	 Status of approval:

Specification approved 2011-11-09.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has implemented this specification within both its test tool and its source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-09. Continua has implemented this specification within both its test tool and its source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application Profile-Optimized Exchange Protocol-Amendment 1.

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

IEC 60601-1:2005, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.

IEC 60601-1-1:2000, Ed. 2, Medical electrical equipment-Part 1-1: General requirements for safety-Collateral standard: Safety requirements for medical electrical systems.

IEC 60601-1-2:2007, Medical electrical equipment-Part 1-2: General requirements for basic safety and essential performance-Collateral standard: Electromagnetic compatibility-Requirements and tests.

IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards, Part 2-1 through Part 2-51.)

IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

ISO 14971:2007, Medical devices-Application of risk management to medical devices.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer

  - 2 	 Status of approval:

Specification approved 2010-06-17.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-06-17.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-06-17. Continua has implemented this within their tools and has a few certified Body Composition Analyzers.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601-2008, Health informatics-Personal health device communication-Part 20601:

Application Profile-Optimized Exchange Profile.4, 5

IEEE Std 11073-10415™-2008, Health informatics-Personal health device communication-Part 10415:

Device specialization-Weighing scale.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication - Part 20101: Application Profiles-Base Standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1):

Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1

  - 2 	 Status of approval:

Specification approved 2010-09-30.

  - 3 	 Justification for the specific reference:

This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard. It has also been tested by Continua where over 90 devices have been certified by Continua that utilize this standard.

  - 7 	 Relationship with other existing or emerging documents:

This is the base protocol for currently 14 other IEEE 11073-104zz device specializations.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

USB 2.0 (2000): Universal Serial Bus Specification 2.0

  - 2 	 Status of approval:

Specification approved by the USB Implementors Forum on 27 April 2000.

  - 3 	 Justification for the specific reference:

This Recommendation provides a test suite structure and the test purposes for the USB host based on the requirements defined in Recommendation ITU-T H.810 (2013). Version 2.0 of the USB specification is used.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Widely adoped by the industry.

  - 6 	 The degree of stability or maturity of the document:

Specification approved by the USB Implementors Forum on 27 April 2000. List of updates to the specification available at: http://www.usb.org/developers/docs/usb20_docs/#usb20spec.

  - 7 	 Relationship with other existing or emerging documents:

Widely adopted in the marketplace. Being slowly superdseded by USB 3.0

  - 8 	 Any explicit references within that referenced document should also be listed:

This document is complemented and referenced by the Universal Serial Bus Device Class Specifications, see http://www.usb.org/developers/docs/devclass_docs/.

  - 9 	 Qualification of USB-IF:

USB-IF is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0

  - 2 	 Status of approval:

Approved specification.

  - 3 	 Justification for the specific reference:

The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved specification since 2007, erratum exists (integrated with base file downloaded from the link above).

  - 6 	 The degree of stability or maturity of the document:

N/A

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

1. Universal Serial Bus Specification, Revision 2.0, April 27, 2000, http://www.usb.org.

2. ISO/IEEE 11073-20601 Optimized Exchange Protocol, Revision 1.0, 2010.

3. ISO/IEEE 11073-10101, Health Informatics – Point of Care medical device communication – Part 10101: Nomenclature, First edition, December 15, 2004.

4. RFC 2119, Key words for use in RFCs to Indicate Requirement Levels: March 1997, http://www.ietf.org/rfc/rfc2119.txt.

  - 9 	 Qualification of USB-IF:

USB-IF is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

_________________