| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.849 (ex H.EH-PAN-09) |  |  |  |
| Title: | A.5 justification information for draft new H.849 (ex H.EH-PAN-09) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 9: Transcoding for Bluetooth low energy: Agent" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new H.849 (ex H.EH-PAN-09) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 9: Transcoding for Bluetooth low energy: Agent" including the following normative references: Bluetooth HDPv1.1 (2008), Bluetooth MCAP (2008), Bluetooth PHDT (2013), ETSI ETS 300 406 (1995-04), IEEE 11073-10406-2011, IEEE 11073-10417-2011, IEEE 11073-10418-2011, IEEE 11073-10420-2010, IEEE 11073-20601a-2010, USB-IF PDH Rel.1 (2007). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new H.849 (ex H.EH-PAN-09) "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 9: Transcoding for Bluetooth low energy: Agent".

- 2	Referred documents and respective justifications

| - Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1 |  |
| --- | --- |
| - | Specification approved 2012-07-24. |
| - | The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol |  |
| --- | --- |
| - | Specification approved 2008-06-26. |
| - | MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models. This protocol enables the following capabilities: Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile. Permits multiple simultaneous data channels. Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions. Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints. Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks. Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP. Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility. Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements. |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - Bluetooth PHDT (2013): Personal health devices transcoding |  |
| --- | --- |
| - | White paper specification approved 2013-04-30. |
| - | The Bluetooth Personal Health Devices Transcoding White Paper, v1.4, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for Bluetooth low energy sensors. |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; Standardization methodology |  |
| --- | --- |
| - | April 1995 |
| - | The standardization methodology described in this ETSI technical specification forms the basis of this test specification. |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG) |  |
| --- | --- |
| - | Specification approved 2011-11-30. |
| - | This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter |  |
| --- | --- |
| - | Specification approved 2012-01-27. |
| - | This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor |  |
| --- | --- |
| - | Specification approved 2011-11-09. |
| - | This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer |  |
| --- | --- |
| - | Specification approved 2010-06-17. |
| - | This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 8 . |

| - IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1 |  |
| --- | --- |
| - | Specification approved 2010-09-30. |
| - | This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 9 . |

| - USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0 |  |
| --- | --- |
| - | Approved specification. |
| - | The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. |
| - | Complete A.5 justification information can be found in Annex 10 . |

Annex 1A.5 justification information for the reference to Bluetooth HDPv1.1 (2008)

  - 1 	 Clear description of the referenced document:

Bluetooth HDPv1.1 (2008): Health Device Profile, version 1.1

  - 2 	 Status of approval:

Specification approved 2012-07-24.

  - 3 	 Justification for the specific reference:

The Bluetooth Health Device Profile, Version 1.1, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for health, medical and fitness device sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-07-24 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below.  There are several but specifically reference [7]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [7].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1] Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

[2] Multi-Channel Adaptation Protocol (MCAP)

[3] Bluetooth SIG member web side, Bluetooth Assigned Numbers, http://www.bluetooth.org

[4] Bluetooth Advanced Audio Distribution Profile (A2DP) (Informative)

[5] Bluetooth Basic Imaging Profile (BIP) (Informative)

[6] IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[7] IEEE Std 11073-20601 ™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0 or later

[8] Bluetooth Qualification Reference Document (PRD), version 2.0 or later (Informative)

[9] Bluetooth User Interface Flow Diagrams for Bluetooth Secure Simple Pairing Devices (Informative)

[10] 2.1 + EDR, Volume 0, Part B, Compliance Requirements (Informative)

[11] Bluetooth Device Identification Specification, version 1.3 or later

[12] HDP Implementation Guidance Whitepaper (Informative)

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth MCAP (2008): Multi-Channel Adaptation Protocol

  - 2 	 Status of approval:

Specification approved 2008-06-26.

  - 3 	 Justification for the specific reference:

MCAP defines a simple protocol for communicating with devices as if they were connected over a locally attached cable. The specification defines the protocol and generic procedures that can be used by compatible profiles to fulfil a wide variety of usage models. This protocol enables the following capabilities:  Provisions for a standardized, structured approach for using a Control Channel to connect and coordinate necessary Data Channels, offering a capability for retaining state references between reconnections. This approach provides structured management of a group of related channels between a given pair of devices which support this protocol and a compatible profile.  Permits multiple simultaneous data channels.  Connection-oriented [see Section 3]; which is likely to ensure more reliable behavior when a device moves out of range or disconnects (either inadvertently or intentionally), because the device can recognize the condition and make appropriate decisions.  Facilitates re-establishment of wireless connections that have been disconnected (intentionally or unintentionally) by associating context identifiers with connections, and allowing success or failure of a reconnect operation to be agreed by the two endpoints.  Defines a standardized Clock Synchronization Protocol that uses the Control Channel and the shared Bluetooth Master Clock to coordinate local clocks.  Designed to operate specifically with designated Data Exchange Specifications, which define the base data protocol and command set and device data formats for various supported devices. This facilitates genuine interoperability between data Sources and Sinks minimizing the need for proprietary drivers on either side to format and interpret the data. The specific Data Exchange Specifications are defined in profiles that reference MCAP.  Allows profiles which reference MCAP to make use of elements of new L2CAP features [1] such as Enhanced Retransmission Mode, Streaming Mode and optional FCS for improved reliability and flexibility.  Inexpensive to implement due to small list of relatively simple control commands and low code-space requirements.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2008-06-26 and many many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [5]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [5].

  - 8 	 Any explicit references within that referenced document should also be listed:

References below are normative unless otherwise specified.

[1]

Bluetooth Core Specification version 2.0 + EDR or later versions of the Bluetooth Core Specification

[2]

Bluetooth SIG member web site, Bluetooth Assigned Numbers, http://www.bluetooth.org

[3]

IEEE Standards Style Manual, http://standards.ieee.org/guides/style/2000Style.pdf

[4]

1003.1-2001/COR 1-2002 IEEE Standard for Information Technology - Portable Operating System Interface (POSIX) (Informative)

[5]

Bluetooth Core Specification 2.0 + EDR or 2.1 + EDR with Volume 3, Part A of Core Specification Addendum 1 or later versions of the Bluetooth Core Specification

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

Bluetooth PHDT (2013): Personal health devices transcoding

  - 2 	 Status of approval:

White paper specification approved 2013-04-30.

  - 3 	 Justification for the specific reference:

The Bluetooth Personal Health Devices Transcoding White Paper, v1.4, is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture. This specification defines a short-range communications system intended to replace the cable(s) connecting portable and/or fixed electronic devices for Bluetooth low energy sensors.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2013-04-30 and many qualified devices implementing this version of the specification exist. Even though this s titled a "white paper" it defines specific configuration and parameteres necessary for interoperable operation of devices.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2013-04-30 and many qualified devices implementing this version of the specification exist.

  - 7 	 Relationship with other existing or emerging documents:

See item 8 below and specific reference [1] and [17]. This specification utilized the modeling of a blood pressure devices medical system based on the domain information model defined within reference [1] and [17].

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ISO/IEEE Std 11073-20601™- 2008 Health Informatics - Personal Health Device Communication - Application Profile - Optimized Exchange Protocol - version 1.0.This also includes ISO/IEEE Std 11073-20601a™-2010 – Amendment 1

[2] Device Information Service V10r00

[3] Characteristic descriptions are accessible via the Bluetooth SIG Assigned Numbers and the Formats section at Bluetooth SIG Developer Portal.

[4] ISO/IEEE Std 11073-10408™-2008 Standard for Health informatics - Personal health device communication - Device specialization - Thermometer

[5] Health Thermometer Service V10r00

[6] Continua Design Guidelines 2010 (version 1.5)

[7] IEEE Std 11073-10406™-2011 Standard for Health informatics - Personal health device communication - Device specialization - Basic Electrocardiograph (ECG) (1 to 3-lead ECG)

[8] Heart Rate Service V10r00

[9] Blood Pressure Service V10r00

[10] IEEE Std 11073-10407™-2008 Standard for Health informatics – Personal health device communication – Device specialization – Blood Pressure Monitor

[11] IEEE Std 11073-10417™-2011 Standard for Health informatics – Personal health device communication – Device specialization – Glucose meter

[12] Glucose Service V10r00

[13] Bluetooth Core Specification v4.0 or later

[14] Current Time Service V10r00

[15] ISO/IEEE Std 11073-10441™-2008 Standard for Health Informatics – Personal health device communication – Device specialization – Cardiovascular fitness and activity monitor

[16] Description of the Current Time Characteristic format in the Bluetooth SIG developer site.

[17] Specification of Regulatory Certification Data List at ISO/IEEE Std 11073-20601a-2010, sections 6.3.2.3 (MDS class attributes) and A.11.2 (MDS-related data types).

[18] Patient Care Device (PCD) Technical Framework at the IHE site.

  - 9 	 Qualification of Bluetooth:

Bluetooth SIG meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS);

Protocol and profile conformance testing specifications;

Standardization methodology

  - 2 	 Status of approval:

April 1995

  - 3 	 Justification for the specific reference:

The standardization methodology described in this ETSI technical specification forms the basis of this test specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved since April 1995.

  - 6 	 The degree of stability or maturity of the document:

Approved since April 1995.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETR 153: "Methods for Testing and Specification (MTS); Guidance on the production and completion of System Conformance Test Report (SCTR) and Protocol Conformance Test Report (PCTR) proformas".

[2] ETR 141: "Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; The Tree and Tabular Combined Notation (TTCN) style guide".

[3] PNE-Rules (1991): "CEN/CENELEC Internal Regulations - IR; Part 3: Rules for the drafting and presentation of European Standards (PNE-Rules)".

[4] EN 45001 (1989): "General criteria for the operation of testing laboratories".

[5] ISO/IEC 9646-1 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 1: General concepts" (including DAM1 and DAM2, to be published).

[6] ISO/IEC 9646-2 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 2: Abstract Test Suite Specification" (including DAM1 and DAM2, to be published).

[7] ISO/IEC 9646-3: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation".

[8] ISO/IEC 9646-3 AM 1: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation. Amendment 1: TTCN Extensions (concurrent TTCN)".

[9] ISO/IEC 9646-4 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 4: Test Realisation" (including DAM1 and DAM2, to be published).

[10] ISO/IEC 9646-5 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 5: Requirements on test laboratories and clients for the Conformance Assessment Process" (including DAM1 and DAM2, to be published).

[11] ISO/IEC 9646-6 IS (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 6: Protocol Profile Test Specification".

[12] ISO/IEC 9646-7 DIS (1993): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 7: Implementation Conformance Statements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG)

  - 2 	 Status of approval:

Specification approved 2011-11-30.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-30.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-30. Continua has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Profile Amendment 1.

IEEE 100™, The Authoritative Dictionary of IEEE Standards Terms, Seventh Edition, New York, Institute of Electrical and Electronic Engineers, Inc..

ISO/IEEE Std 11073-10101:2004, Health informatics - Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE Std 11073-10201:2004, Health informatics - Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE Std 11073-20101:2004, Health informatics - Point-of-care medical device communication - Part 20101: Application Profiles – Base Standard.

ITU-T Rec. X.680-2002, Information technology - Abstract Syntax Notation One (ASN.1): Specification of basic notation.

IEC 60601-1 Ed.3 (2005) Medical electrical equipment - Part 1: General requirements for basic safety and essential performance

IEC 60601-1-1 Ed.2 (2000): Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems

IEC 60601-2-XX Medical electrical equipment - Part 2-XX: Particular requirements for the basic safety and essential performance for specific device

EN 62304:2005 Medical device software – Software life-cycle processes

ISO 14971:2007 Medical devices – Application of risk management to medical devices

IEC 80001-1 Application of risk management for IT-networks incorporating medical devices - Part 1: Roles, responsibilities

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter

  - 2 	 Status of approval:

Specification approved 2012-01-27.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol-Amendment 1.4

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor

  - 2 	 Status of approval:

Specification approved 2011-11-09.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has implemented this specification within both its test tool and its source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-09. Continua has implemented this specification within both its test tool and its source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application Profile-Optimized Exchange Protocol-Amendment 1.

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

IEC 60601-1:2005, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.

IEC 60601-1-1:2000, Ed. 2, Medical electrical equipment-Part 1-1: General requirements for safety-Collateral standard: Safety requirements for medical electrical systems.

IEC 60601-1-2:2007, Medical electrical equipment-Part 1-2: General requirements for basic safety and essential performance-Collateral standard: Electromagnetic compatibility-Requirements and tests.

IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards, Part 2-1 through Part 2-51.)

IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

ISO 14971:2007, Medical devices-Application of risk management to medical devices.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer

  - 2 	 Status of approval:

Specification approved 2010-06-17.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-06-17.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-06-17. Continua has implemented this within their tools and has a few certified Body Composition Analyzers.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601-2008, Health informatics-Personal health device communication-Part 20601:

Application Profile-Optimized Exchange Profile.4, 5

IEEE Std 11073-10415™-2008, Health informatics-Personal health device communication-Part 10415:

Device specialization-Weighing scale.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication - Part 20101: Application Profiles-Base Standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1):

Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1

  - 2 	 Status of approval:

Specification approved 2010-09-30.

  - 3 	 Justification for the specific reference:

This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard. It has also been tested by Continua where over 90 devices have been certified by Continua that utilize this standard.

  - 7 	 Relationship with other existing or emerging documents:

This is the base protocol for currently 14 other IEEE 11073-104zz device specializations.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

USB-IF PDH Rel.1 (2007): USB Implementers Forum (2007-11), Universal Serial Bus Device Class Definition for Personal Healthcare Devices, Release 1.0

  - 2 	 Status of approval:

Approved specification.

  - 3 	 Justification for the specific reference:

The Universal Serial Bus Device Class Definition for Personal Healthcare Devices is needed to allow device inter-connectivity within the Continua Design Guidelines personal area network architecture.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved specification since 2007, erratum exists (integrated with base file downloaded from the link above).

  - 6 	 The degree of stability or maturity of the document:

N/A

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

1. Universal Serial Bus Specification, Revision 2.0, April 27, 2000, http://www.usb.org.

2. ISO/IEEE 11073-20601 Optimized Exchange Protocol, Revision 1.0, 2010.

3. ISO/IEEE 11073-10101, Health Informatics – Point of Care medical device communication – Part 10101: Nomenclature, First edition, December 15, 2004.

4. RFC 2119, Key words for use in RFCs to Indicate Requirement Levels: March 1997, http://www.ietf.org/rfc/rfc2119.txt.

  - 9 	 Qualification of USB-IF:

USB-IF is recognized under the provisions of ITU-T Recommendation A.5.

  - 10 	 Other (for any supplementary information):

N/A

_________________