| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.846 |  |  |  |
| Title: | A.5 justification information for draft revised H.846 "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 6: Device specializations: Manager" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft revised H.846 "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 6: Device specializations: Manager" including the following normative references: IEEE 11073-10424-2014. |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for revised H.846 "Conformance of ITU-T H.810 personal health devices: PAN/LAN/TAN interface Part 6: Device specializations: Manager".

- 2	Referred documents and respective justifications

| - IEEE 11073-10424-2014: Health informatics - Personal health device communication Part 10424: Device specialization - Sleep Apnoea Breathing Therapy Equipment (SABTE) |  |
| --- | --- |
| - | Specification approved 2014-08-21. |
| - | The IEEE 11073-10424-2014 Health informatics - Personal health device communication Part 10424: Device specialization - Sleep Apnoea Breathing Therapy Equipment (SABTE), is needed to allow inter-connectivity of SABTE device within the Continua Design Guidelines personal area network architecture. This specification provides a normative definition of the communication between SABTE devices (agents) and managers (e.g., cell phones, personal computers, personal health appliances, set top boxes), in a manner that enables plug-and-play interoperability. |
| - | Complete A.5 justification information can be found in Annex 1 . |

Annex 1A.5 justification information for the reference to IEEE 11073-10424-2014

  - 1 	 Clear description of the referenced document:

IEEE 11073-10424-2014: Health informatics - Personal health device communication Part 10424: Device specialization - Sleep Apnoea Breathing Therapy Equipment (SABTE)

  - 2 	 Status of approval:

Specification approved 2014-08-21.

  - 3 	 Justification for the specific reference:

The IEEE 11073-10424-2014 Health informatics - Personal health device communication Part 10424: Device specialization - Sleep Apnoea Breathing Therapy Equipment (SABTE), is needed to allow inter-connectivity of SABTE device within the Continua Design Guidelines personal area network architecture. This specification provides a normative definition of the communication between SABTE devices (agents) and managers (e.g., cell phones, personal computers, personal health appliances, set top boxes), in a manner that enables plug-and-play interoperability.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2014-08-21.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2014-08-21. PCHA has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

Similar to other IEEE 11073-104xx standards, this device specialization is also approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

- ISO/IEEE 11073-20601:2010, Health informatics - Personal health device communication - Application Profile - Optimized Exchange Protocol.

- ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Protocol Amendment 1.

- AASM Manual for the Scoring of Sleep and Associated Events: Rules, Terminology and Technical Specifications, Version 2.0, Berry, R. B., et al., for the American Academy of Sleep Medicine.

- IEC 60601-1:2007, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.8

- IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards)

- IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

- IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

- ISO 14971:2007, Medical devices-Application of risk management to medical devices.

- ISO/IEC 80601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards)

- ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.11

- ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

- ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

- ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

_________________