| Question(s): | 6/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 2/5 |
| Source: | Editor of L.1361 (ex L.mmNFV) |  |  |  |
| Title: | A.5 justification information for draft new L.1361 (ex L.mmNFV) "Measurement method for energy efficiency of Network Function Virtualization" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1361 (ex L.mmNFV) "Measurement method for energy efficiency of Network Function Virtualization" including the following normative references: ETSI EN 300 132-2 V5.1 (2016-10), ETSI GS NFV 003 V1.3.1 (2018-01), ETSI GS NFV TST 008 (V3.1.1) 2018, ETSI GS NFV-IFA 027 (2.4.1) (2018). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1361 (ex L.mmNFV) "Measurement method for energy efficiency of Network Function Virtualization".

- 2	Referred documents and respective justifications

| - ETSI EN 300 132-2 V5.1 (2016-10): Environmental Engineering (EE); Power supply interface at the input to Telecommunications and datacom (ICT) equipment; Part 2: Operated by -48 V direct current (dc) |  |
| --- | --- |
| - | Approved by ETSI |
| - | This the base reference defining the -48VDC power interface at the input of Telecom/ICT equipment already used in many ITU-T Recommendation |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - ETSI GS NFV 003 V1.3.1 (2018-01): ETSI GS NFV 003(V1.3.1): "Network Functions Virtualisation (NFV); Terminology for Main Concepts in NFV". |  |
| --- | --- |
| - | Approved Standard |
| - | This is the basic NFV terminology to be used in other standardization documents on NFV, defined in joint work of ETSI with ITU-T |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - ETSI GS NFV TST 008 (V3.1.1) 2018: Network Functions Virtualisation (NFV) Release 3; Testing NFVI Compute and Network Metrics Specification |  |
| --- | --- |
| - | Approved Standard |
| - | Base reference on NFV testing and compute and network metrics applicable in other standards or recommendations |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - ETSI GS NFV-IFA 027 (2.4.1) (2018): “Network Functions Virtualisation (NFV) Release 2; Management and Orchestration; Performance Measurements Specification” |  |
| --- | --- |
| - | Approved Standard |
| - | This is the baseline document in that field to be reused for other standards on NFV management and orchestration |
| - | Complete A.5 justification information can be found in Annex 4 . |

Annex 1A.5 justification information for the reference to ETSI EN 300 132-2 V5.1 (2016-10)

  - 1 	 Clear description of the referenced document:

ETSI EN 300 132-2 V5.1 (2016-10): Environmental Engineering (EE); Power supply interface at the input to Telecommunications and datacom (ICT) equipment;

Part 2: Operated by -48 V direct current (dc)

  - 2 	 Status of approval:

Approved by ETSI

  - 3 	 Justification for the specific reference:

This the base reference defining the -48VDC power interface at the input of Telecom/ICT equipment already used in many ITU-T Recommendation

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] CENELEC EN 60269-1: "Low-voltage fuses - Part 1: General requirements".

[2] CENELEC EN 60934: "Circuit-breakers for equipment (CBE)".

[3] Void.

[4] Void.

[5] CENELEC EN 61000-4-5: "Electromagnetic compatibility (EMC) - Part 4-5: Testing and

measurement techniques - Surge immunity test".

[6] Void.

[7] CENELEC EN 61000-4-29: "Electromagnetic compatibility (EMC) -Part 4-29: Testing and

measurement techniques -Voltage dips, short interruptions and voltage variations on d.c. input

power port immunity tests".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI GS NFV 003 V1.3.1 (2018-01): ETSI GS NFV 003(V1.3.1): "Network Functions Virtualisation (NFV); Terminology for Main Concepts in NFV".

  - 2 	 Status of approval:

Approved Standard

  - 3 	 Justification for the specific reference:

This is the basic NFV terminology to be used in other standardization documents on NFV, defined in joint work of ETSI with ITU-T

  - 4 	 Current information, if any, about IPR issues:

IPRs essential or potentially essential to the present document may have been declared to ETSI. The information pertaining to these essential IPRs, if any, is publicly available for ETSI members and non-members, and can be found in ETSI SR 000 314: "Intellectual Property Rights (IPRs); Essential, or potentially Essential, IPRs notified to ETSI in respect of ETSI standards", which is available from the ETSI Secretariat. Latest updates are available on the ETSI Web server (http://ipr.etsi.org).

  - 5 	 Other useful information describing the "Quality" of the document:

It is an ETSI standard document and it is currently in force.

  - 6 	 The degree of stability or maturity of the document:

This specification was published in July 2017. This version was approved by ETSI in June 2017.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] IEEE Standards AssociationTM: "Guidelines for Use Organizationally Unique Identifier (OUI) and Company ID (CID)".

NOTE: Available at https://standards.ieee.org/develop/regauth/tut/eui.pdf.

[2] RSA Laboratories: "PKCS #1 v2.2: RSA Cryptography Standard".

[3] NIST FIPS PUB 197: "Specification for the Advanced Encryption Standard (AES)".

[4] NIST FIPS PUB 180-4: "Secure Hash Standard (SHS)".

[5] NIST SP 800-107 Revision 1: "Recommendation for Applications Using Approved Hash Algorithms".

[6] ISO/IEC 9797-1:2011: "Information technology -- Security techniques -- Message Authentication Codes (MACs) -- Part 1: Mechanisms using a block cipher".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI GS NFV TST 008 (V3.1.1) 2018: Network Functions Virtualisation (NFV) Release 3;

Testing

NFVI Compute and Network Metrics Specification

  - 2 	 Status of approval:

Approved Standard

  - 3 	 Justification for the specific reference:

Base reference on NFV testing and compute and network metrics applicable in other standards or recommendations

  - 4 	 Current information, if any, about IPR issues:

IPRs essential or potentially essential to the present document may have been declared to ETSI. The information pertaining to these essential IPRs, if any, is publicly available for ETSI members and non-members, and can be found in ETSI SR 000 314: "Intellectual Property Rights (IPRs); Essential, or potentially Essential, IPRs notified to ETSI in respect of ETSI standards", which is available from the ETSI Secretariat. Latest updates are available on the ETSI Web server (http://ipr.etsi.org).

  - 5 	 Other useful information describing the "Quality" of the document:

It is an ETSI standard document and it is currently in force.

  - 6 	 The degree of stability or maturity of the document:

Approved and published

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

none

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI GS NFV-IFA 027 (2.4.1) (2018):  “Network Functions Virtualisation (NFV) Release 2; Management and Orchestration; Performance Measurements Specification”

  - 2 	 Status of approval:

Approved Standard

  - 3 	 Justification for the specific reference:

This is the baseline document in that field to be reused for other standards on NFV management and orchestration

  - 4 	 Current information, if any, about IPR issues:

IPRs essential or potentially essential to the present document may have been declared to ETSI. The information pertaining to these essential IPRs, if any, is publicly available for ETSI members and non-members, and can be found in ETSI SR 000 314: "Intellectual Property Rights (IPRs); Essential, or potentially Essential, IPRs notified to ETSI in respect of ETSI standards", which is available from the ETSI Secretariat. Latest updates are available on the ETSI Web server (http://ipr.etsi.org).

  - 5 	 Other useful information describing the "Quality" of the document:

It is an ETSI standard document and it is currently in force.

  - 6 	 The degree of stability or maturity of the document:

This specification was published in July 2017. This version was approved by ETSI in June 2017.

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI GS NFV-IFA 005: "Network Functions Virtualisation (NFV) Release 2; Management and

Orchestration; Or-Vi reference point - Interface and Information Model Specification".

[2] ETSI GS NFV-IFA 006: "Network Functions Virtualisation (NFV) Release 2; Management and

Orchestration; Vi-Vnfm reference point - Interface and Information Model Specification".

[3] ETSI GS NFV-IFA 008: "Network Functions Virtualisation (NFV) Release 2; Management and

Orchestration; Ve-Vnfm reference point - Interface and Information Model Specification".

[4] ETSI GS NFV-IFA 011: "Network Functions Virtualisation (NFV) Release 2; Management and

Orchestration; VNF Descriptor and Packaging Specification".

[5] ETSI GS NFV-IFA 014: "Network Functions Virtualisation (NFV) Release 2; Management and

Orchestration; Network Service Templates Specification".

[6] ETSI GS NFV-SEC 004: "Network Functions Virtualisation (NFV); NFV Security; Privacy and

Regulation; Report on Lawful Interception Implications".

[7] ETSI GS NFV-SEC 006: "Network Functions Virtualisation (NFV); Security Guide; Report on

Security Aspects and Regulatory Concerns".

[8] ETSI GS NFV-SEC 010: "Network Functions Virtualisation (NFV); NFV Security; Report on

Retained Data problem statement and requirements".

[9] ETSI GS NFV-SEC 012: "Network Functions Virtualisation (NFV) Release 3; Security; System

architecture specification for execution of sensitive NFV components".

[10] ETSI GS NFV-TST 008: "Network Functions Virtualisation (NFV) Release 2; Testing; NFVI

Compute and Network Metrics Specification".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

_________________