Draft revised Recommendation K.46

Protection of Telecommunication Lines using Metallic Symmetric
Conductors against Lightning Induced Surges

Summary

This Recommendation gives a procedure in order to protect the telecommunication lines using metallic symmetric conductors against the overvoltages and overcurrents imposed on the lines due to nearby lightning discharges. The protection procedure is related to the exposure of the line to the effects of nearby lightning discharges, and includes the bonding of the cable shield and the installation of surge protective devices (SPD).