Draft new Recommendation K.57

Protection Measures for Radio Base Stations sited on Power Line Towers

Summary

This Recommendation specifies measures to be taken with respect to safety and risk of damage to equipment through earth potential rise, when power line towers are used for locating radio base stations. It also considers the special lightning protection scheme, which is needed for this type of installation.

This is of special concern, when power is fed from the low voltage network, which is the most common situation. Different options are described.

To this Recommendation there are three appendices attached.

Appendix I titled "Guide on the co-ordination of the isolation level required for the power supply and the earth potential rise of the tower" gives information on how to determine the required isolation voltage level due to the EPR at an earth fault in the tower.

In Appendix II titled "Guide on the LV feeding arrangement" more details on the low voltage feeding options are given.

Finally Appendix III titled "Estimation of required minimum length of the junction section of LV feeding" presents simple calculations for estimation of the EPR for the determination of the length of the so-called junction cable.