Draft new Recommendation K.59

EMC, Resistibility and Safety Requirements and Procedure
for Connection to Unbundled Cables

Summary

With the liberalisation of telecommunications, Operators, who are not the owner of the cable, may use several pairs from cable for different services. There is a possibility of EMC, resistibility and safety problems occurring in the cable. This Recommendation aims to establish minimum requirements and procedures to ensure safe and problem-free operation and management related to EMC, Resistibility and Safety for unbundling.