Draft new Recommendation K.64

Safe working practices for outside equipment installed in particular environments

Summary

This Recommendation describes working practices for service personnel to help service personnel work safely telecommunication installations in three specific environments.

The specific environments covered in this Recommendation are characterized by wet conditions or close proximity to exposed metallic parts.

The working practices apply to telecommunications plant with voltage levels higher than the limits defined for analogue PSTN circuit, such as RTT-C or RFT-V circuits.