Draft new Recommendation K.65

Overvoltage and overcurrent requirements for termination modules with contacts for test ports or SPDs

Summary

This Recommendation specifies the overvoltage requirements and test procedures for termination modules, with contacts for test ports or SPDs, used for symmetric pair conductors subjected to overvoltages and overcurrents.

Overvoltages or overcurrents covered by this Recommendation include surges due to lightning on or near the line plant, short term induction of alternating voltages from adjacent power lines or railway systems, earth potential rise due to power faults and direct contacts between telecommunication lines and power lines.