Draft new Recommendation K.66

Protection of customer premises from overvoltages

Summary

This Recommendation:

	provides recommendations for bonding and earthing of telecommunication equipment in residential and commercial customer premises;

	refers to Recommendation K.21 [17] for equipment resistibility requirements;

	recommends earthing and bonding requirements to coordinate with the resistibility requirements of Recommendation K.21 [17] and the safety requirements of IEC 60950-1 [7];

	recommends the installation practices for bonding of all services and the installation of SPDs;

	illustrates problems associated with earthing and bonding and provides solutions for these earthing and bonding problems. These include:

1)	methods to improve the earthing and bonding,

2)	methods of providing additional protection external to the equipment,

3)	special resistibility and safety requirements;

	recommends responsibilities for protection at customer premises;

	refers to draft IEC 62305-3 [24] for protection against direct lightning.