Draft new ITU-T Recommendation K.67

Expected surges on telecommunications and signalling networks due to lightning

Summary

This Recommendation gives the characteristics (waveshapes and peak values) of the expected surges (overvoltages and overcurrents) due to lightning on telecommunication lines of the access network and on signalling lines at customer’s premises using metallic conductors. These values of the expected surges are presented as function of a set values of lightning current parameters which defines the lightning as source of damage by any type of electromagnetic coupling on a telecommunication and signalling line.

This Recommendation allows to evaluate the effectiveness of the protective measures (e.g. Surge Protective Device, SPD) withstanding the expected surge current in the installation point..