Draft new ITU-T Recommendation K.68

Management of electromagnetic interference on telecommunication systems due to power systems

Summary

This Recommendation deals with the management of electromagnetic (e.m.) interference produced by electric power systems and electrified traction systems on telecommunication systems.

The Recommendation defines the procedure to evaluate the acceptability of an e.m. interference and gives:

- 	the criteria defining the interference situations to be examined;

- 	the interference management voltages to be applied;

- 	the installation conditions of electric power, electrified traction and telecommunication systems under which the management voltages are applicable.