## Slide 1: IT-Standardisation in Healthcare - Coordination of international Activities
ITU workshop
Geneva, May 23-25th, 2003
Dr. Horst Siebold
Head Group Technology
Siemens Medical Solutions

## Slide 2: Status of IT Standardisation in Healthcare
IT-standardisation began in isolated islands, and has achieved different maturity the nearer to hardware, the more success
Evolution from connectivity to interoperability (bottom-up) from data exchange to workflow, information exchange, data models
domains just begin to grow together
high-level standards for EHR have not yet made their way
national and regional standards will not survive, and migrate into international standards
Consolidation among SDOs needed?
Healthcare IT- standardisation is not yet done
what are the success factors ?
postulates

## Slide 3: Standardisation-Islands: hospital departments
Radiology:
DICOM; Secretariat NEMA; international contributions
Pharmacy:
NCPDP National Council for Prescription Drug Programs ; US
Laboratory:
POCT 1-A (IEEE, HL7, NCCLS); US National Committee for Clinical Laboratory Standards
plus many national standards (LOINC, ...)
Intensive Care Unit:
IEEE 1073
Administration:
HL7; X.12; US, with international add-ons by affiliates
Isolated islands

## Slide 4: IT-Functionalities of departments overlap
ECG, waveforms
Anesthesia
ICU
Intensive Care Unit
Clinical Information Systems
Bedside device interfaces
Oncology
POE,
therapy planning,
photographs
Film Management,
Registry Data,
Data Management,
Archiving
OR
Operation Room
Cardiology
Radiology
image acquisition
ADT,
Scheduling,
Documents,
Nursing,
Results,
Queries,
Billing,
Image access,
Supplies
Isolated islands

## Slide 5
DICOM: evolution Digital Imaging and Communciation in Medicine
1982: founded by ACR and hosted by NEMA
1985: Standard V 1.0 : file formats only
1988: Standard V 2.0 : 50 pin Point-to-Point connector; not implemented
1988: SPI (Standard Product Interconnect) from Si, Ph; not accepted
1992: DICOM 3.0: networking, object oriented, accepted and supported by whole industry
2001: about 2000 pages; growing exponentially
Topics:
Data formats; image objects 
Workflow messages: worklist, performed procedure step 
Security: de-identification of patient data, digital signatures 
Structured Reporting: evidence reports with measurements; coded diagnosis of the radiologist ()
From connectivity to interoperability

## Slide 6
HL7: evolution
Past: messages in ASCII-format, with redundancy
Version 2.5:
modern XML-message format as option
Version 3.0 +:
CDA (Clinical Document Architecture) since 1996, now balloted
Level 1 much more primitive than DICOM Structured Reports
mostly syntax for headers in documents (patient, provider, encounter, time stamp, signature), but not a structure of medical content in data items;
base für SCIPHOX (D) (hospitals with physicians)
Implementations also in UK, GR, SF, CN
V 3.0 RIM (Reference Information Model)
consistent message generation model for healthcare
not yet complete, may need until end 2003 for positive ballot
From connectivity to interoperability

## Slide 7
DICOM WG 20 / HL7 Image Integration SIG
Domains connect together
Common Workinggroup of DICOM and HL7 Scope: to align the standardization in clinical documents
especially in CDA when progressing towards Level 3
DICOM SR (Structured Reporting) provides already the semantics to describe medical / clinical relationships between data which shall also be the content of CDA Level 2
  goal: CDA Level 3 will map to DICOM SR
Access to the Internet for DICOM Persistent Objects, include DICOM MIME Type in HL7 V3.0
CDA= Clinical Document Architecture

## Slide 8
Clinical Workflow Optimization
Continuity & Integrity of Patient Information
Foster Communication among diverse Healthcare Information Systems from different vendors
Avoid Repeating Tasks (like typing patient name)
Eliminate Data Redundancy
Eliminate Rigid & Costly Proprietary Solutions
Use existing standards wherever possible, thus saving the invested development of the companies,
And improving quality of products
Goals of the IHE Initiative Integrating the Healthcare Enterprise (typ. hospital)
Founded 1998 by RSNA (Radiological Society of North America)
and HIMSS (Healthcare Information & Management Systems Society)
Domains connect together

## Slide 9
IHE Roles and Transactions
Order Placer
Performed
Procedure Step
Manager
ADT
Patient Registration
Image Archive
Image Manager
Image Display
Image Creator
Acquisition
Modality
Department
System Database
Department
System Scheduler
– Order Filler –
Modality Worklist
Patient Registration
Patient Update
New Order
Order Cancel
Procedure Scheduled
Images Availability Query
Patient Update
Procedure Update
Images
Stored
Present.
State
Stored
Storage
Commit
Q /R
Images
Q /R
Presentation
Sates
Storage
Commit
Images
Stored
Present.
State
Stored
PPS
In-Progress
/ Completed
PPS
In-Progress
/ Completed
PPS
In-Progress
/ Completed
––––– Year 1 Scope
––––– Year 2 Scope Additions
• • • • • • Year 2 Optional Transactions
HIS
RIS
IMAGING:
PACS
Workstations
Modalities
Domains connect together

## Slide 10
IHE Goes Beyond Standards
IHE =
  + Multi-Vendor
  + Workflow-Driven
  + INTEGRATION
  based on established medical IT Standards
IHE = A Standards Harmonization Approach
Domains connect together

## Slide 11
A Multidimensional Expansion of Integration
3rd Dimension:
Increasing the Number of
Vertically Integrated
Departments
Master Patient Index
Clinical Patient Record
Ordering Process
Patient Registration
R a d i o l o g y
C a r d i o l o g y
Laboratory
P h a r m a c y
O t h e r s . . .
IHE Vision for Growth
1st Dimension: Workflow inside department
2nd Dimension: common consistent data
Domains connect together

## Slide 12: CIC Connectivity Industry Consortium (Laboratory)
MEDICA, 21.11.2002:
„The CIC has achieved its goal to develop a standard for point-of-care connectivity based on existing IEEE and HL7 standards and on specifications developed by the CIC. The NCCLS has approved the standard earlier this year and it is co-published by HL7 and IEEE as POCT1-A. International approval through ISO, CEN is initiated.“
NCCLS (National Committee for Clinical Laboratory Standards)
is ANSI accredited
hosts ISO TC 212 „Clinical Laboratory Testing and In Vitro Diagnostic Test Systems“
50 standards are recognized by FDA
Domains connect together

## Slide 13
A bunch of NCPDP standards was proposed for adoption by ISO.
NCPDP Standard Claims Billing Tape Format (V2.0)
NCPDP Billing Unit Standard (V1.4)
NCPDP Standard Diskette Billing Format (V2.0)
NCPDP Telecommunication Standard Format (V3.2)
NCPDP On-Line Real-Time Drug Utilization Review (ORDUR)
  Member Information
  Prescription Information
  Prescriber Information
  Pharmacy Identification
NCPDP Manufacturer Rebate Standard/X12 Implementation Guide (V1.0)
NCPDP Magnetic Stripe Standard Format (V2.0)
NCPDP Batch Transaction Standard (V1.0)
NCPDP Compound Transaction Implementation Guide (V1.0)
NCPDP Professional Pharmacy Service Implementation Manual (PPS) (V3.2-4.1)
NCPDP Prior Authorization Standard (V1.0)
NCPDP Prescriber/Pharmacist Interface Script (V1.0)
NCPDP National Council for Prescription Drug Programs
National standards will be transformed into international standards

## Slide 14
IHE started in US, but spreads geographically
IHE Europe
sponsored by ECR, COCIR, EU
IHE France (SFR, GMSIH, AFNOR)
IHE Deutschland (DRG, VDK, DKG, DFG, ZVEI)
IHE Italia
IHE UK
IHE Japan (JIRA)
IHE: a global approach
„IHE ist der Elchtest für die Integration“ (Prof. Klose, Marburg)
National standards will be transformed into international standards

## Slide 15
Secretariat at NEMA, U.S..
In the DICOM Committee the following biomedical societies are members:
RSNA, ACR, ACC (Cardiology), Am. Dental Assoc; Am. Academy of Ophthalmology; National Cancer Institute
Canadian Institute of Health
European Society of Cardiology
Deutsche Radiologische Gesellschaft
Societe Francaise de Radiologie
Societa Italiana di Radiologia Medica
Japan IRA
Korean PACS Standards Committee
Biomedical Society of Taiwan
Since 2001 Joel Chabriais is medical Co-Chair of WG 10 “Strategy”
Since 5. 12. 2002 Dr. Peter Mildenberger is biomedical Co-Chair of the DICOM Committee
DICOM: a global standard
National standards will be transformed into international standards

## Slide 16: CEN
CEN TC251 started early in the 1990s (G. Klein)
WG1: Information models (F. Freriks)
WG2: Terminology and Knowledge Bases (G. Holmberg)
WG3: Security, safety and quality (G. Trouessin)
WG4: Technology for Interoperability (M. Reynolds)
  ...it is important that while focussing on the European needs of health actors and suppliers of systems, we should promote international solutions through ISO whenever feasible.
But only 1 prENV did it to an accredited EN
CEN EN 1828:2001 Categorial Structure for classifications and coding systems of surgical procedures; 14 pages
  agrees to collaborate with HL7... to obtain unification of their set of standards for healthcare communication and to make the results globally available to ISO.
National standards will be transformed into international standards

## Slide 17
Terminology and Architecture (14)
u.a. CEN ENV 13606 : Electronic health record communication
CEN Output
Data Security and Privacy (8)
more requirements than implementable specifications
Interoperability (15)
e.g CEN ENV 12922: 1997 Medical Image Management – Part 1: Storage Commitment Service Class; Obsolete by DICOM
e.g. CEN ENV 13939:2001 Medical Data Interchange: HIS/RIS-PACS and HIS/RIS-Modality Interface; 51 pages; by WG IV, and NAMed G2; Annex C (p 13-51) is normative and consists of DICOM suppl 10 ”Basic Worklist Management”
What is the added value for industry?
National standards will be transformed into international standards
Was occasionally implemented, but interoperability did not work

## Slide 18
Secretariat now finally hosted by HIMSS
WG1: Health records and modelling coordination
WG2: Messaging and communication
WG3: Health concept representation
WG4: Security
WG5: Health cards
Three of the five ISO/TC 215 working groups have convenors working also in CEN/TC 251.
On 7.8.1998 ISO/TC 215 called out for existing standards to look for candidates for adoption. About 50 were proposed, e.g.
all the CEN ENVs,
the ASTM PS 100 to 109; and ASTM 1762, ASTM 1902.
HL7 2.3
IEEE 1073 for ICUs
NCPDP xx for pharmacies
ISO / TC 215 Health Informatics
National standards will be transformed into international standards
HIMSS= Healthcare Information & Management Systems Society

## Slide 19: ISO / TC 215 Scope (1)
Terminology; for use by SDOs or committees (5)
ISO 17113 DIS Exchange of information between healthcare information systems – Development of messages; 76 pages; Definition of Actor, RIM, HMD, CMC, …
ISO 17115 CD Vocabulary for terminological systems; 13 pages; medical entity dictionary and reference terminology
ISO 17117 TS:2002 - Controlled health terminology; Structure and high-level indicators
ISO 21667 TS Health indicators conceptual framework
ISO/IEC 19501 Information Technology – Unified Modeling Language (UML)
Interoperability (6)
ISO 18812 prEN Clinical analyser interfaces to laboratory information systems - Use profiles together with CEN
ISO/IEC 7826-2:1994 Information technology – General structure for the interchange of code values; Part 2: Registration of coding schemes.
ISO/IEC 10746-2:1994 ITU-T Recommendations X.902, Information technology – Open Distributed Processing – Reference Model –
ISO nnnnn TS Draft (25.4.2002) Interoperability of telelearning systems
ISO/IEC nnnnn TR: (Draft 25.4.2002) – Interoperability of telehealth systems and networks; Part 1: Introduction and definitions (19 pages); Part 2: Real-time systems (50 pages)
ISO 11073 PoC Medical Device Communication; 230 pages;
National standards will be transformed into international standards

## Slide 20
ISO / TC 215 Scope (2)
Data Security and Privacy (8)
ISO 7498:1989 Information processing systems – Open systems Interconnection – Basic Reference Model; Part 2: Security Architecture; Definition of terms like audit trail, confidentiality, consent, credentials, ..
ISO 17090 TS digital signature requirements ; based on the underlying X.509(2000) standard which is implemented in the US
ISO 18307 TR:2000 Key Characteristics for Interoperability and Compatibility in Messaging and Communication Standards; 79 pages; 6.11.2000
ISO 21089 TR (Draft 20.3.2002) Trusted end-to-end information flows; 50 pages; Definitions and terms (-page 20) include HIPAA.
ISO 21549 CEN CD ”Patient healthcard data” ; Part7: Electronic prescription
ISO 22857 CD (20.6.2002) ”Guidelines on data protection to facilitate trans-border flows of personal health information” ;66 pages.
ISO/IEC 15408:1999 Information technology - Security Techniques – Evaluation Criteria for IT Security
  ISO/IEC 15408-1: Introduction and General Model (62 pages)
  ISO/IEC 15408-2: Security functional requirements (354 pages)
  ISO/IEC 15408-3: Security Assurance requirements (222 pages)
  ISO/IEC 17799:2000 Information Security Management
National standards will be transformed into international standards

## Slide 21
ISO Cooperations with IEC
Joint standards
ISO Cooperations with CEN
25 of 40 work items are based on CEN work
ISO Cooperations with IEEE
Merges IEEE1073 and CEN Vital
ISO Cooperations with HL7
Started for V2.x
ISO Cooperations with DICOM
strategy of DICOM: not too early, because DICOM works faster
many references to ISO standards within DICOM standard
start with specific topic “Web-access to DICOM persistent objects”
Joint meetings since Jan 2001 of TC 215 WG2 with DICOM WG10,20, HL7, ASTM, IHE “IT Infrastructure Comm” for security topics
ISO / TC 215 cooperations
National standards will be transformed into international standards

## Slide 22
t
1982
1994
2003
Vital (CEN, Europe), Draft
IEEE 1073 (USA)
ISO 11073
(international)
1999
CEN, IEEE, ISO: Convergence
1995: ANSI Standard
National standards will be transformed into international standards

## Slide 23
Sector G mirrors exactly the structure of ISO / TC 215 by its working groups
G 1 "Modellierung"
G 2 "Kommunikation"
G 3 "Terminologie"
G 4 "Sicherheit"
G 5 "Karten"
founded in Feb/March 2000
DIN NAMed Fachbereich G "Medizinische Informatik"
National standards will be transformed into international standards

## Slide 24
Objectives *:
1. To develop the guiding principles to be used by standards development organizations relating to healthcare informatics standards to support the development of:
A common reference information model for healthcare information;
A common reference terminology model for healthcare information;
A common method for implementation of healthcare information exchange;
A common trust framework (privacy and security) for healthcare information and records;
A common approach for coordination and conflict resolution between SDOs.
ANSI-HISB
American National Standards Institute - Healthcare Informatics Standards Board
National standards will be transformed into international standards
* However, their results are less impressive than their objectives

## Slide 25
ASTM Committee E31 develops standards related to the
architecture, content, storage, security, confidentiality, functionality, and communication of information
used within healthcare and healthcare decision making,
including patient-specific information and knowledge.
… Standard also address policies for integrity and confidentiality and computer procedures that support the uses of data and healthcare decision making.
ASTM was host of ISO / TC 215 secretariat
ASTM E 31
Standards Committee on Health Informatics
Scope, Mission:
National standards will be transformed into international standards

## Slide 26
ASTM PS 100-97 Authentication of Healthcare Information Using Digital Signatures
ASTM PS 101-97 Security Framework for Healthcare Information
ASTM PS 102-97 Internet and Intranet Healthcare Security
ASTM PS 103-97 User Authentication and Authorization
ASTM PS 107-97 Information Access Privileges to Health Information
ASTM PS 108-97 Individual Rights Regarding Health Information
ASTM PS 109-97 Training of Persons Who Have Access to Health Information
ASTM E 1762-95 Electronic Authentication of Health Care Information
ASTM E 1869-97 Confidentiality, Privacy, Access, and Data Security Principles for Health Information Including Computer-Based Patient Records
ASTM 1902-97 Standard Guide for Management of Confidentiality and Security of Dictation, Transcription and Transcribed Health Records
A bunch of ASTM standards was proposed for adoption by ISO...
ASTM E 31
Standards Committee on Health Informatics
National standards will be transformed into international standards
... but implementations have been rare !

## Slide 27
Data Models
...still work in progress
DICOM:
Radiology-centered, but proven in practical daily life
HL7 V3.0 RIM:
For the whole hospital enterprise, and multiple site settings;
not yet completed
GEHR Good Electronic Health Record:
Consists of Object Model und Exchange Format;
Open Source; implemented in Australia; good contacts to CEN TC 251
NETDesign Data model from Germany, proprietary:
Perhaps the most advanced one? 800 Classes and 1300 Attributes.
Healthcare IT standardisation
is not yet done

## Slide 28
Success factors for Healthcare IT-Standardisation
What are the success factors ?
cooperative work of the major Stakeholders:
  User (requirements, real life use cases)
  Industry (technology, product quality, product maintenance)
  Academics (concepts, knowledge management)
  legislative (legal framework)
  (e.g. 1 User-Co-Chair , 1 Vendor-Co-Chair)
clearly defined scope of SDO; written down in strategy papers
cooperation between SDOs of diverse domains
transparent WG-structure („national mirror bodies“)
business propositions
speed (new version each 12 months)
intensity of work (DICOM WG6: 6 Sessions p.a. à 1 week, + Tecons)

## Slide 29
To avoid:
Double work, waste of expert resources
Inflation of bodies and conferences
National presumptions
Burning of tax money
Success factors for Healthcare IT-Standardisation
What are the success factors ?

## Slide 31
Communication between Manager and Agents: Association
Agent Application Process
Transport and Lower Layers (IrDA)
ENV 13735 (Intermed): Application Profiles
ACSE
Presentation Layer
Session Layer
Transport System
Medical Device Information Base (Vital): Objektbaum
MDIB
MDS
VMD
Channel
NU
RT-
SA
AL
Channel
NU
AL
7
6
5
1 - 4
Patientenmonitor (Server)
OSI/ISO
Schichten
CMDISE (IEEE 1073.2.0)
Common Medical Device Information Service Element: Verwaltet die Objekte
Manager Application Process
ACSE
Presentation Layer
Session Layer
Transport System
MDIB
CMDISE (IEEE 1073.2.0)
PC (Client)
Physikalische Verbindung, z.B. IrDA - Cable Connected