## gap anaylsis
1.Technical area |  | 2.FG M2M deliverable related to the technical area | 3.Item | 4.SDOs to be involved in required standardization work | 5.SDOs’ document(s) related to the item |  | Objectives of required standardization for the item | 6.Objectives of required standardization for the item | 7.Standardization issue (gap) related to the item
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | WHO | ICD-10 | International Classification of Disease (ICD)-10 |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | WHO/ITU | - | National eHealth Strategy Toolkit |  | Examples of e-health applications and services | This document provides a framework and method for developing a national eHealth vision, action plan and monitoring framework. In particular, the contents in the section 9.3 and Annex A includes examples of eHealth applications and services. These examples have been examined, and the examples with M2M (e.g. remote patient monitoring) are included the clause 7 in D0.2.
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | WHO/ITU | - | National eHealth Strategy Toolkit |  | e-health services | N/A to e-health with M2M: service list and explanation.
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | CEN/TC 251 | EN 1068 | Health informatics - Registration of coding systems - |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | CEN/TC 251 | EN 12264 | Health informatics - Categorial structures for systems of concepts - |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | CEN/TC 251 | EN 12435 | Health informatics - Expression of results of measurements in health sciences - |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | CEN/TC 251 | CR 1350 | Investigation of syntaxes for existing interchange formats to be used in health care - |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | CEN/TC 251 | EN 13940-1 | Health informatics - System of concepts to support continuity of care - Part 1 :Basic concepts |  | Concept of health information management | This document describes continuity of care which implies the management of health information in two different perspectives: 1) local management of information about the subject of care, at the site of care provision; 2) information interchange between health care providers. It identifies and describes concepts important to continuity of care, and establishes a system of concepts to be used when setting up information systems, especially when dealing with health record communication. The D0.2 basically aligns with these concepts.
2 | e-health services/applications (areas) | N/A | N/A | CEN/TC 251 | EN 14463 | Health informatics - A syntax to represent the content of medical classification systems - ClaML - |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | CEN/TC 251 | EN 14485 | Health informatics - Guidance for handling personal health data in international applications in the context of the EU data protection directive - |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | CEN/TC 251 | EN 1828 | Health informatics - Categorial structure for classifications and coding systems of surgical procedures - |  | - | -
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | CEN/TC 251 | CEN/TR 15253 | Health informatics - Quality of service requirements for health information interchange - |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This technical report describes QoS requirements for e-health services in general. It illustrates Legal and regulatory constraints, Data volumes, Availability, Confidence level assessment, Information fidelity, Grouping of related information, Urgency of Information, Reliability of correct ordering of data, and so on.
7 | Security and safety | N/A | N/A | CEN/TC 251 | CEN/TR 15299 | Health informatics - Safety procedures for identification of patients and related objects - |  | - | -
7 | Security and safety | N/A | N/A | CEN/TC 251 | CEN/TS 15260 | Health informatics - Classification of safety risks from health informatics products - |  | - | -
7 | Security and safety | N/A | N/A | CEN/TC 251 | EN 12251 | Health informatics - Secure User Identification for Health Care - Management and Security of Authentication by Passwords - |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | CEN/TS 14822-4 | Health informatics - General purpose information components - Part 4: Message headers - |  | message within computer systems | This message headers are used in order that computer systems may share information effectively there is a requirement that the communicating parties and particularly their computer systems have a common understanding of how the information which they are sharing is represented.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | EN 1064 | Health informatics - Standard communication protocol - Computer-assisted electrocardiography - |  | Protocol between digital ECG carts and computer ECG managements systems | This document specifies the content and structure of the information which is to be interchanged between digital ECG carts and computer ECG management systems, as well as other computer systems where ECG data can be stored.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | ENV 12612 | Medical informatics - Messages for the exchange of healthcare administrative information - |  | general administrative messages between healthcare information systems | This document specifies general administrative messages for electronic information exchange between healthcare information systems.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | ENV 13607 | Health informatics - Messages for the exchange of information on medicine prescriptions - |  | general messages for the exchange of information on medicine prescriptions | This document specifies general messages for electronic information exchange between computer systems used by healthcare parties prescribing, dispensing or administering medicinal products/medicinal appliances.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | ENV 13609-2 | Health informatics - Messages for maintenance of supporting information in healthcare systems - Part 2: Updating of medical laboratory-specific information - |  | messages for maintenance for updating of medical laboratory | This document provides a description of a message which provides sufficient information to allow a receiving system to associate supporting information to code values representing laboratory investigations that may be performed on samples taken from the patient.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | CEN/TC 251 | ENV 13730-2 | Healthcare Informatics - Blood transfusion related messages - Part 2: Production related messages (BTR-PROD) - |  | general messages for electronic information interchange between computer systems used by healthcare parties in the blood transfusion domain | This document is applicable to blood transfusion related messages including those for: - the collection of blood/blood components [3.22] from blood donor - manufacturing [3.40] and processing [3.44] of blood components - classification [3.19] of blood donations - issue of blood components to the blood components dispenser
10 | Others | N/A | N/A | CEN/TC 251 | EN 12381 | Health informatics - Time standards for healthcare specific problems - |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 13609-1 | Health informatics - Messages for maintenance of supporting information in healthcare systems - Part 1 :Updating of coding schemes |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 14822-1 | Health informatics - General purpose information components - Part 1 :Overview |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 14822-2 | Health informatics - General purpose information components - Part 2 :Non-clinical |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 14822-3 | Health informatics - General purpose information components - Part 3 :Clinical |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 15521 | Health informatics - Categorial structure for terminologies of human anatomy - |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | EN 1614 | Health informatics - Representation of dedicated kinds of property in laboratory medicine - |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | ENV 12443 | Medical Informatics - Healthcare Information Framework (HIF) - |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | ENV 12537-1 | Medical informatics - Registration of information objects used for EDI in healthcare - Part 1 :The Register |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | ENV 12610 | Medical informatics - Medicinal product identification - |  | - | -
10 | Others | N/A | N/A | CEN/TC 251 | ENV 12611 | Medical informatics - Categorial structure of systems of concepts - Medical devices - |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | ISO/TC 215 | EN ISO 18104 | Health Informatics - Integration of a reference terminology model for nursing (ISO 18104:2003) - |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | ISO/TC 215 | ISO/TR 12309 | Guidelines for terminology development organizations |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | ISO/TC 215 | ISO/TR 14639-1 | Capacity-based eHealth architecture roadmap -- Part 1: Overview of national eHealth initiatives |  | Terms and definitions of e-health | This document provides the business requirements of eHealth architecture and international experiences of national eHealth system. This document describes terms of "architecture system", "clinical information", "eHealth", "EHR", "ERP" and so on.
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | ISO/TC 215 | ISO 17115 | Vocabulary for terminological systems |  | Formal definitions, parts of definitions and how they are related | N/A This document defined a set of basic concepts required to describe formal concept representation systems for health system, and describes representation of concepts and characteristics.
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | ISO/TC 215 | ISO/TS 22789 | Conceptual framework for patient findings and problems in terminologies |  | patient findings and problems | N/A This document specifies a categorical structure which the subject field of patient findings and problems. There are no same terms used in D02.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | EN ISO 10781 | Electronic Health Record-System Functional Model, Release 1.1 (ISO 10781 |  | Functional model of EHR System | This document provides the EHR System Functional Model which is composed of a functional outline (which is divided into three sections, direct care, supportive and information infrastructure), functional profiles (which overlay the outlined functions) and assigned priorities for the functions in the profile. The medical information system in D0.2 involves EHR system.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | EN ISO 11073-20101 | Health informatics - Point-of-care medical device communication - Part 20101: Application profiles - Base standard (ISO/IEEE 11073-20101:2004) - |  | application, presentation layer, and session layer protocol | N/A. Analysis in D3.1 covers this document.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | ISO/TC 215 | EN ISO 11073-20601 | Health informatics - Personal health device communication - Part 20601: Application profile - Optimized exchange protocol (ISO/IEEE 11073-20601:2010) |  | protocol between agents devices and manager devices | The protocol is optimized to personal health usage requirements and leverages commonly used methods and tools wherever possible. The primary concentration is the interface and data exchange between the agents and manager.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | EN ISO 13606-5 | Health informatics - Electronic health record communication - Part 5: Interface specification (ISO 13606-5:2010) - |  | sharing protocol between many different kinds of actors on application layer | It requires the communication (or sharing) of EHR data, which may involve many different kinds of actors (e.g. healthcare professionals, patients, families and cares, managers, researchers and legal representatives) and systems (e.g. clinical application, hand-held application, EHR system, decision support, reporting, security or audit systems). The communication may take place within or between organizations, or across a healthcare network.
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | EN ISO 21090 | Health Informatics - Harmonized data types for information interchange (ISO 21090:2011) - |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | ISO/TC 215 | ISO/IEEE 11073-20101 | Point-of-care medical device communication -- Part 20101: Application profiles -- Base standard |  | application, presentation layer, and session layer protocol | The scope of this standard is upper layer services and protocols for information exchange under the ISO/IEEE 11073 standards for medical device communications (MDC).
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 13119 | Health informatics - Clinical knowledge resources - Metadata - |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 13606-1 | Electronic health record communication -- Part 1: Reference model |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 13606-2 | Electronic health record communication -- Part 2: Archetype interchange specification |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 13606-3 | Electronic health record communication -- Part 3: Reference archetypes and term lists |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO/TS 13606-4 | Electronic health record communication -- Part 4: Security |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | ISO 13606-5 | Electronic health record communication -- Part 5: Interface specification |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | ISO/TS 14265 | Classification of purposes for processing personal health information |  | High-level categories of purposes for which personal health information | This document defines a set of high-level categories of purposes for which personal health information can be processed. This provides a framework for classifying the various specific purposes.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | ISO/TR 14292 | Personal health records -- Definition, scope and context |  | High-level requirement for PHR | This document defines a PHR and describes engagement with healthcare services.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 17090-1 | Public key infrastructure -- Part 1: Overview of digital certificate services |  | Security mechanism for M2M enabled e-health service | This document introduces public key cryptography used to exchange health information.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 17090-2 | Public key infrastructure -- Part 2: Certificate profile |  | Security mechanism for M2M enabled e-health service | This document defines certificate profile of public key cryptography used to exchange health information.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 17090-3 | Public key infrastructure -- Part 3: Policy management of certification authority |  | Security mechanism for M2M enabled e-health service | This document gives guidelines for certificate management issues involved in deploying digital certificates in healthcare. This document also identifies the principles needed in a healthcare security policy for cross-border communication and defines the minimum levels of security required, concentrating on aspects unique to healthcare.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO 18308 | Requirements for an electronic health record architecture |  | requirements of EHR application | This document defines the set of requirements for architecture of a system that processes, manages and communicates EHR information. EHR is the importance application of e-health, it is necessary to consider how to connect between M2M SL with EHR.
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | ISO/TC 215 | ISO/TR 20514 | Electronic health record -- Definition, scope and context |  | Definition of E HR | This document provides simple definitions for E HR and supporting descriptions of the characteristics of E HR.
7 | Security and safety | D0.2 | 6.2 Overview of e-health system | ISO/TC 215 | ISO/TS 21091 | Directory services for security, communications and identification of professionals and patients |  | General services for e-health system | This document defines minimal specifications for directory services for healthcare. It can be used to enable communications between organizations, devices, servers, application components, systems, technical actors, and devices.
4 | Service models and business models for e-health | N/A | N/A | ISO/TC 215 | ISO/HL7 21731 | HL7 version 3 -- Reference information model -- Release 1 |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | ISO/TR 22221 | Good principles and practices for a clinical data warehouse |  | Requirements of clinical data warehouse (CDW) | This document defines principles and practices in the creation, use, maintenance and protection of a CDW, including meeting ethical and data protection requirements for policies and security.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ISO/TC 215 | ISO/TS 29585: | Deployment of a clinical data warehouse |  | Requirements and procedures for clinical data warehouse (CDW) | This document describes the requirements of CDW for each stakeholder (Users, local healthcare provider organizations, regional requirements, National requirements, Non-functional requirements, and service requirements of CDW).
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | ISO/TC 215 | ISO/TR 21730 | Use of mobile wireless communication and computing technology in healthcare facilities -- Recommendations for electromagnetic compatibility (management of unintentional electromagnetic interference) with medical devices |  | Use cases and services | This document provides guidance for the deployment, use and management of mobile wireless communication and computing equipment in healthcare facilities in a way that promotes effective electromagnetic compatibility (EMC) among the wireless technology and active medical devices through mitigation of potential hazards due to electromagnetic interference (EMI).
10 | Others | N/A | N/A | ISO/TC 215 | ISO/IEEE 11073-10101 | Point-of-care medical device communication -- Part 10101: Nomenclature |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | ISO/TC 215 | ISO/IEEE 11073-10201 | Point-of-care medical device communication -- Part 10201: Domain information model |  | Information model | This standard provides a common representation of all application entities present in the application processes within the various devices independent of the syntax. In particular, "8. Service model for communicating systems" is informative for investigation of API and protocols.
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 11487 | Clinical stakeholder participation in the work of ISO TC 215 |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | ISO/TC 215 | ISO 12967-1 | Service architecture -- Part 1: Enterprise viewpoint |  | Service architecture of information systems | ISO 12967 provides guidance for the description, planning and development of information systems, both within one enterprise and across different healthcare organizations through an architecture integrating the common data and business logic into a specific architectural layer. Enterprise viewpoint: specifies a set of fundamental common requirements at enterprise level with respect to the organizational purposes, scopes and policies that must be supported by the information and functionality of the middleware.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | ISO/TC 215 | ISO 12967-2 | Service architecture -- Part 2: Information viewpoint |  | Service architecture of information systems | Information viewpoint: specifies the fundamental semantics of the information model to be implemented by the middleware to integrate the common enterprise data.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | ISO/TC 215 | ISO 12967-3 | Service architecture -- Part 3: Computational viewpoint |  | Service architecture of information systems | Computational viewpoint: specifies the scope and characteristics of the services that must be provided by the middleware for allowing access to the common data as well as the execution of the business logic supporting the enterprise processes identified in the information viewpoint.
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 25257 | Business requirements for an international coding system for medicinal products |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | ISO 10159 | Messages and communication -- Web access reference manifest |  | web access reference pointer, information object identifier | This document specifies the format of a manifest of web access reference pointers, information object identifiers; information object filenames and associated information required by a target IT system.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TS 27527 | Provider identification |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This technical specification provides definitions of data elements to support the identification of individual providers and organizational providers for purposes such as electronic health record authentication and authorization, communications, role definitions, delegation of authority, and the management of certification of individuals.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO 11073-30200 | Health informatics - Point-of-care medical device communication - Part 30200: Transport profile - Cable connected (ISO/IEEE 11073-30200:2004) - |  | e-health specific M2M SL reqts. (Clause 7.2) | Device -Gateway interface. Not applicability to Clause 7.2 in D2.1. The scope is an IrDA-based, cable-connected local area network (LAN) for the interconnection of computers and medical devices. This standard is suitable for new device designs, but is particularly targeted to modifications of legacy devices (e.g. in use in clinical facilities, in active production at the facilities of medical device manufacturers, beyond the initial stages of engineering development).
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-30300 | Point-of-care medical device communication -- Part 30300: Transport profile -- Infrared wireless |  | e-health specific M2M SL reqts. (Clause 7.2) | Device -Gateway interface. Not applicability to Clause 7.2 in D2.1. The scope is to define an IrDA-based transport profile for medical device communication that uses short-range infrared, as a companion standard to ISO/IEEE 11073-30200, which specifies a cable connected physical layer.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | ISO 11073-90101 | Point-of-care medical device communication -- Part 90101: Analytical instruments -- Point-of-care test |  | the common communication interfaces and protocols between systems and devices | This document specifies the common communication interfaces and protocols between system and devices. The only relationship of this point-of-care standard to the laboratory automation domain is through the use of the HL7 standard.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TR 11636 | Dynamic on-demand virtual private network for health information infrastructure |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This Technical Report explains the network requirements in the healthcare field, the network security of an open network for the healthcare field, and the minimum guidelines for security management of health information exchange, including personal data, between external institutions.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TR 16056-1 | Interoperability of telehealth systems and networks -- Part 1: Introduction and definitions |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. Part 1 covers an introduction to telehealth and includes the definitions of telehealth, interoperability, and related terms.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TR 16056-2 | Interoperability of telehealth systems and networks -- Part 2: Real-time systems |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. Part 2 scopes the technical standards related to real-time applications (including video, audio, and data conferencing), identifies gaps and overlaps in the standards, defines requirements for interoperable telehealth systems and networks, and identifies building blocks for interoperable telehealth solutions.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TS 16058 | Interoperability of telelearning systems |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This specification defines technical requirements to be satisfied for a compliant telelearning system. It also focuses on the use of real-time interactive communication in telelearning sessions.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TS 21298 | Functional and structural roles |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This Technical Specification defines a model for expressing functional and structural roles in health applications. This will focus on roles of persons (e.g. the roles of health professionals) and their roles in the context of the provision of care (e.g. subject of care). Roles can be structural (e.g. licensed general practitioner, non-licensed transcriptionist) or functional (e.g. a provider who is a member of a therapeutic team, an attending physician, etc.). Structural roles are relatively static, often lasting for many years. Functional roles are bound to the realization of actions and are highly dynamic.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/TR 22790: | Functional characteristics of prescriber support systems |  | e-health specific M2M SL reqts. (Clause 7.2) | It will not have a direct applicability to Clause 7.2 in D2.1 for the specific purpose. This Technical Report provides a common conceptual model of information management related to the process of prescribing or ordering medication. This Technical Report provides a set of optional business requirements that could be selected by the buyer in a procurement process to be responded to by a tendering supplier.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 27799 | Health informatics - Information security management in health using ISO/IEC 27002 |  | Security mechanism for M2M enabled e-health service | This document defines guidelines to support the interpretation and implementation in health informatics of ISO/IEC 27002 and is a companion to that standard.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO/TR 11633-1 | Information security management for remote maintenance of medical devices and medical information systems -- Part 1: Requirements and risk analysis |  | Security requirements for M2M enabled e-health service | This document focuses on remote maintenance services (RMS) for information systems in health care facilities as provided by vendors of medical devices or health information systems (RMS providers) and shows an example of carrying out a risk analysis in order to protect both sides' information assets (primarily the information system itself and personal health data) in a safe and efficient (i.e. economical) manner.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO/TR 11633-2 | Information security management for remote maintenance of medical devices and medical information systems -- Part 2: Implementation of an information security management system (ISMS) |  | Security mechanism for M2M enabled e-health service | This document provides an example of selected and applied "controls" for RMS security based on the definition in the ISMS, on the basis of the risk analysis result mentioned in ISO/TR 11633 1. ISO/TR 11633 2:2009 excludes the handling of the communication problems and the use of encryption method.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO/TS 22600-1 | Privilege management and access control -- Part 1: Overview and policy management |  | Security mechanism for M2M enabled e-health service | This document is intended to support the needs of healthcare information sharing across unaffiliated providers of healthcare, healthcare organizations, health insurance companies, their patients, and staff members and trading partners. It is also intended to support inquiries from both individuals and application systems.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO/TS 22600-2 | Privilege management and access control -- Part 2: Formal models |  | Security mechanism for M2M enabled e-health service | This document is intended to support the needs of healthcare information sharing across unaffiliated providers of healthcare, healthcare organizations, health insurance companies, their patients, and staff members and trading partners. It is also intended to support inquiries from both individuals and application systems
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO/TS 22600-3 | Privilege management and access control -- Part 3: Implementations |  | Security mechanism for M2M enabled e-health service | This document instantiates requirements for repositories for access control policies and requirements for privilege management infrastructures for health informatics. It provides implementation examples of the formal models specified in ISO/TS 22600-2:2006.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 22857 | Guidelines on data protection to facilitate trans-border flows of personal health information |  | Security mechanism for M2M enabled e-health service | This document provides guidance on data protection requirements to facilitate the transfer of personal health data across national borders.
7 | Security and safety | D0.2 | 7.2 High level requirement | ISO/TC 215 | ISO 27799 | Information security management in health using ISO/IEC 27002 |  | Security requirements for M2M enabled e-health service | This Technical Report provides a common conceptual model of information management related to the process of prescribing or ordering medication. This Technical Report provides a set of optional business requirements that could be selected by the buyer in a procurement process to be responded to by a tendering supplier.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | ISO/IEEE 11073-20601 | Personal health device communication -- Part 20601: Application profile -- Optimized exchange protocol |  | protocol between agents devices and manager devices | The protocol is optimized to personal health usage requirements and leverages commonly used methods and tools wherever possible. The primary concentration is the interface and data exchange between the agents and manager.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | ISO/TC 215 | ISO 11073-91064 | Standard communication protocol -- Part 91064: Computer-assisted electrocardiography |  | Protocol between digital ECG carts and computer ECG managements systems | This document specifies the content and structure of the information which is to be interchanged between digital ECG carts and computer ECG management systems, as well as other computer systems where ECG data can be stored. This is same with CEN/EN 1064.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ISO/TC 215 | ISO 18232 | Messages and communication -- Format of length limited globally unique string identifiers |  | encoding and length for GUI | This document specifies the encoding and length for globally unique identifiers for data objects used in healthcare exchanged as alphanumeric strings. The technologies used for data storage, location and communication are outside the scope of this International Standard.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6 APIs and protocols for M2M | ISO/TC 215 | ISO/TR 21089 | Trusted end-to-end information flows |  | guide to trusted end-to end information flow | This document offers an informative guide to trusted end-to-end information flow for health (care) records and to the key Trace Points and audit events in the electronic Entity/Act Record lifecycle. It also offers recommendations regarding the trace/audit detail relevant to each.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10404 | Personal health device communication -- Part 10404: Device specialization -- Pulse oximeter |  | e-health specific M2M SL reqts. (Clause 7.2) | Device -Gateway interface. Not applicable to Clause 7.2 in D2.1. This standard defines the device specialization for the pulse oximeter, being a specific agent type, and provides a description of the device concepts, its capabilities, and its implementation according to this standard.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10407 | Personal health device communication -- Part 10407: Device specialization -- Blood pressure monitor |  | e-health specific M2M SL reqts. (Clause 7.2) | Not applicable to Clause 7.2 in D2.1. Blood pressure monitor
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10408 | Personal health device communication -- Part 10408: Device specialization -- Thermometer |  | e-health specific M2M SL reqts. (Clause 7.2) | Not applicable to Clause 7.2 in D2.1. Thermometer
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10415 | Personal health device communication -- Part 10415: Device specialization -- Weighing scale |  | e-health specific M2M SL reqts. (Clause 7.2) | Not applicable to Clause 7.2 in D2.1. Weighing scale
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10417: | Personal health device communication -- Part 10417: Device specialization -- Glucose meter |  | e-health specific M2M SL reqts. (Clause 7.2) | Not applicable to Clause 7.2 in D2.1. Glucose meter
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ISO/TC 215 | ISO/IEEE 11073-10471 | Personal health device communication -- Part 10471: Device specialization - Independant living activity hub |  | e-health specific M2M SL reqts. (Clause 7.2) | Not applicable to Clause 7.2 in D2.1. Independent living activity hub. It is a device that aggregates activity data sensor events from multiple sensor data sources, all of which are used in the support of the independent living of one or more occupants.
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 11073-92001 | Medical waveform format -- Part 92001: Encoding rules |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 12052 | Digital imaging and communication in medicine (DICOM) including workflow and data management |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 13128 | Clinical document registry federation |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 17119 | Health informatics profiling framework |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 17432 | Messages and communication -- Web access to DICOM persistent objects |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 18812 | Clinical analyser interfaces to laboratory information systems -- Use profiles |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 20301 | Health cards -- General characteristics |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 20302 | Health cards -- Numbering system and registration procedure for issuer identifiers |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 21090 | Harmonized data types for information interchange |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 21547 | Security requirements for archiving of electronic health records -- Principles |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 21548 | Security requirements for archiving of electronic health records -- Guidelines |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-1 | Patient healthcard data -- Part 1: General structure |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-2 | Patient healthcard data -- Part 2: Common objects |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-3 | Patient healthcard data -- Part 3: Limited clinical data |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-4 | Patient healthcard data -- Part 4: Extended clinical data |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-5 | Patient healthcard data -- Part 5: Identification data |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-6 | Patient healthcard data -- Part 6: Administrative data |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-7 | Patient healthcard data -- Part 7: Medication data |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | ISO/TC 215 | ISO 21549-8 | Patient healthcard data -- Part 8: Links |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 21667 | Health indicators conceptual framework |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 22220 | Identification of subjects of health care |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 22224 | Electronic reporting of adverse drug reactions |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 25237 | Pseudonymization |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 25238 | Classification of safety risks from health software |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO 25720 | Genomic Sequence Variation Markup Language (GSVML) |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TS 27790 | Document registry framework |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/TR 27809 | Measures for ensuring patient safety of health software |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/HL7 27953-1 | Individual case safety reports (ICSRs) in pharmacovigilance -- Part 1: Framework for adverse event reporting |  | - | -
10 | Others | N/A | N/A | ISO/TC 215 | ISO/HL7 27953-2 | Individual case safety reports (ICSRs) in pharmacovigilance -- Part 2: Human pharmaceutical reporting requirements for ICSR |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2, D2.1, D3.1 | N/A | Continua Health Alliance | - | Design Guidelines, 2 Terminology |  | - | -
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 3 System Overview |  | Architectural framework as functional view (Clause 8) | Informative for the item. This version of the Continua Design Guidelines contains both interface guidelines as well as device guidelines. Interface guidelines enable interoperability across a single interface. Device guidelines are specified to enable E2E interoperability (interoperability across interfaces) and interaction with the environment. Thus, the guidelines do not imply M2M service layer.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | Continua Health Alliance | - | Design Guidelines, 3 System Overview |  | Devices, Components, and Interfaces | Reference Topology (Figure 3-10) shows 5IFs (TAN-IF, PAN-IF, LAN-IF, WAN-IF, HRN-IF). It is necessary to identify the difference between FG-M2M's API and WAN-IF.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 4 Common TAN/PAN/LAN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. Although data/messages layers (e.g. IEEE 11073-20601) are apart from M2M layer from a layered view, method of conveying data/message has some relevancy with M2M SL communications. This section lists the Design Guidelines for the Data/Messaging layer that are common to the Tap, Personal, and Local Area Network Interface. This section does not apply to the Low Power Wireless subclass of the PAN interface. For the Data/Messaging layer, the Continua Alliance has selected the IEEE 11073-20601 Personal Health Device Communication protocol for the optimized exchange of information. The standard provides an interoperable messaging protocol and has definitions and structures in place to convert from an abstract data format into a transmission format.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model | Continua Health Alliance | - | Design Guidelines, 4 Common TAN/PAN/LAN Interface Design Guidelines |  | Protocol stack and existing protocol | Overview of the protocol stack (Figure 4-1) shows TAN/PAN/LAN Interface Stack Diagram. Applicable Interface and exchange protocol (11073-20601) and Devices protocol (11073-104xx and so on). It is wondered that TAN/PAN/LAN interface is the IF between sensor and gateway that FG-M2M contains.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 5 TAN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. Guidelines for Interoperability across Continua certified devices in the Touch Area Networks (TAN) are listed. TAN is a network between Continua device (e.g. blood pressure meter) and Continua Application Hosting Device (e.g. mobile phone). The guidelines selected NFC standards for the transport layer protocol and IEEE11073 Personal Health Device family of standards for the data and messaging layer.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7.1 Reference points analysis | Continua Health Alliance | - | Design Guidelines, 5 TAN Interface Design Guidelines |  | Interface, reference point | NFC is selected standards as transport protocols, IEEE 11073 Personal Health device family is selected standards as exchange protocol. TAN IF is described as the exchanging protocol in transport layer.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 6 PAN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. Guidelines for Interoperability across Continua certified devices in the Personal Area Networks (PAN) are listed. PAN is a network between Continua device (e.g. blood pressure meter) and Continua Application Hosting Device (e.g. mobile phone). The guidelines selected BlueTooth standards and USB standards for the transport layer protocol and IEEE11073 Personal Health Device family of standards for the data and messaging layer.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7.1 Reference points analysis | Continua Health Alliance | - | Design Guidelines, 6 PAN Interface Design Guidelines |  | Interface, reference point | Bluetooth and USB are selected standards as transport protocols, IEEE 11073 Personal Health device family is selected standards as exchange protocol PAN IF is described as the exchanging protocol in transport layer.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 7 Sensor-LAN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. Guidelines for Interoperability across Continua certified devices in the Sensor-LAN (LAN) are listed. LAN is a network between Continua device (e.g. blood pressure meter) and Continua Application Hosting Device (e.g. mobile phone). The guidelines selected the ZigBee Health Care profile as wireless lower layer protocol for the transport layer protocol and IEEE11073 Personal Health Device family of standards for the data and messaging layer.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7.1 Reference points analysis | Continua Health Alliance | - | Design Guidelines, 7 Sensor-LAN Interface Design Guidelines |  | Interface, reference point | Zigbee is selected standards as transport protocols, IEEE 11073 Personal Health device family is selected standards as exchange protocol LAN IF is described as the exchanging protocol in transport layer.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 8 WAN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. Guidelines are focused on enabling the interoperable transmission of messages related to device observations across a Wide Area Network (WAN) connecting an Application Hosting Device (e.g. mobile phone) to a WAN Device (e.g. backend server or PC). The guidelines describe protocol transactions by characterizing the protocol exchange framework and the format of the contained information. The guidelines specify to use the transport guidelines in Appendix V of the IHE IT Infrastructure Technical Framework as the message exchange framework, formatting the contained information in accordance with the IHE PCD-01 transaction of the IHE Device to Enterprise Communication Profile in the IHE Patient Care Devices Technical Framework.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7.1 Reference points analysis | Continua Health Alliance | - | Design Guidelines, 8 WAN Interface Design Guidelines |  | M2M gateway - M2M SL interface | WAN IF is similar between gateway and M2M SL Interface. WAN-IF must use the IHE IT Infrastructure Technical Framework as the message exchange framework. Data Payload must be formatted in accordance with the IHE PCD-01 transaction that constrains the use of HL7 V2.6 messages. Continua WAN Interface is specified to run over standard private and public TCP/IP networks. The transport portion of the Continua WAN Interface is based on a set of Web Service standards defined by IETF, W3C, and OASIS as profiled by the IHE IT Infrastructure Technical Framework and the WS-I Basic Security Profile. The Continua WAN security guidelines are based on following concepts, as defined by ISO 27000. Confidentiality, Integrity, Availability, Accountability, Authentication, Authorization, Access Control. The tools used to provide the secure communication are selected from the WS-I BSP - TLS v1.0.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | Continua Health Alliance | - | Design Guidelines, 9 HRN Interface Design Guidelines |  | Architectural framework as layered view (Clause 8) | Informative for the item. The purpose of the HRN interface is to transfer patient information from a Continua WAN device (e.g. a Remote Patient Monitoring (RPM) server of a Disease Management service provider or the Application Server of an Aging Independently or Health & Fitness service provider) to either another WAN device or an electronic health record device (e.g. a hospitals' Enterprise Health Record, a physician’s Electronic Medical Record or a Personal Health Record service used by the patient). The guidelines selects standards; - for Data, the HL7 Personal Healthcare Monitoring Report document format standard in order to facilitate transfer of both coded patient results from personal health devices and textual summary results from patient care-givers, - for Patient Identity, the IHE Patient Identifier Cross-reference (PIX) profile in order to associate personal health data with the proper patient, - for Messaging, the Integrating the Healthcare Enterprise’s (IHE) Cross-Enterprise Document Sharing (XDS) profile for many reasons, - for Transport protocol, the IHE XDR (Cross-Enterprise Document Reliable interchange) profile utilizing current standards such as SOAP 1.2 and MTOM, and the IHE Cross-Enterprise Document Media Interchange (XDM) profile utilizes current standards such as Zip and S-MIME.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7.1 Reference points analysis | Continua Health Alliance | - | Design Guidelines, 9 HRN Interface Design Guidelines |  | M2M SL - Application layer interface | As Data format, the HL7 CDA R2, profiled by HL7 Personal Healthcare Monitoring (PHM) is chosen. As Patient Identity, the IHE Patient Identifier Cross-reference (PIX) profile is chosen. As Messaging, the Integrating the Healthcare Enterprise's (IHE) Cross-Enterprise Document Sharing (XDS) profile is chosen. As Transport Protocol, the IHE XDR profile utilizes current standards such as SOAP 1.2 and MTOM.
10 | Others | N/A | N/A | GS1/Healthcare | - | Healthcare GTIN Allocation Rules |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | GS1/Healthcare | - | GS1 GLN in Healthcare Implementation Guide |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | GS1/Healthcare | - | Global Traceability Standard for Healthcare |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | GS1/Healthcare | - | AIDC Healthcare Implementation Guide |  | - | -
6 | Network/platform functionalities/capabilities for e-health services support | N/A | N/A | GS1/Healthcare | - | EPCglobal Pedigree Messaging Standard |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | GS1/Healthcare | Version 13.1, Issue 2 | GS1 General Specifications |  | Device identification | Device identification is described as a general service requirement in the clause 7.2 in the D0.2. This specification describes that some national or regional regulatory organizations may require pharmaceuticals and/or medical devices be identified with locally specific National Healthcare Reimbursement Numbers (NHRNs). Also, it specifies relevant requirements of Healthcare Human Readable Interpretation, and GS1 Multiple Bar Code Management Practices for Healthcare.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | N/A | N/A | GS1/Healthcare | - | GDSN Trade Item Extension: Healthcare |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 1 | Introduction and Overview |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 2 | Conformance |  | - | -
1 | Overall e-health terminology, codes, taxonomies, classifications | N/A | N/A | DICOM | part 3 | Information Object Definitions |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 4 | Service Class Specifications |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 5 | Data Structures and Encoding |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 6 | Data Dictionary |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | DICOM | part 7 | Message Exchange |  | Messages used to exchange command requests and responses | This document specifies the protocol of DICOM Message service Element (DIMSE) that is used between application entity and Upper layer Presentation Data Service. The DIMSE protocol machine defines the procedures and the encoding rules necessary to construct Messages used to exchange command requests and responses between peer DIMSE-service-users.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | DICOM | part 8 | Network Communication Support for Message Exchange |  | message exchange protocol for TCP/IP | This document describes that OSI upper layer service for DICOM application entities and DICOM upper layer protocol for TCP/IP
6 | Network/platform functionalities/capabilities for e-health services support | N/A | N/A | DICOM | part 10 | Media Storage and File Format for Media Interchange |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 11 | Media Storage Application Profiles |  | - | -
6 | Network/platform functionalities/capabilities for e-health services support | N/A | N/A | DICOM | part 12 | Media Formats and Physical Media for Media Interchange |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 14 | Grayscale Standard Display Function |  | - | -
7 | Security and safety | D0.2 | 7.2 High level requirement | DICOM | part 15 | Security and System Management Profiles |  | Security mechanism for M2M enabled e-health service | This document specifies Security and System Management Profiles to which implementations may claim conformance. Security and System Management Profiles are defined by referencing externally developed standard protocols, such as TLS, ISCL, DHCP, and LDAP, with attention to their use in a system that uses DICOM Standard protocols for information interchange.
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 16 | Content Mapping Resource |  | - | -
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 17 | Explanatory Information |  | - | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | DICOM | part 18 | Web Access to DICOM Persistent Objects (WADO) |  | web-based service protocol | Web-based service for accessing and presenting DICOM persistent objects (e.g. images, medical imaging reports). It provides a simple mechanism for accessing a DICOM persistent object from HTML pages or XML documents, through HTTP/HTTPs protocol, using DICOM UIDs (Unique Identifiers).
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | DICOM | part 19 | Application Hosting |  | API between applications. | It defines API between Hosting system application and Hosted application.
2 | e-health services/applications (areas) | N/A | N/A | DICOM | part 20 | Transformation of DICOM to and from HL7 Standards |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | HL7 | CDA, Release 2 | CDA(Clinical Document Architecture) |  | Medical Records/Information Management | Health data management is generally described in the clause 7 in the D0.2. This is a document markup standard that specifies the structure and semantics of "clinical documents" for the purpose of exchange between healthcare providers and patients. It defines a clinical document as having the characteristics of Persistence, Stewardship, Potential for authentication, Context, Wholeness and Human readability.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | HL7 | CDA, Release 2 | CDA(Clinical Document Architecture) |  | markup standard | The HL7 Clinical Document Architecture (CDA) is a document markup standard that specifies the structure and semantics of "clinical documents" for the purpose of exchange. CDA documents are encoded in Extensible Markup Language (XML).
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | epSOS | D1.4.1 | EED SERVICES including use cases for all services |  | Use cases and services | N/A to e-health with M2M. Patient summary.
10 | Others | N/A | N/A | epSOS | D1.4.2 | Country status outline and template specification |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | epSOS | D1.4.3 | EED SERVICES including specifications for all services |  | Specification of services | The document describes services for the following use cases, extension of the epSOS Core Services - Patient Summary and ePrescription, Additional Service EHIC to illustrate how to improve coordination between epSOS core services and health administration processes, Additional Service 112 Emergency, Additional Service Access for Patients
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | epSOS | D2.1.1 | Legal and Regulatory Requirements at EU level |  | legal and regulatory requirements | N/A This document describes that legal requirements and legal foundations that relate to the epSOS extension.
10 | Others | N/A | N/A | epSOS | D2.1.2 | Standard Contract Terms for MS Document for Engagement of Pilot Sites |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | epSOS | D3.1.2 | Final definition of functional service requirements – ePrescription |  | Use cases and services requirements | ePrescription itself is N/A to e-health with M2M. Note: The concept of the ePrescription service is the ordering of a prescription in software, the electronic transmission of that prescription from the prescription provider to a Dispense provider, the electronic dispensing of the medicine and the electronic transmission of the dispensed medicine information from the dispenser provider to the prescription provider.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | epSOS | D3.2.2 | Final definition of functional service requirements - Patient Summary |  | Use cases and services requirements | Patient Summary itself is N/A to e-health with M2M. Note: Patient Summary is understood to be a reduced set of patient’s data which would provide a health professional with essential information needed in case of unexpected or unscheduled care (emergency, accident..) and in case of planned care (citizen movement, cross-organizational care path..) being its main purpose the unscheduled care.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | epSOS | D3.3.3 | epSOS Interoperability Framework |  | Interoperability framework | This epSOS Interoperability framework only applies to the epSOS cross boarder ePrescription/ Patient Summary/ eDespense exchange on the top of Web technologies. These, therefore, are not directly relevant to M2M.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | epSOS | D3.4.2 | epSOS Common Components Specification |  | Web services interface protocol | epSOS services are implemented as Web Services whose interfaces are specified with the Web Service Description Language [W3C WSDL 1.1].
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | epSOS | D3.4.2 | epSOS Common Components Specification |  | Web services interface protocol | epSOS services are implemented as Web Services whose interfaces are specified with the Web Service Description Language [W3C WSDL 1.1]. Service consumer and provider communicate over the Internet using XML-based SOAP messages transported via the HTTP protocol
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | epSOS | D3.5.2 | Semantic Services Definition |  | general terms and glossary | This document provides appendix of general epSOS Glossary. It is useful to identify general terms. This document is appendix.
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 7. e-health applications and services with M2M | epSOS | D3.6.2 | Final Identity Management Specification Definition |  | Identification and authentication management | N/A This document defines functional requirements for ePrescription Services.
1 | Overall e-health terminology, codes, taxonomies, classifications | D0.2 | 3. Definitions | epSOS | D3.7.2 | Final Security Services Specification Definition (Master Document) |  | security services definition | N/A This document provides the definition of a security system and defines both the security context/scenario and security items.
10 | Others | N/A | N/A | epSOS | D3.8.2 | Final National Pilot Set-Up and Deployment Guide |  | - | -
10 | Others | N/A | N/A | epSOS | D3.9.1 | epSOS Pilot System Compontents Specification |  | - | -
10 | Others | N/A | N/A | epSOS | D3.9.2 | Testing Methodology, Test Plan and Tools |  | - | -
10 | Others | N/A | N/A | epSOS | D3.B.1 | epSOS2 Implementation Strategy |  | - | -
10 | Others | N/A | N/A | epSOS | D3.C.1 | Proof of Concept Testing Strategy |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | IHE | Revision 10.0 | IT Infrastructure Technical Framework |  | Medical information sharing | Medical information sharing is implied in the D0.2 as a function in the Medical Information System. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. IT Infrastructure Integration Profiles involves; Sharing Value Set Integration Profile (SVS), Retrieve Information for Display (RID) , Enterprise User Authentication (EUA), Patient Identifier Cross-referencing (PIX), Patient Synchronized Applications (PSA), Consistent Time (CT), Patient Demographics Query (PDQ) , Audit Trail and Node Authentication (ATNA) , Cross-Enterprise Document Sharing (XDS) , Personnel White Pages (PWP) , Cross Enterprise User Assertion (XUA) , Patient Administration Management (PAM), Cross-Enterprise Document Reliable Interchange (XDR), Cross-Enterprise Document Media Interchange (XDM) Retrieve Form for Data Capture (RFD), Cross-Community Access (XCA), Basic Patient Privacy Consents (BPPC), Scanned Documents Integration Profile (XDS-SD), Patient Identifier Cross-referencing HL7 V3 (PIXV3), Patient Demographics Query HL7 V3 (PDQV3).
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | IHE | - | IT Infrastructure Technical Framework |  | existing standards | The approach employed in the IHE initiative is to support the use of existing standards, e.g., HL7, ASTM, DICOM, ISO, IETF, OASIS and others as appropriate, rather than to define new standards.
10 | Others | N/A | N/A | M-Health Alliance | - | Using Mobile Technology for Healthier Aging |  | - | -
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | M-Health Alliance | - | Leveraging Mobile Technologies to Promote Maternal & Newborn Health |  | e-health ecosystem | N/A. This document includes examples of mHealth services for promoting maternal & newborn health.
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | M-Health Alliance | - | Leveraging Mobile Technologies to Promote Maternal & Newborn Health |  | Use cases and services | Use cases and services - for e-health with M2M: remote monitoring service for oral cancer patients, diabetic patients, and disease management for CVDs. Ecosystem - for e-health with M2M: mHealth ecosystem for addressing four major areas in NCD (reduce the delay in seeking care, increase healthcare access, improve the patient-provider interaction, develop aging-friendly health services). Note 1: eHealth services should be clarified whether they are related to M2M. Note 2: all use cases don't use sensors.
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | M-Health Alliance | - | State of Evidence: mHealth & MNCH (One Page Review) |  | Use cases and services | N/A to e-health with M2M. e-health services ("APPENDIX A"), and mHealth ecosystem stakeholders ("APPENDIX C"). Note1: eHealth services should be clarified whether they are related to M2M.
10 | Others | N/A | N/A | M-Health Alliance | - | mHealth Education |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | The Role of mHealth in the Fight Against Tuberculosis |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | Advancing the dialogue on Mobile Finance and Mobile Health |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | mHealth: New Horizons for Health through Mobile Technologies |  | - | -
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | M-Health Alliance | - | Health Information as Health Care |  | e-health ecosystem | N/A This document is for health information in surveillance systems, supply chain, human resources.
10 | Others | N/A | N/A | M-Health Alliance | - | Amplifying the Impact: Examining the Intersection of Mobile Health and Mobile Finance |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | Economics of eHealth |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | Barriers and Gaps Affecting mHealth in Low and Middle Income Countries |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | M-Health Alliance | - | Sizing the Business Potential of mHealth in the Global South: A Practical Approach |  | mHealth market segmentation | N/A to e-health applications and services with M2M. This document provides methodology of mHealth applications' market segmentation.
10 | Others | N/A | N/A | M-Health Alliance | - | New Technologies in Emergencies and Conflicts |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | mHealth for Development |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | M-Health Alliance | - | Wireless Technology for Social Change: Trends in Mobile Use by NGOs |  | Case study of use of mobile technology in global health | N/A to e-health with M2M. Note that the use cases of e-health without M2M may be useful in conservation of e-health services. 1. Delivering Patient HIV/AIDS Care (South Africa) 2. Connecting Health Clinics and Remote Health Workers (Uganda) 3. Lowering the Barriers for Access to Public Health Data (Kenya, Zambia) 4. Connecting Youth to Sexual Health Information (United States)
10 | Others | N/A | N/A | M-Health Alliance | - | The State of Standards and Interoperabilty for mHealth |  | - | -
10 | Others | N/A | N/A | M-Health Alliance | - | Baseline Evaluation of the mHealth Ecosystem and the Performance of the mHealth Alliance |  | - | -
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | M2M enabled e-health ecosystem | A brief description mentions the stakeholders in the mobile health ecosystem (section 7.1). Informative for M2M enabled e-health ecosystem in the D0.2.
5 | e-health service requirements | D0.2 | 7.2 High level requirement | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | Security requirements for M2M enabled e-health service | This document notes the importance of bridging the gap between mobile and healthcare systems
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | Network architecture and capabilities in mHealth | This document notes e-health applications and service such as remote patient monitoring as a part of decision support service. The clause 7 in D0.2 covers remote patient monitoring.
7 | Security and safety | D0.2 | 7.2 High level requirement | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | High level requirements of M2M enabled e-health service | This document discusses the security management about data encryption and authentication aspects.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | architectural framework as functional view (Clause 8) | Informative. Although it is not completely suitable for functional splitting to M2M SL, the provided concrete architecture and functionalities are useful. This document provides a high level architecture to provide mobile health services. This section 5 provides a set of components common to all mobile health architectures and groups them into four broad functional areas: "Communications", "Data and Records", "Identity and Access", "Service and Application."
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks | GSMA | - | A High Level Reference Architecture for Mobile Health report |  | existing standards future work | Clause 5.4 describes existing communication protocol adapted on OSI layer. Clause 6 describes speeding up progress that will be hint for future standard program.
7 | Security and safety | D0.2 | 7.2 High level requirement | GSMA | - | The SIM: The Key to Better Healthcare? |  | Security mechanism of M2M enabled e-health services | This paper uses clear examples and case studies to explain how the UICC and other key components of the GSM ecosystem can enable the smooth and cost-effective deployment and enhancement of electronic healthcare solutions.
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | M2M enabled e-health ecosystem | This document briefly describes a mobile health ecosystem as a part of introduction. These are informative for the clause 8 in the D0.2.
5 | e-health service requirements | D0.2 | 7.2 High level requirement | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | Security requirements of M2M enabled e-health services | This document describes the requirements of each role in mobile health ecosystem.
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | Use cases and services | Use cases and services - for e-health with M2M: mobile health (mHealth), Consumer purchases mobile health Service, Healthcare Provider Prescribes mobile health Service, Prescribed mobile health Service for Disease Management. Note: all use cases are the same as them in D1.1.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | Reference architecture of mobile health devices | This document has some contents relevant to mobile health services and applications with M2M. These are informative for the clause 7 in the D0.2.
7 | Security and safety | D0.2 | 7.2 High level requirement | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | Security requirements of M2M enabled e-health services | This document discusses the security issues and solutions in mobile health devices.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | GSMA | - | GSMA Connected Mobile Health Devices: A Reference Architecture |  | architectural framework as functional view (Clause 8) | Although it is not completely suitable for functional splitting to M2M SL, the provided concrete architecture and functionalities are informative. This document provides a mobile health solution such as "architecture", "mobile health device of the patient" and "the mobile health platform". The mobile health platform is an IT platform that uses the data generated by the mobile network to provide an enhanced healthcare service over traditional telehealth offerings. The main building blocks are security, conversion and storage of medical data, B2B medical data exchange, B2B administration, provisioning and assurance, web portal, accounting, and notification.
10 | Others | N/A | N/A | GSMA | - | GSMA Understanding Medical Device Regulation: mHealth Policy and Position |  | - | -
10 | Others | N/A | N/A | GSMA | - | Evidence for mHealth |  | - | -
2 | e-health services/applications (areas) | D0.2 | N/A | GSMA | - | GSMA mHealth Infographic: MDG 6 - How mHealth is Supporting the Combat of HIV/AIDS, Malaria and Other Diseases |  | - | -
10 | Others | N/A | N/A | GSMA | - | Using mHealth to Support Universal Health Access |  | - | -
10 | Others | N/A | N/A | GSMA | - | Health Hotline Services in Emerging Markets |  | - | -
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | Integrating Healthcare: The Role and Value of Mobile Operators in eHealth |  | e-health ecosystem | This document overviews mobile operator role in eHealth including key customers of eHealth solutions. These are informative for the clause 8 in the D0.2.
10 | Others | N/A | N/A | GSMA | - | South Africa Mobile Health Market Opportunity Analysis Full Report |  | - | -
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | Key Design Considerations for Service Development |  | e-health ecosystem | This document introduces a framework for eHealth service development. As an example, health hot line is examined. These are informative for the clause 8 in the D0.2.
9 | Overall e-health terminology, codes, taxonomies, classifications | D2.1 | 8. Architectural framework of M2M service layer | GSMA | - | Framework for Technology Assessment for Mobile Health |  | Architecture of M2M enabled e-health service | This paper aims to show how to design a common technical architecture that supports all possible mobile health products and services.
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | GSMA | - | Mobile Health Services Marketing |  | Services Marketing | N/A.
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | Mobile Health in the Pharmaceutical Industry |  | M2M enabled e-health ecosystem | N/A. This document describes how mobile health can supports the pharmaceutical internal value chain.
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | GSMA | - | Mobile Health in the Health Insurance Industry |  | M2M enabled e-health ecosystem | N/A. This document describes how mobile health can supports the health insurance industry value chain.
10 | Others | N/A | N/A | GSMA | - | Policy and Regulation for Innovation in Mobile Health |  | - | -
2 | e-health services/applications (areas) | D0.2 | 7. e-health applications and services with M2M | ITU-T | Y.2065 | Requirements and network capabilities for E-health monitoring services (Y.EHM-Rreqts) |  | Examples of e-health applications and services | Some descriptions in the section 7 "Characteristics of e-health monitoring services" and 8 "Service requirements for support of e-health monitoring services" are relevant to D0.2. The e-health monitoring (EHM) services are covered in the D0.2.
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | ITU-T | Y.2065 | Requirements and network capabilities for E-health monitoring services (Y.EHM-Rreqts) |  | Use cases and services | Use cases and services - for e-health with M2M: e-health monitoring. Note: all use cases are the same as them in D1.1.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ITU-T | Y.2065 | Requirements and network capabilities for E-health monitoring services (Y.EHM-Rreqts) |  | e-health specific M2M SL reqts. (Clause 7.2) | The contents of the following sections were investigated for the objectives. Clause 9.3 in Y.EHM-Reqts. describes the capabilities provided by "IoT ASSP layer" for "Application layer" and "Device layer" in "E-Health monitoring services." It includes; 9.3.1 Service accounting and charging 9.3.2 Message conversion 9.3.3 Data storage 9.3.4 Time synchronization.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 7. Requirements of M2M service layer | ITU-T | Y.2065 | Requirements and network capabilities for E-health monitoring services (Y.EHM-Rreqts) |  | e-health specific functional capabilities of the M2M SL (Clause 8) | The contents of the following sections are relevant to the item. Clause 9.3 in Y.EHM-Reqts. describes the capabilities provided by "IoT ASSP layer" for "Application layer" and "Device layer" in "E-Health monitoring services." It includes; 9.3.1 Service accounting and charging 9.3.2 Message conversion 9.3.3 Data storage 9.3.4 Time synchronization.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | ITU-T | Y.2065 | Requirements and network capabilities for E-health monitoring services (Y.EHM-Rreqts) |  | Definition of the M2M service layer (Clause 6), architectural framework as functional view (Clause 8) | The contents of the following sections are relevant to the item. Figure 9-1 illustrates an overall of "EHM capability framework." based on the IoT reference model.
5 | e-health service requirements | D0.2 | 6.2 Overview of e-health system | ITU-T | H.642.1 | Multimedia information access triggered by tag-based identification – Identification scheme |  | Identification and authentication management | This document defines an identification scheme for multimedia information access triggered by tag-based identification. This identification scheme could be candidate of M2M device identification. Currently, D0.2 doesn’t describe specific identification scheme.
5 | e-health service requirements | D0.2 | 6.2 Overview of e-health system | ITU-T | H.642.2 | Multimedia information access triggered by tag-based identification – Registration procedures for identifiers |  | Registration procedures | This Recommendation defines registration procedures of the identification scheme defined by [ITU-T H.642.1] for the first level code (1LC) value of 00012. This registration procedure could be candidate of M2M device identification. Currently, D0.2 doesn’t describe specific registration procedures.
8 | e-health service requirements | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ITU-T | H.642.3 | Information technology – Automatic identification and data capture technique - Identifier resolution protocol for multimedia information access triggered by tag-based identification |  | Identifier protocol | This document defines the identifier (ID) resolution protocol for multimedia information access triggered by tag-based identification which is described in ITU-T F.771 and H.621. D3.1 doesn't describe Identifier protocol.
- | - | - | - | ITU-T | H.810 | Interoperability design guidelines for personal health systems |  | Look at the analyzed result of Continua Health Alliance "Design Guidelines" | -
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 6.4 Existing APIs and protocols for M2M service layer | ITU-T | X.1080.1 | e-Health and world-wide telemedicines - Generic telecommunication protocol |  | Messages of the protocol | Three kinds of messages are defined: a) Set-up and termination messages: these messages are used during the initial hand-shake. b) Simple SEND and ACK messages: these messages are used for a simple exchange. c) Interactive Command/Response: these messages are used during a dialogue according to some pre-established protocol.
4 | Service models and business models for e-health | D0.2 | 6.3 e-health ecosystem, 8. M2M enabled e-health ecosystem | ITU-T | X.1081 | The telebiometric multimodal model - A framework for the specification of security and safety aspects of telebiometrics |  | e-health ecosystem | N/A. This recommendation provides a common framework for the specification of four interconnected security issues: Privacy, Authentication, Safety and Security. These aspects may be useful in considering ecosystem models, but not directly relevant to the D0.2.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ETSI | ETSI TS 102 689 v1 | Machine to Machine Communications (M2M); M2M service requirements |  | Common M2M SL reqts. (Clause 7.1) | The system requirements in TS102 689 have been analyzed. The extracted common M2M SL reqts. are described in Clause 7.1 in D2.1.
9 | Requirements and specifications related to Machine to Machine Communications for e-health services support | D2.1 | 7. Requirements of M2M service layer | ETSI | ETSI TS 102 689 v2 | Machine to Machine Communications (M2M); M2M service requirements |  | Common M2M SL reqts. (Clause 7.1) | The modification parts from v1 should be investigated.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | ETSI | ETSI TS 102 690 v1 | Machine to Machine Communications (M2M); M2M functional Architecture |  | Definition of the M2M service layer (Clause 6) | The mapping of M2M SLs of ETSI to the IoT reference model is illustrated in Clause 6.2 in D2.1.
6 | Network/platform functionalities/capabilities for e-health services support | D2.1 | 8. Architectural framework of M2M service layer | ETSI | ETSI TS 102 690 v2 | Machine to Machine Communications (M2M); M2M functional Architecture |  | Definition of the M2M service layer (Clause 6) | The modification parts from v1 should be investigated.
6 | Network/platform functionalities/capabilities for e-health services support | N/A | N/A | ETSI | ETSI TR 102 691 | Machine to Machine Communications (M2M); Smart Metering Use Cases |  | - | -
3 | Use cases for e-health | D1.1 | 7. Detailed use cases | ETSI | ETSI TR 102 732 | Machine to Machine Communications (M2M); e-Health Use Cases |  | Use cases and services | Use cases and services for e-health with M2M: remote patient monitoring, patient - provider secure messaging, measurement of very low voltage body signals, telecare data traffic between home and remote monitoring center. Note: remote patient monitoring and telecare data traffic between home and remote monitoring center and measurement of very low voltage body signals are the same as use cases in D1.1. patient - provider secure messaging are not written in D1.1
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7 Requirements for APIs and protocols | ETSI | ETSI TS 102 921 v1 | Machine to Machine Communications (M2M); mIa, dIa and mId interfaces |  | Security protocol, existing protocol | GBA based, EAP/PANA based、TLS/TCP are described as the bootstrapping procedures. The SCL primitives shall supply to the M2M REST interfaces; dIa, mIa and mId. Each primitive is designed to map on HTTP, or CoAP, but it is described independently from HTTP and CoAP to allow other potential bindings. The primitives shall have common command, RetrieveRequestIndication, UpdateRequestIndication, CreateRequestIndication, DeleteRequestIndication, ExecRequestIndication, NotifyRequestIndication and notification.
8 | Requirements and specifications of interfaces, protocols (e.g. message exchange protocols) and APIs for e-health | D3.1 | 5 M2M reference system model 6.4 Existing APIs and protocols for M2M service layer 6.5 M2M protocol structure and stacks 7 Requirements for APIs and protocols | ETSI | ETSI TS 102 921 v2 | Machine to Machine Communications (M2M); mIa, dIa and mId interfaces |  | Security protocol, existing protocol | The modification parts from v1 should be investigated.