## Slide 1: Status Update on VCEG H.BWC

## Slide 2: Status Update on VCEG H.BWC
Since the CfP, we have made significant progress in unifying both the standard and the accompanying software, following the selection of two proposals.
These efforts have resulted in substantial improvements in encoder runtime, while maintaining and even partially improving the coding efficiency.
The current H.BWC reference software, version 2.1 (BWC-2.1), is now available at https://vcgit.hhi.fraunhofer.de/vceg-sw/bwc.

## Slide 3: Status Update on VCEG H.BWC
We have updated our Common Test Conditions (CTC) and included relevant datasets for a more comprehensive assessment, now incorporating PPG data, specifically Pulse Transit Time and Wrist PPG.
We also assessed compression performance of the H.BWC reference encoder version 2.1 over a state-of-the-art Extended HE-AAC audio encoder, in accordance with the evaluation framework. The assessment showed significant gains of H.BWC over the anchor. More detailed results can be found in VCEG-BY18.

## Slide 4: Status Update on VCEG H.BWC
VCEG considers standardizing aspects of the encoder normatively, since we expect this to help with meeting regulatory requirements (e.g., from FDA or EU MDR) later, ensuring patient safety and data integrity.
Our understanding is that many regulations require traceable, verifiable conformity in data production. We therefore consider limiting the variability of encoder output.
However, we do not know all the use-cases and relevant configuration points at this stage. Hence, we consider specifying the H.BWC coding tools normatively but leave if for application standards to specify the exact normative configurations for the tools for a specific use-case.

## Slide 5: Status Update on VCEG H.BWC
We have identified 3 new CEs this meeting